## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-09-11
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-09-12
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 31215.75 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 1636 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 7848.7 | MWh | MALANA-II | 1620 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1519 | [6 empty] | HOLI BAJOLI | 2533 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.95 |  | 1232
|  | Month/Day :- |  |  |  |  | 2022-09-11 | [10 empty] | Min.DEMAND(MW) |  | 1117.2573 |  | ACTUAL OWN GENERATION |  |  | 20328.685 | MWh | SWARA KUDDU | 975.4 | MWh |  |  |  |  | 2 | 00.15-00.30 | 49.98 |  | 1242
[34 empty] | 3 | 00.30-00.45 | 49.85 |  | 1242 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.83 | 49.9025 | 1240 | 1239 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.86 |  | 1238 |  |  |  | MALANA-2 | 80 | 80 | 80 | 80 | 79.5 | 79 | 60.5 | 50 | 50 | 49.5 | 49.75 | 42.25 | 40 | 40 | 40 | 40 | 47 | 101 | 105 | 101 | 101 | 100.75 | 81 | 80.5 | 1657.75
[34 empty] | 6 | 01.15-01.30 | 49.82 |  | 1223 |  |  |  | SWARA KUDDU | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 984
[34 empty] | 7 | 01.30-01.45 | 49.9 |  | 1235
[34 empty] | 8 | 01.45-02:00 | 49.97 | 49.8875 | 1227 | 1230.75
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.96 |  | 1205 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.98 |  | 1217
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.99 |  | 1218
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.99 | 49.98 | 1216 | 1214
1 | 829.1889 | 92.7798 | 327.7098 | 80 | 41 | 111.97 | 1482.6485 | -241.4184 | 1241.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1241.23 | 1 | 733.7975 | 92 | 326 | 1151.7975 | 1239 | 1242 | 1232 | 1239 | 1239 | 1241.23 | 0 | 13 | 03.00-03.15 | 49.9 |  | 1210 |  | 92 | 1
2 | 826.9289 | 92.7798 | 327.7098 | 80 | 41 | 92.34 | 1460.7585 | -227.7933 | 1232.9652 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1232.9652 | 2 | 731.7975 | 92 | 326 | 1149.7975 | 1230.75 | 1238 | 1223 | 1230.75 | 1230.75 | 1232.9652 | 0 | 14 | 03.15-03.30 | 49.83 |  | 1201 |  | 92 | 2
3 | 773.2823 | 92.7798 | 327.7098 | 80 | 41 | 92.4 | 1407.1719 | -190.9868 | 1216.185 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1216.185 | 3 | 684.3225 | 92 | 326 | 1102.3225 | 1214 | 1218 | 1205 | 1214 | 1214 | 1216.185 | 0 | 15 | 03.30-03.45 | 49.9 |  | 1206 |  | 92 | 3
4 | 792.916 | 70.8454 | 327.7098 | 80 | 41 | 92.38 | 1404.8512 | -202.1905 | 1202.6607 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1202.6607 | 4 | 701.6975 | 70.25 | 326 | 1097.9475 | 1200.5 | 1210 | 1185 | 1200.5 | 1200.5 | 1202.6607 | 0 | 16 | 03.45-04.00 | 50 | 49.9075 | 1185 | 1200.5 | 70.25 | 4
5 | 831.7596 | 70.5933 | 327.7098 | 79.5 | 41 | 102.27 | 1452.8327 | -246.6657 | 1206.167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1206.167 | 5 | 736.0725 | 70 | 326 | 1132.0725 | 1204 | 1215 | 1188 | 1204 | 1204 | 1206.167 | 0 | 17 | 04.00-04.15 | 49.98 |  | 1188 |  | 70 | 5
6 | 830.7144 | 70.5933 | 327.7098 | 79 | 41 | 102.26 | 1451.2775 | -195.0205 | 1256.257 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1256.257 | 6 | 735.1475 | 70 | 326 | 1131.1475 | 1254 | 1288 | 1225 | 1254 | 1254 | 1256.257 | 0 | 18 | 04.15-04.30 | 49.98 |  | 1203 |  | 70 | 6
7 | 813.9339 | 70.5933 | 327.7098 | 60.5 | 41 | 102.29 | 1416.027 | -5.4928 | 1410.5342 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1410.5342 | 7 | 720.2975 | 70 | 326 | 1116.2975 | 1408 | 1471 | 1330 | 1408 | 1408 | 1410.5342 | 0 | 19 | 04.30-04.45 | 49.99 |  | 1210 |  | 70 | 7
8 | 837.1836 | 64.0382 | 327.7098 | 50 | 41 | 98.37 | 1418.3016 | 75.6324 | 1493.9341 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1493.9341 | 8 | 740.8725 | 63.5 | 326 | 1130.3725 | 1491.25 | 1502 | 1472 | 1491.25 | 1491.25 | 1493.9341 | 0 | 20 | 04.45-05.00 | 50.02 | 49.9925 | 1215 | 1204 | 63.5 | 8
9 | 839.4154 | 44.3729 | 327.7098 | 50 | 41 | 98.38 | 1400.8781 | 88.7983 | 1489.6764 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1489.6764 | 9 | 742.8475 | 44 | 326 | 1112.8475 | 1487 | 1495 | 1475 | 1487 | 1487 | 1489.6764 | 0 | 21 | 05.00-05.15 | 50 |  | 1225 |  | 44 | 9
10 | 842.3534 | 44.3729 | 327.7098 | 49.5 | 41 | 98.38 | 1403.3161 | 115.6839 | 1519 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1519 | 10 | 745.4475 | 44 | 326 | 1115.4475 | 1508.75 | 1519 | 1499 | 1519 | 1519 | 1519 | 0 | 22 | 05.15-05.30 | 50.01 |  | 1243 |  | 44 | 10
11 | 791.673 | 44.3729 | 327.7098 | 49.75 | 41 | 88.64 | 1343.1457 | 149.5361 | 1492.6818 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1492.6818 | 11 | 700.5975 | 44 | 326 | 1070.5975 | 1490 | 1494 | 1482 | 1490 | 1490 | 1492.6818 | 0 | 23 | 05.30-05.45 | 50.03 |  | 1260 |  | 44 | 11
12 | 786.8705 | 44.3729 | 327.7098 | 42.25 | 41 | 88.66 | 1330.8632 | 145.0384 | 1475.9017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1475.9017 | 12 | 696.3475 | 44 | 326 | 1066.3475 | 1473.25 | 1483 | 1465 | 1473.25 | 1473.25 | 1475.9017 | 0 | 24 | 05.45-06.00 | 50.02 | 50.015 | 1288 | 1254 | 44 | 12
13 | 814.1866 | 44.3729 | 327.7098 | 40 | 41 | 88.72 | 1355.9894 | 66.5664 | 1422.5558 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1422.5558 | 13 | 720.5211 | 44 | 326 | 1090.5211 | 1420 | 1462 | 1350 | 1420 | 1420 | 1422.5558 | 0 | 25 | 06.00-06.15 | 50.04 |  | 1330 |  | 44 | 13
14 | 803.7252 | 44.3729 | 318.6626 | 40 | 41 | 88.7 | 1336.4608 | 3.6135 | 1340.0743 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1340.0743 | 14 | 711.2632 | 44 | 317 | 1072.2632 | 1337.6667 | 1358 | 1335 | 1337.6667 | 1337.6667 | 1340.0743 | 0 | 26 | 06.15-06.30 | 50.01 |  | 1393 |  | 44 | 14
15 | 793.1823 | 44.3729 | 323.6888 | 40 | 41 | 88.69 | 1330.934 | 8.4724 | 1339.4064 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1339.4064 | 15 | 701.9331 | 44 | 322 | 1067.9331 | 1337 | 1346 | 1331 | 1337 | 1337 | 1339.4064 | 0 | 27 | 06.30-06.45 | 50.01 |  | 1438 |  | 44 | 15
16 | 831.3197 | 44.3729 | 327.7098 | 40 | 41 | 118.93 | 1403.3324 | -96.4845 | 1306.8479 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1306.8479 | 16 | 735.6831 | 44 | 326 | 1105.6831 | 1304.5 | 1333 | 1270 | 1304.5 | 1304.5 | 1306.8479 | 0 | 28 | 06.45-07.00 | 49.99 | 50.0125 | 1471 | 1408 | 44 | 16
17 | 829.5964 | 44.3729 | 324.4428 | 47 | 41 | 118.93 | 1405.3421 | -169.3715 | 1235.9706 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 5 | 0.005 | 1240.9706 | 17 | 734.1581 | 44 | 322.75 | 1100.9081 | 1233.75 | 1274 | 1189 | 1233.75 | 1233.75 | 1235.9706 | 5 | 29 | 07.00-07.15 | 50.02 |  | 1472 |  | 44 | 17
18 | 842.2969 | 45.1293 | 327.7098 | 101 | 41 | 118.91 | 1476.046 | -282.9023 | 1193.1436 | 0 | 0 | 0 | 0 | 0 | 17.3333 | 0 | 0 | 0 | 17.3333 | 0.017333 | 1210.477 | 18 | 745.3975 | 44.75 | 326 | 1116.1475 | 1191 | 1214 | 1149 | 1191 | 1191 | 1193.1436 | 17.3333 | 30 | 07.15-07.30 | 50.03 |  | 1489 |  | 44.75 | 18
19 | 876.1403 | 92.5277 | 327.7098 | 105 | 41 | 119.3 | 1561.6777 | -484.6777 | 1077 | 0 | 0 | 0 | 0 | 0 | 84.5 | 0 | 0 | 0 | 84.5 | 0.0845 | 1161.5 | 19 | 775.3475 | 91.75 | 326 | 1193.0975 | 1122.75 | 1224 | 1077 | 1077 | 1077 | 1077 | 84.5 | 31 | 07.30-07.45 | 49.95 |  | 1502 |  | 91.75 | 19
20 | 968.687 | 95.301 | 327.7098 | 101 | 41 | 119.31 | 1653.0078 | -337.6446 | 1315.3632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1315.3632 | 20 | 857.2475 | 94.5 | 326 | 1277.7475 | 1313 | 1323 | 1296 | 1313 | 1313 | 1315.3632 | 0 | 32 | 07.45-08.00 | 49.96 | 49.99 | 1502 | 1491.25 | 94.5 | 20
21 | 951.3416 | 95.8052 | 327.7098 | 101 | 41 | 119.34 | 1636.1966 | -365.4134 | 1270.7831 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1270.7831 | 21 | 841.8975 | 95 | 326 | 1262.8975 | 1268.5 | 1293 | 1243 | 1268.5 | 1268.5 | 1270.7831 | 0 | 33 | 08.00-08.15 | 50.01 |  | 1495 |  | 95 | 21
22 | 960.9465 | 95.8052 | 327.7098 | 100.75 | 41 | 119.34 | 1645.5515 | -450.4043 | 1195.1472 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1195.1472 | 22 | 850.3975 | 95 | 326 | 1271.3975 | 1193 | 1219 | 1167 | 1193 | 1193 | 1195.1472 | 0 | 34 | 08.15-08.30 | 50.02 |  | 1475 |  | 95 | 22
23 | 937.3861 | 94.0404 | 327.7098 | 81 | 41 | 119.38 | 1600.5163 | -440.1816 | 1160.3347 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1160.3347 | 23 | 829.5475 | 93.25 | 326 | 1248.7975 | 1158.25 | 1177 | 1135 | 1158.25 | 1158.25 | 1160.3347 | 0 | 35 | 08.30-08.45 | 50.05 |  | 1485 |  | 93.25 | 23
24 | 923.6566 | 93.0319 | 327.7098 | 80.5 | 41 | 119.34 | 1585.2383 | -467.981 | 1117.2573 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1117.2573 | 24 | 817.3975 | 92.25 | 326 | 1235.6475 | 1115.25 | 1127 | 1101 | 1115.25 | 1115.25 | 1117.2573 | 0 | 36 | 08.45-09.00 | 50.09 | 50.0425 | 1493 | 1487 | 92.25 | 24
[34 empty] | 37 | 09.00-09.15 | 50.04 |  | 1516
TOTAL (in MWh) | 20328.685 | 1636 | 7848.7 | 1657.75 | 984 | 2507.23 | 34962.365 | -3751.2875 | 31211.0775 | 0 | 0 | 0 | 0 | 0 | 106.8333 | 0 | 0 | 0 | 106.8333 | 106.8333 | 31317.9109 | TOTAL | 17990.0363 | 1622.25 | 7807.75 | 27420.0363 | 31195.1667 |  |  | 31159.6667 | 31159.6667 | 31211.0775 | 106.8333 | 38 | 09.15-09.30 | 50.04 |  | 1519
[34 empty] | 39 | 09.30-09.45 | 50.07 |  | 1501
[34 empty] | 40 | 09.45-10.00 | 50.08 | 50.0575 | 1499 | 1508.75
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 50.0086; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.04 |  | 1494
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1519; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.99 |  | 1490
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1519; 5+6 P6 14: MW | MAX = | 1519 | [10 empty] | 43 | 10.30-10.45 | 49.99 |  | 1494
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1117.2573; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1077 | [10 empty] | 44 | 10.45-11.00 | 50 | 50.005 | 1482 | 1490
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 20328.685; 5+6 P6 14: MWH; 5+6 P11 19: 35.16; 5+6 P11/1000 20: 20293.525 | [12 empty] | 45 | 11.00-11.15 | 50.02 |  | 1472
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 7848.7; 5+6 P6 14: MWH; 5+6 P11 19: 7.94; 5+6 P11/1000 20: 7840.76 | [12 empty] | 46 | 11.15-11.30 | 50.05 |  | 1483
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 1636; 5+6 P6 14: MWH; 5+6 P11 19: 10.128; 5+6 P11/1000 20: 1625.872 | [12 empty] | 47 | 11.30-11.45 | 50.05 |  | 1473
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 92; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.08 | 50.05 | 1465 | 1473.25
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 92.25; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.1 |  | 1462
|  |  | Max.generation of Malana at 2100 Hrs. |  |  |  | 5+6 P4 12: 95; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50.01 |  | 1438
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [16 empty] | 1429
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 764.9874; 5+6 P4 12: 1026.6198; 5+6 P11 19: 203.2869; 5+6 P11/1000 20: 202.9353 | [12 empty] | 51 | 12.30-12.45 | 50.05 |  | 1421
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 330.0672; 5+6 P4 12: 426.5521; 5+6 P11 19: 88.8939; 5+6 P11/1000 20: 88.5945 | [12 empty] | 52 | 12.45-13.00 | 50.01 | 50.0425 | 1350 | 1420
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 434.9203; 5+6 P4 12: 600.0677; 5+6 P11 19: 114.393; 5+6 P11/1000 20: 114.3407 | [12 empty] | 53 | 13.00-13.15 | 50.05 |  | 1320
[34 empty] | 55 | 13.30-13.45 | 50.11 |  | 1335
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-09-12 03:42 | [12 empty] | 56 | 13.45-14.00 | 50.14 | 50.1 | 1358 | 1337.6667
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 50.15 |  | 1337 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 50.02 |  | 1331
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 49.98 |  | 1334
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 49.99 | 50.035 | 1346 | 1337
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 50.05 |  | 1333
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 49.98 |  | 1318
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 50.02 |  | 1297
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 50.02 | 50.0175 | 1270 | 1304.5
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 50.12 |  | 1274
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 50.02 |  | 1255
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 50 |  | 1217
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 50.02 | 50.04 | 1189 | 1233.75
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 50.07 |  | 1187
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 50.07 |  | 1214
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 50.04 |  | 1214
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 50.01 | 50.0475 | 1149 | 1191
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 49.96 |  | 1077
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 50 |  | 1090
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 49.99 |  | 1100
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 50.01 | 49.99 | 1224 | 1122.75
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 50.03 |  | 1296
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 50.02 |  | 1319
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 50.05 |  | 1314
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 50.04 | 50.035 | 1323 | 1313
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 50.03 |  | 1293
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 50.01 |  | 1278
Total | [33 empty] | 83 | 20.30-20.45 | 50.02 |  | 1260
[34 empty] | 84 | 20.45-21.00 | 50.01 | 50.0175 | 1243 | 1268.5
[34 empty] | 85 | 21.00-21.15 | 49.98 |  | 1219
[34 empty] | 86 | 21.15-21.30 | 50.01 |  | 1204
[34 empty] | 87 | 21.30-21.45 | 50.01 |  | 1182
[34 empty] | 88 | 21.45-22.00 | 50.02 | 50.005 | 1167 | 1193
[34 empty] | 89 | 22.00-22.15 | 50.01 |  | 1177
[34 empty] | 90 | 22.15-22.30 | 50 |  | 1167
[34 empty] | 91 | 22.30-22.45 | 50.03 |  | 1154
[34 empty] | 92 | 22.45-23.00 | 50.03 | 50.0175 | 1135 | 1158.25
[34 empty] | 93 | 23.00-23.15 | 50.01 |  | 1127
[34 empty] | 94 | 23.15-23.30 | 50 |  | 1121
[34 empty] | 95 | 23.30-23.45 | 50.02 |  | 1112
[34 empty] | 96 | 23.45-24.00 | 50.03 | 50.015 | 1101 | 1115.25
[35 empty] | Total | 50.0076 | 50.0085 | 31215.75 | 31195.1667
[35 empty] | max | 1519 |  | avg. max | 1508.75
[35 empty] | min | 1077 |  | avg. min | 1115.25
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.