## Report_DPS (HPSLDC)
| File Name: DAILY POWER SUPPLY- | 2023-02-02
Hiamchal Pradesh State Load Despatch Centre
Government of Himahcal Pradesh
|  | E-Mail sehpsldc@gmail.com |  |  |  |  | Dated | 2023-02-03
FROM: |  |  |  | TO
| POWER CONTROLLER |  |  |  | Managing Director
| HPSLDC, GoHP, Totu, Shimla-11 |  |  |  | HP State Load Despatch Centre
| (FAX #: 0177 2837543) |  |  |  | Govt. of HP, Totu, Shimla-11
Eamail:mdhpsldc@gmail.com
Subject:- Daily Power Supply Position For Dated |  |  | 2023-02-02
Sir,
The daily Power Supply Position is tabulated as under :-
S.No. | POWER HOUSES UNDER HPSEBL | INSTALLED CAPACITY (MW) | DAILY GENERATION TARGET ON YEARLY BASIS [CE (Gen)/IPP] Lakh Units | DAILY GENERATION TARGET ON WEEKLY BASIS (SLDC) LU on Previous year Trend | ESTIMATED GENERATION ON DAYAHEAD BASIS FROM HPSEBL P/ H's / IPP) Lakh Units | ACTUAL (Lakh Units) | MAX Gen. Mega Watts | REMARKS | [7 empty] | 3.291
( Reason for Major Variation)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
1 | LARJI (3x42 MW) | 126 | 23.19 | 23.19 | 7.32 | 5.67 | 45
2 | BHABA (3x40 MW) | 120 | 19.2 | 19.2 | 8.83 | 6.37 | 64
3 | BASSI (4x16.50MW) | 66 | 9.8 | 9.8 | 4.58 | 2.364 | 16.5
4 | GIRI (2x30 MW) | 60 | 0.73 | 0.73 | 4.2 | 3.54 | 30
5 | GANVI-I(2x11.25 MW) | 22.5 | 4.07 | 4.07 | 2.4 | 0.837 | 4
6 | ANDHRA (3x5.65 MW) | 16.95 | 1.71 | 1.71 | 1.92 | 0.5895 | 8
7 | BANER (3x4 MW) | 12 | 0.87 | 0.87 | 0.72 | 0.5784 | 3.1
8 | KHAULI (2x6 MW) | 12 | 0.81 | 0.81 | 0.48 | 0.792 | 4
9 | GAJ ( 3x3.5 MW) | 10.5 | 0.92 | 0.92 | 0.72 | 0.74544 | 3.408
10 | GANVI-II(2x5) | 10 | 2.41 | 2.41 | 1 | 0.31845 | 1.5
11 | BINWA (2x3 MW) | 6 | 0.73 | 0.73 | 0.72 | 0.43254 | 2.5
12 | THIROT (3x1.5 MW) | 4.5 | 0.25 | 0.25 | 0 | 0 | 0 |  | Anticipated/ Estimated Generation |  |  | 62.3357
13 | MINI/MICRO ** (30.95 MW) | 30.95 | 1.53 | 1.52 | 0.47 | 0.47
A | TOTAL HPSEBL Gen.(1 to 12) | 497.4 | 66.22 | 66.21 | 33.36 | 22.7073 | 182.008 |  | Total actual Gen. |  |  | 52.1525
B | IPP's Generation |  |  |  |  | Actual Availed by HPSEBL |  | Total Generation of Baspa-II in LUs
i) | Baspa (3 X100MW) IPP
| (a) 88% | 300 | 10.56 | 8.2896 | 10.1024 | 9.2092 | 180 | 10.465
| (b) 12% |  | 1.44 | 1.1304 | 1.3776 | 1.2558 |  | Total Generation of Malana
ii) | Malana (2X43 MW) IPP HP Share (20%) | 86 | 0.446 | 0.646 | 0.558 | 0.452 | 40 | 2.26
Total Generation of IPP's selling out side in Lus
19.8456
iii) | KASHANG (3x65 MW) | 195 | 0 | 0 | 1.79 | 1.5285 | 60
iiia) | SAWRA KUDDU (37x3) | 111 |  | 0 | 3.9 | 3.994 | 74
iv) | MICRO i/c Patikari & Toss (IPP) | 77 |  |  | 21.46 | 22.455
v) | IPP's Power (Phojal, Baner Sangam, Chanju, Suryaakanta, Sandhya, Kashang, Nanti, Bharagarh & Goodwill ) | - | - | - | 5.7257 | 1.2534 | 55 | 8.2117 |  |  | ='Form-1_AnticipatedVsActual_BI'!V19+'Form-1_AnticipatedVsActual_BI'!V24+'Form-1_AnticipatedVsActual_BI'!V30+'Form-1_AnticipatedVsActual_BI'!V36+'Form-1_AnticipatedVsActual_BI'!V42+'Form-1_AnticipatedVsActual_BI'!V49+'Form-1_AnticipatedVsActual_BI'!V55
| Summary:- | [6 empty] | All Figures in LU's |  |  | -10
1 | HPSEBL Generation |  | 22.7073 | 21 | EXPORT THROUGH BANKING/SALE |  | At NR Periphery | At HP Periphery |  |  | 36.95
2 | Baspa-II |  | 10.465 |  | HPSEBL Export through IEX+ PXIL | (A)Market Sale through IEX | 0 | 0
3 | Sawra Kuddu + Kashang |  | 4.8408
4 | Solar IPP's |  | 0.71982 |  |  | (B) Sale through RTM | 3 | 3
5 | MICRO (IPP ) |  | 22.455 |  |  | IEX DAM Rate Rs. 0 & TAM Rate /kwh
6 | SINGRAULI_SOLAR |  | 0.77443 |  |  | (C ) Total (A+B) |  | 3
7 | SECI-Solar (LTA PURCHASE) |  | 1.2434 |  |  |  | 0 | 0
8 | Total Central Sector including SOR & GoHP Share in NJPC, B'suil, CH-I, CH-II (HP Periphery) |  | 103.1978
9 | Free Power to HPSEBL from IPPs (Selling under OA) : Malana, Phojal, Baner Sangam, Chanju HEP, Kashang, Suryakanta, Nanti, Sandhaya, Bharagarh & Goodwill(KUT) |  | 1.2534 |  | BRPL THROUGH PTC MPL |  | 0 | 0
10 | Bilateral Share (Shanan+RSD+UP+UK) |  | 11.28 | [5 empty] | x2
11 | Total availability (1 to 4 + 6 to 9) |  | 178.1626
12 | Total GoHP Power as per last revision. |  | 45.4317 |  |  |  | 0 | 0 | [8 empty] | 0
13 | Actual GoHP share sold out side HP to other states FP 12% in Ch-1, Ch-2, B.Suil, FP 13% in Ch3, Parbati-3, 13 % FP in Rampur, FP 12% NJPC & Koldam purchased form GoHP @ Rs.7.32 |  | 20.2616 |  |  |  | 0 | 0 | [5 empty] | 1
14 | GoHP share Schedule to HPSEBL Equity : NJPC 22%, Rampur 26.1%, Koldam 15% UA & SORHPSEBL Purchase from GoHP power () (at HP periphery) |  | 44.6601 |  | PUNJAB THROUGH (KEIPL) |  | 0 | 0
15 | Additional RTM/URS power Purchased GoHP |  | 0.71338 |  | PSPCL THROUGH APPCPL & PTC |  | 0 | 0
16 | GoHP Power in/out (+/-) from the Grid |  | -20.2034 |  |  |  | 0 | 0 | [9 empty] | 1.85 | 0
17 | SOR |  | 2.8275 |  | AS & WHEN :-
18 | Malana & other IPP's (selling out side) in/out (+/-) from HPSEBL system |  | 0.19509 |  | WEST BENGAL THROUGH IPCL |  | 0 | 0 | 17 | =((Report_DPS!$I$35*0.8)*0.96)-ABS('Form-1_AnticipatedVsActual_BI'!$L$28)+(('Form-1_AnticipatedVsActual_BI'!$G31*1)*0.9525)-ABS('Form-1_AnticipatedVsActual_BI'!$L31)+(('Form-1_AnticipatedVsActual_BI'!$G32*0.87)*0.96)-ABS('Form-1_AnticipatedVsActual_BI'!$L32)
19 | Net Availability with HPSEBL (10-12+17) |  | 157.9009 |  | MEGHALAYA THROUGH KEIPL |  | 0 | 0
20 | IMPORT THROUGH BANKING/ PURCHASE | At NR Periphery | At HP Periphery |  | WEST BENGAL THROUGH IPCL |  | 0 | 0
| Market Purchase (OA Consumers) | 0 | 0 |  |  |  | 0 | 0 | -152.701
| HPSEBL Import Through IEX @ 0 | 0 | 0 |  |  |  | 0 | 0
| Import through RTM IEX | 0 | 0 |  |  |  | 0 | 0
| SOLAR THROUGH HPSEBL | 0 | 0 |  |  |  | 0 | 0
| KEIPL THROUGH ( KARNATAKA & GOA & MH.) | 3.1125 | 2.9917 |  |  |  | 0 | 0 | OD/UD During Min./Max. Frequency
| IPCL THROUGH SPTCL | 0 | 0 | 22 | Total Export |  | 3 | 3 | Min. Freq. | Time | O/D | U/D | Max. Freq. | Time | O/D | U/D | Average .Freq.
| PTC through PUNJAB | 91.6296 | 88.0744 | 23 | Availability after Import/Export (18+20-22) |  |  | 337.1868 | 49.82 | 16.30 | 3 | 0 | 50.17 | 09.00 | 36 | 0 | 49.988
| BYPL through MPL | 12.8712 | 12.3718 | 24 | Demand of the State |  |  | 335.8975
| BRPL through MPL | 12.3 | 11.8228 | 25 | Over/Under drawl(-/+) [23-24] |  |  | 1.2893 | -0.00066585
| BRPL through MPL | 24.4932 | 23.5429 | 26 | Tentative UI rate in Rupees (OD & UD), Avg |  |  | 3.91 , 4.29 & 5.13 |  |  |  | G67 | ="Gas:" & IF('Surrendered Energy'!AX105<0,0,ROUND('Surrendered Energy'!AX105,2))&" & Thermal:" &IF('Surrendered Energy'!AY105<0,0,ROUND('Surrendered Energy'!AY105,2))
| PTC & APPCPL (PUNJAB) | 45.2376 | 43.4824 | 27 | Load Shedding |  |  | 0.72 |  |  |  | I67 | =IF(AND('Surrendered Energy'!AY105<0,'Surrendered Energy'!AX105<0),0,IF(AND('Surrendered Energy'!AY105>=0,'Surrendered Energy'!AX105>=0),('Surrendered Energy'!AY105+'Surrendered Energy'!AX105),IF('Surrendered Energy'!AX105>0,'Surrendered Energy'!AX105,'Surrendered Energy'!AY105)))
|  | 0 | 0 | 28 | Unrestricted Demand |  |  | 336.6175
|  |  |  | 29 | Average Frequency (Hz) :(Max.Freq. 50.17 at 09.00 Hrs, Min.Freq. 49.82 at 16.30 Hrs) |  |  | 49.988
|  |  |  | 30 | Max Demand observed (MW) (at 08.30 Hrs.) |  |  | 1913
|  |  |  | 31 | Min Demand at observed (MW) (at 03.15 Hrs.) |  |  | 948
|  |  |  | 32 | Central Share Surrendered | LF & RF |  | 0
[6 empty] | Gas: 0 & Thermal: 0.79 |  | 0.79195
21 | Total Import by HPSEBL | 189.6441 | 182.2859 |  |  | Total Surrendered :(Amount: 0.1 Lacs, Avg. Rate: 2.27) |  | 0.79195
22 | URS Booked |  | 8.4642 |  | INDUSTRIAL CONSUMPTION |  |  | 192.9142
23 | Availability with HP (18-21) |  | 149.4367
* Means no communication. Generation assumed.
** Includes Generation of mini/micro power Houses of HPSEBL.
Copy to:-
| The Chief Engineer (HPSLDC), GoHP, Totu, Shimla-11. | [5 empty] | Shift Incharge
HPSLDC, GoHP, Totu,Shimla-11.
1 | Own | 61.188
2 | Central Sector | 103.1978
3 | Bilateral (Shared+Malana afterExport) | 11.28
4 | GoHP Power (in/out) | 20.2616
5 | Malana (in/out) | 0.19509
. | OD/UD |  | 1.2893
| Total Gen. | Demand Met | Max Demand Met MW | RE/Green Power Sold (Lus)
| 56.3471 | 335.8975 | 1913 | 0
Note on D61: ControlRoom:
Note on D63: Malana, Phojal, Baner Sangam, Chanju HEP, Kashang, Suryakanta, Nanti, Sandhaya, Bharagarh & Goodwill(KUT) (in/out)
Note on I74: dba: