## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2023-05-01
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2023-05-02
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 27903 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 628 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 1405 | MWh | MALANA-II | 561 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1551 | [6 empty] | HOLI BAJOLI | 1998.92 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.95 |  | 886
|  | Month/Day :- |  |  |  |  | 2023-05-01 | [10 empty] | Min.DEMAND(MW) |  | 846 |  | ACTUAL OWN GENERATION |  |  | 12219.18 | MWh | SWARA KUDDU | 879 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.01 |  | 898
[34 empty] | 3 | 00.30-00.45 | 49.91 |  | 899 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.94 | 49.9525 | 892 | 893.75 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.92 |  | 888 |  |  |  | MALANA-2 | 24.25 | 25 | 25.5 | 25.5 | 26 | 5.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.75 | 25 | 26 | 43.25 | 101 | 99.5 | 96.25 | 20 | 20 | 564.5
[34 empty] | 6 | 01.15-01.30 | 49.93 |  | 876 |  |  |  | SWARA KUDDU | 74 | 74 | 55.25 | 0 | 0 | 0 | 0 | 0 | 1.5 | 65.75 | 74 | 74 | 74 | 1.25 | 0 | 0 | 0 | 0 | 0.75 | 65.5 | 74 | 77.25 | 75.25 | 74 | 860.5
[34 empty] | 7 | 01.30-01.45 | 49.91 |  | 898
[34 empty] | 8 | 01.45-02:00 | 49.95 | 49.9275 | 874 | 884
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.91 |  | 865 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.86 |  | 866
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.86 |  | 862
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.95 | 49.895 | 848 | 860.25
1 | 502.5239 | 72.5812 | 50.4036 | 24.25 | 74 | 112 | 835.7587 | 57.3832 | 893.1418 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893.1418 | 1 | 515.4167 | 72 | 50 | 637.4167 | 893.75 | 899 | 886 | 893.75 | 893.75 | 893.1418 | 0 | 13 | 03.00-03.15 | 49.93 |  | 847 |  | 72 | 1
2 | 518.1237 | 72.5812 | 76.6135 | 25 | 74 | 112 | 878.3183 | 5.0802 | 883.3985 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883.3985 | 2 | 531.4167 | 72 | 76 | 679.4167 | 884 | 898 | 874 | 884 | 884 | 883.3985 | 0 | 14 | 03.15-03.30 | 49.94 |  | 846 |  | 72 | 2
3 | 527.0204 | 19.1534 | 50.4036 | 25.5 | 55.25 | 93 | 770.3274 | 89.3372 | 859.6646 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 859.6646 | 3 | 540.5417 | 19 | 50 | 609.5417 | 860.25 | 866 | 848 | 860.25 | 860.25 | 859.6646 | 0 | 15 | 03.30-03.45 | 49.94 |  | 857 |  | 19 | 3
4 | 509.3488 | 0 | 43.3471 | 25.5 | 0 | 73 | 651.1959 | 194.8041 | 846 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 846 | 4 | 522.4167 | 0 | 43 | 565.4167 | 849 | 857 | 846 | 846 | 846 | 846 | 0 | 16 | 03.45-04.00 | 49.91 | 49.93 | 846 | 849 | 0 | 4
5 | 516.3931 | 0 | 54.9399 | 26 | 0 | 73 | 670.333 | 217.0627 | 887.3957 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 887.3957 | 5 | 529.6417 | 0 | 54.5 | 584.1417 | 888 | 921 | 861 | 888 | 888 | 887.3957 | 0 | 17 | 04.00-04.15 | 49.89 |  | 861 |  | 0 | 5
6 | 507.6913 | 0 | 72.0771 | 5.5 | 0 | 111.25 | 696.5185 | 389.7419 | 1086.2603 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1086.2603 | 6 | 520.7167 | 0 | 71.5 | 592.2167 | 1087 | 1225 | 972 | 1087 | 1087 | 1086.2603 | 0 | 18 | 04.15-04.30 | 49.86 |  | 881 |  | 0 | 6
7 | 575.4529 | 0 | 73.8413 | 0 | 0 | 112 | 761.2941 | 653.9922 | 1415.2863 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1415.2863 | 7 | 590.2167 | 0 | 73.25 | 663.4667 | 1416.25 | 1496 | 1322 | 1416.25 | 1416.25 | 1415.2863 | 0 | 19 | 04.30-04.45 | 49.92 |  | 889 |  | 0 | 7
8 | 529.5554 | 0 | 66.2807 | 0 | 0 | 89.25 | 685.0861 | 865.9139 | 1551 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1551 | 8 | 543.1417 | 0 | 65.75 | 608.8917 | 1529 | 1551 | 1513 | 1551 | 1551 | 1551 | 0 | 20 | 04.45-05.00 | 49.94 | 49.9025 | 921 | 888 | 0 | 8
9 | 467.4732 | 0 | 36.7946 | 0 | 1.5 | 53 | 558.7678 | 906.9841 | 1465.7519 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1465.7519 | 9 | 479.4667 | 0 | 36.5 | 515.9667 | 1466.75 | 1501 | 1432 | 1466.75 | 1466.75 | 1465.7519 | 0 | 21 | 05.00-05.15 | 49.98 |  | 972 |  | 0 | 9
10 | 474.7368 | 0 | 30.2422 | 0 | 65.75 | 53 | 623.729 | 803.5491 | 1427.2781 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1427.2781 | 10 | 486.9167 | 0 | 30 | 516.9167 | 1428.25 | 1449 | 1405 | 1428.25 | 1428.25 | 1427.2781 | 0 | 22 | 05.15-05.30 | 49.87 |  | 1027 |  | 0 | 10
11 | 495.699 | 0 | 74.8493 | 0 | 74 | 53 | 697.5484 | 681.5126 | 1379.061 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1379.061 | 11 | 508.4167 | 0 | 74.25 | 582.6667 | 1380 | 1399 | 1368 | 1380 | 1380 | 1379.061 | 0 | 23 | 05.30-05.45 | 49.92 |  | 1124 |  | 0 | 11
12 | 518.8549 | 0 | 75.3534 | 0 | 74 | 56 | 724.2083 | 631.1188 | 1355.3271 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1355.3271 | 12 | 532.1667 | 0 | 74.75 | 606.9167 | 1356.25 | 1384 | 1334 | 1356.25 | 1356.25 | 1355.3271 | 0 | 24 | 05.45-06.00 | 50 | 49.9425 | 1225 | 1087 | 0 | 12
13 | 528.361 | 0 | 83.1659 | 0 | 74 | 58 | 743.527 | 558.0867 | 1301.6137 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1301.6137 | 13 | 541.9167 | 0 | 82.5 | 624.4167 | 1302.5 | 1324 | 1229 | 1302.5 | 1302.5 | 1301.6137 | 0 | 25 | 06.00-06.15 | 50.01 |  | 1322 |  | 0 | 13
14 | 504.8639 | 0 | 57.7121 | 0 | 1.25 | 58 | 621.826 | 600.8415 | 1222.6674 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1222.6674 | 14 | 517.8167 | 0 | 57.25 | 575.0667 | 1223.5 | 1221 | 1217 | 1223.5 | 1223.5 | 1222.6674 | 0 | 26 | 06.15-06.30 | 49.91 |  | 1391 |  | 0 | 14
15 | 526.338 | 0 | 83.1659 | 0 | 0 | 58 | 667.5039 | 527.9321 | 1195.436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1195.436 | 15 | 539.8417 | 0 | 82.5 | 622.3417 | 1196.25 | 1213 | 1179 | 1196.25 | 1196.25 | 1195.436 | 0 | 27 | 06.30-06.45 | 50 |  | 1456 |  | 0 | 15
16 | 537.9403 | 0 | 71.8251 | 1.75 | 0 | 79 | 690.5154 | 499.4243 | 1189.9397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1189.9397 | 16 | 551.7417 | 0 | 71.25 | 622.9917 | 1190.75 | 1201 | 1185 | 1190.75 | 1190.75 | 1189.9397 | 0 | 28 | 06.45-07.00 | 50 | 49.98 | 1496 | 1416.25 | 0 | 16
17 | 503.5964 | 0 | 64.0126 | 25 | 0 | 79.25 | 671.859 | 506.0889 | 1177.9479 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1177.9479 | 17 | 516.5167 | 0 | 63.5 | 580.0167 | 1178.75 | 1189 | 1157 | 1178.75 | 1178.75 | 1177.9479 | 0 | 29 | 07.00-07.15 | 50 |  | 1530 |  | 0 | 17
18 | 457.7721 | 28.226 | 84.426 | 26 | 0 | 79 | 675.4241 | 488.2835 | 1163.7076 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1163.7076 | 18 | 469.5167 | 28 | 83.75 | 581.2667 | 1164.5 | 1170 | 1159 | 1164.5 | 1164.5 | 1163.7076 | 0 | 30 | 07.15-07.30 | 49.97 |  | 1513 |  | 28 | 18
19 | 454.3596 | 38.5587 | 66.0287 | 43.25 | 0.75 | 79.25 | 682.1971 | 460.0252 | 1142.2222 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1142.2222 | 19 | 466.0167 | 38.25 | 65.5 | 569.7667 | 1143 | 1152 | 1132 | 1143 | 1143 | 1142.2222 | 0 | 31 | 07.30-07.45 | 50.03 |  | 1551 |  | 38.25 | 19
20 | 496.0403 | 85.6861 | 58.9722 | 101 | 65.5 | 79 | 886.1986 | 356.7051 | 1242.9037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1242.9037 | 20 | 508.7667 | 85 | 58.5 | 652.2667 | 1243.75 | 1278 | 1187 | 1243.75 | 1243.75 | 1242.9037 | 0 | 32 | 07.45-08.00 | 49.99 | 49.9975 | 1522 | 1529 | 85 | 20
21 | 536.7459 | 86.6942 | 85.6861 | 99.5 | 74 | 111.75 | 994.3762 | 223.7943 | 1218.1705 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1218.1705 | 21 | 550.5167 | 86 | 85 | 721.5167 | 1219 | 1255 | 1176 | 1219 | 1219 | 1218.1705 | 0 | 33 | 08.00-08.15 | 49.89 |  | 1501 |  | 86 | 21
22 | 572.0892 | 86.6942 | 28.9821 | 96.25 | 77.25 | 112 | 973.2654 | 132.9813 | 1106.2467 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1106.2467 | 22 | 586.7667 | 86 | 28.75 | 701.5167 | 1107 | 1156 | 1050 | 1107 | 1107 | 1106.2467 | 0 | 34 | 08.15-08.30 | 49.97 |  | 1467 |  | 86 | 22
23 | 474.3468 | 80.3937 | 0 | 20 | 75.25 | 112 | 761.9906 | 228.0853 | 990.0758 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 990.0758 | 23 | 486.5167 | 79.75 | 0 | 566.2667 | 990.75 | 1026 | 955 | 990.75 | 990.75 | 990.0758 | 0 | 35 | 08.30-08.45 | 49.98 |  | 1467 |  | 79.75 | 23
24 | 483.8529 | 42.339 | 15.8771 | 20 | 74 | 112 | 748.0691 | 156.0653 | 904.1343 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 904.1343 | 24 | 496.2667 | 42 | 15.75 | 554.0167 | 904.75 | 928 | 881 | 904.75 | 904.75 | 904.1343 | 0 | 36 | 08.45-09.00 | 50.03 | 49.9675 | 1432 | 1466.75 | 42 | 24
[34 empty] | 37 | 09.00-09.15 | 50.03 |  | 1449
TOTAL (in MWh) | 12219.18 | 612.9076 | 1405 | 564.5 | 860.5 | 2007.75 | 17669.8376 | 10234.7935 | 27904.6311 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27904.6311 | TOTAL | 12532.675 | 608 | 1393.75 | 14534.425 | 27903 |  |  | 27922 | 27922 | 27904.6311 | 0 | 38 | 09.15-09.30 | 50.01 |  | 1445
[34 empty] | 39 | 09.30-09.45 | 50.07 |  | 1414
[34 empty] | 40 | 09.45-10.00 | 50.1 | 50.0525 | 1405 | 1428.25
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9769; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.03 |  | 1399
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1551; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.02 |  | 1368
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1551; 5+6 P6 14: MW | MAX = | 1551 | [10 empty] | 43 | 10.30-10.45 | 50.04 |  | 1370
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 846; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 846 | [10 empty] | 44 | 10.45-11.00 | 50.01 | 50.025 | 1383 | 1380
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 12219.18; 5+6 P6 14: MWH; 5+6 P11 19: 28.375; 5+6 P11/1000 20: 12190.805 | [12 empty] | 45 | 11.00-11.15 | 50.01 |  | 1384
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 1405; 5+6 P6 14: MWH; 5+6 P11 19: 3.35; 5+6 P11/1000 20: 1401.65 | [12 empty] | 46 | 11.15-11.30 | 49.9 |  | 1367
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 612.9076; 5+6 P6 14: MWH; 5+6 P11 19: 0.895; 5+6 P11/1000 20: 612.0126 | [12 empty] | 47 | 11.30-11.45 | 49.94 |  | 1340
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 19; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.03 | 49.97 | 1334 | 1356.25
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 42; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.01 |  | 1324
|  |  | Max.generation of Malana at 2100 Hrs. |  |  |  | 5+6 P4 12: 86; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50.02 |  | 1324
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 49.99 |  | 1299
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 552.8736; 5+6 P4 12: 696.3854; 5+6 P11 19: 122.1918; 5+6 P11/1000 20: 121.9081 | [12 empty] | 51 | 12.30-12.45 | 50.08 | 50.025 | 1263 | 1302.5
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 211.1677; 5+6 P4 12: 182.9948; 5+6 P11 19: 48.3541; 5+6 P11/1000 20: 48.1174 | [12 empty] | 52 | 12.45-13.00 | 50.23 |  | 1229
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 341.7059; 5+6 P4 12: 513.3906; 5+6 P11 19: 73.8378; 5+6 P11/1000 20: 73.7906 | [12 empty] | 53 | 13.00-13.15 | 50.2 |  | 1227
[34 empty] | 55 | 13.30-13.45 | 50.17 |  | 1221
[34 empty] | 56 | 13.45-14.00 | 50 | 50.15 | 1217 | 1223.5
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 50.03 |  | 1213
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.95 |  | 1204
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2023-05-01 | [12 empty] | 59 | 14.30-14.45 | 49.95 |  | 1189
[34 empty] | 60 | 14.45-15.00 | 49.88 | 49.9525 | 1179 | 1196.25 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 49.83 |  | 1185
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 49.79 |  | 1187 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.99 |  | 1201
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.96 | 49.8925 | 1190 | 1190.75
1 | [33 empty] | 65 | 16.00-16.15 | 49.99 |  | 1189 | bar: 5+6 P12 21
2 | [33 empty] | 66 | 16.15-16.30 | 49.9 |  | 1188 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 49.88 |  | 1181 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 49.74 | 49.8775 | 1157 | 1178.75 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 49.93 |  | 1170 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 49.89 |  | 1161 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 49.98 |  | 1159 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 49.96 | 49.94 | 1168 | 1164.5 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.01 |  | 1152 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.07 |  | 1152 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.08 |  | 1136 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50.07 | 50.0575 | 1132 | 1143 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 50.04 |  | 1187 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 50.02 |  | 1237 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 50.02 |  | 1273 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 50.03 | 50.0275 | 1278 | 1243.75 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.07 |  | 1255 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50.05 |  | 1234 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 50.04 |  | 1211 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 49.99 | 50.0375 | 1176 | 1219 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 49.99 |  | 1156 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 49.97 |  | 1123 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 49.96 |  | 1099
[34 empty] | 88 | 21.45-22.00 | 50 | 49.98 | 1050 | 1107
[34 empty] | 89 | 22.00-22.15 | 49.89 |  | 1026
[34 empty] | 90 | 22.15-22.30 | 49.98 |  | 1003
[34 empty] | 91 | 22.30-22.45 | 50 |  | 979
[34 empty] | 92 | 22.45-23.00 | 49.97 | 49.96 | 955 | 990.75
[34 empty] | 93 | 23.00-23.15 | 49.97 |  | 928
[34 empty] | 94 | 23.15-23.30 | 49.97 |  | 908
[34 empty] | 95 | 23.30-23.45 | 50.03 |  | 902
[34 empty] | 96 | 23.45-24.00 | 50.04 | 50.0025 | 881 | 904.75
[35 empty] | Total | 49.9769 | 49.9769 | 27903 | 27903
[35 empty] | max | 1551 |  | avg. max | 1529
[35 empty] | min | 846 |  | avg. min | 849
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.