## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2023-05-02
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2023-05-03
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 29029.5 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 584 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 1503 | MWh | MALANA-II | 541 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1582 | [6 empty] | HOLI BAJOLI | 1924 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50 |  | 861
|  | Month/Day :- |  |  |  |  | 2023-05-02 | [10 empty] | Min.DEMAND(MW) |  | 848 |  | ACTUAL OWN GENERATION |  |  | 12856.987 | MWh | SWARA KUDDU | 1043 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.03 |  | 855
[34 empty] | 3 | 00.30-00.45 | 50.04 |  | 871 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.05 | 50.03 | 864 | 862.75 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50.05 |  | 877 |  |  |  | MALANA-2 | 15.5 | 15 | 17.75 | 15.5 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100.25 | 95.5 | 29.75 | 30 | 334.25
[34 empty] | 6 | 01.15-01.30 | 50.05 |  | 876 |  |  |  | SWARA KUDDU | 74 | 74 | 1.25 | 0 | 0 | 0 | 0 | 20 | 74 | 74 | 74 | 74 | 74 | 1 | 0 | 0 | 0.75 | 56.25 | 74 | 74 | 74 | 74 | 74 | 74 | 1041.25
[34 empty] | 7 | 01.30-01.45 | 50.03 |  | 890
[34 empty] | 8 | 01.45-02:00 | 50.01 | 50.035 | 876 | 879.75
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.96 |  | 865 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.96 |  | 853
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.96 |  | 856
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.99 | 49.9675 | 848 | 855.5
1 | 493.3085 | 53.9487 | 34.7893 | 15.5 | 74 | 92.25 | 763.7965 | 98.1222 | 861.9186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 861.9186 | 1 | 497.9583 | 53.5 | 34.5 | 585.9583 | 862.75 | 871 | 855 | 862.75 | 862.75 | 861.9186 | 0 | 13 | 03.00-03.15 | 49.9 |  | 870 |  | 53.5 | 1
2 | 545.0706 | 54.9571 | 84.2003 | 15 | 74 | 91 | 864.2279 | 14.6744 | 878.9023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 878.9023 | 2 | 550.2083 | 54.5 | 83.5 | 688.2083 | 879.75 | 890 | 876 | 879.75 | 879.75 | 878.9023 | 0 | 14 | 03.15-03.30 | 49.99 |  | 881 |  | 54.5 | 2
3 | 547.1757 | 59.2427 | 90.2506 | 17.75 | 1.25 | 57.5 | 773.169 | 74.831 | 848 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 848 | 3 | 552.3333 | 58.75 | 89.5 | 700.5833 | 855.5 | 865 | 848 | 848 | 848 | 848 | 0 | 15 | 03.30-03.45 | 50 |  | 886 |  | 58.75 | 3
4 | 563.1502 | 0.2521 | 106.1327 | 15.5 | 0 | 57 | 742.0349 | 136.1181 | 878.153 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 878.153 | 4 | 568.4583 | 0.25 | 105.25 | 673.9583 | 879 | 886 | 870 | 879 | 879 | 878.153 | 0 | 16 | 03.45-04.00 | 50.01 | 49.975 | 879 | 879 | 0.25 | 4
5 | 543.5598 | 0 | 79.9146 | 15 | 0 | 57 | 695.4744 | 190.4211 | 885.8955 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 885.8955 | 5 | 548.6833 | 0 | 79.25 | 627.9333 | 886.75 | 898 | 876 | 886.75 | 886.75 | 885.8955 | 0 | 17 | 04.00-04.15 | 50.01 |  | 876 |  | 0 | 5
6 | 571.125 | 0 | 80.4188 | 0 | 0 | 57 | 708.5438 | 340.1946 | 1048.7385 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1048.7385 | 6 | 576.5083 | 0 | 79.75 | 656.2583 | 1049.75 | 1183 | 945 | 1049.75 | 1049.75 | 1048.7385 | 0 | 18 | 04.15-04.30 | 50 |  | 879 |  | 0 | 6
7 | 567.6577 | 0 | 39.3271 | 0 | 0 | 73 | 679.9848 | 700.6835 | 1380.6683 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1380.6683 | 7 | 573.0083 | 0 | 39 | 612.0083 | 1382 | 1461 | 1276 | 1382 | 1382 | 1380.6683 | 0 | 19 | 04.30-04.45 | 50 |  | 894 |  | 0 | 7
8 | 543.0645 | 0 | 91.7632 | 0 | 20 | 89.75 | 744.5777 | 837.4223 | 1582 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1582 | 8 | 548.1833 | 0 | 91 | 639.1833 | 1546.5 | 1582 | 1515 | 1582 | 1582 | 1582 | 0 | 20 | 04.45-05.00 | 49.98 | 49.9975 | 898 | 886.75 | 0 | 8
9 | 568.896 | 0 | 118.7375 | 0 | 74 | 90 | 851.6335 | 681.3878 | 1533.0213 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1533.0213 | 9 | 574.2583 | 0 | 117.75 | 692.0083 | 1534.5 | 1541 | 1526 | 1534.5 | 1534.5 | 1533.0213 | 0 | 21 | 05.00-05.15 | 50 |  | 945 |  | 0 | 9
10 | 540.3649 | 0 | 101.847 | 0 | 74 | 90 | 806.212 | 716.3195 | 1522.5315 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1522.5315 | 10 | 545.4583 | 0 | 101 | 646.4583 | 1524 | 1532 | 1518 | 1524 | 1524 | 1522.5315 | 0 | 22 | 05.15-05.30 | 50.03 |  | 985 |  | 0 | 10
11 | 503.4628 | 0 | 119.7459 | 0 | 74 | 90 | 787.2087 | 707.3498 | 1494.5584 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1494.5584 | 11 | 508.2083 | 0 | 118.75 | 626.9583 | 1496 | 1522 | 1468 | 1496 | 1496 | 1494.5584 | 0 | 23 | 05.30-05.45 | 50 |  | 1086 |  | 0 | 11
12 | 498.2618 | 0 | 117.7291 | 0 | 74 | 89.75 | 779.7409 | 648.8811 | 1428.622 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1428.622 | 12 | 502.9583 | 0 | 116.75 | 619.7083 | 1430 | 1447 | 1397 | 1430 | 1430 | 1428.622 | 0 | 24 | 05.45-06.00 | 50.01 | 50.01 | 1183 | 1049.75 | 0 | 12
13 | 494.7945 | 0 | 45.6295 | 0 | 74 | 57.75 | 672.174 | 692.0102 | 1364.1842 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1364.1842 | 13 | 499.4583 | 0 | 45.25 | 544.7083 | 1365.5 | 1382 | 1307 | 1365.5 | 1365.5 | 1364.1842 | 0 | 25 | 06.00-06.15 | 50 |  | 1276 |  | 0 | 13
14 | 524.4153 | 0 | 39.3271 | 0 | 1 | 57 | 621.7423 | 685.7465 | 1307.4889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1307.4889 | 14 | 529.3583 | 0 | 39 | 568.3583 | 1308.75 | 1315 | 1303 | 1308.75 | 1308.75 | 1307.4889 | 0 | 26 | 06.15-06.30 | 50.02 |  | 1366 |  | 0 | 14
15 | 495.7108 | 0 | 4.7898 | 0 | 0 | 57.5 | 558.0007 | 749.4882 | 1307.4889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1307.4889 | 15 | 500.3833 | 0 | 4.75 | 505.1333 | 1308.75 | 1316 | 1298 | 1308.75 | 1308.75 | 1307.4889 | 0 | 27 | 06.30-06.45 | 50.04 |  | 1425 |  | 0 | 15
16 | 505.5184 | 0 | 0 | 0 | 0 | 79 | 584.5184 | 733.7101 | 1318.2285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1318.2285 | 16 | 510.2833 | 0 | 0 | 510.2833 | 1319.5 | 1326 | 1314 | 1319.5 | 1319.5 | 1318.2285 | 0 | 28 | 06.45-07.00 | 50.04 | 50.025 | 1461 | 1382 | 0 | 16
17 | 510.4965 | 0 | 0 | 0 | 0.75 | 79 | 590.2465 | 715.7439 | 1305.9903 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1305.9903 | 17 | 515.3083 | 0 | 0 | 515.3083 | 1307.25 | 1326 | 1299 | 1307.25 | 1307.25 | 1305.9903 | 0 | 29 | 07.00-07.15 | 50.01 |  | 1515 |  | 0 | 17
18 | 486.4729 | 0 | 29.9995 | 0 | 56.25 | 79 | 651.7224 | 624.7963 | 1276.5188 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1276.5188 | 18 | 491.0583 | 0 | 29.75 | 520.8083 | 1277.75 | 1298 | 1265 | 1277.75 | 1277.75 | 1276.5188 | 0 | 30 | 07.15-07.30 | 50.01 |  | 1548 |  | 0 | 18
19 | 472.356 | 0 | 46.89 | 0 | 74 | 79 | 672.2459 | 554.8205 | 1227.0665 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1227.0665 | 19 | 476.8083 | 0 | 46.5 | 523.3083 | 1228.25 | 1261 | 1187 | 1228.25 | 1228.25 | 1227.0665 | 0 | 31 | 07.30-07.45 | 50.04 |  | 1582 |  | 0 | 19
20 | 488.9496 | 86.7212 | 30.2516 | 0 | 74 | 79 | 758.9224 | 483.6291 | 1242.5515 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1242.5515 | 20 | 493.5583 | 86 | 30 | 609.5583 | 1243.75 | 1297 | 1175 | 1243.75 | 1243.75 | 1242.5515 | 0 | 32 | 07.45-08.00 | 50.02 | 50.02 | 1541 | 1546.5 | 86 | 20
21 | 572.6605 | 89.9985 | 41.0917 | 100.25 | 74 | 110.75 | 988.7508 | 261.0438 | 1249.7945 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1249.7945 | 21 | 578.0583 | 89.25 | 40.75 | 708.0583 | 1251 | 1281 | 1215 | 1251 | 1251 | 1249.7945 | 0 | 33 | 08.00-08.15 | 49.92 |  | 1541 |  | 89.25 | 21
22 | 639.5302 | 89.9985 | 60.5032 | 95.5 | 74 | 111 | 1070.5319 | 60.6271 | 1131.159 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1131.159 | 22 | 645.5583 | 89.25 | 60 | 794.8083 | 1132.25 | 1185 | 1080 | 1132.25 | 1132.25 | 1131.159 | 0 | 34 | 08.15-08.30 | 49.87 |  | 1537 |  | 89.25 | 22
23 | 588.2635 | 87.7296 | 38.3187 | 29.75 | 74 | 111 | 929.0618 | 86.9583 | 1016.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1016.02 | 23 | 593.8083 | 87 | 38 | 718.8083 | 1017 | 1048 | 990 | 1017 | 1017 | 1016.02 | 0 | 35 | 08.30-08.45 | 49.86 |  | 1534 |  | 87 | 23
24 | 592.7214 | 44.8732 | 101.3428 | 30 | 74 | 111.25 | 954.1875 | -11.8464 | 942.3411 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 942.3411 | 24 | 598.3083 | 44.5 | 100.5 | 743.3083 | 943.25 | 961 | 931 | 943.25 | 943.25 | 942.3411 | 0 | 36 | 08.45-09.00 | 49.98 | 49.9075 | 1526 | 1534.5 | 44.5 | 24
[34 empty] | 37 | 09.00-09.15 | 49.91 |  | 1518
TOTAL (in MWh) | 12856.987 | 567.7216 | 1503 | 334.25 | 1041.25 | 1945.5 | 18248.7086 | 10783.133 | 29031.8416 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29031.8416 | TOTAL | 12978.175 | 563 | 1490.5 | 15031.675 | 29029.5 |  |  | 29057.5 | 29057.5 | 29031.8416 | 0 | 38 | 09.15-09.30 | 50 |  | 1532
[34 empty] | 39 | 09.30-09.45 | 50.02 |  | 1523
[34 empty] | 40 | 09.45-10.00 | 50.13 | 50.015 | 1523 | 1524
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9995; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.13 |  | 1522
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1582; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.13 |  | 1505
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1582; 5+6 P6 14: MW | MAX = | 1582 | [10 empty] | 43 | 10.30-10.45 | 50.05 |  | 1489
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 848; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 848 | [10 empty] | 44 | 10.45-11.00 | 50.02 | 50.0825 | 1468 | 1496
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 12856.987; 5+6 P6 14: MWH; 5+6 P11 19: 29.691; 5+6 P11/1000 20: 12827.296 | [12 empty] | 45 | 11.00-11.15 | 50.02 |  | 1447
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 1503; 5+6 P6 14: MWH; 5+6 P11 19: 4.22; 5+6 P11/1000 20: 1498.78 | [12 empty] | 46 | 11.15-11.30 | 49.98 |  | 1444
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 567.7216; 5+6 P6 14: MWH; 5+6 P11 19: 0.796; 5+6 P11/1000 20: 566.9256 | [12 empty] | 47 | 11.30-11.45 | 49.98 |  | 1432
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 58.75; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.01 | 49.9975 | 1397 | 1430
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 44.5; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.02 |  | 1382
|  |  | Max.generation of Malana at 2100 Hrs. |  |  |  | 5+6 P4 12: 89.25; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.99 |  | 1365
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 49.98 |  | 1365
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 578.6773; 5+6 P4 12: 449.6667; 5+6 P11 19: 128.5699; 5+6 P11/1000 20: 128.273 | [12 empty] | 51 | 12.30-12.45 | 50 | 49.9975 | 1350 | 1365.5
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 218.5832; 5+6 P4 12: 151.3872; 5+6 P11 19: 50.7866; 5+6 P11/1000 20: 50.5417 | [12 empty] | 52 | 12.45-13.00 | 50.18 |  | 1307
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 360.0941; 5+6 P4 12: 298.2796; 5+6 P11 19: 77.7833; 5+6 P11/1000 20: 77.7313 | [12 empty] | 53 | 13.00-13.15 | 50.16 |  | 1310
[34 empty] | 55 | 13.30-13.45 | 50.06 |  | 1315
[34 empty] | 56 | 13.45-14.00 | 50.04 | 50.11 | 1303 | 1308.75
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 50.04 |  | 1315
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.95 |  | 1298
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2023-05-02 | [12 empty] | 59 | 14.30-14.45 | 49.89 |  | 1306
[34 empty] | 60 | 14.45-15.00 | 49.92 | 49.95 | 1316 | 1308.75 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 49.95 |  | 1317
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 49.92 |  | 1321 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.99 |  | 1314
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 50 | 49.965 | 1326 | 1319.5
1 | [33 empty] | 65 | 16.00-16.15 | 49.99 |  | 1326 | bar: 5+6 P12 21
2 | [33 empty] | 66 | 16.15-16.30 | 49.94 |  | 1301 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 49.98 |  | 1303 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 49.99 | 49.975 | 1299 | 1307.25 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 49.94 |  | 1298 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 49.92 |  | 1275 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.01 |  | 1273 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50.01 | 49.97 | 1265 | 1277.75 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.04 |  | 1261 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.02 |  | 1257 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.05 |  | 1208 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50 | 50.0275 | 1187 | 1228.25 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 50.03 |  | 1175 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 50 |  | 1206 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 50.03 |  | 1297 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 50.04 | 50.025 | 1297 | 1243.75 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.04 |  | 1281 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50.02 |  | 1263 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 50.02 |  | 1245 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 50.01 | 50.0225 | 1215 | 1251 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 49.97 |  | 1185 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 49.99 |  | 1151 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 50.01 |  | 1113
[34 empty] | 88 | 21.45-22.00 | 50.06 | 50.0075 | 1080 | 1132.25
[34 empty] | 89 | 22.00-22.15 | 49.98 |  | 1048
[34 empty] | 90 | 22.15-22.30 | 49.98 |  | 1025
[34 empty] | 91 | 22.30-22.45 | 49.99 |  | 1005
[34 empty] | 92 | 22.45-23.00 | 49.91 | 49.965 | 990 | 1017
[34 empty] | 93 | 23.00-23.15 | 49.84 |  | 961
[34 empty] | 94 | 23.15-23.30 | 49.9 |  | 941
[34 empty] | 95 | 23.30-23.45 | 49.91 |  | 931
[34 empty] | 96 | 23.45-24.00 | 49.99 | 49.91 | 940 | 943.25
[35 empty] | Total | 49.9995 | 49.9995 | 29029.5 | 29029.5
[35 empty] | max | 1582 |  | avg. max | 1546.5
[35 empty] | min | 848 |  | avg. min | 855.5
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.