## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2023-05-14
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2023-05-15
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 26394.25 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 648 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 1952 | MWh | MALANA-II | 644 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1284 | [6 empty] | HOLI BAJOLI | 2754.4 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50.02 |  | 1043
|  | Month/Day :- |  |  |  |  | 2023-05-14 | [10 empty] | Min.DEMAND(MW) |  | 920 |  | ACTUAL OWN GENERATION |  |  | 14185.3115 | MWh | SWARA KUDDU | 1033 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.03 |  | 1040
[34 empty] | 3 | 00.30-00.45 | 50.03 |  | 1053 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.05 | 50.0325 | 1049 | 1046.25 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50.02 |  | 1042 |  |  |  | MALANA-2 | 30 | 30 | 30 | 30 | 30 | 29.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.75 | 30.25 | 42 | 101.25 | 101 | 99.5 | 30 | 30 | 635
[34 empty] | 6 | 01.15-01.30 | 49.98 |  | 1026 |  |  |  | SWARA KUDDU | 74 | 74 | 37.25 | 37 | 0.25 | 0 | 0 | 1 | 38 | 74 | 74 | 74 | 74 | 74 | 1.25 | 0 | 0 | 0.75 | 37 | 65.5 | 74 | 74 | 74 | 74 | 1032
[34 empty] | 7 | 01.30-01.45 | 49.93 |  | 1009
[34 empty] | 8 | 01.45-02:00 | 49.98 | 49.9775 | 994 | 1017.75
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.96 |  | 998 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.97 |  | 998
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.96 |  | 980
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.99 | 49.97 | 963 | 984.75
1 | 693.3999 | 55.6306 | 140.6022 | 30 | 74 | 183 | 1176.6327 | -131.0066 | 1045.6261 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1045.6261 | 1 | 714.5833 | 59.25 | 149.75 | 923.5833 | 1046.25 | 1053 | 1040 | 1046.25 | 1046.25 | 1045.6261 | 0 | 13 | 03.00-03.15 | 50.01 |  | 939 |  | 59.25 | 1
2 | 665.2595 | 40.3733 | 179.5671 | 30 | 74 | 113.25 | 1102.4499 | -85.3069 | 1017.143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1017.143 | 2 | 685.5833 | 43 | 191.25 | 919.8333 | 1017.75 | 1042 | 994 | 1017.75 | 1017.75 | 1017.143 | 0 | 14 | 03.15-03.30 | 49.97 |  | 930 |  | 43 | 2
3 | 624.8685 | 40.3733 | 205.6219 | 30 | 37.25 | 112 | 1050.1137 | -65.951 | 984.1627 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 984.1627 | 3 | 643.9583 | 43 | 219 | 905.9583 | 984.75 | 998 | 963 | 984.75 | 984.75 | 984.1627 | 0 | 15 | 03.30-03.45 | 49.97 |  | 920 |  | 43 | 3
4 | 618.1973 | 24.6465 | 159.8499 | 30 | 37 | 183 | 1052.6937 | -132.6937 | 920 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 920 | 4 | 637.0833 | 26.25 | 170.25 | 833.5833 | 927.5 | 939 | 920 | 920 | 920 | 920 | 0 | 16 | 03.45-04.00 | 49.99 | 49.985 | 921 | 927.5 | 26.25 | 4
5 | 635.6394 | 24.4117 | 140.1328 | 30 | 0.25 | 183 | 1013.4339 | -33.7685 | 979.6654 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 979.6654 | 5 | 655.0583 | 26 | 149.25 | 830.3083 | 980.25 | 1012 | 952 | 980.25 | 980.25 | 979.6654 | 0 | 17 | 04.00-04.15 | 49.96 |  | 952 |  | 26 | 5
6 | 633.5289 | 0.23473 | 108.4444 | 29.25 | 0 | 183 | 954.4581 | 102.1614 | 1056.6195 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1056.6195 | 6 | 652.8833 | 0.25 | 115.5 | 768.6333 | 1057.25 | 1076 | 1030 | 1057.25 | 1057.25 | 1056.6195 | 0 | 18 | 04.15-04.30 | 49.98 |  | 962 |  | 0.25 | 6
7 | 588.4074 | 0 | 27.9327 | 0 | 0 | 183 | 799.3401 | 353.9717 | 1153.3118 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1153.3118 | 7 | 606.3833 | 0 | 29.75 | 636.1333 | 1154 | 1187 | 1105 | 1154 | 1154 | 1153.3118 | 0 | 19 | 04.30-04.45 | 50 |  | 995 |  | 0 | 7
8 | 665.9631 | 0 | 92.7177 | 0 | 1 | 81 | 840.6807 | 443.3193 | 1284 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1284 | 8 | 686.3083 | 0 | 98.75 | 785.0583 | 1260.75 | 1284 | 1224 | 1284 | 1284 | 1284 | 0 | 20 | 04.45-05.00 | 50.01 | 49.9875 | 1012 | 980.25 | 0 | 8
9 | 690.5373 | 0 | 91.544 | 0 | 38 | 81 | 901.0813 | 345.6747 | 1246.756 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1246.756 | 9 | 711.6333 | 0 | 97.5 | 809.1333 | 1247.5 | 1252 | 1244 | 1247.5 | 1247.5 | 1246.756 | 0 | 21 | 05.00-05.15 | 49.98 |  | 1030 |  | 0 | 9
10 | 642.2136 | 0 | 72.7658 | 0 | 74 | 81 | 869.9794 | 335.3014 | 1205.2808 | 0 | 0 | 0 | 0 | 0 | 42 | 0 | 0 | 0 | 42 | 0.042 | 1247.2808 | 10 | 661.8333 | 0 | 77.5 | 739.3333 | 1206 | 1210 | 1203 | 1206 | 1206 | 1205.2808 | 42 | 22 | 05.15-05.30 | 49.99 |  | 1056 |  | 0 | 10
11 | 585.933 | 0 | 102.3415 | 0 | 74 | 81 | 843.2745 | 369.252 | 1212.5265 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 60 | 0.06 | 1272.5265 | 11 | 603.8333 | 0 | 109 | 712.8333 | 1213.25 | 1220 | 1205 | 1213.25 | 1213.25 | 1212.5265 | 60 | 23 | 05.30-05.45 | 50.03 |  | 1076 |  | 0 | 11
12 | 519.221 | 0 | 65.4892 | 0 | 74 | 81 | 739.7102 | 442.8341 | 1182.5444 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 60 | 0.06 | 1242.5444 | 12 | 535.0833 | 0 | 69.75 | 604.8333 | 1183.25 | 1195 | 1173 | 1183.25 | 1183.25 | 1182.5444 | 60 | 24 | 05.45-06.00 | 50.04 | 50.01 | 1067 | 1057.25 | 0 | 12
13 | 532.806 | 0 | 47.4151 | 0 | 74 | 81 | 735.2211 | 421.0889 | 1156.31 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 60 | 0.06 | 1216.31 | 13 | 549.0833 | 0 | 50.5 | 599.5833 | 1157 | 1169 | 1118 | 1157 | 1157 | 1156.31 | 60 | 25 | 06.00-06.15 | 50.05 |  | 1105 |  | 0 | 13
14 | 551.3883 | 0 | 87.3189 | 0 | 74 | 81 | 793.7072 | 313.8818 | 1107.5891 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 60 | 0.06 | 1167.5891 | 14 | 568.2333 | 0 | 93 | 661.2333 | 1108.25 | 1112 | 1108 | 1108.25 | 1108.25 | 1107.5891 | 60 | 26 | 06.15-06.30 | 50.05 |  | 1157 |  | 0 | 14
15 | 526.4259 | 0 | 47.1804 | 0 | 1.25 | 81.5 | 656.3563 | 430.4951 | 1086.8515 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 60 | 0.06 | 1146.8515 | 15 | 542.5083 | 0 | 50.25 | 592.7583 | 1087.5 | 1099 | 1074 | 1087.5 | 1087.5 | 1086.8515 | 60 | 27 | 06.30-06.45 | 50.09 |  | 1167 |  | 0 | 15
16 | 507.8921 | 0 | 34.5051 | 0 | 0 | 101.5 | 643.8972 | 425.4647 | 1069.3619 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 60 | 0.06 | 1129.3619 | 16 | 523.4083 | 0 | 36.75 | 560.1583 | 1070 | 1082 | 1055 | 1070 | 1070 | 1069.3619 | 60 | 28 | 06.45-07.00 | 50.1 | 50.0725 | 1187 | 1154 | 0 | 16
17 | 501.1239 | 0.23473 | 27.2285 | 21.75 | 0 | 101.5 | 651.8371 | 391.0406 | 1042.8777 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 60 | 0.06 | 1102.8777 | 17 | 516.4333 | 0.25 | 29 | 545.6833 | 1043.5 | 1056 | 1025 | 1043.5 | 1043.5 | 1042.8777 | 60 | 29 | 07.00-07.15 | 50.04 |  | 1224 |  | 0.25 | 17
18 | 496.2721 | 40.1385 | 47.1804 | 30.25 | 0.75 | 101.5 | 716.091 | 340.5284 | 1056.6195 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 17 | 0.017 | 1073.6195 | 18 | 511.4333 | 42.75 | 50.25 | 604.4333 | 1057.25 | 1063 | 1048 | 1057.25 | 1057.25 | 1056.6195 | 17 | 30 | 07.15-07.30 | 50.05 |  | 1261 |  | 42.75 | 18
19 | 563.2267 | 41.5469 | 40.3733 | 42 | 37 | 126.25 | 850.3968 | 194.9794 | 1045.3762 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1045.3762 | 19 | 580.4333 | 44.25 | 43 | 667.6833 | 1046 | 1055 | 1037 | 1046 | 1046 | 1045.3762 | 0 | 31 | 07.30-07.45 | 50.03 |  | 1274 |  | 44.25 | 19
20 | 560.5582 | 80.2771 | 27.2285 | 101.25 | 65.5 | 182.75 | 1017.5637 | 124.7546 | 1142.3184 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1142.3184 | 20 | 577.6833 | 85.5 | 29 | 692.1833 | 1143 | 1224 | 1067 | 1143 | 1143 | 1142.3184 | 0 | 32 | 07.45-08.00 | 50.1 | 50.055 | 1284 | 1260.75 | 85.5 | 20
21 | 588.6985 | 80.7465 | 33.5661 | 101 | 74 | 183 | 1061.0112 | 158.5111 | 1219.5223 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1219.5223 | 21 | 606.6833 | 86 | 35.75 | 728.4333 | 1220.25 | 1240 | 1190 | 1220.25 | 1220.25 | 1219.5223 | 0 | 33 | 08.00-08.15 | 50.06 |  | 1252 |  | 86 | 21
22 | 615.8685 | 80.7465 | 38.7302 | 99.5 | 74 | 183 | 1091.8451 | 57.4691 | 1149.3142 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1149.3142 | 22 | 634.6833 | 86 | 41.25 | 761.9333 | 1150 | 1176 | 1125 | 1150 | 1150 | 1149.3142 | 0 | 34 | 08.15-08.30 | 50.01 |  | 1246 |  | 86 | 22
23 | 594.278 | 80.7465 | 55.3959 | 30 | 74 | 182.25 | 1016.6704 | 37.9503 | 1054.6207 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1054.6207 | 23 | 612.4333 | 86 | 59 | 757.4333 | 1055.25 | 1082 | 1026 | 1055.25 | 1055.25 | 1054.6207 | 0 | 35 | 08.30-08.45 | 50.04 |  | 1244 |  | 86 | 23
24 | 583.6041 | 65.0197 | 78.8687 | 30 | 74 | 182 | 1013.4925 | -36.3256 | 977.1669 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 977.1669 | 24 | 601.4333 | 69.25 | 84 | 754.6833 | 977.75 | 1005 | 944 | 977.75 | 977.75 | 977.1669 | 0 | 36 | 08.45-09.00 | 50.12 | 50.0575 | 1248 | 1247.5 | 69.25 | 24
[34 empty] | 37 | 09.00-09.15 | 50.07 |  | 1206
TOTAL (in MWh) | 14185.3115 | 655.1265 | 1952 | 635 | 1032 | 3132.5 | 21591.938 | 4803.6264 | 26395.5644 | 0 | 0 | 0 | 0 | 0 | 479 | 0 | 0 | 0 | 479 | 479 | 26874.5644 | TOTAL | 14618.675 | 697.75 | 2079 | 17395.425 | 26394.25 |  |  | 26410 | 26410 | 26395.5644 | 479 | 38 | 09.15-09.30 | 50.06 |  | 1205
[34 empty] | 39 | 09.30-09.45 | 50.03 |  | 1203
[34 empty] | 40 | 09.45-10.00 | 49.98 | 50.035 | 1210 | 1206
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 50.0093; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.98 |  | 1215
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1284; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.95 |  | 1220
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1284; 5+6 P6 14: MW | MAX = | 1284 | [10 empty] | 43 | 10.30-10.45 | 49.96 |  | 1213
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 920; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 920 | [10 empty] | 44 | 10.45-11.00 | 50.03 | 49.98 | 1205 | 1213.25
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 14185.3115; 5+6 P6 14: MWH; 5+6 P11 19: 28.542; 5+6 P11/1000 20: 14156.7695 | [12 empty] | 45 | 11.00-11.15 | 50.08 |  | 1195
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 1952; 5+6 P6 14: MWH; 5+6 P11 19: 5.17; 5+6 P11/1000 20: 1946.83 | [12 empty] | 46 | 11.15-11.30 | 49.96 |  | 1185
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 655.1265; 5+6 P6 14: MWH; 5+6 P11 19: 0.968; 5+6 P11/1000 20: 654.1585 | [12 empty] | 47 | 11.30-11.45 | 49.96 |  | 1180
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 43; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.9 | 49.975 | 1173 | 1183.25
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 69.25; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.93 |  | 1169
|  |  | Max.generation of Malana at 2100 Hrs. |  |  |  | 5+6 P4 12: 86; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.86 |  | 1157
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 49.87 |  | 1147
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 640.9484; 5+6 P4 12: 762.5274; 5+6 P11 19: 141.8531; 5+6 P11/1000 20: 141.5677 | [12 empty] | 51 | 12.30-12.45 | 49.76 | 49.855 | 1155 | 1157
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 283.2942; 5+6 P4 12: 228.9323; 5+6 P11 19: 61.0588; 5+6 P11/1000 20: 60.8191 | [12 empty] | 52 | 12.45-13.00 | 49.79 |  | 1118
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 357.6542; 5+6 P4 12: 533.5951; 5+6 P11 19: 80.7943; 5+6 P11/1000 20: 80.7486 | [12 empty] | 53 | 13.00-13.15 | 49.89 |  | 1095
[34 empty] | 55 | 13.30-13.45 | 49.97 |  | 1108
[34 empty] | 56 | 13.45-14.00 | 50.05 | 49.925 | 1112 | 1108.25
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 50.09 |  | 1099
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 50.01 |  | 1086
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2023-05-14 | [12 empty] | 59 | 14.30-14.45 | 50.01 |  | 1074
[34 empty] | 60 | 14.45-15.00 | 49.94 | 50.0125 | 1091 | 1087.5 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 50.04 |  | 1082
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 50.04 |  | 1070 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.98 |  | 1073
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 50.03 | 50.0225 | 1055 | 1070
1 | 220 KV UPNGL- Nalagarh ckt-II | 60 | 0 | 60 | 9 | 18 | 7: 17; 8: 17; 5+6 P1 9: 7; 5+6 P2 10: 59; 5+6 P3 11: 4.79; 5+6 P4 12: Planned shutdown | [12 empty] | 65 | 16.00-16.15 | 50.14 |  | 1040
2 | [33 empty] | 66 | 16.15-16.30 | 49.99 |  | 1025 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 50.05 |  | 1056 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 49.96 | 50.035 | 1053 | 1043.5 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50.07 |  | 1058 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50.02 |  | 1060 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.02 |  | 1048 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50.03 | 50.035 | 1063 | 1057.25 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.11 |  | 1055 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.05 |  | 1037 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.09 |  | 1048 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50.06 | 50.0775 | 1044 | 1046 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 49.94 |  | 1067 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 49.94 |  | 1123 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 49.98 |  | 1158 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 50.02 | 49.97 | 1224 | 1143 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.06 |  | 1237 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 49.99 |  | 1240 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.98 |  | 1214 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 50.02 | 50.0125 | 1190 | 1220.25 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 49.97 |  | 1176 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 50.03 |  | 1157 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 50.09 |  | 1142
[34 empty] | 88 | 21.45-22.00 | 50.07 | 50.04 | 1125 | 1150
[34 empty] | 89 | 22.00-22.15 | 50.04 |  | 1082
[34 empty] | 90 | 22.15-22.30 | 50.04 |  | 1071
[34 empty] | 91 | 22.30-22.45 | 50.04 |  | 1042
[34 empty] | 92 | 22.45-23.00 | 50.06 | 50.045 | 1026 | 1055.25
[34 empty] | 93 | 23.00-23.15 | 50.05 |  | 1005
[34 empty] | 94 | 23.15-23.30 | 50.02 |  | 987
[34 empty] | 95 | 23.30-23.45 | 50.08 |  | 975
[34 empty] | 96 | 23.45-24.00 | 50.07 | 50.055 | 944 | 977.75
[35 empty] | Total | 50.0093 | 50.0093 | 26394.25 | 26394.25
[35 empty] | max | 1284 |  | avg. max | 1260.75
[35 empty] | min | 920 |  | avg. min | 927.5
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.