## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2023-05-15
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2023-05-16
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 29470.75 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 691 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 1885 | MWh | MALANA-II | 648 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1532 | [6 empty] | HOLI BAJOLI | 2325.132 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50.21 |  | 963
|  | Month/Day :- |  |  |  |  | 2023-05-15 | [10 empty] | Min.DEMAND(MW) |  | 763 |  | ACTUAL OWN GENERATION |  |  | 13278.236 | MWh | SWARA KUDDU | 1144 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.13 |  | 953
[34 empty] | 3 | 00.30-00.45 | 50.05 |  | 953 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.04 | 50.1075 | 955 | 956 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50.04 |  | 888 |  |  |  | MALANA-2 | 25 | 25 | 25 | 25 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30.25 | 30 | 30 | 30.25 | 42.5 | 101 | 101 | 98.25 | 29.75 | 30 | 648
[34 empty] | 6 | 01.15-01.30 | 50.02 |  | 880 |  |  |  | SWARA KUDDU | 74 | 74 | 37.25 | 37 | 37 | 37 | 37 | 37 | 47 | 74 | 74 | 74 | 74 | 74 | 1.25 | 0 | 0 | 0 | 1.5 | 65.75 | 74 | 74 | 74 | 74 | 1151.75
[34 empty] | 7 | 01.30-01.45 | 49.99 |  | 874
[34 empty] | 8 | 01.45-02:00 | 49.99 | 50.01 | 867 | 877.25
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.99 |  | 833 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.98 |  | 827
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.99 |  | 830
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.01 | 49.9925 | 826 | 829
1 | 617.3158 | 78.3742 | 85.1566 | 25 | 74 | 181 | 1060.8465 | -104.0186 | 956.8279 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 956.8279 | 1 | 638.7917 | 78 | 84.75 | 801.5417 | 956 | 963 | 953 | 956 | 956 | 956.8279 | 0 | 13 | 03.00-03.15 | 49.99 |  | 792 |  | 78 | 1
2 | 597.9881 | 65.8142 | 76.3646 | 25 | 74 | 123.5 | 962.667 | -84.6573 | 878.0097 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 878.0097 | 2 | 618.7917 | 65.5 | 76 | 760.2917 | 877.25 | 888 | 867 | 877.25 | 877.25 | 878.0097 | 0 | 14 | 03.15-03.30 | 49.99 |  | 781 |  | 65.5 | 2
3 | 542.0589 | 26.6271 | 109.5229 | 25 | 37.25 | 102.5 | 842.9589 | -13.241 | 829.7179 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 829.7179 | 3 | 560.9167 | 26.5 | 109 | 696.4167 | 829 | 833 | 826 | 829 | 829 | 829.7179 | 0 | 15 | 03.30-03.45 | 50 |  | 763 |  | 26.5 | 3
4 | 547.7364 | 26.3759 | 88.171 | 25 | 37 | 57.25 | 781.5333 | -18.5333 | 763 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 763 | 4 | 566.7917 | 26.25 | 87.75 | 680.7917 | 804.5 | 882 | 763 | 763 | 763 | 763 | 0 | 16 | 03.45-04.00 | 49.99 | 49.9925 | 882 | 804.5 | 26.25 | 4
5 | 569.6974 | 0.2512 | 109.5229 | 25 | 37 | 56 | 797.4715 | 143.0924 | 940.5638 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 940.5638 | 5 | 589.5167 | 0.25 | 109 | 698.7667 | 939.75 | 979 | 917 | 939.75 | 939.75 | 940.5638 | 0 | 17 | 04.00-04.15 | 49.96 |  | 917 |  | 0.25 | 5
6 | 587.1647 | 0 | 138.1596 | 0 | 37 | 56 | 818.3243 | 363.9486 | 1182.273 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1182.273 | 6 | 607.5917 | 0 | 137.5 | 745.0917 | 1181.25 | 1302 | 1041 | 1181.25 | 1181.25 | 1182.273 | 0 | 18 | 04.15-04.30 | 49.97 |  | 928 |  | 0 | 6
7 | 604.8011 | 0 | 150.4684 | 0 | 37 | 56 | 848.2695 | 588.9741 | 1437.2436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1437.2436 | 7 | 625.8417 | 0 | 149.75 | 775.5917 | 1436 | 1499 | 1359 | 1436 | 1436 | 1437.2436 | 0 | 19 | 04.30-04.45 | 49.98 |  | 935 |  | 0 | 7
8 | 565.8318 | 0 | 80.1326 | 0 | 37 | 56 | 738.9644 | 793.0356 | 1532 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1532 | 8 | 585.5167 | 0 | 79.75 | 665.2667 | 1516 | 1532 | 1481 | 1532 | 1532 | 1532 | 0 | 20 | 04.45-05.00 | 50.02 | 49.9825 | 979 | 939.75 | 0 | 8
9 | 577.5009 | 0 | 30.6463 | 0 | 47 | 56 | 711.1472 | 747.3648 | 1458.512 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1458.512 | 9 | 597.5917 | 0 | 30.5 | 628.0917 | 1457.25 | 1466 | 1451 | 1457.25 | 1457.25 | 1458.512 | 0 | 21 | 05.00-05.15 | 49.98 |  | 1041 |  | 0 | 9
10 | 568.5135 | 0 | 54.2591 | 0 | 74 | 56 | 752.7726 | 686.9732 | 1439.7458 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1439.7458 | 10 | 588.2917 | 0 | 54 | 642.2917 | 1438.5 | 1443 | 1434 | 1438.5 | 1438.5 | 1439.7458 | 0 | 22 | 05.15-05.30 | 50.01 |  | 1145 |  | 0 | 10
11 | 551.3603 | 0 | 49.9887 | 0 | 74 | 56 | 731.349 | 665.6098 | 1396.9587 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1396.9587 | 11 | 570.5417 | 0 | 49.75 | 620.2917 | 1395.75 | 1414 | 1376 | 1395.75 | 1395.75 | 1396.9587 | 0 | 23 | 05.30-05.45 | 50.02 |  | 1237 |  | 0 | 11
12 | 545.3204 | 0 | 35.4191 | 0 | 74 | 56 | 710.7395 | 677.4616 | 1388.2012 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1388.2012 | 12 | 564.2917 | 0 | 35.25 | 599.5417 | 1387 | 1399 | 1381 | 1387 | 1387 | 1388.2012 | 0 | 24 | 05.45-06.00 | 50.09 | 50.025 | 1302 | 1181.25 | 0 | 12
13 | 562.2321 | 0 | 74.1038 | 0 | 74 | 56.25 | 766.5859 | 591.5893 | 1358.1752 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1358.1752 | 13 | 581.7917 | 0 | 73.75 | 655.5417 | 1357 | 1378 | 1282 | 1357 | 1357 | 1358.1752 | 0 | 25 | 06.00-06.15 | 50.11 |  | 1359 |  | 0 | 13
14 | 511.4005 | 0 | 34.1631 | 0 | 74 | 56 | 675.5636 | 603.5432 | 1279.1068 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1279.1068 | 14 | 529.1917 | 0 | 34 | 563.1917 | 1278 | 1291 | 1272 | 1278 | 1278 | 1279.1068 | 0 | 26 | 06.15-06.30 | 50.09 |  | 1423 |  | 0 | 14
15 | 590.9094 | 0 | 109.5229 | 30.25 | 1.25 | 56 | 787.9323 | 528.7069 | 1316.6392 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1316.6392 | 15 | 611.4667 | 0 | 109 | 720.4667 | 1315.5 | 1323 | 1300 | 1315.5 | 1315.5 | 1316.6392 | 0 | 27 | 06.30-06.45 | 50.07 |  | 1463 |  | 0 | 15
16 | 494.4163 | 0 | 56.5199 | 30 | 0 | 56 | 636.9362 | 696.7178 | 1333.654 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1333.654 | 16 | 511.6167 | 0 | 56.25 | 567.8667 | 1332.5 | 1342 | 1309 | 1332.5 | 1332.5 | 1333.654 | 0 | 28 | 06.45-07.00 | 50.03 | 50.075 | 1499 | 1436 | 0 | 16
17 | 567.1606 | 0 | 101.9869 | 30 | 0 | 79 | 778.1476 | 570.019 | 1348.1665 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1348.1665 | 17 | 586.8917 | 0 | 101.5 | 688.3917 | 1347 | 1360 | 1337 | 1347 | 1347 | 1348.1665 | 0 | 29 | 07.00-07.15 | 50 |  | 1520 |  | 0 | 17
18 | 534.3037 | 42.4527 | 66.0654 | 30.25 | 0 | 102 | 775.0718 | 523.0514 | 1298.1232 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1298.1232 | 18 | 552.8917 | 42.25 | 65.75 | 660.8917 | 1297 | 1320 | 1274 | 1297 | 1297 | 1298.1232 | 0 | 30 | 07.15-07.30 | 50.01 |  | 1532 |  | 42.25 | 18
19 | 509.9026 | 43.4575 | 37.1775 | 42.5 | 1.5 | 93.75 | 728.2876 | 502.5274 | 1230.815 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1230.815 | 19 | 527.6417 | 43.25 | 37 | 607.8917 | 1229.75 | 1262 | 1185 | 1229.75 | 1229.75 | 1230.815 | 0 | 31 | 07.30-07.45 | 50.03 |  | 1531 |  | 43.25 | 19
20 | 518.3584 | 86.1614 | 30.1439 | 101 | 65.75 | 182.25 | 983.6637 | 276.927 | 1260.5907 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1260.5907 | 20 | 536.3917 | 85.75 | 30 | 652.1417 | 1259.5 | 1329 | 1185 | 1259.5 | 1259.5 | 1260.5907 | 0 | 32 | 07.45-08.00 | 50.09 | 50.0325 | 1481 | 1516 | 85.75 | 20
21 | 534.3037 | 86.4126 | 60.0366 | 101 | 74 | 182.25 | 1038.0029 | 266.1255 | 1304.1284 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1304.1284 | 21 | 552.8917 | 86 | 59.75 | 698.6417 | 1303 | 1310 | 1292 | 1303 | 1303 | 1304.1284 | 0 | 33 | 08.00-08.15 | 50.02 |  | 1453 |  | 86 | 21
22 | 537.9276 | 86.4126 | 102.2381 | 98.25 | 74 | 183 | 1081.8283 | 165.5009 | 1247.3293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1247.3293 | 22 | 556.6417 | 86 | 101.75 | 744.3917 | 1246.25 | 1281 | 1221 | 1246.25 | 1246.25 | 1247.3293 | 0 | 34 | 08.15-08.30 | 50.02 |  | 1466 |  | 86 | 22
23 | 509.9026 | 86.4126 | 82.8958 | 29.75 | 74 | 183 | 965.9609 | 227.0713 | 1193.0323 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1193.0323 | 23 | 527.6417 | 86 | 82.5 | 696.1417 | 1192 | 1230 | 1160 | 1192 | 1192 | 1193.0323 | 0 | 35 | 08.30-08.45 | 50 |  | 1451 |  | 86 | 23
24 | 532.1293 | 60.0366 | 122.3341 | 30 | 74 | 182.75 | 1001.2501 | 94.6982 | 1095.9483 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1095.9483 | 24 | 550.6417 | 59.75 | 121.75 | 732.1417 | 1095 | 1113 | 1084 | 1095 | 1095 | 1095.9483 | 0 | 36 | 08.45-09.00 | 50.03 | 50.0175 | 1459 | 1457.25 | 59.75 | 24
[34 empty] | 37 | 09.00-09.15 | 50 |  | 1443
TOTAL (in MWh) | 13278.236 | 688.7886 | 1885 | 648 | 1151.75 | 2324.5 | 19976.2746 | 9492.4879 | 29468.7625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29468.7625 | TOTAL | 13740.175 | 685.5 | 1876 | 16301.675 | 29470.75 |  |  | 29445.25 | 29445.25 | 29468.7625 | 0 | 38 | 09.15-09.30 | 50.01 |  | 1442
[34 empty] | 39 | 09.30-09.45 | 49.99 |  | 1435
[34 empty] | 40 | 09.45-10.00 | 49.98 | 49.995 | 1434 | 1438.5
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 50.0149; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.94 |  | 1404
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1532; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.99 |  | 1414
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1532; 5+6 P6 14: MW | MAX = | 1532 | [10 empty] | 43 | 10.30-10.45 | 49.97 |  | 1389
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 763; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 763 | [10 empty] | 44 | 10.45-11.00 | 49.96 | 49.965 | 1376 | 1395.75
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 13278.236; 5+6 P6 14: MWH; 5+6 P11 19: 26.7055; 5+6 P11/1000 20: 13251.5305 | [12 empty] | 45 | 11.00-11.15 | 49.99 |  | 1384
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 1885; 5+6 P6 14: MWH; 5+6 P11 19: 4.31; 5+6 P11/1000 20: 1880.69 | [12 empty] | 46 | 11.15-11.30 | 49.95 |  | 1381
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 688.7886; 5+6 P6 14: MWH; 5+6 P11 19: 1.232; 5+6 P11/1000 20: 687.5566 | [12 empty] | 47 | 11.30-11.45 | 49.92 |  | 1384
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 26.5; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.91 | 49.9425 | 1399 | 1387
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 59.75; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.86 |  | 1378
|  |  | Max.generation of Malana at 2100 Hrs. |  |  |  | 5+6 P4 12: 86; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.7 |  | 1372
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 49.84 |  | 1347
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 542.676; 5+6 P4 12: 716.4257; 5+6 P11 19: 132.7824; 5+6 P11/1000 20: 132.5153 | [12 empty] | 51 | 12.30-12.45 | 49.93 | 49.8325 | 1331 | 1357
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 215.1153; 5+6 P4 12: 188.2892; 5+6 P11 19: 55.2821; 5+6 P11/1000 20: 55.0669 | [12 empty] | 52 | 12.45-13.00 | 50.02 |  | 1282
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 327.5607; 5+6 P4 12: 528.1365; 5+6 P11 19: 77.5003; 5+6 P11/1000 20: 77.4484 | [12 empty] | 53 | 13.00-13.15 | 50.02 |  | 1267
[34 empty] | 55 | 13.30-13.45 | 49.98 |  | 1272
[34 empty] | 56 | 13.45-14.00 | 49.98 | 50 | 1291 | 1278
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 49.99 |  | 1300
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 50.01 |  | 1321
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2023-05-15 | [12 empty] | 59 | 14.30-14.45 | 50.04 |  | 1323
[34 empty] | 60 | 14.45-15.00 | 50.06 | 50.025 | 1318 | 1315.5 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 50.14 |  | 1309
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 50.25 |  | 1342 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 50.22 |  | 1339
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 50.05 | 50.165 | 1340 | 1332.5
1 | [33 empty] | 65 | 16.00-16.15 | 50.02 |  | 1338 | bar: 5+6 P12 21
2 | [33 empty] | 66 | 16.15-16.30 | 50 |  | 1353 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 50.02 |  | 1360 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 50.09 | 50.0325 | 1337 | 1347 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50.06 |  | 1320 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50.04 |  | 1308 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.08 |  | 1286 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50.07 | 50.0625 | 1274 | 1297 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.17 |  | 1262 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.14 |  | 1251 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.09 |  | 1221 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50.05 | 50.1125 | 1185 | 1229.75 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 50 |  | 1185 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 49.88 |  | 1228 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 49.95 |  | 1296 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 50.01 | 49.96 | 1329 | 1259.5 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.03 |  | 1304 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50.01 |  | 1310 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.98 |  | 1306 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 49.98 | 50 | 1292 | 1303 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 50.01 |  | 1281 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 50.02 |  | 1255 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 50.01 |  | 1228
[34 empty] | 88 | 21.45-22.00 | 50.03 | 50.0175 | 1221 | 1246.25
[34 empty] | 89 | 22.00-22.15 | 49.99 |  | 1230
[34 empty] | 90 | 22.15-22.30 | 50.02 |  | 1187
[34 empty] | 91 | 22.30-22.45 | 50.01 |  | 1191
[34 empty] | 92 | 22.45-23.00 | 50 | 50.005 | 1160 | 1192
[34 empty] | 93 | 23.00-23.15 | 49.98 |  | 1113
[34 empty] | 94 | 23.15-23.30 | 49.99 |  | 1095
[34 empty] | 95 | 23.30-23.45 | 50.01 |  | 1088
[34 empty] | 96 | 23.45-24.00 | 50.05 | 50.0075 | 1084 | 1095
[35 empty] | Total | 50.0149 | 50.0149 | 29470.75 | 29470.75
[35 empty] | max | 1532 |  | avg. max | 1516
[35 empty] | min | 763 |  | avg. min | 804.5
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.