## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2023-05-16
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2023-05-17
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 31062.75 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 753 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 1722 | MWh | MALANA-II | 704 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1531 | [6 empty] | HOLI BAJOLI | 2614.22 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50 |  | 1070
|  | Month/Day :- |  |  |  |  | 2023-05-16 | [10 empty] | Min.DEMAND(MW) |  | 1017 |  | ACTUAL OWN GENERATION |  |  | 13875.8975 | MWh | SWARA KUDDU | 894 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.01 |  | 1051
[34 empty] | 3 | 00.30-00.45 | 50.04 |  | 1041 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.03 | 50.02 | 1039 | 1050.25 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.99 |  | 1027 |  |  |  | MALANA-2 | 30 | 30 | 30 | 30 | 30 | 29.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 30.5 | 39.5 | 101 | 101 | 99 | 29.75 | 30 | 700.25
[34 empty] | 6 | 01.15-01.30 | 50 |  | 1028 |  |  |  | SWARA KUDDU | 37.25 | 37 | 37 | 0.25 | 0 | 0 | 0 | 0.75 | 37 | 73.25 | 74 | 74 | 74 | 74 | 1.75 | 0 | 0 | 0 | 0 | 65.5 | 74 | 74 | 74 | 74 | 881.75
[34 empty] | 7 | 01.30-01.45 | 50 |  | 1027
[34 empty] | 8 | 01.45-02:00 | 50.03 | 50.005 | 1034 | 1029
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.02 |  | 1021 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 50.03 |  | 1018
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.93 |  | 1030
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.98 | 49.99 | 1030 | 1024.75
1 | 621.6772 | 73.1146 | 70.0681 | 30 | 37.25 | 182.25 | 1014.3599 | 35.3325 | 1049.6924 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1049.6924 | 1 | 650.0833 | 72 | 69 | 791.0833 | 1050.25 | 1070 | 1039 | 1050.25 | 1050.25 | 1049.6924 | 0 | 13 | 03.00-03.15 | 49.98 |  | 1018 |  | 72 | 1
2 | 638.4125 | 43.9195 | 52.0433 | 30 | 37 | 182 | 983.3754 | 45.0783 | 1028.4537 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1028.4537 | 2 | 667.5833 | 43.25 | 51.25 | 762.0833 | 1029 | 1034 | 1027 | 1029 | 1029 | 1028.4537 | 0 | 14 | 03.15-03.30 | 49.98 |  | 1020 |  | 43.25 | 2
3 | 593.8249 | 39.096 | 111.7028 | 30 | 37 | 182 | 993.6236 | 30.5823 | 1024.206 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1024.206 | 3 | 620.9583 | 38.5 | 110 | 769.4583 | 1024.75 | 1030 | 1018 | 1024.75 | 1024.75 | 1024.206 | 0 | 15 | 03.30-03.45 | 49.98 |  | 1017 |  | 38.5 | 3
4 | 587.7284 | 23.356 | 92.1548 | 30 | 0.25 | 123.5 | 856.9893 | 160.0107 | 1017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1017 | 4 | 614.5833 | 23 | 90.75 | 728.3333 | 1018.5 | 1020 | 1017 | 1017 | 1017 | 1017 | 0 | 16 | 03.45-04.00 | 49.98 | 49.98 | 1019 | 1018.5 | 23 | 4
5 | 575.5116 | 23.356 | 106.3715 | 30 | 0 | 101.25 | 836.4892 | 208.2059 | 1044.6951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1044.6951 | 5 | 601.8083 | 23 | 104.75 | 729.5583 | 1045.25 | 1070 | 1028 | 1045.25 | 1045.25 | 1044.6951 | 0 | 17 | 04.00-04.15 | 49.88 |  | 1028 |  | 23 | 5
6 | 592.5578 | 0 | 48.9969 | 29.5 | 0 | 101 | 772.0547 | 449.0467 | 1221.1014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1221.1014 | 6 | 619.6333 | 0 | 48.25 | 667.8833 | 1221.75 | 1320 | 1120 | 1221.75 | 1221.75 | 1221.1014 | 0 | 18 | 04.15-04.30 | 49.88 |  | 1036 |  | 0 | 6
7 | 631.049 | 0 | 98.5015 | 0 | 0 | 101 | 830.5505 | 618.1799 | 1448.7305 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1448.7305 | 7 | 659.8833 | 0 | 97 | 756.8833 | 1449.5 | 1512 | 1371 | 1449.5 | 1449.5 | 1448.7305 | 0 | 19 | 04.30-04.45 | 49.86 |  | 1047 |  | 0 | 7
8 | 630.4991 | 0 | 52.5511 | 0 | 0.75 | 54 | 737.8002 | 793.1998 | 1531 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1531 | 8 | 659.3083 | 0 | 51.75 | 711.0583 | 1513 | 1531 | 1479 | 1531 | 1531 | 1531 | 0 | 20 | 04.45-05.00 | 49.86 | 49.87 | 1070 | 1045.25 | 0 | 8
9 | 662.1289 | 0 | 81.2384 | 0 | 37 | 53 | 833.3673 | 637.8513 | 1471.2185 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1471.2185 | 9 | 692.3833 | 0 | 80 | 772.3833 | 1472 | 1490 | 1437 | 1472 | 1472 | 1471.2185 | 0 | 21 | 05.00-05.15 | 49.95 |  | 1120 |  | 0 | 9
10 | 645.3457 | 0 | 109.418 | 0 | 73.25 | 53 | 881.0137 | 598.4504 | 1479.4641 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1479.4641 | 10 | 674.8333 | 0 | 107.75 | 782.5833 | 1480.25 | 1495 | 1456 | 1480.25 | 1480.25 | 1479.4641 | 0 | 22 | 05.15-05.30 | 49.96 |  | 1182 |  | 0 | 10
11 | 572.6666 | 0 | 155.3684 | 0 | 74 | 53 | 855.0351 | 650.6651 | 1505.7002 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1505.7002 | 11 | 598.8333 | 0 | 153 | 751.8333 | 1506.5 | 1512 | 1502 | 1506.5 | 1506.5 | 1505.7002 | 0 | 23 | 05.30-05.45 | 49.97 |  | 1265 |  | 0 | 11
12 | 528.6767 | 0 | 122.6192 | 0 | 74 | 53 | 778.2959 | 711.9126 | 1490.2084 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1490.2084 | 12 | 552.8333 | 0 | 120.75 | 673.5833 | 1491 | 1497 | 1486 | 1491 | 1491 | 1490.2084 | 0 | 24 | 05.45-06.00 | 49.99 | 49.9675 | 1320 | 1221.75 | 0 | 12
13 | 524.1342 | 0 | 82.5077 | 0 | 74 | 53 | 733.642 | 722.5845 | 1456.2265 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1456.2265 | 13 | 548.0833 | 0 | 81.25 | 629.3333 | 1457 | 1474 | 1392 | 1457 | 1457 | 1456.2265 | 0 | 25 | 06.00-06.15 | 49.95 |  | 1371 |  | 0 | 13
14 | 492.0024 | 0 | 50.774 | 0 | 74 | 53 | 669.7764 | 705.4931 | 1375.2695 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1375.2695 | 14 | 514.4833 | 0 | 50 | 564.4833 | 1376 | 1389 | 1339 | 1376 | 1376 | 1375.2695 | 0 | 26 | 06.15-06.30 | 49.97 |  | 1427 |  | 0 | 14
15 | 455.2086 | 0 | 62.1981 | 30 | 1.75 | 53 | 602.1568 | 792.3525 | 1394.5093 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1394.5093 | 15 | 476.0083 | 0 | 61.25 | 537.2583 | 1395.25 | 1405 | 1382 | 1395.25 | 1395.25 | 1394.5093 | 0 | 27 | 06.30-06.45 | 50 |  | 1488 |  | 0 | 15
16 | 473.7609 | 0 | 110.4334 | 30 | 0 | 54 | 668.1943 | 740.5573 | 1408.7517 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1408.7517 | 16 | 495.4083 | 0 | 108.75 | 604.1583 | 1409.5 | 1424 | 1399 | 1409.5 | 1409.5 | 1408.7517 | 0 | 28 | 06.45-07.00 | 50.03 | 49.9875 | 1512 | 1449.5 | 0 | 16
17 | 540.487 | 14.7245 | 31.4799 | 30 | 0 | 56.75 | 673.4413 | 702.078 | 1375.5193 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1375.5193 | 17 | 565.1833 | 14.5 | 31 | 610.6833 | 1376.25 | 1393 | 1354 | 1376.25 | 1376.25 | 1375.5193 | 0 | 29 | 07.00-07.15 | 50 |  | 1521 |  | 14.5 | 17
18 | 476.4147 | 40.1115 | 2.2848 | 30.5 | 0 | 58 | 607.3109 | 705.4917 | 1312.8027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1312.8027 | 18 | 498.1833 | 39.5 | 2.25 | 539.9333 | 1313.5 | 1335 | 1302 | 1313.5 | 1313.5 | 1312.8027 | 0 | 30 | 07.15-07.30 | 49.99 |  | 1531 |  | 39.5 | 18
19 | 509.4071 | 43.6656 | 0 | 39.5 | 0 | 116 | 708.5728 | 553.7567 | 1262.3295 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1262.3295 | 19 | 532.6833 | 43 | 0 | 575.6833 | 1263 | 1270 | 1260 | 1263 | 1263 | 1262.3295 | 0 | 31 | 07.30-07.45 | 50.02 |  | 1521 |  | 43 | 19
20 | 589.2585 | 86.8235 | 0 | 101 | 65.5 | 182.5 | 1025.082 | 273.7281 | 1298.8101 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1298.8101 | 20 | 616.1833 | 85.5 | 0 | 701.6833 | 1299.5 | 1336 | 1268 | 1299.5 | 1299.5 | 1298.8101 | 0 | 32 | 07.45-08.00 | 50.09 | 50.025 | 1479 | 1513 | 85.5 | 20
21 | 622.251 | 87.3313 | 41.3808 | 101 | 74 | 183 | 1108.9631 | 215.5834 | 1324.5464 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1324.5464 | 21 | 650.6833 | 86 | 40.75 | 777.4333 | 1325.25 | 1358 | 1300 | 1325.25 | 1325.25 | 1324.5464 | 0 | 33 | 08.00-08.15 | 50.05 |  | 1490 |  | 86 | 21
22 | 623.6854 | 87.3313 | 80.2229 | 99 | 74 | 184.25 | 1148.4896 | 117.338 | 1265.8276 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1265.8276 | 22 | 652.1833 | 86 | 79 | 817.1833 | 1266.5 | 1300 | 1236 | 1266.5 | 1266.5 | 1265.8276 | 0 | 34 | 08.15-08.30 | 50.01 |  | 1490 |  | 86 | 22
23 | 643.5288 | 87.3313 | 104.8483 | 29.75 | 74 | 185.25 | 1124.7083 | 46.6695 | 1171.3778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1171.3778 | 23 | 672.9333 | 86 | 103.25 | 862.1833 | 1172 | 1185 | 1156 | 1172 | 1172 | 1171.3778 | 0 | 35 | 08.30-08.45 | 50.02 |  | 1471 |  | 86 | 23
24 | 645.6804 | 87.3313 | 54.8359 | 30 | 74 | 183.25 | 1075.0976 | 31.5645 | 1106.6622 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1106.6622 | 24 | 675.1833 | 86 | 54 | 815.1833 | 1107.25 | 1138 | 1086 | 1107.25 | 1107.25 | 1106.6622 | 0 | 36 | 08.45-09.00 | 49.99 | 50.0175 | 1437 | 1472 | 86 | 24
[34 empty] | 37 | 09.00-09.15 | 49.93 |  | 1456
TOTAL (in MWh) | 13875.8975 | 737.4923 | 1722 | 700.25 | 881.75 | 2601 | 20518.3898 | 10545.713 | 31064.1027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31064.1027 | TOTAL | 14509.925 | 726.25 | 1695.75 | 16931.925 | 31062.75 |  |  | 31079.25 | 31079.25 | 31064.1027 | 0 | 38 | 09.15-09.30 | 49.98 |  | 1495
[34 empty] | 39 | 09.30-09.45 | 49.94 |  | 1478
[34 empty] | 40 | 09.45-10.00 | 49.99 | 49.96 | 1492 | 1480.25
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.985; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.95 |  | 1504
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1531; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.97 |  | 1508
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1531; 5+6 P6 14: MW | MAX = | 1531 | [10 empty] | 43 | 10.30-10.45 | 50 |  | 1512
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1017; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1017 | [10 empty] | 44 | 10.45-11.00 | 49.97 | 49.9725 | 1502 | 1506.5
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 13875.8975; 5+6 P6 14: MWH; 5+6 P11 19: 28.441; 5+6 P11/1000 20: 13847.4565 | [12 empty] | 45 | 11.00-11.15 | 50.05 |  | 1497
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 1722; 5+6 P6 14: MWH; 5+6 P11 19: 3.72; 5+6 P11/1000 20: 1718.28 | [12 empty] | 46 | 11.15-11.30 | 50.02 |  | 1490
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 737.4923; 5+6 P6 14: MWH; 5+6 P11 19: 1.254; 5+6 P11/1000 20: 736.2383 | [12 empty] | 47 | 11.30-11.45 | 50.01 |  | 1491
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 38.5; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.01 | 50.0225 | 1486 | 1491
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 86; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50 |  | 1474
|  |  | Max.generation of Malana at 2100 Hrs. |  |  |  | 5+6 P4 12: 86; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.97 |  | 1457
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 49.99 |  | 1452
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 603.8196; 5+6 P4 12: 792.6819; 5+6 P11 19: 138.759; 5+6 P11/1000 20: 138.4746 | [12 empty] | 51 | 12.30-12.45 | 50.01 | 49.9925 | 1445 | 1457
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 269.3248; 5+6 P4 12: 267.2786; 5+6 P11 19: 62.3539; 5+6 P11/1000 20: 62.1199 | [12 empty] | 52 | 12.45-13.00 | 50.01 |  | 1392
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 334.4948; 5+6 P4 12: 525.4033; 5+6 P11 19: 76.4051; 5+6 P11/1000 20: 76.3547 | [12 empty] | 53 | 13.00-13.15 | 50.03 |  | 1384
[34 empty] | 55 | 13.30-13.45 | 50.03 |  | 1339
[34 empty] | 56 | 13.45-14.00 | 50.01 | 50.02 | 1389 | 1376
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 49.98 |  | 1394
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.95 |  | 1382
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2023-05-16 | [12 empty] | 59 | 14.30-14.45 | 49.91 |  | 1400
[34 empty] | 60 | 14.45-15.00 | 49.93 | 49.9425 | 1405 | 1395.25 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 49.95 |  | 1424
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 49.96 |  | 1410 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.97 |  | 1399
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.93 | 49.9525 | 1405 | 1409.5
1 | [33 empty] | 65 | 16.00-16.15 | 50.06 |  | 1393 | bar: 5+6 P12 21
2 | [33 empty] | 66 | 16.15-16.30 | 49.97 |  | 1373 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 50.02 |  | 1385 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 50.01 | 50.015 | 1354 | 1376.25 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50.06 |  | 1335 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50.06 |  | 1308 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.07 |  | 1309 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50.03 | 50.055 | 1302 | 1313.5 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.24 |  | 1260 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.09 |  | 1270 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.02 |  | 1260 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50.02 | 50.0925 | 1262 | 1263 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 50 |  | 1268 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 49.98 |  | 1271 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 49.94 |  | 1323 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 49.93 | 49.9625 | 1336 | 1299.5 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 49.93 |  | 1358 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 49.95 |  | 1333 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.98 |  | 1310 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 49.92 | 49.945 | 1300 | 1325.25 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 49.97 |  | 1300 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 49.91 |  | 1279 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 49.91 |  | 1251
[34 empty] | 88 | 21.45-22.00 | 49.95 | 49.935 | 1236 | 1266.5
[34 empty] | 89 | 22.00-22.15 | 49.85 |  | 1185
[34 empty] | 90 | 22.15-22.30 | 49.86 |  | 1179
[34 empty] | 91 | 22.30-22.45 | 49.92 |  | 1168
[34 empty] | 92 | 22.45-23.00 | 49.98 | 49.9025 | 1156 | 1172
[34 empty] | 93 | 23.00-23.15 | 49.97 |  | 1138
[34 empty] | 94 | 23.15-23.30 | 50.02 |  | 1106
[34 empty] | 95 | 23.30-23.45 | 50.02 |  | 1099
[34 empty] | 96 | 23.45-24.00 | 50.02 | 50.0075 | 1086 | 1107.25
[35 empty] | Total | 49.985 | 49.985 | 31062.75 | 31062.75
[35 empty] | max | 1531 |  | avg. max | 1513
[35 empty] | min | 1017 |  | avg. min | 1018.5
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.