## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2023-05-17
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2023-05-18
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 31313.75 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 797 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 2129.6 | MWh | MALANA-II | 807 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1530 | [6 empty] | HOLI BAJOLI | 3008.702 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.98 |  | 1073
|  | Month/Day :- |  |  |  |  | 2023-05-17 | [10 empty] | Min.DEMAND(MW) |  | 991 |  | ACTUAL OWN GENERATION |  |  | 14590.986 | MWh | SWARA KUDDU | 1097.097 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.01 |  | 1056
[34 empty] | 3 | 00.30-00.45 | 49.96 |  | 1041 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.98 | 49.9825 | 1039 | 1052.25 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.99 |  | 1033 |  |  |  | MALANA-2 | 30 | 30 | 30 | 30 | 30 | 28.75 | 0 | 0 | 0 | 0 | 0 | 0 | 1.75 | 40 | 40 | 40 | 40 | 40 | 42.75 | 101 | 101.25 | 99.75 | 39.75 | 40 | 805
[34 empty] | 6 | 01.15-01.30 | 50.02 |  | 1028 |  |  |  | SWARA KUDDU | 74 | 74 | 74 | 37.25 | 0.25 | 0 | 0 | 1 | 37.75 | 73.5 | 74 | 74 | 74 | 74 | 0.5 | 0 | 0 | 0.75 | 56.5 | 74 | 74 | 74 | 74 | 74 | 1095.5
[34 empty] | 7 | 01.30-01.45 | 49.99 |  | 1035
[34 empty] | 8 | 01.45-02:00 | 50.02 | 50.005 | 1029 | 1031.25
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.01 |  | 1024 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 50.03 |  | 1011
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.04 |  | 1002
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.03 | 50.0275 | 994 | 1007.75
1 | 682.4144 | 86.8454 | 120.8284 | 30 | 74 | 182.25 | 1176.3382 | -124.1386 | 1052.1996 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1052.1996 | 1 | 701.3616 | 86.25 | 120 | 907.6116 | 1052.25 | 1073 | 1039 | 1052.25 | 1052.25 | 1052.1996 | 0 | 13 | 03.00-03.15 | 50.01 |  | 993 |  | 86.25 | 1
2 | 689.2253 | 23.6622 | 197.353 | 30 | 74 | 124.5 | 1138.7405 | -107.5399 | 1031.2006 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1031.2006 | 2 | 708.3616 | 23.5 | 196 | 927.8616 | 1031.25 | 1035 | 1028 | 1031.25 | 1031.25 | 1031.2006 | 0 | 14 | 03.15-03.30 | 50 |  | 991 |  | 23.5 | 2
3 | 647.0221 | 23.1588 | 220.5118 | 30 | 74 | 101.75 | 1096.4426 | -88.7409 | 1007.7017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1007.7017 | 3 | 664.9866 | 23 | 219 | 906.9866 | 1007.75 | 1024 | 994 | 1007.75 | 1007.75 | 1007.7017 | 0 | 15 | 03.30-03.45 | 49.98 |  | 991 |  | 23 | 3
4 | 663.4412 | 23.1588 | 219.7566 | 30 | 37.25 | 102.75 | 1076.3566 | -85.3566 | 991 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 991 | 4 | 681.8616 | 23 | 218.25 | 923.1116 | 993.25 | 998 | 991 | 991 | 991 | 991 | 0 | 16 | 03.45-04.00 | 49.98 | 49.9925 | 998 | 993.25 | 23 | 4
5 | 646.6329 | 23.1588 | 112.7731 | 30 | 0.25 | 104 | 916.8148 | 110.386 | 1027.2008 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1027.2008 | 5 | 664.5866 | 23 | 112 | 799.5866 | 1027.25 | 1062 | 1010 | 1027.25 | 1027.25 | 1027.2008 | 0 | 17 | 04.00-04.15 | 49.95 |  | 1015 |  | 23 | 5
6 | 575.9212 | 0 | 51.6038 | 28.75 | 0 | 103 | 759.275 | 457.4167 | 1216.6917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1216.6917 | 6 | 591.9116 | 0 | 51.25 | 643.1616 | 1216.75 | 1347 | 1085 | 1216.75 | 1216.75 | 1216.6917 | 0 | 18 | 04.15-04.30 | 49.91 |  | 1010 |  | 0 | 6
7 | 679.7874 | 0 | 109.7524 | 0 | 0 | 103.75 | 893.2898 | 562.1405 | 1455.4303 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1455.4303 | 7 | 698.6616 | 0 | 109 | 807.6616 | 1455.5 | 1518 | 1378 | 1455.5 | 1455.5 | 1455.4303 | 0 | 19 | 04.30-04.45 | 49.9 |  | 1022 |  | 0 | 7
8 | 671.6873 | 0 | 86.3419 | 0 | 1 | 104 | 863.0292 | 666.9708 | 1530 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1530 | 8 | 690.3366 | 0 | 85.75 | 776.0866 | 1526.25 | 1530 | 1521 | 1530 | 1530 | 1530 | 0 | 20 | 04.45-05.00 | 49.93 | 49.9225 | 1062 | 1027.25 | 0 | 8
9 | 622.138 | 0 | 70.4832 | 0 | 37.75 | 105 | 835.3712 | 645.0579 | 1480.4291 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1480.4291 | 9 | 639.4116 | 0 | 70 | 709.4116 | 1480.5 | 1489 | 1475 | 1480.5 | 1480.5 | 1480.4291 | 0 | 21 | 05.00-05.15 | 49.99 |  | 1085 |  | 0 | 9
10 | 616.9812 | 0 | 94.3972 | 0 | 73.5 | 105 | 889.8783 | 604.0501 | 1493.9284 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1493.9284 | 10 | 634.1116 | 0 | 93.75 | 727.8616 | 1494 | 1511 | 1469 | 1494 | 1494 | 1493.9284 | 0 | 22 | 05.15-05.30 | 50.02 |  | 1177 |  | 0 | 10
11 | 480.0335 | 0 | 9.8173 | 0 | 74 | 107.25 | 671.1008 | 805.5784 | 1476.6793 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1476.6793 | 11 | 493.3616 | 0 | 9.75 | 503.1116 | 1476.75 | 1494 | 1464 | 1476.75 | 1476.75 | 1476.6793 | 0 | 23 | 05.30-05.45 | 50 |  | 1258 |  | 0 | 11
12 | 548.3857 | 0 | 99.18 | 0 | 74 | 103.5 | 825.0657 | 653.3635 | 1478.4292 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1478.4292 | 12 | 563.6116 | 0 | 98.5 | 662.1116 | 1478.5 | 1494 | 1464 | 1478.5 | 1478.5 | 1478.4292 | 0 | 24 | 05.45-06.00 | 49.98 | 49.9975 | 1347 | 1216.75 | 0 | 12
13 | 559.575 | 0 | 63.1832 | 1.75 | 74 | 108.25 | 806.7582 | 619.6735 | 1426.4317 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1426.4317 | 13 | 575.1116 | 0 | 62.75 | 637.8616 | 1426.5 | 1461 | 1330 | 1426.5 | 1426.5 | 1426.4317 | 0 | 25 | 06.00-06.15 | 49.93 |  | 1378 |  | 0 | 13
14 | 563.1264 | 0 | 45.5624 | 40 | 74 | 103 | 825.6888 | 525.4965 | 1351.1853 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1351.1853 | 14 | 578.7616 | 0 | 45.25 | 624.0116 | 1351.25 | 1389 | 1363 | 1351.25 | 1351.25 | 1351.1853 | 0 | 26 | 06.15-06.30 | 49.97 |  | 1441 |  | 0 | 14
15 | 571.4211 | 31.9692 | 33.983 | 40 | 0.5 | 102 | 779.8733 | 630.8091 | 1410.6824 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1410.6824 | 15 | 587.2866 | 31.75 | 33.75 | 652.7866 | 1410.75 | 1425 | 1401 | 1410.75 | 1410.75 | 1410.6824 | 0 | 27 | 06.30-06.45 | 50 |  | 1485 |  | 31.75 | 15
16 | 658.1628 | 0 | 73.7557 | 40 | 0 | 102 | 873.9184 | 552.0133 | 1425.9317 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1425.9317 | 16 | 676.4366 | 0 | 73.25 | 749.6866 | 1426 | 1440 | 1418 | 1426 | 1426 | 1425.9317 | 0 | 28 | 06.45-07.00 | 49.98 | 49.97 | 1518 | 1455.5 | 0 | 16
17 | 734.5664 | 33.2278 | 121.3318 | 40 | 0 | 102 | 1031.1261 | 393.3057 | 1424.4318 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1424.4318 | 17 | 754.9616 | 33 | 120.5 | 908.4616 | 1424.5 | 1440 | 1415 | 1424.5 | 1424.5 | 1424.4318 | 0 | 29 | 07.00-07.15 | 49.93 |  | 1525 |  | 33 | 17
18 | 621.9434 | 43.5486 | 182.7529 | 40 | 0.75 | 102 | 990.9949 | 374.6897 | 1365.6846 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1365.6846 | 18 | 639.2116 | 43.25 | 181.5 | 863.9616 | 1365.75 | 1388 | 1346 | 1365.75 | 1365.75 | 1365.6846 | 0 | 30 | 07.15-07.30 | 49.94 |  | 1530 |  | 43.25 | 18
19 | 536.3207 | 44.8072 | 126.8698 | 42.75 | 56.5 | 127.5 | 934.7477 | 360.6903 | 1295.4379 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1295.4379 | 19 | 551.2116 | 44.5 | 126 | 721.7116 | 1295.5 | 1322 | 1276 | 1295.5 | 1295.5 | 1295.4379 | 0 | 31 | 07.30-07.45 | 49.98 |  | 1529 |  | 44.5 | 19
20 | 515.1583 | 86.5937 | 0 | 101 | 74 | 182.75 | 959.5019 | 388.9335 | 1348.4354 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1348.4354 | 20 | 529.4616 | 86 | 0 | 615.4616 | 1348.5 | 1385 | 1316 | 1348.5 | 1348.5 | 1348.4354 | 0 | 32 | 07.45-08.00 | 50 | 49.9625 | 1521 | 1526.25 | 86 | 20
21 | 506.6447 | 86.5937 | 0 | 101.25 | 74 | 183 | 951.4883 | 402.9468 | 1354.4351 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1354.4351 | 21 | 520.7116 | 86 | 0 | 606.7116 | 1354.5 | 1376 | 1333 | 1354.5 | 1354.5 | 1354.4351 | 0 | 33 | 08.00-08.15 | 49.98 |  | 1478 |  | 86 | 21
22 | 542.8884 | 86.5937 | 0 | 99.75 | 74 | 183 | 986.232 | 309.2059 | 1295.4379 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1295.4379 | 22 | 557.9616 | 86 | 0 | 643.9616 | 1295.5 | 1325 | 1266 | 1295.5 | 1295.5 | 1295.4379 | 0 | 34 | 08.15-08.30 | 49.96 |  | 1480 |  | 86 | 22
23 | 600.2945 | 88.104 | 1.2586 | 39.75 | 74 | 183 | 986.4071 | 245.7838 | 1232.191 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1232.191 | 23 | 616.9616 | 87.5 | 1.25 | 705.7116 | 1232.25 | 1248 | 1210 | 1232.25 | 1232.25 | 1232.191 | 0 | 35 | 08.30-08.45 | 49.94 |  | 1475 |  | 87.5 | 23
24 | 657.2141 | 86.8454 | 88.104 | 40 | 74 | 183 | 1129.1635 | 13.5317 | 1142.6953 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1142.6953 | 24 | 675.4616 | 86.25 | 87.5 | 849.2116 | 1142.75 | 1168 | 1133 | 1142.75 | 1142.75 | 1142.6953 | 0 | 36 | 08.45-09.00 | 49.99 | 49.9675 | 1489 | 1480.5 | 86.25 | 24
[34 empty] | 37 | 09.00-09.15 | 49.92 |  | 1487
TOTAL (in MWh) | 14590.986 | 768.267 | 2129.6 | 805 | 1095.5 | 3008.25 | 22397.603 | 8916.2677 | 31313.8708 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31313.8708 | TOTAL | 14996.103 | 763 | 2115 | 17874.103 | 31313.75 |  |  | 31315.25 | 31315.25 | 31313.8708 | 0 | 38 | 09.15-09.30 | 49.98 |  | 1469
[34 empty] | 39 | 09.30-09.45 | 49.92 |  | 1511
[34 empty] | 40 | 09.45-10.00 | 49.91 | 49.9325 | 1509 | 1494
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9854; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.96 |  | 1464
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1530; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.95 |  | 1483
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1530; 5+6 P6 14: MW | MAX = | 1530 | [10 empty] | 43 | 10.30-10.45 | 50.01 |  | 1466
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 991; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 991 | [10 empty] | 44 | 10.45-11.00 | 49.99 | 49.9775 | 1494 | 1476.75
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 14590.986; 5+6 P6 14: MWH; 5+6 P11 19: 26.919; 5+6 P11/1000 20: 14564.067 | [12 empty] | 45 | 11.00-11.15 | 50.04 |  | 1494
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 2129.6; 5+6 P6 14: MWH; 5+6 P11 19: 3.9; 5+6 P11/1000 20: 2125.7 | [12 empty] | 46 | 11.15-11.30 | 49.96 |  | 1464
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 768.267; 5+6 P6 14: MWH; 5+6 P11 19: 1.276; 5+6 P11/1000 20: 766.991 | [12 empty] | 47 | 11.30-11.45 | 49.92 |  | 1476
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 23; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.9 | 49.955 | 1480 | 1478.5
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 86.25; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.99 |  | 1461
|  |  | Max.generation of Malana at 2300 Hrs. |  |  |  | 5+6 P4 12: 87.5; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.96 |  | 1441
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 49.89 |  | 1419
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 632.0619; 5+6 P4 12: 686.5778; 5+6 P11 19: 145.9099; 5+6 P11/1000 20: 145.6407 | [12 empty] | 51 | 12.30-12.45 | 49.95 | 49.9475 | 1385 | 1426.5
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 312.9907; 5+6 P4 12: 166.3969; 5+6 P11 19: 64.6608; 5+6 P11/1000 20: 64.4433 | [12 empty] | 52 | 12.45-13.00 | 49.99 |  | 1330
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 319.0711; 5+6 P4 12: 520.1809; 5+6 P11 19: 81.2491; 5+6 P11/1000 20: 81.1974 | [12 empty] | 53 | 13.00-13.15 | 50.03 |  | 1323
[34 empty] | 55 | 13.30-13.45 | 50.02 |  | 1363
[34 empty] | 56 | 13.45-14.00 | 50.03 | 50.0175 | 1389 | 1351.25
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 50.01 |  | 1401
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.91 |  | 1425
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2023-05-17 | [12 empty] | 59 | 14.30-14.45 | 49.86 |  | 1405
[34 empty] | 60 | 14.45-15.00 | 49.94 | 49.93 | 1412 | 1410.75 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 49.99 |  | 1425
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 49.97 |  | 1418 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.94 |  | 1421
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.88 | 49.945 | 1440 | 1426
1 | [33 empty] | 65 | 16.00-16.15 | 50.02 |  | 1440 | bar: 5+6 P12 21
2 | [33 empty] | 66 | 16.15-16.30 | 49.98 |  | 1416 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 50.02 |  | 1427 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 50.05 | 50.0175 | 1415 | 1424.5 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50.14 |  | 1388 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50.03 |  | 1368 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.02 |  | 1361 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50 | 50.0475 | 1346 | 1365.75 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 49.97 |  | 1322 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.01 |  | 1306 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.07 |  | 1278 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50.04 | 50.0225 | 1276 | 1295.5 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 50.05 |  | 1339 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 49.93 |  | 1316 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 50 |  | 1354 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 49.98 | 49.99 | 1385 | 1348.5 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50 |  | 1376 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50.03 |  | 1356 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 50.01 |  | 1353 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 49.95 | 49.9975 | 1333 | 1354.5 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 49.93 |  | 1325 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 49.98 |  | 1305 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 50.02 |  | 1286
[34 empty] | 88 | 21.45-22.00 | 50.08 | 50.0025 | 1266 | 1295.5
[34 empty] | 89 | 22.00-22.15 | 50.02 |  | 1248
[34 empty] | 90 | 22.15-22.30 | 49.98 |  | 1241
[34 empty] | 91 | 22.30-22.45 | 50 |  | 1230
[34 empty] | 92 | 22.45-23.00 | 50.01 | 50.0025 | 1210 | 1232.25
[34 empty] | 93 | 23.00-23.15 | 50.01 |  | 1168
[34 empty] | 94 | 23.15-23.30 | 50.05 |  | 1135
[34 empty] | 95 | 23.30-23.45 | 50.05 |  | 1135
[34 empty] | 96 | 23.45-24.00 | 50.04 | 50.0375 | 1133 | 1142.75
[35 empty] | Total | 49.9854 | 49.9854 | 31313.75 | 31313.75
[35 empty] | max | 1530 |  | avg. max | 1526.25
[35 empty] | min | 991 |  | avg. min | 993.25
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.