## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2023-05-20
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2023-05-21
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 31671.5 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 772 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 2502 | MWh | MALANA-II | 820 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1579 | [6 empty] | HOLI BAJOLI | 3477.172 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50.04 |  | 1104
|  | Month/Day :- |  |  |  |  | 2023-05-20 | [10 empty] | Min.DEMAND(MW) |  | 1034 |  | ACTUAL OWN GENERATION |  |  | 14559.643 | MWh | SWARA KUDDU | 995 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.03 |  | 1118
[34 empty] | 3 | 00.30-00.45 | 50.05 |  | 1118 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.03 | 50.0375 | 1098 | 1109.5 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50.09 |  | 1101 |  |  |  | MALANA-2 | 33 | 35 | 35 | 35 | 35 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45 | 45 | 45 | 45 | 47.75 | 101 | 101 | 98.75 | 39.5 | 40 | 815
[34 empty] | 6 | 01.15-01.30 | 50.06 |  | 1104 |  |  |  | SWARA KUDDU | 77.75 | 19.25 | 0 | 0 | 0 | 0 | 0 | 1.75 | 74 | 74 | 74 | 74 | 74 | 1.25 | 0 | 0 | 0 | 27.75 | 66.25 | 89 | 89 | 89 | 89 | 89 | 1009
[34 empty] | 7 | 01.30-01.45 | 50.01 |  | 1083
[34 empty] | 8 | 01.45-02:00 | 50 | 50.04 | 1077 | 1091.25
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.98 |  | 1041 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 50 |  | 1047
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50 |  | 1051
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.04 | 50.005 | 1055 | 1048.5
1 | 690.2041 | 64.0035 | 112.1973 | 33 | 77.75 | 183 | 1160.1548 | -51.2851 | 1108.8698 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1108.8698 | 1 | 690.9167 | 62.75 | 110 | 863.6667 | 1109.5 | 1118 | 1098 | 1109.5 | 1109.5 | 1108.8698 | 0 | 13 | 03.00-03.15 | 50.01 |  | 1041 |  | 62.75 | 1
2 | 684.7097 | 43.8589 | 112.1973 | 35 | 19.25 | 183 | 1078.016 | 12.6142 | 1090.6302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1090.6302 | 2 | 685.4167 | 43 | 110 | 838.4167 | 1091.25 | 1104 | 1077 | 1091.25 | 1091.25 | 1090.6302 | 0 | 14 | 03.15-03.30 | 50.01 |  | 1051 |  | 43 | 2
3 | 625.6457 | 37.4841 | 168.806 | 35 | 0 | 183 | 1049.9358 | -2.0313 | 1047.9044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1047.9044 | 3 | 626.2917 | 36.75 | 165.5 | 828.5417 | 1048.5 | 1055 | 1041 | 1048.5 | 1048.5 | 1047.9044 | 0 | 15 | 03.30-03.45 | 50.01 |  | 1034 |  | 36.75 | 3
4 | 570.5776 | 29.5793 | 96.6427 | 35 | 0 | 183 | 914.7996 | 119.2004 | 1034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1034 | 4 | 571.1667 | 29 | 94.75 | 694.9167 | 1040.25 | 1051 | 1034 | 1034 | 1034 | 1034 | 0 | 16 | 03.45-04.00 | 50.02 | 50.0125 | 1035 | 1040.25 | 29 | 4
5 | 554.8188 | 29.3243 | 51.2538 | 35 | 0 | 183 | 853.3969 | 221.4922 | 1074.8891 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1074.8891 | 5 | 555.3917 | 28.75 | 50.25 | 634.3917 | 1075.5 | 1095 | 1055 | 1075.5 | 1075.5 | 1074.8891 | 0 | 17 | 04.00-04.15 | 49.99 |  | 1055 |  | 28.75 | 5
6 | 570.6275 | 0 | 47.1739 | 34 | 0 | 183 | 834.8014 | 405.4937 | 1240.2951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1240.2951 | 6 | 571.2167 | 0 | 46.25 | 617.4667 | 1241 | 1334 | 1141 | 1241 | 1241 | 1240.2951 | 0 | 18 | 04.15-04.30 | 50 |  | 1061 |  | 0 | 6
7 | 567.3809 | 0 | 30.5993 | 0 | 0 | 183 | 780.9801 | 684.6869 | 1465.667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1465.667 | 7 | 567.9667 | 0 | 30 | 597.9667 | 1466.5 | 1520 | 1380 | 1466.5 | 1466.5 | 1465.667 | 0 | 19 | 04.30-04.45 | 49.99 |  | 1091 |  | 0 | 7
8 | 678.4412 | 0 | 56.3536 | 0 | 1.75 | 183 | 919.5449 | 659.4551 | 1579 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1579 | 8 | 679.1417 | 0 | 55.25 | 734.3917 | 1554.75 | 1579 | 1525 | 1579 | 1579 | 1579 | 0 | 20 | 04.45-05.00 | 49.97 | 49.9875 | 1095 | 1075.5 | 0 | 8
9 | 646.5491 | 0 | 103.2725 | 0 | 74 | 62.75 | 886.5717 | 620.3219 | 1506.8936 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1506.8936 | 9 | 647.2167 | 0 | 101.25 | 748.4667 | 1507.75 | 1517 | 1487 | 1507.75 | 1507.75 | 1506.8936 | 0 | 21 | 05.00-05.15 | 49.95 |  | 1141 |  | 0 | 9
10 | 609.0379 | 0 | 156.3113 | 0 | 74 | 62.75 | 902.0991 | 620.5355 | 1522.6346 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1522.6346 | 10 | 609.6667 | 0 | 153.25 | 762.9167 | 1523.5 | 1532 | 1510 | 1523.5 | 1523.5 | 1522.6346 | 0 | 22 | 05.15-05.30 | 50.02 |  | 1215 |  | 0 | 10
11 | 577.0709 | 0 | 153.5063 | 0 | 74 | 61 | 865.5772 | 664.803 | 1530.3802 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1530.3802 | 11 | 577.6667 | 0 | 150.5 | 728.1667 | 1531.25 | 1536 | 1527 | 1531.25 | 1531.25 | 1530.3802 | 0 | 23 | 05.30-05.45 | 50.01 |  | 1274 |  | 0 | 11
12 | 574.074 | 0 | 66.5534 | 0 | 74 | 61 | 775.6274 | 728.5178 | 1504.1451 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1504.1451 | 12 | 574.6667 | 0 | 65.25 | 639.9167 | 1505 | 1520 | 1474 | 1505 | 1505 | 1504.1451 | 0 | 24 | 05.45-06.00 | 50.03 | 50.0025 | 1334 | 1241 | 0 | 12
13 | 546.6023 | 0 | 61.1985 | 0 | 74 | 61 | 742.8009 | 697.8803 | 1440.6812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1440.6812 | 13 | 547.1667 | 0 | 60 | 607.1667 | 1441.5 | 1463 | 1350 | 1441.5 | 1441.5 | 1440.6812 | 0 | 25 | 06.00-06.15 | 50.12 |  | 1380 |  | 0 | 13
14 | 541.5076 | 0 | 62.7285 | 0 | 1.25 | 61 | 666.4861 | 711.2309 | 1377.717 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1377.717 | 14 | 542.0667 | 0 | 61.5 | 603.5667 | 1378.5 | 1409 | 1387 | 1378.5 | 1378.5 | 1377.717 | 0 | 26 | 06.15-06.30 | 50.03 |  | 1448 |  | 0 | 14
15 | 541.5326 | 0 | 101.2326 | 45 | 0 | 65 | 752.7651 | 677.1722 | 1429.9373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1429.9373 | 15 | 542.0917 | 0 | 99.25 | 641.3417 | 1430.75 | 1453 | 1408 | 1430.75 | 1430.75 | 1429.9373 | 0 | 27 | 06.30-06.45 | 50.01 |  | 1518 |  | 0 | 15
16 | 583.3894 | 0 | 76.4982 | 45 | 0 | 123.75 | 828.6375 | 603.0488 | 1431.6863 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1431.6863 | 16 | 583.9917 | 0 | 75 | 658.9917 | 1432.5 | 1438 | 1426 | 1432.5 | 1432.5 | 1431.6863 | 0 | 28 | 06.45-07.00 | 50.03 | 50.0475 | 1520 | 1466.5 | 0 | 16
17 | 636.3597 | 43.8589 | 72.1633 | 45 | 0 | 168.25 | 965.6319 | 462.0567 | 1427.6886 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1427.6886 | 17 | 637.0167 | 43 | 70.75 | 750.7667 | 1428.5 | 1445 | 1421 | 1428.5 | 1428.5 | 1427.6886 | 0 | 29 | 07.00-07.15 | 49.99 |  | 1551 |  | 43 | 17
18 | 547.7012 | 43.8589 | 101.2326 | 45 | 27.75 | 168 | 933.5427 | 429.9324 | 1363.4751 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1363.4751 | 18 | 548.2667 | 43 | 99.25 | 690.5167 | 1364.25 | 1406 | 1330 | 1364.25 | 1364.25 | 1363.4751 | 0 | 30 | 07.15-07.30 | 49.98 |  | 1564 |  | 43 | 18
19 | 527.2223 | 44.3689 | 98.1726 | 47.75 | 66.25 | 168 | 951.7639 | 319.5136 | 1271.2775 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1271.2775 | 19 | 527.7667 | 43.5 | 96.25 | 667.5167 | 1272 | 1319 | 1235 | 1272 | 1272 | 1271.2775 | 0 | 31 | 07.30-07.45 | 49.98 |  | 1579 |  | 43.5 | 19
20 | 597.1501 | 87.2079 | 119.5921 | 101 | 89 | 182.75 | 1176.7002 | 108.8192 | 1285.5194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1285.5194 | 20 | 597.7667 | 85.5 | 117.25 | 800.5167 | 1286.25 | 1337 | 1233 | 1286.25 | 1286.25 | 1285.5194 | 0 | 32 | 07.45-08.00 | 50.03 | 49.995 | 1525 | 1554.75 | 85.5 | 20
21 | 650.0955 | 87.7179 | 202.9751 | 101 | 89 | 183 | 1313.7885 | 6.9609 | 1320.7494 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1320.7494 | 21 | 650.7667 | 86 | 199 | 935.7667 | 1321.5 | 1332 | 1305 | 1321.5 | 1321.5 | 1320.7494 | 0 | 33 | 08.00-08.15 | 50.04 |  | 1514 |  | 86 | 21
22 | 653.0924 | 87.7179 | 202.9751 | 98.75 | 89 | 183 | 1314.5354 | -52.5027 | 1262.0327 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1262.0327 | 22 | 653.7667 | 86 | 199 | 938.7667 | 1262.75 | 1281 | 1255 | 1262.75 | 1262.75 | 1262.0327 | 0 | 34 | 08.15-08.30 | 50.05 |  | 1517 |  | 86 | 22
23 | 690.304 | 87.7179 | 152.2313 | 39.5 | 89 | 185.75 | 1244.5032 | -24.4466 | 1220.0566 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1220.0566 | 23 | 691.0167 | 86 | 149.25 | 926.2667 | 1220.75 | 1232 | 1201 | 1220.75 | 1220.75 | 1220.0566 | 0 | 35 | 08.30-08.45 | 50.03 |  | 1513 |  | 86 | 23
24 | 695.5486 | 60.4336 | 96.1327 | 40 | 89 | 191.75 | 1172.8648 | -36.0109 | 1136.8539 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1136.8539 | 24 | 696.2667 | 59.25 | 94.25 | 849.7667 | 1137.5 | 1146 | 1127 | 1137.5 | 1137.5 | 1136.8539 | 0 | 36 | 08.45-09.00 | 50.04 | 50.04 | 1487 | 1507.75 | 59.25 | 24
[34 empty] | 37 | 09.00-09.15 | 50.04 |  | 1510
TOTAL (in MWh) | 14559.643 | 747.1321 | 2502 | 815 | 1009 | 3452.75 | 23085.5251 | 8587.4591 | 31672.9842 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31672.9842 | TOTAL | 14574.675 | 732.5 | 2453 | 17760.175 | 31671.5 |  |  | 31689.5 | 31689.5 | 31672.9842 | 0 | 38 | 09.15-09.30 | 50.04 |  | 1524
[34 empty] | 39 | 09.30-09.45 | 49.96 |  | 1532
[34 empty] | 40 | 09.45-10.00 | 49.94 | 49.995 | 1528 | 1523.5
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9999; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.93 |  | 1531
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1579; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.9 |  | 1536
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1579; 5+6 P6 14: MW | MAX = | 1579 | [10 empty] | 43 | 10.30-10.45 | 49.97 |  | 1531
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1034; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1034 | [10 empty] | 44 | 10.45-11.00 | 49.98 | 49.945 | 1527 | 1531.25
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 14559.643; 5+6 P6 14: MWH; 5+6 P11 19: 41.746; 5+6 P11/1000 20: 14517.897 | [12 empty] | 45 | 11.00-11.15 | 49.96 |  | 1520
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 2502; 5+6 P6 14: MWH; 5+6 P11 19: 4.82; 5+6 P11/1000 20: 2497.18 | [12 empty] | 46 | 11.15-11.30 | 49.95 |  | 1514
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 747.1321; 5+6 P6 14: MWH; 5+6 P11 19: 1.236; 5+6 P11/1000 20: 745.8961 | [12 empty] | 47 | 11.30-11.45 | 49.95 |  | 1512
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 36.75; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.97 | 49.9575 | 1474 | 1505
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 59.25; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.97 |  | 1456
|  |  | Max.generation of Malana at 2100 Hrs. |  |  |  | 5+6 P4 12: 86; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.98 |  | 1463
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 49.95 |  | 1438
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 633.6598; 5+6 P4 12: 774.3421; 5+6 P11 19: 145.5964; 5+6 P11/1000 20: 145.179 | [12 empty] | 51 | 12.30-12.45 | 50.01 | 49.9775 | 1409 | 1441.5
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 298.5735; 5+6 P4 12: 282.3638; 5+6 P11 19: 68.787; 5+6 P11/1000 20: 68.4225 | [12 empty] | 52 | 12.45-13.00 | 50.02 |  | 1350
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 335.0863; 5+6 P4 12: 491.9783; 5+6 P11 19: 76.8095; 5+6 P11/1000 20: 76.7564 | [12 empty] | 53 | 13.00-13.15 | 49.99 |  | 1368
[34 empty] | 55 | 13.30-13.45 | 49.95 |  | 1387
[34 empty] | 56 | 13.45-14.00 | 49.93 | 49.9725 | 1409 | 1378.5
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 49.97 |  | 1408
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.9 |  | 1433
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2023-05-20 | [12 empty] | 59 | 14.30-14.45 | 49.89 |  | 1429
[34 empty] | 60 | 14.45-15.00 | 49.91 | 49.9175 | 1453 | 1430.75 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 49.91 |  | 1426
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 49.95 |  | 1432 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.99 |  | 1438
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.97 | 49.955 | 1434 | 1432.5
1 | [33 empty] | 65 | 16.00-16.15 | 50.01 |  | 1426 | bar: 5+6 P12 21
2 | [33 empty] | 66 | 16.15-16.30 | 49.95 |  | 1422 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 49.99 |  | 1445 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 49.99 | 49.985 | 1421 | 1428.5 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50.11 |  | 1406 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50.08 |  | 1366 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.06 |  | 1355 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50.02 | 50.0675 | 1330 | 1364.25 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.15 |  | 1319 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.02 |  | 1282 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.06 |  | 1252 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50.12 | 50.0875 | 1235 | 1272 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 50.08 |  | 1233 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 50.02 |  | 1265 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 50 |  | 1310 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 49.99 | 50.0225 | 1337 | 1286.25 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50 |  | 1332 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50.02 |  | 1332 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 50.01 |  | 1317 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 49.98 | 50.0025 | 1305 | 1321.5 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 50 |  | 1281 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 50.01 |  | 1259 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 50.03 |  | 1256
[34 empty] | 88 | 21.45-22.00 | 50.06 | 50.025 | 1255 | 1262.75
[34 empty] | 89 | 22.00-22.15 | 50 |  | 1232
[34 empty] | 90 | 22.15-22.30 | 50 |  | 1227
[34 empty] | 91 | 22.30-22.45 | 50.02 |  | 1223
[34 empty] | 92 | 22.45-23.00 | 49.98 | 50 | 1201 | 1220.75
[34 empty] | 93 | 23.00-23.15 | 49.83 |  | 1146
[34 empty] | 94 | 23.15-23.30 | 49.97 |  | 1141
[34 empty] | 95 | 23.30-23.45 | 49.92 |  | 1136
[34 empty] | 96 | 23.45-24.00 | 49.96 | 49.92 | 1127 | 1137.5
[35 empty] | Total | 49.9999 | 49.9999 | 31671.5 | 31671.5
[35 empty] | max | 1579 |  | avg. max | 1554.75
[35 empty] | min | 1034 |  | avg. min | 1040.25
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.