## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2023-05-21
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2023-05-22
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 28608.25 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 884 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 2794 | MWh | MALANA-II | 888 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1387 | [6 empty] | HOLI BAJOLI | 4252 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.96 |  | 1156
|  | Month/Day :- |  |  |  |  | 2023-05-21 | [10 empty] | Min.DEMAND(MW) |  | 1038 |  | ACTUAL OWN GENERATION |  |  | 15360.2935 | MWh | SWARA KUDDU | 1128 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.01 |  | 1139
[34 empty] | 3 | 00.30-00.45 | 50.02 |  | 1138 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.02 | 50.0025 | 1134 | 1141.75 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50.03 |  | 1107 |  |  |  | MALANA-2 | 40 | 40 | 40 | 40 | 40 | 28.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 50 | 50 | 50 | 50 | 52.25 | 101.25 | 101 | 99 | 39.75 | 40 | 878.5
[34 empty] | 6 | 01.15-01.30 | 50.01 |  | 1102 |  |  |  | SWARA KUDDU | 89 | 56.75 | 0 | 0 | 0 | 0 | 0 | 0.5 | 57 | 74 | 74 | 74 | 74 | 74 | 74 | 1 | 0 | 0 | 20.5 | 81.75 | 89 | 89 | 89 | 89 | 1106.5
[34 empty] | 7 | 01.30-01.45 | 50.03 |  | 1137
[34 empty] | 8 | 01.45-02:00 | 50.04 | 50.0275 | 1139 | 1121.25
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.02 |  | 1126 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 50.02 |  | 1126
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.03 |  | 1117
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.03 | 50.025 | 1116 | 1121.25
1 | 690.8109 | 87.0374 | 97.0995 | 40 | 89 | 192 | 1195.9477 | -55.0253 | 1140.9225 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1140.9225 | 1 | 691.75 | 86.5 | 96.5 | 874.75 | 1141.75 | 1156 | 1134 | 1141.75 | 1141.75 | 1140.9225 | 0 | 13 | 03.00-03.15 | 49.98 |  | 1109 |  | 86.5 | 1
2 | 699.549 | 43.5187 | 160.994 | 40 | 56.75 | 183.5 | 1184.3117 | -63.8743 | 1120.4373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1120.4373 | 2 | 700.5 | 43.25 | 160 | 903.75 | 1121.25 | 1139 | 1102 | 1121.25 | 1121.25 | 1120.4373 | 0 | 14 | 03.15-03.30 | 49.94 |  | 1098 |  | 43.25 | 2
3 | 657.4812 | 43.2671 | 220.3605 | 40 | 0 | 182.25 | 1143.3588 | -22.9215 | 1120.4373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1120.4373 | 3 | 658.375 | 43 | 219 | 920.375 | 1121.25 | 1126 | 1116 | 1121.25 | 1121.25 | 1120.4373 | 0 | 15 | 03.30-03.45 | 49.96 |  | 1102 |  | 43 | 3
4 | 638.3822 | 29.1802 | 206.2735 | 40 | 0 | 182 | 1095.8358 | 5.3655 | 1101.2013 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1101.2013 | 4 | 639.25 | 29 | 205 | 873.25 | 1102 | 1109 | 1098 | 1102 | 1102 | 1101.2013 | 0 | 16 | 03.45-04.00 | 49.94 | 49.955 | 1099 | 1102 | 29 | 4
5 | 617.136 | 21.8851 | 136.8449 | 40 | 0 | 182 | 997.866 | 121.0724 | 1118.9384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1118.9384 | 5 | 617.975 | 21.75 | 136 | 775.725 | 1119.75 | 1143 | 1101 | 1119.75 | 1119.75 | 1118.9384 | 0 | 17 | 04.00-04.15 | 49.98 |  | 1101 |  | 21.75 | 5
6 | 630.4429 | 0 | 117.4753 | 28.25 | 0 | 182.5 | 958.6682 | 235.2158 | 1193.8841 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1193.8841 | 6 | 631.3 | 0 | 116.75 | 748.05 | 1194.75 | 1221 | 1159 | 1194.75 | 1194.75 | 1193.8841 | 0 | 18 | 04.15-04.30 | 49.98 |  | 1112 |  | 0 | 6
7 | 594.4918 | 0 | 42.764 | 0 | 0 | 182.5 | 819.7558 | 438.3316 | 1258.0875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1258.0875 | 7 | 595.3 | 0 | 42.5 | 637.8 | 1259 | 1290 | 1228 | 1259 | 1259 | 1258.0875 | 0 | 19 | 04.30-04.45 | 49.96 |  | 1123 |  | 0 | 7
8 | 617.885 | 0 | 30.1864 | 0 | 0.5 | 182.75 | 831.3214 | 462.74 | 1294.0614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1294.0614 | 8 | 618.725 | 0 | 30 | 648.725 | 1295 | 1310 | 1286 | 1295 | 1295 | 1294.0614 | 0 | 20 | 04.45-05.00 | 49.96 | 49.97 | 1143 | 1119.75 | 0 | 8
9 | 626.1987 | 0 | 82.5094 | 0 | 57 | 173 | 938.7081 | 362.8478 | 1301.556 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1301.556 | 9 | 627.05 | 0 | 82 | 709.05 | 1302.5 | 1319 | 1282 | 1302.5 | 1302.5 | 1301.556 | 0 | 21 | 05.00-05.15 | 49.98 |  | 1159 |  | 0 | 9
10 | 648.1189 | 0 | 105.9038 | 0 | 74 | 173 | 1001.0228 | 385.9772 | 1387 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1387 | 10 | 649 | 0 | 105.25 | 754.25 | 1339.25 | 1387 | 1293 | 1387 | 1387 | 1387 | 0 | 22 | 05.15-05.30 | 50.01 |  | 1185 |  | 0 | 10
11 | 652.8625 | 0 | 105.6523 | 0 | 74 | 162 | 994.5148 | 363.9999 | 1358.5146 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1358.5146 | 11 | 653.75 | 0 | 105 | 758.75 | 1359.5 | 1374 | 1344 | 1359.5 | 1359.5 | 1358.5146 | 0 | 23 | 05.30-05.45 | 49.98 |  | 1214 |  | 0 | 11
12 | 634.6372 | 0 | 90.5591 | 0 | 74 | 162.25 | 961.4464 | 355.5984 | 1317.0447 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1317.0447 | 12 | 635.5 | 0 | 90 | 725.5 | 1318 | 1341 | 1305 | 1318 | 1318 | 1317.0447 | 0 | 24 | 05.45-06.00 | 50.01 | 49.995 | 1221 | 1194.75 | 0 | 12
13 | 592.6943 | 0 | 84.0187 | 0 | 74 | 163 | 913.713 | 342.3759 | 1256.0889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1256.0889 | 13 | 593.5 | 0 | 83.5 | 677 | 1257 | 1295 | 1172 | 1257 | 1257 | 1256.0889 | 0 | 25 | 06.00-06.15 | 49.97 |  | 1228 |  | 0 | 13
14 | 577.8644 | 0 | 39.2423 | 17 | 74 | 162.5 | 870.6067 | 292.7995 | 1163.4062 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1163.4062 | 14 | 578.65 | 0 | 39 | 617.65 | 1164.25 | 1178 | 1152 | 1164.25 | 1164.25 | 1163.4062 | 0 | 26 | 06.15-06.30 | 50.03 |  | 1244 |  | 0 | 14
15 | 659.7781 | 28.6771 | 87.0374 | 50 | 74 | 163.25 | 1062.7425 | 151.8765 | 1214.619 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1214.619 | 15 | 660.675 | 28.5 | 86.5 | 775.675 | 1215.5 | 1228 | 1207 | 1215.5 | 1215.5 | 1214.619 | 0 | 27 | 06.30-06.45 | 50.03 |  | 1274 |  | 28.5 | 15
16 | 670.9129 | 0 | 93.0746 | 50 | 1 | 163.75 | 978.7376 | 223.6403 | 1202.3779 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1202.3779 | 16 | 671.825 | 0 | 92.5 | 764.325 | 1203.25 | 1228 | 1166 | 1203.25 | 1203.25 | 1202.3779 | 0 | 28 | 06.45-07.00 | 50.01 | 50.01 | 1290 | 1259 | 0 | 16
17 | 656.2079 | 43.2671 | 40.2485 | 50 | 0 | 162 | 951.7235 | 224.6732 | 1176.3967 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1176.3967 | 17 | 657.1 | 43 | 40 | 740.1 | 1177.25 | 1185 | 1161 | 1177.25 | 1177.25 | 1176.3967 | 0 | 29 | 07.00-07.15 | 50 |  | 1286 |  | 43 | 17
18 | 564.8321 | 43.7702 | 30.941 | 50 | 0 | 165 | 854.5434 | 268.8918 | 1123.4352 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1123.4352 | 18 | 565.6 | 43.5 | 30.75 | 639.85 | 1124.25 | 1139 | 1110 | 1124.25 | 1124.25 | 1123.4352 | 0 | 30 | 07.15-07.30 | 49.99 |  | 1310 |  | 43.5 | 18
19 | 512.9027 | 63.6429 | 100.6212 | 52.25 | 20.5 | 186.5 | 936.4169 | 139.5527 | 1075.9696 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1075.9696 | 19 | 513.6 | 63.25 | 100 | 676.85 | 1076.75 | 1087 | 1067 | 1076.75 | 1076.75 | 1075.9696 | 0 | 31 | 07.30-07.45 | 50.01 |  | 1291 |  | 63.25 | 19
20 | 628.2459 | 86.5343 | 171.3076 | 101.25 | 81.75 | 187 | 1256.0878 | -119.6621 | 1136.4257 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1136.4257 | 20 | 629.1 | 86 | 170.25 | 885.35 | 1137.25 | 1173 | 1100 | 1137.25 | 1137.25 | 1136.4257 | 0 | 32 | 07.45-08.00 | 50.07 | 50.0175 | 1293 | 1295 | 86 | 20
21 | 686.4169 | 86.5343 | 200.2362 | 101 | 89 | 187 | 1350.1874 | -157.0528 | 1193.1346 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1193.1346 | 21 | 687.35 | 86 | 199 | 972.35 | 1194 | 1216 | 1174 | 1194 | 1194 | 1193.1346 | 0 | 33 | 08.00-08.15 | 50.05 |  | 1282 |  | 86 | 21
22 | 702.3951 | 86.5343 | 218.5996 | 99 | 89 | 191.5 | 1387.029 | -205.8857 | 1181.1433 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1181.1433 | 22 | 703.35 | 86 | 217.25 | 1006.6 | 1182 | 1192 | 1170 | 1182 | 1182 | 1181.1433 | 0 | 34 | 08.15-08.30 | 50.07 |  | 1290 |  | 86 | 22
23 | 692.4087 | 86.5343 | 220.3605 | 39.75 | 89 | 192 | 1320.0535 | -183.1281 | 1136.9254 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1136.9254 | 23 | 693.35 | 86 | 219 | 998.35 | 1137.75 | 1141 | 1133 | 1137.75 | 1137.75 | 1136.9254 | 0 | 35 | 08.30-08.45 | 50.05 |  | 1319 |  | 86 | 23
24 | 707.638 | 86.5343 | 111.6896 | 40 | 89 | 189 | 1223.8618 | -185.8618 | 1038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1038 | 24 | 708.6 | 86 | 111 | 905.6 | 1065 | 1088 | 1038 | 1038 | 1038 | 1038 | 0 | 36 | 08.45-09.00 | 50.11 | 50.07 | 1319 | 1302.5 | 86 | 24
[34 empty] | 37 | 09.00-09.15 | 50.06 |  | 1293
TOTAL (in MWh) | 15360.2935 | 836.9171 | 2794 | 878.5 | 1106.5 | 4252.25 | 25228.4606 | 3381.547 | 28610.0076 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28610.0076 | TOTAL | 15381.175 | 831.75 | 2776.75 | 18989.675 | 28608.25 |  |  | 28629 | 28629 | 28610.0076 | 0 | 38 | 09.15-09.30 | 49.98 |  | 1333
[34 empty] | 39 | 09.30-09.45 | 49.94 |  | 1344
[34 empty] | 40 | 09.45-10.00 | 49.98 | 49.99 | 1387 | 1339.25
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9931; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.95 |  | 1374
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1387; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.94 |  | 1363
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1387; 5+6 P6 14: MW | MAX = | 1387 | [10 empty] | 43 | 10.30-10.45 | 49.93 |  | 1344
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1038; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1038 | [10 empty] | 44 | 10.45-11.00 | 49.97 | 49.9475 | 1357 | 1359.5
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 15360.2935; 5+6 P6 14: MWH; 5+6 P11 19: 26.92; 5+6 P11/1000 20: 15333.3735 | [12 empty] | 45 | 11.00-11.15 | 49.95 |  | 1341
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 2794; 5+6 P6 14: MWH; 5+6 P11 19: 5.13; 5+6 P11/1000 20: 2788.87 | [12 empty] | 46 | 11.15-11.30 | 49.85 |  | 1317
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 836.9171; 5+6 P6 14: MWH; 5+6 P11 19: 1.364; 5+6 P11/1000 20: 835.5531 | [12 empty] | 47 | 11.30-11.45 | 49.89 |  | 1309
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 43; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.9 | 49.8975 | 1305 | 1318
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 86; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.93 |  | 1295
|  |  | Max.generation of Malana at 100 Hrs. |  |  |  | 5+6 P4 12: 86.5; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.95 |  | 1280
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 49.96 |  | 1264
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 677.0474; 5+6 P4 12: 819.3137; 5+6 P11 19: 153.6029; 5+6 P11/1000 20: 153.3337 | [12 empty] | 51 | 12.30-12.45 | 49.97 | 49.9525 | 1189 | 1257
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 319.4836; 5+6 P4 12: 276.987; 5+6 P11 19: 73.16; 5+6 P11/1000 20: 72.941 | [12 empty] | 52 | 12.45-13.00 | 50 |  | 1172
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 357.5637; 5+6 P4 12: 542.3267; 5+6 P11 19: 80.443; 5+6 P11/1000 20: 80.3927 | [12 empty] | 53 | 13.00-13.15 | 50 |  | 1155
[34 empty] | 55 | 13.30-13.45 | 49.99 |  | 1152
[34 empty] | 56 | 13.45-14.00 | 49.95 | 49.985 | 1178 | 1164.25
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 50.04 |  | 1213
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.97 |  | 1214
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2023-05-21 | [12 empty] | 59 | 14.30-14.45 | 49.99 |  | 1207
[34 empty] | 60 | 14.45-15.00 | 50.01 | 50.0025 | 1228 | 1215.5 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 50.05 |  | 1228
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 50 |  | 1220 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 50.02 |  | 1199
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.98 | 50.0125 | 1166 | 1203.25
1 | [33 empty] | 65 | 16.00-16.15 | 50.07 |  | 1184 | bar: 5+6 P12 21
2 | [33 empty] | 66 | 16.15-16.30 | 50.04 |  | 1185 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 50.06 |  | 1179 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 50 | 50.0425 | 1161 | 1177.25 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50 |  | 1139 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50.02 |  | 1124 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.01 |  | 1124 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 49.99 | 50.005 | 1110 | 1124.25 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.05 |  | 1087 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.07 |  | 1082 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.06 |  | 1067 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50.07 | 50.0625 | 1071 | 1076.75 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 50.04 |  | 1100 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 50 |  | 1113 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 49.99 |  | 1163 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 49.94 | 49.9925 | 1173 | 1137.25 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 49.96 |  | 1174 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 49.92 |  | 1180 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.98 |  | 1216 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 49.93 | 49.9475 | 1206 | 1194 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 49.9 |  | 1192 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 49.98 |  | 1177 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 49.96 |  | 1189
[34 empty] | 88 | 21.45-22.00 | 50.01 | 49.9625 | 1170 | 1182
[34 empty] | 89 | 22.00-22.15 | 49.94 |  | 1139
[34 empty] | 90 | 22.15-22.30 | 50 |  | 1141
[34 empty] | 91 | 22.30-22.45 | 49.97 |  | 1138
[34 empty] | 92 | 22.45-23.00 | 49.99 | 49.975 | 1133 | 1137.75
[34 empty] | 93 | 23.00-23.15 | 49.99 |  | 1088
[34 empty] | 94 | 23.15-23.30 | 49.96 |  | 1075
[34 empty] | 95 | 23.30-23.45 | 50 |  | 1059
[34 empty] | 96 | 23.45-24.00 | 50 | 49.9875 | 1038 | 1065
[35 empty] | Total | 49.9931 | 49.9931 | 28608.25 | 28608.25
[35 empty] | max | 1387 |  | avg. max | 1359.5
[35 empty] | min | 1038 |  | avg. min | 1065
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.