## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2023-05-09
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2023-05-10
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 29865.5 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 508 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 1392.6 | MWh | MALANA-II | 0 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1564 | [6 empty] | HOLI BAJOLI | 1820 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.94 |  | 913
|  | Month/Day :- |  |  |  |  | 2023-05-09 | [10 empty] | Min.DEMAND(MW) |  | 883 |  | ACTUAL OWN GENERATION |  |  | 11561.274 | MWh | SWARA KUDDU | 1009.922 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50 |  | 923
[34 empty] | 3 | 00.30-00.45 | 50 |  | 909 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50 | 49.985 | 912 | 914.25 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50.02 |  | 922 |  |  |  | MALANA-2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[34 empty] | 6 | 01.15-01.30 | 50.04 |  | 925 |  |  |  | SWARA KUDDU | 74 | 55.75 | 37 | 37 | 37 | 37 | 2 | 0 | 1 | 65.5 | 74 | 76.5 | 74 | 74 | 1.25 | 0 | 0 | 0 | 0.75 | 65.25 | 74 | 74 | 74 | 74 | 1008
[34 empty] | 7 | 01.30-01.45 | 50.02 |  | 916
[34 empty] | 8 | 01.45-02:00 | 50.02 | 50.025 | 893 | 914
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.98 |  | 903 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 50 |  | 912
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50 |  | 895
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50 | 49.995 | 890 | 900
1 | 502.7898 | 44.4339 | 109.0651 | 0 | 74 | 112.5 | 842.7888 | 71.2928 | 914.0817 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 914.0817 | 1 | 523.3163 | 44 | 108 | 675.3163 | 914.25 | 923 | 909 | 914.25 | 914.25 | 914.0817 | 0 | 13 | 03.00-03.15 | 50 |  | 886 |  | 44 | 1
2 | 529.9317 | 43.929 | 149.9645 | 0 | 55.75 | 112 | 891.5752 | 22.2565 | 913.8317 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 913.8317 | 2 | 551.5663 | 43.5 | 148.5 | 743.5663 | 914 | 925 | 893 | 914 | 914 | 913.8317 | 0 | 14 | 03.15-03.30 | 49.98 |  | 884 |  | 43.5 | 2
3 | 510.8363 | 0.25247 | 105.5306 | 0 | 37 | 52.25 | 705.8693 | 193.965 | 899.8343 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 899.8343 | 3 | 531.6913 | 0.25 | 104.5 | 636.4413 | 900 | 912 | 890 | 900 | 900 | 899.8343 | 0 | 15 | 03.30-03.45 | 50.02 |  | 883 |  | 0.25 | 3
4 | 483.5742 | 0 | 83.8186 | 0 | 37 | 51 | 655.3928 | 227.6072 | 883 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883 | 4 | 503.3163 | 0 | 83 | 586.3163 | 887.5 | 897 | 883 | 883 | 883 | 883 | 0 | 16 | 03.45-04.00 | 49.98 | 49.995 | 897 | 887.5 | 0 | 4
5 | 440.7957 | 0 | 57.5621 | 0 | 37 | 51 | 586.3578 | 357.4683 | 943.8262 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 943.8262 | 5 | 458.7913 | 0 | 57 | 515.7913 | 944 | 980 | 906 | 944 | 944 | 943.8262 | 0 | 17 | 04.00-04.15 | 49.94 |  | 906 |  | 0 | 5
6 | 481.2203 | 0 | 30.2959 | 0 | 37 | 51 | 599.5162 | 568.5187 | 1168.0349 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1168.0349 | 6 | 500.8663 | 0 | 30 | 530.8663 | 1168.25 | 1294 | 1038 | 1168.25 | 1168.25 | 1168.0349 | 0 | 18 | 04.15-04.30 | 49.97 |  | 939 |  | 0 | 6
7 | 519.8916 | 0.25247 | 50.4931 | 0 | 2 | 51 | 623.6372 | 820.3469 | 1443.9841 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1443.9841 | 7 | 541.1163 | 0.25 | 50 | 591.3663 | 1444.25 | 1526 | 1353 | 1444.25 | 1444.25 | 1443.9841 | 0 | 19 | 04.30-04.45 | 49.96 |  | 951 |  | 0.25 | 7
8 | 466.2563 | 39.6371 | 31.5582 | 0 | 0 | 51 | 588.4515 | 975.5485 | 1564 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1564 | 8 | 485.2913 | 39.25 | 31.25 | 555.7913 | 1554 | 1564 | 1542 | 1564 | 1564 | 1564 | 0 | 20 | 04.45-05.00 | 49.95 | 49.955 | 980 | 944 | 39.25 | 8
9 | 475.6959 | 39.6371 | 30.2959 | 0 | 1 | 51 | 597.6288 | 880.8489 | 1478.4777 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1478.4777 | 9 | 495.1163 | 39.25 | 30 | 564.3663 | 1478.75 | 1510 | 1449 | 1478.75 | 1478.75 | 1478.4777 | 0 | 21 | 05.00-05.15 | 49.94 |  | 1038 |  | 39.25 | 9
10 | 479.0106 | 0.25247 | 30.2959 | 0 | 65.5 | 51 | 626.0589 | 819.9248 | 1445.9837 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 4 | 0.004 | 1449.9837 | 10 | 498.5663 | 0.25 | 30 | 528.8163 | 1446.25 | 1452 | 1442 | 1446.25 | 1446.25 | 1445.9837 | 4 | 22 | 05.15-05.30 | 49.93 |  | 1124 |  | 0.25 | 10
11 | 462.6774 | 0 | 43.6765 | 0 | 74 | 51 | 631.3539 | 804.6316 | 1435.9856 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 8 | 0.008 | 1443.9856 | 11 | 481.5663 | 0 | 43.25 | 524.8163 | 1436.25 | 1446 | 1419 | 1436.25 | 1436.25 | 1435.9856 | 8 | 23 | 05.30-05.45 | 49.99 |  | 1217 |  | 0 | 11
12 | 494.6232 | 0 | 108.0553 | 0 | 76.5 | 51 | 730.1784 | 689.3102 | 1419.4886 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 8 | 0.008 | 1427.4886 | 12 | 514.8163 | 0 | 107 | 621.8163 | 1419.75 | 1433 | 1396 | 1419.75 | 1419.75 | 1419.4886 | 8 | 24 | 05.45-06.00 | 49.98 | 49.96 | 1294 | 1168.25 | 0 | 12
13 | 489.0987 | 0 | 86.5957 | 0 | 74 | 51 | 700.6944 | 651.3066 | 1352.001 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 8 | 0.008 | 1360.001 | 13 | 509.0663 | 0 | 85.75 | 594.8163 | 1352.25 | 1372 | 1278 | 1352.25 | 1352.25 | 1352.001 | 8 | 25 | 06.00-06.15 | 50 |  | 1353 |  | 0 | 13
14 | 428.4737 | 0 | 30.2959 | 0 | 74 | 51 | 583.7696 | 706.4928 | 1290.2624 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 8 | 0.008 | 1298.2624 | 14 | 445.9663 | 0 | 30 | 475.9663 | 1290.5 | 1324 | 1292 | 1290.5 | 1290.5 | 1290.2624 | 8 | 26 | 06.15-06.30 | 50.03 |  | 1424 |  | 0 | 14
15 | 533.4625 | 0 | 86.8482 | 0 | 1.25 | 51 | 672.5607 | 667.1926 | 1339.7533 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 8 | 0.008 | 1347.7533 | 15 | 555.2413 | 0 | 86 | 641.2413 | 1340 | 1350 | 1333 | 1340 | 1340 | 1339.7533 | 8 | 27 | 06.30-06.45 | 50.02 |  | 1474 |  | 0 | 15
16 | 494.6952 | 0 | 63.1164 | 0 | 0 | 53 | 610.8116 | 732.441 | 1343.2526 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 8 | 0.008 | 1351.2526 | 16 | 514.8913 | 0 | 62.5 | 577.3913 | 1343.5 | 1352 | 1335 | 1343.5 | 1343.5 | 1343.2526 | 8 | 28 | 06.45-07.00 | 50.06 | 50.0275 | 1526 | 1444.25 | 0 | 16
17 | 474.543 | 0 | 81.5464 | 0 | 0 | 53 | 609.0893 | 761.9082 | 1370.9975 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 8 | 0.008 | 1378.9975 | 17 | 493.9163 | 0 | 80.75 | 574.6663 | 1371.25 | 1380 | 1358 | 1371.25 | 1371.25 | 1370.9975 | 8 | 29 | 07.00-07.15 | 50.01 |  | 1542 |  | 0 | 17
18 | 438.754 | 0 | 63.6213 | 0 | 0 | 55 | 557.3754 | 751.3836 | 1308.759 | 0 | 0 | 0 | 0 | 0 | 5.3333 | 0 | 0 | 0 | 5.3333 | 0.0053333 | 1314.0923 | 18 | 456.6663 | 0 | 63 | 519.6663 | 1309 | 1335 | 1293 | 1309 | 1309 | 1308.759 | 5.3333 | 30 | 07.15-07.30 | 50.04 |  | 1564 |  | 0 | 18
19 | 451.7245 | 39.6371 | 96.9468 | 0 | 0.75 | 68.75 | 657.8084 | 611.4579 | 1269.2663 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1269.2663 | 19 | 470.1663 | 39.25 | 96 | 605.4163 | 1269.5 | 1282 | 1259 | 1269.5 | 1269.5 | 1269.2663 | 0 | 31 | 07.30-07.45 | 50.02 |  | 1564 |  | 39.25 | 19
20 | 453.6461 | 65.1361 | 1.0099 | 0 | 65.25 | 141.5 | 726.542 | 623.7093 | 1350.2513 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1350.2513 | 20 | 472.1663 | 64.5 | 1 | 537.6663 | 1350.5 | 1402 | 1309 | 1350.5 | 1350.5 | 1350.2513 | 0 | 32 | 07.45-08.00 | 50.03 | 50.025 | 1546 | 1554 | 64.5 | 20
21 | 497.8418 | 62.6115 | 0 | 0 | 74 | 142 | 776.4532 | 571.7985 | 1348.2517 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1348.2517 | 21 | 518.1663 | 62 | 0 | 580.1663 | 1348.5 | 1370 | 1322 | 1348.5 | 1348.5 | 1348.2517 | 0 | 33 | 08.00-08.15 | 49.96 |  | 1510 |  | 62 | 21
22 | 521.3808 | 63.6213 | 0 | 0 | 74 | 142 | 801.0021 | 447.0181 | 1248.0202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1248.0202 | 22 | 542.6663 | 63 | 0 | 605.6663 | 1248.25 | 1293 | 1198 | 1248.25 | 1248.25 | 1248.0202 | 0 | 34 | 08.15-08.30 | 49.96 |  | 1490 |  | 63 | 22
23 | 480.5478 | 80.5365 | 0 | 0 | 74 | 142 | 777.0843 | 353.4575 | 1130.5418 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1130.5418 | 23 | 500.1663 | 79.75 | 0 | 579.9163 | 1130.75 | 1173 | 1086 | 1130.75 | 1130.75 | 1130.5418 | 0 | 35 | 08.30-08.45 | 50.03 |  | 1466 |  | 79.75 | 23
24 | 449.803 | 34.5878 | 52.0079 | 0 | 74 | 142 | 752.3987 | 251.6664 | 1004.0651 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1004.0651 | 24 | 468.1663 | 34.25 | 51.5 | 553.9163 | 1004.25 | 1048 | 968 | 1004.25 | 1004.25 | 1004.0651 | 0 | 36 | 08.45-09.00 | 50.03 | 49.995 | 1449 | 1478.75 | 34.25 | 24
[34 empty] | 37 | 09.00-09.15 | 49.97 |  | 1452
TOTAL (in MWh) | 11561.274 | 514.5248 | 1392.6 | 0 | 1008 | 1828 | 16304.3988 | 13561.5518 | 29865.9506 | 0 | 0 | 0 | 0 | 0 | 65.3333 | 0 | 0 | 0 | 65.3333 | 65.3333 | 29931.2839 | TOTAL | 12033.266 | 509.5 | 1379 | 13921.766 | 29865.5 |  |  | 29871 | 29871 | 29865.9506 | 65.3333 | 38 | 09.15-09.30 | 49.98 |  | 1442
[34 empty] | 39 | 09.30-09.45 | 50 |  | 1445
[34 empty] | 40 | 09.45-10.00 | 49.95 | 49.975 | 1446 | 1446.25
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9941; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.01 |  | 1419
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1564; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.98 |  | 1438
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1564; 5+6 P6 14: MW | MAX = | 1564 | [10 empty] | 43 | 10.30-10.45 | 49.99 |  | 1446
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 883; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 883 | [10 empty] | 44 | 10.45-11.00 | 49.98 | 49.99 | 1442 | 1436.25
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 11561.274; 5+6 P6 14: MWH; 5+6 P11 19: 28.0404; 5+6 P11/1000 20: 11533.2336 | [12 empty] | 45 | 11.00-11.15 | 49.94 |  | 1430
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 1392.6; 5+6 P6 14: MWH; 5+6 P11 19: 4; 5+6 P11/1000 20: 1388.6 | [12 empty] | 46 | 11.15-11.30 | 49.86 |  | 1433
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 514.5248; 5+6 P6 14: MWH; 5+6 P11 19: 0.85; 5+6 P11/1000 20: 513.6748 | [12 empty] | 47 | 11.30-11.45 | 49.86 |  | 1420
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 0.25; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.97 | 49.9075 | 1396 | 1419.75
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 34.25; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.03 |  | 1361
|  |  | Max.generation of Malana at 2300 Hrs. |  |  |  | 5+6 P4 12: 79.75; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50.03 |  | 1372
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 50 |  | 1352
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 536.3396; 5+6 P4 12: 454.4101; 5+6 P11 19: 115.6127; 5+6 P11/1000 20: 115.3323 | [12 empty] | 51 | 12.30-12.45 | 50.01 | 50.0175 | 1324 | 1352.25
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 209.7774; 5+6 P4 12: 161.7991; 5+6 P11 19: 46.1204; 5+6 P11/1000 20: 45.8891 | [12 empty] | 52 | 12.45-13.00 | 50 |  | 1278
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 326.5622; 5+6 P4 12: 292.611; 5+6 P11 19: 69.4923; 5+6 P11/1000 20: 69.4432 | [12 empty] | 53 | 13.00-13.15 | 50.01 |  | 1268
[34 empty] | 55 | 13.30-13.45 | 50 |  | 1292
[34 empty] | 56 | 13.45-14.00 | 50.06 | 50.0175 | 1324 | 1290.5
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 50.06 |  | 1333
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 50.02 |  | 1334
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2023-05-09 | [12 empty] | 59 | 14.30-14.45 | 50.04 |  | 1350
[34 empty] | 60 | 14.45-15.00 | 50.04 | 50.04 | 1343 | 1340 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 50.04 |  | 1335
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 50.01 |  | 1340 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 50.01 |  | 1352
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.99 | 50.0125 | 1347 | 1343.5
1 | 66/33/11 kV s/stn Sanerh | 8 | 0 | 8 | 9 | 30 | 7: 17; 8: 40; 5+6 P1 9: 8; 5+6 P2 10: 10; 5+6 P3 11: 0.65333; 5+6 P4 12: Planned shutdown | [12 empty] | 65 | 16.00-16.15 | 50.04 |  | 1368
2 | [33 empty] | 66 | 16.15-16.30 | 50.03 |  | 1379 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 50.02 |  | 1380 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 49.97 | 50.015 | 1358 | 1371.25 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50.04 |  | 1335 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50.01 |  | 1314 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50 |  | 1294 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 49.96 | 50.0025 | 1293 | 1309 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 49.97 |  | 1282 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 49.98 |  | 1259 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 49.99 |  | 1262 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50 | 49.985 | 1275 | 1269.5 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 49.95 |  | 1309 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 49.84 |  | 1322 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 50 |  | 1369 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 49.97 | 49.94 | 1402 | 1350.5 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.01 |  | 1370 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50.04 |  | 1358 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 50.02 |  | 1344 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 50.03 | 50.025 | 1322 | 1348.5 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 50 |  | 1293 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 49.99 |  | 1261 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 50 |  | 1241
[34 empty] | 88 | 21.45-22.00 | 50.01 | 50 | 1198 | 1248.25
[34 empty] | 89 | 22.00-22.15 | 49.94 |  | 1173
[34 empty] | 90 | 22.15-22.30 | 50.01 |  | 1146
[34 empty] | 91 | 22.30-22.45 | 50.015 |  | 1118
[34 empty] | 92 | 22.45-23.00 | 49.98 | 49.9862 | 1086 | 1130.75
[34 empty] | 93 | 23.00-23.15 | 50 |  | 1048
[34 empty] | 94 | 23.15-23.30 | 49.99 |  | 1011
[34 empty] | 95 | 23.30-23.45 | 49.95 |  | 990
[34 empty] | 96 | 23.45-24.00 | 49.99 | 49.9825 | 968 | 1004.25
[35 empty] | Total | 49.9941 | 49.9941 | 29865.5 | 29865.5
[35 empty] | max | 1564 |  | avg. max | 1554
[35 empty] | min | 883 |  | avg. min | 887.5
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.