## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2023-05-12
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2023-05-13
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 30423.25 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 694 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 1514.8 | MWh | MALANA-II | 591 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1561 | [6 empty] | HOLI BAJOLI | 2492 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50.07 |  | 1026
|  | Month/Day :- |  |  |  |  | 2023-05-12 | [10 empty] | Min.DEMAND(MW) |  | 957 |  | ACTUAL OWN GENERATION |  |  | 13703.7785 | MWh | SWARA KUDDU | 930.65 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.11 |  | 1001
[34 empty] | 3 | 00.30-00.45 | 50.02 |  | 1001 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50 | 50.05 | 997 | 1006.25 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.99 |  | 985 |  |  |  | MALANA-2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.25 | 25 | 25 | 25.25 | 30 | 30.5 | 40.25 | 42.25 | 101 | 101 | 99 | 29.75 | 30 | 592.25
[34 empty] | 6 | 01.15-01.30 | 49.99 |  | 986 |  |  |  | SWARA KUDDU | 74 | 55.75 | 28 | 0 | 0 | 0 | 0 | 1 | 37 | 65.75 | 74 | 74 | 74 | 55.75 | 37 | 0.5 | 0 | 0 | 1 | 65.75 | 74 | 74 | 74 | 74 | 939.5
[34 empty] | 7 | 01.30-01.45 | 49.92 |  | 978
[34 empty] | 8 | 01.45-02:00 | 49.98 | 49.97 | 970 | 979.75
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.94 |  | 965 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.93 |  | 957
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.95 |  | 968
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.02 | 49.96 | 963 | 963.25
1 | 625.7061 | 62.4967 | 193.194 | 0 | 74 | 183 | 1138.3968 | -132.7253 | 1005.6715 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1005.6715 | 1 | 637.2168 | 63 | 194.75 | 894.9668 | 1006.25 | 1026 | 997 | 1006.25 | 1006.25 | 1005.6715 | 0 | 13 | 03.00-03.15 | 50.03 |  | 979 |  | 63 | 1
2 | 572.1906 | 62.0007 | 173.8498 | 0 | 55.75 | 183 | 1046.7911 | -67.6043 | 979.1868 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 979.1868 | 2 | 582.7168 | 62.5 | 175.25 | 820.4668 | 979.75 | 986 | 970 | 979.75 | 979.75 | 979.1868 | 0 | 14 | 03.15-03.30 | 50.03 |  | 971 |  | 62.5 | 2
3 | 544.5736 | 0.49601 | 131.4414 | 0 | 28 | 124.5 | 829.011 | 127.989 | 957 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 957 | 3 | 554.5918 | 0.5 | 132.5 | 687.5918 | 963.25 | 968 | 957 | 957 | 957 | 957 | 0 | 15 | 03.30-03.45 | 50.09 |  | 979 |  | 0.5 | 3
4 | 566.7899 | 0 | 65.9687 | 0 | 0 | 101.5 | 734.2586 | 241.68 | 975.9386 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 975.9386 | 4 | 577.2168 | 0 | 66.5 | 643.7168 | 976.5 | 979 | 971 | 976.5 | 976.5 | 975.9386 | 0 | 16 | 03.45-04.00 | 50.07 | 50.055 | 977 | 976.5 | 0 | 4
5 | 556.455 | 0 | 0 | 0 | 0 | 101 | 657.455 | 343.7191 | 1001.1741 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1001.1741 | 5 | 566.6917 | 0 | 0 | 566.6917 | 1001.75 | 1017 | 986 | 1001.75 | 1001.75 | 1001.1741 | 0 | 17 | 04.00-04.15 | 49.99 |  | 986 |  | 0 | 5
6 | 504.4861 | 0 | 0 | 0 | 0 | 61.75 | 566.2361 | 634.5732 | 1200.8093 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1200.8093 | 6 | 513.7668 | 0 | 0 | 513.7668 | 1201.5 | 1327 | 1067 | 1201.5 | 1201.5 | 1200.8093 | 0 | 18 | 04.15-04.30 | 49.97 |  | 993 |  | 0 | 6
7 | 516.5148 | 0 | 0 | 0 | 0 | 61 | 577.5148 | 886.643 | 1464.1578 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1464.1578 | 7 | 526.0168 | 0 | 0 | 526.0168 | 1465 | 1537 | 1388 | 1465 | 1465 | 1464.1578 | 0 | 19 | 04.30-04.45 | 49.96 |  | 1011 |  | 0 | 7
8 | 541.235 | 0 | 0 | 0 | 1 | 51 | 593.235 | 967.765 | 1561 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1561 | 8 | 551.1917 | 0 | 0 | 551.1917 | 1537.25 | 1561 | 1515 | 1561 | 1561 | 1561 | 0 | 20 | 04.45-05.00 | 49.94 | 49.965 | 1017 | 1001.75 | 0 | 8
9 | 591.6329 | 0 | 3.72 | 0 | 37 | 51 | 683.3529 | 824.2798 | 1507.6328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1507.6328 | 9 | 602.5168 | 0 | 3.75 | 606.2668 | 1508.5 | 1515 | 1505 | 1508.5 | 1508.5 | 1507.6328 | 0 | 21 | 05.00-05.15 | 49.9 |  | 1067 |  | 0 | 9
10 | 624.9696 | 0 | 51.5845 | 0 | 65.75 | 51 | 793.3042 | 721.3246 | 1514.6288 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1514.6288 | 10 | 636.4668 | 0 | 52 | 688.4668 | 1515.5 | 1535 | 1508 | 1515.5 | 1515.5 | 1514.6288 | 0 | 22 | 05.15-05.30 | 49.96 |  | 1155 |  | 0 | 10
11 | 583.7283 | 0 | 97.961 | 0 | 74 | 51 | 806.6894 | 705.4408 | 1512.1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1512.1302 | 11 | 594.4668 | 0 | 98.75 | 693.2168 | 1513 | 1516 | 1507 | 1513 | 1513 | 1512.1302 | 0 | 23 | 05.30-05.45 | 49.98 |  | 1257 |  | 0 | 11
12 | 561.3893 | 0 | 108.1291 | 13.25 | 74 | 51 | 807.7684 | 668.1326 | 1475.901 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1475.901 | 12 | 571.7168 | 0 | 109 | 680.7168 | 1476.75 | 1487 | 1468 | 1476.75 | 1476.75 | 1475.901 | 0 | 24 | 05.45-06.00 | 49.99 | 49.9575 | 1327 | 1201.5 | 0 | 12
13 | 517.2022 | 0 | 83.3289 | 25 | 74 | 51 | 750.531 | 677.8973 | 1428.4283 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1428.4283 | 13 | 526.7168 | 0 | 84 | 610.7168 | 1429.25 | 1455 | 1372 | 1429.25 | 1429.25 | 1428.4283 | 0 | 25 | 06.00-06.15 | 49.96 |  | 1388 |  | 0 | 13
14 | 515.8765 | 0 | 73.6568 | 25 | 55.75 | 51 | 721.2833 | 637.685 | 1358.9683 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1358.9683 | 14 | 525.3667 | 0 | 74.25 | 599.6167 | 1359.75 | 1364 | 1348 | 1359.75 | 1359.75 | 1358.9683 | 0 | 26 | 06.15-06.30 | 49.98 |  | 1444 |  | 0 | 14
15 | 527.1934 | 0 | 84.3209 | 25.25 | 37 | 51 | 724.7642 | 627.4579 | 1352.2222 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1352.2222 | 15 | 536.8918 | 0 | 85 | 621.8918 | 1353 | 1365 | 1348 | 1353 | 1353 | 1352.2222 | 0 | 27 | 06.30-06.45 | 50 |  | 1491 |  | 0 | 15
16 | 514.33 | 0 | 94.241 | 30 | 0.5 | 54.5 | 693.571 | 678.6397 | 1372.2107 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1372.2107 | 16 | 523.7917 | 0 | 95 | 618.7917 | 1373 | 1386 | 1359 | 1373 | 1373 | 1372.2107 | 0 | 28 | 06.45-07.00 | 50.02 | 49.99 | 1537 | 1465 | 0 | 16
17 | 581.1262 | 33.7284 | 113.8332 | 30.5 | 0 | 101.25 | 860.4378 | 488.7862 | 1349.2239 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1349.2239 | 17 | 591.8167 | 34 | 114.75 | 740.5667 | 1350 | 1362 | 1342 | 1350 | 1350 | 1349.2239 | 0 | 29 | 07.00-07.15 | 50 |  | 1544 |  | 34 | 17
18 | 570.5704 | 33.9764 | 60.7606 | 40.25 | 0 | 101.25 | 806.8074 | 495.1937 | 1302.0011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302.0011 | 18 | 581.0667 | 34.25 | 61.25 | 676.5667 | 1302.75 | 1330 | 1272 | 1302.75 | 1302.75 | 1302.0011 | 0 | 30 | 07.15-07.30 | 50.02 |  | 1561 |  | 34.25 | 18
19 | 540.3758 | 43.1525 | 111.3532 | 42.25 | 1 | 126.25 | 864.3815 | 367.9097 | 1232.2912 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1232.2912 | 19 | 550.3167 | 43.5 | 112.25 | 706.0667 | 1233 | 1246 | 1222 | 1233 | 1233 | 1232.2912 | 0 | 31 | 07.30-07.45 | 50.01 |  | 1529 |  | 43.5 | 19
20 | 558.5417 | 84.5689 | 6.2001 | 101 | 65.75 | 182.75 | 998.8106 | 273.9573 | 1272.7679 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1272.7679 | 20 | 568.8167 | 85.25 | 6.25 | 660.3167 | 1273.5 | 1312 | 1219 | 1273.5 | 1273.5 | 1272.7679 | 0 | 32 | 07.45-08.00 | 50.04 | 50.0175 | 1515 | 1537.25 | 85.25 | 20
21 | 585.2994 | 88.7849 | 0 | 101 | 74 | 183 | 1032.0844 | 217.6967 | 1249.7811 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1249.7811 | 21 | 596.0667 | 89.5 | 0 | 685.5667 | 1250.5 | 1277 | 1236 | 1250.5 | 1250.5 | 1249.7811 | 0 | 33 | 08.00-08.15 | 50 |  | 1507 |  | 89.5 | 21
22 | 655.2624 | 88.5369 | 0 | 99 | 74 | 183 | 1099.7993 | 80.7716 | 1180.5709 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1180.5709 | 22 | 667.3167 | 89.25 | 0 | 756.5667 | 1181.25 | 1217 | 1140 | 1181.25 | 1181.25 | 1180.5709 | 0 | 34 | 08.15-08.30 | 50.02 |  | 1515 |  | 89.25 | 22
23 | 651.5801 | 85.3129 | 1.736 | 29.75 | 74 | 183 | 1025.379 | 93.9771 | 1119.3561 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1119.3561 | 23 | 663.5667 | 86 | 1.75 | 751.3167 | 1120 | 1128 | 1107 | 1120 | 1120 | 1119.3561 | 0 | 35 | 08.30-08.45 | 50.01 |  | 1507 |  | 86 | 23
24 | 696.7492 | 85.3129 | 59.5206 | 30 | 74 | 183 | 1128.5827 | -76.9376 | 1051.6451 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1051.6451 | 24 | 709.5667 | 86 | 60 | 855.5667 | 1052.25 | 1094 | 1008 | 1052.25 | 1052.25 | 1051.6451 | 0 | 36 | 08.45-09.00 | 50.07 | 50.025 | 1505 | 1508.5 | 86 | 24
[34 empty] | 37 | 09.00-09.15 | 50.02 |  | 1508
TOTAL (in MWh) | 13703.7785 | 668.3671 | 1514.8 | 592.25 | 939.5 | 2521.75 | 19940.4456 | 10484.252 | 30424.6976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30424.6976 | TOTAL | 13955.877 | 673.75 | 1527 | 16156.627 | 30423.25 |  |  | 30440.75 | 30440.75 | 30424.6976 | 0 | 38 | 09.15-09.30 | 50.05 |  | 1535
[34 empty] | 39 | 09.30-09.45 | 49.99 |  | 1509
[34 empty] | 40 | 09.45-10.00 | 50.01 | 50.0175 | 1510 | 1515.5
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9835; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.94 |  | 1516
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1561; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.95 |  | 1515
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1561; 5+6 P6 14: MW | MAX = | 1561 | [10 empty] | 43 | 10.30-10.45 | 49.98 |  | 1514
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 957; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 957 | [10 empty] | 44 | 10.45-11.00 | 49.99 | 49.965 | 1507 | 1513
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 13703.7785; 5+6 P6 14: MWH; 5+6 P11 19: 27.2736; 5+6 P11/1000 20: 13676.5049 | [12 empty] | 45 | 11.00-11.15 | 49.97 |  | 1487
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 1514.8; 5+6 P6 14: MWH; 5+6 P11 19: 3.09; 5+6 P11/1000 20: 1511.71 | [12 empty] | 46 | 11.15-11.30 | 49.97 |  | 1468
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 668.3671; 5+6 P6 14: MWH; 5+6 P11 19: 1.05; 5+6 P11/1000 20: 667.3171 | [12 empty] | 47 | 11.30-11.45 | 49.92 |  | 1471
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 0.5; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.95 | 49.9525 | 1481 | 1476.75
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 86; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.91 |  | 1455
|  |  | Max.generation of Malana at 2100 Hrs. |  |  |  | 5+6 P4 12: 89.5; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.95 |  | 1443
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 49.97 |  | 1415
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 477.9563; 5+6 P4 12: 764.0481; 5+6 P11 19: 137.0378; 5+6 P11/1000 20: 136.765 | [12 empty] | 51 | 12.30-12.45 | 50.01 | 49.96 | 1404 | 1429.25
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 200.5358; 5+6 P4 12: 203.6409; 5+6 P11 19: 54.8821; 5+6 P11/1000 20: 54.6549 | [12 empty] | 52 | 12.45-13.00 | 50 |  | 1372
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 277.4204; 5+6 P4 12: 560.4072; 5+6 P11 19: 82.1557; 5+6 P11/1000 20: 82.1102 | [12 empty] | 53 | 13.00-13.15 | 49.98 |  | 1355
[34 empty] | 55 | 13.30-13.45 | 49.92 |  | 1364
[34 empty] | 56 | 13.45-14.00 | 49.94 | 49.96 | 1348 | 1359.75
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 49.97 |  | 1349
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.94 |  | 1348
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2023-05-12 | [12 empty] | 59 | 14.30-14.45 | 49.92 |  | 1350
[34 empty] | 60 | 14.45-15.00 | 49.86 | 49.9225 | 1365 | 1353 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 49.95 |  | 1380
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 50.02 |  | 1386 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 50 |  | 1367
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.96 | 49.9825 | 1359 | 1373
1 | [33 empty] | 65 | 16.00-16.15 | 50.07 |  | 1352 | bar: 5+6 P12 21
2 | [33 empty] | 66 | 16.15-16.30 | 49.99 |  | 1344 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 50.02 |  | 1362 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 50.01 | 50.0225 | 1342 | 1350 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50.07 |  | 1327 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50.01 |  | 1330 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.01 |  | 1282 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 49.97 | 50.015 | 1272 | 1302.75 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.02 |  | 1246 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.01 |  | 1234 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.01 |  | 1230 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50.03 | 50.0175 | 1222 | 1233 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 50 |  | 1219 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 49.97 |  | 1264 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 49.93 |  | 1299 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 50 | 49.975 | 1312 | 1273.5 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.01 |  | 1277 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50.01 |  | 1250 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 50.01 |  | 1236 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 50 | 50.0075 | 1239 | 1250.5 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 49.97 |  | 1217 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 49.96 |  | 1200 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 49.98 |  | 1168
[34 empty] | 88 | 21.45-22.00 | 49.98 | 49.9725 | 1140 | 1181.25
[34 empty] | 89 | 22.00-22.15 | 49.92 |  | 1128
[34 empty] | 90 | 22.15-22.30 | 49.97 |  | 1118
[34 empty] | 91 | 22.30-22.45 | 49.94 |  | 1127
[34 empty] | 92 | 22.45-23.00 | 49.92 | 49.9375 | 1107 | 1120
[34 empty] | 93 | 23.00-23.15 | 49.88 |  | 1094
[34 empty] | 94 | 23.15-23.30 | 49.88 |  | 1063
[34 empty] | 95 | 23.30-23.45 | 49.889 |  | 1044
[34 empty] | 96 | 23.45-24.00 | 49.98 | 49.9072 | 1008 | 1052.25
[35 empty] | Total | 49.9835 | 49.9835 | 30423.25 | 30423.25
[35 empty] | max | 1561 |  | avg. max | 1537.25
[35 empty] | min | 957 |  | avg. min | 963.25
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.