## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2023-05-13
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2023-05-14
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 30024.25 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 834 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 1969.5 | MWh | MALANA-II | 765 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1540 | [6 empty] | HOLI BAJOLI | 3114 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.98 |  | 1008
|  | Month/Day :- |  |  |  |  | 2023-05-13 | [10 empty] | Min.DEMAND(MW) |  | 944 |  | ACTUAL OWN GENERATION |  |  | 14507.1315 | MWh | SWARA KUDDU | 1237.217 | MWh |  |  |  |  | 2 | 00.15-00.30 | 49.98 |  | 996
[34 empty] | 3 | 00.30-00.45 | 50.01 |  | 991 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50 | 49.9925 | 1012 | 1001.75 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.94 |  | 979 |  |  |  | MALANA-2 | 30 | 30 | 30 | 30 | 30 | 29.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 40 | 39.75 | 39.5 | 43 | 101 | 100 | 98.25 | 29.75 | 30 | 738.5
[34 empty] | 6 | 01.15-01.30 | 49.95 |  | 970 |  |  |  | SWARA KUDDU | 74 | 74 | 55.75 | 37 | 0.25 | 0 | 0 | 1 | 37 | 65.5 | 74 | 74 | 74 | 74 | 74 | 37.5 | 37 | 37 | 37.75 | 74 | 74 | 74 | 74 | 74 | 1233.75
[34 empty] | 7 | 01.30-01.45 | 49.99 |  | 961
[34 empty] | 8 | 01.45-02:00 | 49.99 | 49.9675 | 955 | 966.25
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.94 |  | 951 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.97 |  | 950
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.9 |  | 962
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.96 | 49.9425 | 959 | 955.5
1 | 695.5108 | 87.0274 | 110.3021 | 30 | 74 | 183 | 1179.8402 | -177.7982 | 1002.042 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1002.042 | 1 | 716.422 | 86 | 109 | 911.422 | 1001.75 | 1012 | 991 | 1001.75 | 1001.75 | 1002.042 | 0 | 13 | 03.00-03.15 | 49.86 |  | 958 |  | 86 | 1
2 | 661.7751 | 59.9578 | 127.7582 | 30 | 74 | 183 | 1136.4911 | -169.9594 | 966.5317 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 966.5317 | 2 | 681.672 | 59.25 | 126.25 | 867.172 | 966.25 | 979 | 955 | 966.25 | 966.25 | 966.5317 | 0 | 14 | 03.15-03.30 | 49.84 |  | 949 |  | 59.25 | 2
3 | 603.6477 | 59.7048 | 131.553 | 30 | 55.75 | 183 | 1063.6555 | -107.877 | 955.7785 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 955.7785 | 3 | 621.797 | 59 | 130 | 810.797 | 955.5 | 962 | 950 | 955.5 | 955.5 | 955.7785 | 0 | 15 | 03.30-03.45 | 49.99 |  | 946 |  | 59 | 3
4 | 620.2729 | 26.5636 | 172.2838 | 30 | 37 | 183 | 1069.1203 | -116.5927 | 952.5276 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 952.5276 | 4 | 638.922 | 26.25 | 170.25 | 835.422 | 952.25 | 958 | 946 | 952.25 | 952.25 | 952.5276 | 0 | 16 | 03.45-04.00 | 49.95 | 49.91 | 956 | 952.25 | 26.25 | 4
5 | 637.7232 | 26.3106 | 151.0329 | 30 | 0.25 | 183 | 1028.3168 | -84.3168 | 944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 944 | 5 | 656.897 | 26 | 149.25 | 832.147 | 978.75 | 1016 | 944 | 944 | 944 | 944 | 0 | 17 | 04.00-04.15 | 49.99 |  | 944 |  | 26 | 5
6 | 635.8544 | 0.25299 | 116.8798 | 29.25 | 0 | 183 | 965.2372 | 177.846 | 1143.0831 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1143.0831 | 6 | 654.972 | 0.25 | 115.5 | 770.722 | 1142.75 | 1226 | 1055 | 1142.75 | 1142.75 | 1143.0831 | 0 | 18 | 04.15-04.30 | 49.99 |  | 969 |  | 0.25 | 6
7 | 591.4398 | 0 | 30.1054 | 0 | 0 | 183 | 804.5452 | 525.0923 | 1329.6375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1329.6375 | 7 | 609.222 | 0 | 29.75 | 638.972 | 1329.25 | 1371 | 1275 | 1329.25 | 1329.25 | 1329.6375 | 0 | 19 | 04.30-04.45 | 49.96 |  | 986 |  | 0 | 7
8 | 591.8524 | 0 | 37.189 | 0 | 1 | 154 | 784.0414 | 629.1205 | 1413.1618 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1413.1618 | 8 | 609.647 | 0 | 36.75 | 646.397 | 1412.75 | 1439 | 1395 | 1412.75 | 1412.75 | 1413.1618 | 0 | 20 | 04.45-05.00 | 50.01 | 49.9875 | 1016 | 978.75 | 0 | 8
9 | 692.4042 | 0 | 100.4356 | 0 | 37 | 61 | 890.8398 | 568.0854 | 1458.9252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1458.9252 | 9 | 713.222 | 0 | 99.25 | 812.472 | 1458.5 | 1469 | 1440 | 1458.5 | 1458.5 | 1458.9252 | 0 | 21 | 05.00-05.15 | 49.99 |  | 1055 |  | 0 | 9
10 | 695.2681 | 0 | 102.7125 | 0 | 65.5 | 61 | 924.4806 | 586.4598 | 1510.9403 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1510.9403 | 10 | 716.172 | 0 | 101.5 | 817.672 | 1510.5 | 1537 | 1489 | 1510.5 | 1510.5 | 1510.9403 | 0 | 22 | 05.15-05.30 | 49.96 |  | 1108 |  | 0 | 10
11 | 609.8366 | 0 | 79.1848 | 0 | 74 | 61 | 824.0214 | 715.9786 | 1540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1540 | 11 | 628.172 | 0 | 78.25 | 706.422 | 1514 | 1540 | 1486 | 1540 | 1540 | 1540 | 0 | 23 | 05.30-05.45 | 49.99 |  | 1182 |  | 0 | 11
12 | 589.6923 | 0 | 104.7364 | 0 | 74 | 61 | 829.4287 | 657.0045 | 1486.4332 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1486.4332 | 12 | 607.422 | 0 | 103.5 | 710.922 | 1486 | 1503 | 1464 | 1486 | 1486 | 1486.4332 | 0 | 24 | 05.45-06.00 | 49.99 | 49.9825 | 1226 | 1142.75 | 0 | 12
13 | 526.8323 | 0 | 93.099 | 0 | 74 | 61 | 754.9313 | 664.2323 | 1419.1636 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1419.1636 | 13 | 542.672 | 0 | 92 | 634.672 | 1418.75 | 1478 | 1324 | 1418.75 | 1418.75 | 1419.1636 | 0 | 25 | 06.00-06.15 | 49.93 |  | 1275 |  | 0 | 13
14 | 553.1898 | 0 | 31.1173 | 0 | 74 | 61 | 719.3071 | 589.0742 | 1308.3813 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1308.3813 | 14 | 569.822 | 0 | 30.75 | 600.572 | 1308 | 1308 | 1287 | 1308 | 1308 | 1308.3813 | 0 | 26 | 06.15-06.30 | 49.98 |  | 1324 |  | 0 | 14
15 | 571.1741 | 0.25299 | 82.4736 | 38 | 74 | 61 | 826.9007 | 522.2425 | 1349.1432 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1349.1432 | 15 | 588.347 | 0.25 | 81.5 | 670.097 | 1348.75 | 1380 | 1327 | 1348.75 | 1348.75 | 1349.1432 | 0 | 27 | 06.30-06.45 | 49.99 |  | 1347 |  | 0.25 | 15
16 | 577.3873 | 0 | 95.8819 | 40 | 37.5 | 61.5 | 812.2692 | 548.6274 | 1360.8966 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1360.8966 | 16 | 594.747 | 0 | 94.75 | 689.497 | 1360.5 | 1379 | 1341 | 1360.5 | 1360.5 | 1360.8966 | 0 | 28 | 06.45-07.00 | 50.02 | 49.98 | 1371 | 1329.25 | 0 | 16
17 | 612.6035 | 30.3584 | 47.8145 | 39.75 | 37 | 63 | 830.5263 | 509.3642 | 1339.8905 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1339.8905 | 17 | 631.022 | 30 | 47.25 | 708.272 | 1339.5 | 1348 | 1331 | 1339.5 | 1339.5 | 1339.8905 | 0 | 29 | 07.00-07.15 | 49.99 |  | 1395 |  | 30 | 17
18 | 555.811 | 43.5137 | 30.3584 | 39.5 | 37 | 112 | 818.183 | 479.4451 | 1297.6282 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1297.6282 | 18 | 572.522 | 43 | 30 | 645.522 | 1297.25 | 1309 | 1290 | 1297.25 | 1297.25 | 1297.6282 | 0 | 30 | 07.15-07.30 | 49.97 |  | 1407 |  | 43 | 18
19 | 535.9094 | 44.0197 | 56.163 | 43 | 37.75 | 132.25 | 849.092 | 397.7714 | 1246.8634 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1246.8634 | 19 | 552.022 | 43.5 | 55.5 | 651.022 | 1246.5 | 1251 | 1241 | 1246.5 | 1246.5 | 1246.8634 | 0 | 31 | 07.30-07.45 | 49.94 |  | 1410 |  | 43.5 | 19
20 | 539.7926 | 87.2803 | 29.3464 | 101 | 74 | 182.75 | 1014.1694 | 266.2038 | 1280.3731 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1280.3731 | 20 | 556.022 | 86.25 | 29 | 671.272 | 1280 | 1327 | 1236 | 1280 | 1280 | 1280.3731 | 0 | 32 | 07.45-08.00 | 49.98 | 49.97 | 1439 | 1412.75 | 86.25 | 20
21 | 578.6251 | 88.0393 | 29.8524 | 100 | 74 | 183 | 1053.5168 | 237.1094 | 1290.6261 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1290.6261 | 21 | 596.022 | 87 | 29.5 | 712.522 | 1290.25 | 1314 | 1269 | 1290.25 | 1290.25 | 1290.6261 | 0 | 33 | 08.00-08.15 | 49.96 |  | 1440 |  | 87 | 21
22 | 615.5159 | 87.7863 | 47.5615 | 98.25 | 74 | 183 | 1106.1137 | 110.2408 | 1216.3545 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1216.3545 | 22 | 634.022 | 86.75 | 47 | 767.772 | 1216 | 1244 | 1179 | 1216 | 1216 | 1216.3545 | 0 | 34 | 08.15-08.30 | 50.01 |  | 1457 |  | 86.75 | 22
23 | 577.8969 | 87.0274 | 80.7027 | 29.75 | 74 | 183 | 1032.377 | 87.1993 | 1119.5763 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1119.5763 | 23 | 595.272 | 86 | 79.75 | 761.022 | 1119.25 | 1131 | 1100 | 1119.25 | 1119.25 | 1119.5763 | 0 | 35 | 08.30-08.45 | 50.02 |  | 1469 |  | 86 | 23
24 | 637.1165 | 87.0274 | 80.9557 | 30 | 74 | 183 | 1092.0995 | -0.53138 | 1091.5681 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1091.5681 | 24 | 656.272 | 86 | 80 | 822.272 | 1091.25 | 1098 | 1080 | 1091.25 | 1091.25 | 1091.5681 | 0 | 36 | 08.45-09.00 | 50.01 | 50 | 1468 | 1458.5 | 86 | 24
[34 empty] | 37 | 09.00-09.15 | 50 |  | 1489
TOTAL (in MWh) | 14507.1315 | 815.1225 | 1969.5 | 738.5 | 1233.75 | 3145.5 | 22409.504 | 7614.0218 | 30023.5259 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30023.5259 | TOTAL | 14943.304 | 805.5 | 1946.25 | 17695.054 | 30024.25 |  |  | 30015.5 | 30015.5 | 30023.5259 | 0 | 38 | 09.15-09.30 | 50.02 |  | 1504
[34 empty] | 39 | 09.30-09.45 | 50.01 |  | 1512
[34 empty] | 40 | 09.45-10.00 | 50 | 50.0075 | 1537 | 1510.5
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9706; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.99 |  | 1528
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1540; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.01 |  | 1540
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1540; 5+6 P6 14: MW | MAX = | 1540 | [10 empty] | 43 | 10.30-10.45 | 49.98 |  | 1502
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 944; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 944 | [10 empty] | 44 | 10.45-11.00 | 49.94 | 49.98 | 1486 | 1514
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 14507.1315; 5+6 P6 14: MWH; 5+6 P11 19: 27.8798; 5+6 P11/1000 20: 14479.2517 | [12 empty] | 45 | 11.00-11.15 | 49.98 |  | 1495
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 1969.5; 5+6 P6 14: MWH; 5+6 P11 19: 5.13; 5+6 P11/1000 20: 1964.37 | [12 empty] | 46 | 11.15-11.30 | 49.95 |  | 1482
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 815.1225; 5+6 P6 14: MWH; 5+6 P11 19: 1.22; 5+6 P11/1000 20: 813.9025 | [12 empty] | 47 | 11.30-11.45 | 49.91 |  | 1464
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 59; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.89 | 49.9325 | 1503 | 1486
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 86; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.94 |  | 1478
|  |  | Max.generation of Malana at 2100 Hrs. |  |  |  | 5+6 P4 12: 87; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.93 |  | 1444
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 49.9 |  | 1412
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 609.0275; 5+6 P4 12: 717.5961; 5+6 P11 19: 145.0713; 5+6 P11/1000 20: 144.7925 | [12 empty] | 51 | 12.30-12.45 | 49.9 | 49.9175 | 1341 | 1418.75
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 251.8187; 5+6 P4 12: 198.5887; 5+6 P11 19: 62.9419; 5+6 P11/1000 20: 62.708 | [12 empty] | 52 | 12.45-13.00 | 49.97 |  | 1324
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 357.2088; 5+6 P4 12: 519.0074; 5+6 P11 19: 82.1294; 5+6 P11/1000 20: 82.0845 | [12 empty] | 53 | 13.00-13.15 | 49.98 |  | 1313
[34 empty] | 55 | 13.30-13.45 | 49.92 |  | 1287
[34 empty] | 56 | 13.45-14.00 | 49.91 | 49.945 | 1308 | 1308
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 49.96 |  | 1331
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.91 |  | 1327
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2023-05-13 | [12 empty] | 59 | 14.30-14.45 | 49.88 |  | 1357
[34 empty] | 60 | 14.45-15.00 | 49.9 | 49.9125 | 1380 | 1348.75 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 49.95 |  | 1379
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 50.01 |  | 1373 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.99 |  | 1349
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.95 | 49.975 | 1341 | 1360.5
1 | [33 empty] | 65 | 16.00-16.15 | 49.99 |  | 1331 | bar: 5+6 P12 21
2 | [33 empty] | 66 | 16.15-16.30 | 50 |  | 1344 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 49.99 |  | 1348 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 49.95 | 49.9825 | 1335 | 1339.5 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50 |  | 1309 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50.07 |  | 1300 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.02 |  | 1290 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50 | 50.0225 | 1290 | 1297.25 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.02 |  | 1251 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50 |  | 1250 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.04 |  | 1241 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50.04 | 50.025 | 1244 | 1246.5 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 49.99 |  | 1236 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 50 |  | 1256 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 50.03 |  | 1301 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 50.05 | 50.0175 | 1327 | 1280 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.02 |  | 1314 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50 |  | 1293 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.99 |  | 1285 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 49.97 | 49.995 | 1269 | 1290.25 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 49.94 |  | 1244 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 49.98 |  | 1229 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 49.97 |  | 1212
[34 empty] | 88 | 21.45-22.00 | 50.01 | 49.975 | 1179 | 1216
[34 empty] | 89 | 22.00-22.15 | 49.97 |  | 1131
[34 empty] | 90 | 22.15-22.30 | 49.97 |  | 1130
[34 empty] | 91 | 22.30-22.45 | 49.92 |  | 1116
[34 empty] | 92 | 22.45-23.00 | 49.92 | 49.945 | 1100 | 1119.25
[34 empty] | 93 | 23.00-23.15 | 49.87 |  | 1095
[34 empty] | 94 | 23.15-23.30 | 49.97 |  | 1098
[34 empty] | 95 | 23.30-23.45 | 49.91 |  | 1092
[34 empty] | 96 | 23.45-24.00 | 49.97 | 49.93 | 1080 | 1091.25
[35 empty] | Total | 49.9706 | 49.9706 | 30024.25 | 30024.25
[35 empty] | max | 1540 |  | avg. max | 1514
[35 empty] | min | 944 |  | avg. min | 952.25
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.