**Check list of documents for first-time charging of switchgear elements and associated equipment.**

1. Telemetry certificate regarding the establishment of SCADA data between proposed substation and HPSLDC
2. Annexure A1 to A6.
3. Annexure B1 to B5.
4. Protection settings of the associated relay.
5. PTCC route approval in case of charging of transmission line.
6. Chief electrical inspector certificate for charging of element
7. Pre and post-charging scenario.
8. SLD of concerned substations.
9. Standing committee approval of CEA.
10. connectivity-related documents and agreements.