## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2024-04-01
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2024-04-02
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 29069.5 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 480 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 858.5 | MWh | MALANA-II | 414 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1621 | [6 empty] | HOLI BAJOLI | 1058.319 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.9 |  | 854
|  | Month/Day :- |  |  |  |  | 2024-04-01 | [10 empty] | Min.DEMAND(MW) |  | 821 |  | ACTUAL OWN GENERATION |  |  | 8005.8605 | MWh | SWARA KUDDU | 552.648 | MWh |  |  |  |  | 2 | 00.15-00.30 | 49.99 |  | 856
[34 empty] | 3 | 00.30-00.45 | 50 |  | 855 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.01 | 49.975 | 842 | 851.75 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Distribution constraints (in MW) | Planned maintenance in distribution system (in MW) | Tranmission constraints | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50 |  | 840 |  |  |  | MALANA-2 | 0 | 0 | 2 | 25 | 25 | 25 | 25 | 66.75 | 100 | 99.75 | 44.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 413.25
[34 empty] | 6 | 01.15-01.30 | 49.99 |  | 830 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.25 | 81 | 79 | 37 | 37 | 0.75 | 0 | 0 | 0 | 0 | 0 | 36.5 | 80.5 | 81 | 77.5 | 38.25 | 0.75 | 567.5
[34 empty] | 7 | 01.30-01.45 | 49.98 |  | 837
[34 empty] | 8 | 01.45-02:00 | 50 | 49.9925 | 837 | 836
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.96 |  | 827 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.97 |  | 830
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.98 |  | 842
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.99 | 49.975 | 827 | 831.5
1 | 403.4299 | 29.2652 | 0 | 0 | 0 | 31 | 463.6952 | 387.7912 | 851.4864 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 851.4864 | 1 | 402.9167 | 29.25 | 0 | 432.1667 | 851.75 | 856 | 842 | 851.75 | 851.75 | 851.4864 | 0 | 13 | 03.00-03.15 | 49.98 |  | 827 |  | 29.25 | 1
2 | 372.1401 | 0.25013 | 0 | 0 | 0 | 31 | 403.3903 | 432.351 | 835.7413 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 835.7413 | 2 | 371.6667 | 0.25 | 0 | 371.9167 | 836 | 840 | 830 | 836 | 836 | 835.7413 | 0 | 14 | 03.15-03.30 | 49.98 |  | 827 |  | 0.25 | 2
3 | 360.7506 | 0 | 0 | 2 | 0 | 31.25 | 394.0006 | 437.242 | 831.2426 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 831.2426 | 3 | 360.2917 | 0 | 0 | 360.2917 | 831.5 | 842 | 827 | 831.5 | 831.5 | 831.2426 | 0 | 15 | 03.30-03.45 | 49.99 |  | 821 |  | 0 | 3
4 | 331.5885 | 0 | 11.5269 | 25 | 0 | 31 | 399.1154 | 421.8846 | 821 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 821 | 4 | 331.1667 | 0 | 11.5 | 342.6667 | 825.25 | 827 | 821 | 821 | 821 | 821 | 0 | 16 | 03.45-04.00 | 49.99 | 49.985 | 826 | 825.25 | 0 | 4
5 | 305.0297 | 0.25013 | 59.6389 | 25 | 0 | 30.25 | 420.1688 | 444.3135 | 864.4824 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 864.4824 | 5 | 304.6417 | 0.25 | 59.5 | 364.3917 | 864.75 | 900 | 832 | 864.75 | 864.75 | 864.4824 | 0 | 17 | 04.00-04.15 | 49.96 |  | 832 |  | 0.25 | 5
6 | 295.3424 | 43.0224 | 71.1658 | 25 | 0 | 30 | 464.5306 | 547.656 | 1012.1866 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1012.1866 | 6 | 294.9667 | 43 | 71 | 408.9667 | 1012.5 | 1107 | 930 | 1012.5 | 1012.5 | 1012.1866 | 0 | 18 | 04.15-04.30 | 49.95 |  | 859 |  | 43 | 6
7 | 326.6322 | 44.0229 | 98.73 | 25 | 0 | 54.25 | 548.6352 | 848.9321 | 1397.5673 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1397.5673 | 7 | 326.2167 | 44 | 98.5 | 468.7167 | 1398 | 1511 | 1246 | 1398 | 1398 | 1397.5673 | 0 | 19 | 04.30-04.45 | 49.98 |  | 868 |  | 44 | 7
8 | 296.7692 | 43.5227 | 32.3253 | 66.75 | 18.25 | 90.25 | 547.8672 | 1073.1328 | 1621 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1621 | 8 | 296.3917 | 43.5 | 32.25 | 372.1417 | 1607.75 | 1621 | 1572 | 1621 | 1621 | 1621 | 0 | 20 | 04.45-05.00 | 49.95 | 49.96 | 900 | 864.75 | 43.5 | 8
9 | 299.3475 | 43.0224 | 30.0701 | 100 | 81 | 52.25 | 605.69 | 969.8222 | 1575.5122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1575.5122 | 9 | 298.9667 | 43 | 30 | 371.9667 | 1576 | 1587 | 1561 | 1576 | 1576 | 1575.5122 | 0 | 21 | 05.00-05.15 | 49.92 |  | 930 |  | 43 | 9
10 | 448.7376 | 43.0224 | 158.1184 | 99.75 | 79 | 29 | 857.6283 | 706.3874 | 1564.0158 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1564.0158 | 10 | 448.1667 | 43 | 157.75 | 648.9167 | 1564.5 | 1585 | 1543 | 1564.5 | 1564.5 | 1564.0158 | 0 | 22 | 05.15-05.30 | 49.93 |  | 980 |  | 43 | 10
11 | 359.1236 | 44.0229 | 77.9316 | 44.75 | 37 | 29 | 591.828 | 884.9647 | 1476.7928 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1476.7928 | 11 | 358.6667 | 44 | 77.75 | 480.4167 | 1477.25 | 1502 | 1456 | 1477.25 | 1477.25 | 1476.7928 | 0 | 23 | 05.30-05.45 | 50.01 |  | 1033 |  | 44 | 11
12 | 291.0369 | 0.50026 | 25.8101 | 0 | 37 | 28.5 | 382.8473 | 1013.9702 | 1396.8175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1396.8175 | 12 | 290.6667 | 0.5 | 25.75 | 316.9167 | 1397.25 | 1417 | 1387 | 1397.25 | 1397.25 | 1396.8175 | 0 | 24 | 05.45-06.00 | 50 | 49.965 | 1107 | 1012.5 | 0.5 | 12
13 | 283.2771 | 0 | 0 | 0 | 0.75 | 28.5 | 312.5271 | 1027.558 | 1340.0851 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1340.0851 | 13 | 282.9167 | 0 | 0 | 282.9167 | 1340.5 | 1379 | 1254 | 1340.5 | 1340.5 | 1340.0851 | 0 | 25 | 06.00-06.15 | 49.98 |  | 1246 |  | 0 | 13
14 | 275.6674 | 0 | 0 | 0 | 0 | 28 | 303.6674 | 927.7014 | 1231.3688 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1231.3688 | 14 | 275.3167 | 0 | 0 | 275.3167 | 1231.75 | 1218 | 1216 | 1231.75 | 1231.75 | 1231.3688 | 0 | 26 | 06.15-06.30 | 49.99 |  | 1368 |  | 0 | 14
15 | 345.7816 | 0 | 0 | 0 | 0 | 30 | 375.7816 | 852.5881 | 1228.3697 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1228.3697 | 15 | 345.3417 | 0 | 0 | 345.3417 | 1228.75 | 1232 | 1223 | 1228.75 | 1228.75 | 1228.3697 | 0 | 27 | 06.30-06.45 | 50.06 |  | 1467 |  | 0 | 15
16 | 366.4579 | 0 | 0 | 0 | 0 | 29.25 | 395.7079 | 851.9058 | 1247.6137 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1247.6137 | 16 | 365.9917 | 0 | 0 | 365.9917 | 1248 | 1260 | 1228 | 1248 | 1248 | 1247.6137 | 0 | 28 | 06.45-07.00 | 50.11 | 50.035 | 1511 | 1398 | 0 | 16
17 | 333.1906 | 0 | 3.2576 | 0 | 0 | 29.75 | 366.1982 | 900.9095 | 1267.1077 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1267.1077 | 17 | 332.7667 | 0 | 3.25 | 336.0167 | 1267.5 | 1279 | 1254 | 1267.5 | 1267.5 | 1267.1077 | 0 | 29 | 07.00-07.15 | 50.17 |  | 1572 |  | 0 | 17
18 | 317.4205 | 0 | 0 | 0 | 0 | 29.25 | 346.6705 | 894.1953 | 1240.8658 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1240.8658 | 18 | 317.0167 | 0 | 0 | 317.0167 | 1241.25 | 1249 | 1233 | 1241.25 | 1241.25 | 1240.8658 | 0 | 30 | 07.15-07.30 | 50.17 |  | 1621 |  | 0 | 18
19 | 302.4014 | 0.50026 | 0 | 0 | 36.5 | 33.5 | 372.9017 | 909.7012 | 1282.6029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1282.6029 | 19 | 302.0167 | 0.5 | 0 | 302.5167 | 1283 | 1321 | 1245 | 1283 | 1283 | 1282.6029 | 0 | 31 | 07.30-07.45 | 50.15 |  | 1619 |  | 0.5 | 19
20 | 312.1638 | 42.5221 | 13.7821 | 0 | 80.5 | 91.75 | 540.7181 | 851.3509 | 1392.069 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1392.069 | 20 | 311.7667 | 42.5 | 13.75 | 368.0167 | 1392.5 | 1418 | 1362 | 1392.5 | 1392.5 | 1392.069 | 0 | 32 | 07.45-08.00 | 50.19 | 50.17 | 1619 | 1607.75 | 42.5 | 20
21 | 342.7027 | 29.2652 | 82.4421 | 0 | 81 | 94.5 | 629.91 | 685.9326 | 1315.8426 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1315.8426 | 21 | 342.2667 | 29.25 | 82.25 | 453.7667 | 1316.25 | 1359 | 1270 | 1316.25 | 1316.25 | 1315.8426 | 0 | 33 | 08.00-08.15 | 50.11 |  | 1587 |  | 29.25 | 21
22 | 385.2568 | 29.0151 | 75.4257 | 0 | 77.5 | 93 | 660.1976 | 547.9283 | 1208.126 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1208.126 | 22 | 384.7667 | 29 | 75.25 | 489.0167 | 1208.5 | 1236 | 1168 | 1208.5 | 1208.5 | 1208.126 | 0 | 34 | 08.15-08.30 | 50.11 |  | 1584 |  | 29 | 22
23 | 327.4332 | 43.7728 | 63.1471 | 0 | 38.25 | 70.5 | 543.1032 | 550.0584 | 1093.1616 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1093.1616 | 23 | 327.0167 | 43.75 | 63 | 433.7667 | 1093.5 | 1130 | 1047 | 1093.5 | 1093.5 | 1093.1616 | 0 | 35 | 08.30-08.45 | 50.04 |  | 1561 |  | 43.75 | 23
24 | 324.1791 | 44.0229 | 55.1284 | 0 | 0.75 | 31 | 455.0805 | 520.1176 | 975.1981 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 975.1981 | 24 | 323.7667 | 44 | 55 | 422.7667 | 975.5 | 1016 | 953 | 975.5 | 975.5 | 975.1981 | 0 | 36 | 08.45-09.00 | 50.04 | 50.075 | 1572 | 1576 | 44 | 24
[34 empty] | 37 | 09.00-09.15 | 49.98 |  | 1553
TOTAL (in MWh) | 8005.8605 | 480 | 858.5 | 413.25 | 567.5 | 1056.75 | 11381.8605 | 17688.3953 | 29070.2558 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29070.2558 | TOTAL | 7995.675 | 479.75 | 856.5 | 9331.925 | 29069.5 |  |  | 29078.5 | 29078.5 | 29070.2558 | 0 | 38 | 09.15-09.30 | 50.04 |  | 1543
[34 empty] | 39 | 09.30-09.45 | 50.05 |  | 1585
[34 empty] | 40 | 09.45-10.00 | 50.08 | 50.0375 | 1577 | 1564.5
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 50.012; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.03 |  | 1502
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1621; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.99 |  | 1492
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1621; 5+6 P6 14: MW | MAX = | 1621 | [10 empty] | 43 | 10.30-10.45 | 50.02 |  | 1456
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 821; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 821 | [10 empty] | 44 | 10.45-11.00 | 50.07 | 50.0275 | 1459 | 1477.25
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 8005.8605; 5+6 P6 14: MWH; 5+6 P11 19: 23.1139; 5+6 P11/1000 20: 7982.7466 | [12 empty] | 45 | 11.00-11.15 | 50.11 |  | 1417
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 858.5; 5+6 P6 14: MWH; 5+6 P11 19: 2.38; 5+6 P11/1000 20: 856.12 | [12 empty] | 46 | 11.15-11.30 | 50.1 |  | 1394
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 480; 5+6 P6 14: MWH; 5+6 P11 19: 0.929; 5+6 P11/1000 20: 479.071 | [12 empty] | 47 | 11.30-11.45 | 50.15 |  | 1387
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 0; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.17 | 50.1325 | 1391 | 1397.25
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.14 |  | 1379
|  |  | Max.generation of Malana at 700 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50.06 |  | 1359
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 50.12 |  | 1335
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 292.6799; 5+6 P4 12: 291.7853; 5+6 P11 19: 80.0586; 5+6 P11/1000 20: 79.8275 | [12 empty] | 51 | 12.30-12.45 | 50.08 | 50.1 | 1289 | 1340.5
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 116.3635; 5+6 P4 12: 41.5584; 5+6 P11 19: 21.6961; 5+6 P11/1000 20: 21.521 | [12 empty] | 52 | 12.45-13.00 | 50.16 |  | 1254
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 176.3165; 5+6 P4 12: 250.2269; 5+6 P11 19: 58.3625; 5+6 P11/1000 20: 58.3065 | [12 empty] | 53 | 13.00-13.15 | 50.16 |  | 1239
[34 empty] | 55 | 13.30-13.45 | 50.07 |  | 1218
[34 empty] | 56 | 13.45-14.00 | 50.04 | 50.1075 | 1216 | 1231.75
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 49.96 |  | 1231
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 50.01 |  | 1223
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2024-04-01 | [12 empty] | 59 | 14.30-14.45 | 49.99 |  | 1232
[34 empty] | 60 | 14.45-15.00 | 49.95 | 49.9775 | 1229 | 1228.75 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 49.92 |  | 1228
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 49.88 |  | 1251 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.85 |  | 1253
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.91 | 49.89 | 1260 | 1248
1 | [33 empty] | 65 | 16.00-16.15 | 49.99 |  | 1254 | bar: 5+6 P12 21
2 | [33 empty] | 66 | 16.15-16.30 | 49.94 |  | 1276 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 49.97 |  | 1279 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 49.97 | 49.9675 | 1261 | 1267.5 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50 |  | 1239 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 49.98 |  | 1244 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 49.94 |  | 1233 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 49.89 | 49.9525 | 1249 | 1241.25 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.02 |  | 1245 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.02 |  | 1280 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.05 |  | 1286 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50 | 50.0225 | 1321 | 1283 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 50.01 |  | 1362 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 50.02 |  | 1418 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 50.03 |  | 1405 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 50.02 | 50.02 | 1385 | 1392.5 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.02 |  | 1359 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50.02 |  | 1335 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.98 |  | 1301 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 50 | 50.005 | 1270 | 1316.25 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 49.93 |  | 1236 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 49.94 |  | 1235 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 49.97 |  | 1195
[34 empty] | 88 | 21.45-22.00 | 50.02 | 49.965 | 1168 | 1208.5
[34 empty] | 89 | 22.00-22.15 | 49.88 |  | 1130
[34 empty] | 90 | 22.15-22.30 | 49.97 |  | 1111
[34 empty] | 91 | 22.30-22.45 | 49.95 |  | 1086
[34 empty] | 92 | 22.45-23.00 | 50 | 49.95 | 1047 | 1093.5
[34 empty] | 93 | 23.00-23.15 | 49.99 |  | 1016
[34 empty] | 94 | 23.15-23.30 | 50.01 |  | 974
[34 empty] | 95 | 23.30-23.45 | 49.99 |  | 953
[34 empty] | 96 | 23.45-24.00 | 50.01 | 50 | 959 | 975.5
[35 empty] | Total | 50.012 | 50.012 | 29069.5 | 29069.5
[35 empty] | max | 1621 |  | avg. max | 1607.75
[35 empty] | min | 821 |  | avg. min | 825.25
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.