## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2024-04-02
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2024-04-03
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 30209.25 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 411 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 1136.9 | MWh | MALANA-II | 312 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1612.6667 | [6 empty] | HOLI BAJOLI | 1054.46 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.94 |  | 942
|  | Month/Day :- |  |  |  |  | 2024-04-02 | [10 empty] | Min.DEMAND(MW) |  | 906 |  | ACTUAL OWN GENERATION |  |  | 7988.6625 | MWh | SWARA KUDDU | 485.888 | MWh |  |  |  |  | 2 | 00.15-00.30 | 49.99 |  | 956
[34 empty] | 3 | 00.30-00.45 | 49.98 |  | 958 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.98 | 49.9725 | 938 | 948.5 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Distribution constraints (in MW) | Planned maintenance in distribution system (in MW) | Tranmission constraints | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.96 |  | 935 |  |  |  | MALANA-2 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5 | 65 | 99.5 | 99.25 | 99.5 | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 365
[34 empty] | 6 | 01.15-01.30 | 49.95 |  | 926 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.25 | 80 | 70 | 9.5 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 37 | 45.75 | 81 | 81 | 29 | 0 | 454.5
[34 empty] | 7 | 01.30-01.45 | 49.99 |  | 906
[34 empty] | 8 | 01.45-02:00 | 50.02 | 49.98 | 919 | 921.5
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.02 |  | 923 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 50.02 |  | 926
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.01 |  | 926
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.96 | 50.0025 | 935 | 927.5
1 | 342.7599 | 28.6569 | 78.1587 | 0 | 0 | 31 | 480.5755 | 467.9795 | 948.5549 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 948.5549 | 1 | 361.875 | 28.5 | 76 | 466.375 | 948.5 | 958 | 938 | 948.5 | 948.5 | 948.5549 | 0 | 13 | 03.00-03.15 | 49.96 |  | 929 |  | 28.5 | 1
2 | 292.3227 | 0 | 0 | 0 | 0 | 31 | 323.3227 | 582.6773 | 906 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 906 | 2 | 308.625 | 0 | 0 | 308.625 | 921.5 | 935 | 906 | 906 | 906 | 906 | 0 | 14 | 03.15-03.30 | 49.96 |  | 938 |  | 0 | 2
3 | 354.4813 | 0 | 0 | 0 | 0 | 31 | 385.4813 | 542.0725 | 927.5537 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 927.5537 | 3 | 374.25 | 0 | 0 | 374.25 | 927.5 | 935 | 923 | 927.5 | 927.5 | 927.5537 | 0 | 15 | 03.30-03.45 | 49.98 |  | 937 |  | 0 | 3
4 | 376.1479 | 0 | 0 | 0 | 0 | 30 | 406.1479 | 523.9059 | 930.0539 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 930.0539 | 4 | 397.125 | 0 | 0 | 397.125 | 930 | 938 | 916 | 930 | 930 | 930.0539 | 0 | 16 | 03.45-04.00 | 50.01 | 49.9775 | 916 | 930 | 0 | 4
5 | 342.7363 | 0.50275 | 26.4814 | 0 | 0 | 30.25 | 399.9704 | 551.5847 | 951.5551 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 951.5551 | 5 | 361.85 | 0.5 | 25.75 | 388.1 | 951.5 | 964 | 939 | 951.5 | 951.5 | 951.5551 | 0 | 17 | 04.00-04.15 | 49.99 |  | 939 |  | 0.5 | 5
6 | 316.0495 | 34.6899 | 101.2977 | 0 | 0 | 30.25 | 482.2872 | 602.5257 | 1084.8128 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1084.8128 | 6 | 333.675 | 34.5 | 98.5 | 466.675 | 1084.75 | 1184 | 998 | 1084.75 | 1084.75 | 1084.8128 | 0 | 18 | 04.15-04.30 | 50 |  | 947 |  | 34.5 | 6
7 | 319.6014 | 32.4275 | 78.1587 | 1.5 | 0 | 54.25 | 485.9376 | 979.3973 | 1465.3349 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1465.3349 | 7 | 337.425 | 32.25 | 76 | 445.675 | 1465.25 | 1558 | 1321 | 1465.25 | 1465.25 | 1465.3349 | 0 | 19 | 04.30-04.45 | 49.99 |  | 956 |  | 32.25 | 7
8 | 304.6123 | 35.444 | 30.8521 | 65 | 19.25 | 59.25 | 514.4085 | 1082.5915 | 1597 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.6667 | 0 | 15.6667 | 0.015667 | 1612.6667 | 8 | 321.6 | 35.25 | 30 | 386.85 | 1583.25 | 1597 | 1560 | 1597 | 1597 | 1597 | 15.6667 | 20 | 04.45-05.00 | 49.99 | 49.9925 | 964 | 951.5 | 35.25 | 8
9 | 363.6452 | 45.2477 | 82.5294 | 99.5 | 80 | 27.75 | 698.6723 | 864.4183 | 1563.0905 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1563.0905 | 9 | 383.925 | 45 | 80.25 | 509.175 | 1563 | 1568 | 1555 | 1563 | 1563 | 1563.0905 | 0 | 21 | 05.00-05.15 | 49.97 |  | 998 |  | 45 | 9
10 | 406.6944 | 43.9908 | 112.096 | 99.25 | 70 | 28 | 760.0312 | 792.5587 | 1552.5899 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1552.5899 | 10 | 429.375 | 43.75 | 109 | 582.125 | 1552.5 | 1589 | 1512 | 1552.5 | 1552.5 | 1552.5899 | 0 | 22 | 05.15-05.30 | 49.96 |  | 1055 |  | 43.75 | 10
11 | 364.545 | 0.25138 | 112.3531 | 99.5 | 9.5 | 28 | 614.1495 | 923.1896 | 1537.3391 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1537.3391 | 11 | 384.875 | 0.25 | 109.25 | 494.375 | 1537.25 | 1574 | 1495 | 1537.25 | 1537.25 | 1537.3391 | 0 | 23 | 05.30-05.45 | 49.95 |  | 1102 |  | 0.25 | 11
12 | 315.7654 | 0 | 57.3335 | 0.25 | 0 | 26.25 | 399.5989 | 1038.9845 | 1438.5833 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1438.5833 | 12 | 333.375 | 0 | 55.75 | 389.125 | 1438.5 | 1463 | 1420 | 1438.5 | 1438.5 | 1438.5833 | 0 | 24 | 05.45-06.00 | 49.96 | 49.96 | 1184 | 1084.75 | 0 | 12
13 | 299.6633 | 0 | 0 | 0 | 0 | 26.25 | 325.9133 | 1074.9178 | 1400.8311 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1400.8311 | 13 | 316.375 | 0 | 0 | 316.375 | 1400.75 | 1423 | 1318 | 1400.75 | 1400.75 | 1400.8311 | 0 | 25 | 06.00-06.15 | 49.98 |  | 1321 |  | 0 | 13
14 | 280.1515 | 0 | 0 | 0 | 0 | 25.5 | 305.6515 | 991.1736 | 1296.8251 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1296.8251 | 14 | 295.775 | 0 | 0 | 295.775 | 1296.75 | 1291 | 1285 | 1296.75 | 1296.75 | 1296.8251 | 0 | 26 | 06.15-06.30 | 49.96 |  | 1454 |  | 0 | 14
15 | 302.197 | 0 | 0 | 0 | 0 | 26 | 328.197 | 965.1279 | 1293.3249 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1293.3249 | 15 | 319.05 | 0 | 0 | 319.05 | 1293.25 | 1310 | 1283 | 1293.25 | 1293.25 | 1293.3249 | 0 | 27 | 06.30-06.45 | 50.04 |  | 1528 |  | 0 | 15
16 | 308.259 | 0 | 0 | 0 | 0 | 28.25 | 336.509 | 983.8175 | 1320.3265 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1320.3265 | 16 | 325.45 | 0 | 0 | 325.45 | 1320.25 | 1350 | 1301 | 1320.25 | 1320.25 | 1320.3265 | 0 | 28 | 06.45-07.00 | 50.06 | 50.01 | 1558 | 1465.25 | 0 | 16
17 | 318.9384 | 0 | 0 | 0 | 0 | 29.5 | 348.4384 | 995.6394 | 1344.0779 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1344.0779 | 17 | 336.725 | 0 | 0 | 336.725 | 1344 | 1353 | 1336 | 1344 | 1344 | 1344.0779 | 0 | 29 | 07.00-07.15 | 50.06 |  | 1583 |  | 0 | 17
18 | 322.4903 | 0 | 23.3962 | 0 | 2 | 30.75 | 378.6365 | 925.9391 | 1304.5756 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1304.5756 | 18 | 340.475 | 0 | 22.75 | 363.225 | 1304.5 | 1308 | 1301 | 1304.5 | 1304.5 | 1304.5756 | 0 | 30 | 07.15-07.30 | 50.09 |  | 1597 |  | 0 | 18
19 | 297.8637 | 0 | 32.3947 | 0 | 37 | 81.75 | 449.0084 | 891.3192 | 1340.3276 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1340.3276 | 19 | 314.475 | 0 | 31.5 | 345.975 | 1340.25 | 1399 | 1277 | 1340.25 | 1340.25 | 1340.3276 | 0 | 31 | 07.30-07.45 | 50.07 |  | 1593 |  | 0 | 19
20 | 325.0951 | 42.9853 | 74.5592 | 0 | 45.75 | 92.5 | 580.8896 | 801.9405 | 1382.8301 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1382.8301 | 20 | 343.225 | 42.75 | 72.5 | 458.475 | 1382.75 | 1397 | 1373 | 1382.75 | 1382.75 | 1382.8301 | 0 | 32 | 07.45-08.00 | 50.12 | 50.085 | 1560 | 1583.25 | 42.75 | 20
21 | 327.463 | 29.411 | 111.0676 | 0 | 81 | 93 | 641.9416 | 660.3839 | 1302.3254 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302.3254 | 21 | 345.725 | 29.25 | 108 | 482.975 | 1302.25 | 1340 | 1274 | 1302.25 | 1302.25 | 1302.3254 | 0 | 33 | 08.00-08.15 | 50.02 |  | 1555 |  | 29.25 | 21
22 | 392.3447 | 29.1596 | 157.0886 | 0 | 81 | 93.5 | 753.0929 | 457.2272 | 1210.3201 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1210.3201 | 22 | 414.225 | 29 | 152.75 | 595.975 | 1210.25 | 1228 | 1179 | 1210.25 | 1210.25 | 1210.3201 | 0 | 34 | 08.15-08.30 | 50.03 |  | 1565 |  | 29 | 22
23 | 375.2955 | 43.9908 | 59.1332 | 0 | 29 | 86.25 | 593.6695 | 506.6442 | 1100.3137 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1100.3137 | 23 | 396.225 | 43.75 | 57.5 | 497.475 | 1100.25 | 1132 | 1066 | 1100.25 | 1100.25 | 1100.3137 | 0 | 35 | 08.30-08.45 | 50.02 |  | 1568 |  | 43.75 | 23
24 | 339.5395 | 44.2422 | 0 | 0 | 0 | 31.5 | 415.2817 | 595.2768 | 1010.5585 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1010.5585 | 24 | 358.475 | 44 | 0 | 402.475 | 1010.5 | 1042 | 982 | 1010.5 | 1010.5 | 1010.5585 | 0 | 36 | 08.45-09.00 | 50.04 | 50.0275 | 1564 | 1563 | 44 | 24
[34 empty] | 37 | 09.00-09.15 | 50 |  | 1552
TOTAL (in MWh) | 7988.6625 | 411 | 1136.9 | 365 | 454.5 | 1051.75 | 11407.8125 | 18801.2925 | 30209.105 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.6667 | 0 | 15.6667 | 0.015667 | 30224.7717 | TOTAL | 8434.175 | 408.75 | 1105.5 | 9948.425 | 30209.25 |  |  | 30207.5 | 30207.5 | 30209.105 | 15.6667 | 38 | 09.15-09.30 | 50 |  | 1557
[34 empty] | 39 | 09.30-09.45 | 49.97 |  | 1589
[34 empty] | 40 | 09.45-10.00 | 49.99 | 49.99 | 1512 | 1552.5
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9921; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.01 |  | 1509
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1597; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.98 |  | 1495
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1612.6667; 5+6 P6 14: MW | MAX = | 1597 | [10 empty] | 43 | 10.30-10.45 | 50.02 |  | 1571
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 906; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 906 | [10 empty] | 44 | 10.45-11.00 | 50.04 | 50.0125 | 1574 | 1537.25
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 7988.6625; 5+6 P6 14: MWH; 5+6 P11 19: 23.2134; 5+6 P11/1000 20: 7965.4491 | [12 empty] | 45 | 11.00-11.15 | 50.05 |  | 1463
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 1136.9; 5+6 P6 14: MWH; 5+6 P11 19: 0.00268; 5+6 P11/1000 20: 1136.8973 | [12 empty] | 46 | 11.15-11.30 | 49.99 |  | 1442
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 411; 5+6 P6 14: MWH; 5+6 P11 19: 0.839; 5+6 P11/1000 20: 410.161 | [12 empty] | 47 | 11.30-11.45 | 49.94 |  | 1420
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 0; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50 | 49.995 | 1429 | 1438.5
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.03 |  | 1423
|  |  | Max.generation of Malana at 900 Hrs. |  |  |  | 5+6 P4 12: 45; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50.04 |  | 1408
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 50.02 |  | 1392
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 279.6073; 5+6 P4 12: 291.0072; 5+6 P11 19: 79.8866; 5+6 P11/1000 20: 79.6545 | [12 empty] | 51 | 12.30-12.45 | 50.02 | 50.0275 | 1380 | 1400.75
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 118.1582; 5+6 P4 12: 55.3787; 5+6 P11 19: 20.1941; 5+6 P11/1000 20: 20.0166 | [12 empty] | 52 | 12.45-13.00 | 50.11 |  | 1318
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 161.4491; 5+6 P4 12: 235.6285; 5+6 P11 19: 59.6925; 5+6 P11/1000 20: 59.6379 | [12 empty] | 53 | 13.00-13.15 | 50.04 |  | 1293
[34 empty] | 55 | 13.30-13.45 | 49.97 |  | 1291
[34 empty] | 56 | 13.45-14.00 | 49.96 | 50.02 | 1285 | 1296.75
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 49.92 |  | 1284
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.96 |  | 1283
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2024-04-02 | [12 empty] | 59 | 14.30-14.45 | 49.92 |  | 1296
[34 empty] | 60 | 14.45-15.00 | 49.94 | 49.935 | 1310 | 1293.25 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 49.94 |  | 1301
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 49.88 |  | 1316 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.89 |  | 1314
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.96 | 49.9175 | 1350 | 1320.25
1 | 66 kV jutogh Gumma line | 47 | 0 | 47 | 7 | 4 | 7: 7; 8: 8; 5+6 P1 9: 0; 5+6 P2 10: 4; 5+6 P3 11: 0.031333; 5+6 P4 12: Due to O/C, E/F | [12 empty] | 65 | 16.00-16.15 | 50 |  | 1350
2 | 66 kV jutogh Gumma line | 47 | 0 | 47 | 7 | 13 | 7: 7; 8: 19; 5+6 P1 9: 0; 5+6 P2 10: 6; 5+6 P3 11: 0.047; 5+6 P4 12: Due to O/C, E/F | [12 empty] | 66 | 16.15-16.30 | 49.96 |  | 1353
3 | 66 kV jutogh Gumma line | 47 | 0 | 47 | 7 | 30 | 7: 7; 8: 40; 5+6 P1 9: 0; 5+6 P2 10: 10; 5+6 P3 11: 0.078333; 5+6 P4 12: Due to O/C, E/F | [12 empty] | 67 | 16.30-16.45 | 50.01 |  | 1337
4 | [33 empty] | 68 | 16.45-17.00 | 50.02 | 49.9975 | 1336 | 1344 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50.09 |  | 1308 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50.05 |  | 1306 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.05 |  | 1301 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50.05 | 50.06 | 1303 | 1304.5 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.09 |  | 1277 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.02 |  | 1338 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.02 |  | 1347 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 49.98 | 50.0275 | 1399 | 1340.25 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 50.02 |  | 1397 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 50 |  | 1386 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 50.01 |  | 1375 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 50.03 | 50.015 | 1373 | 1382.75 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.02 |  | 1340 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50.02 |  | 1314 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.96 |  | 1281 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 50.02 | 50.005 | 1274 | 1302.25 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 49.94 |  | 1228 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 49.92 |  | 1226 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 49.93 |  | 1208
[34 empty] | 88 | 21.45-22.00 | 49.98 | 49.9425 | 1179 | 1210.25
[34 empty] | 89 | 22.00-22.15 | 49.87 |  | 1132
[34 empty] | 90 | 22.15-22.30 | 49.82 |  | 1113
[34 empty] | 91 | 22.30-22.45 | 49.9 |  | 1090
[34 empty] | 92 | 22.45-23.00 | 49.88 | 49.8675 | 1066 | 1100.25
[34 empty] | 93 | 23.00-23.15 | 49.94 |  | 1042
[34 empty] | 94 | 23.15-23.30 | 49.97 |  | 1024
[34 empty] | 95 | 23.30-23.45 | 50.03 |  | 994
[34 empty] | 96 | 23.45-24.00 | 50.02 | 49.99 | 982 | 1010.5
[35 empty] | Total | 49.9921 | 49.9921 | 30209.25 | 30209.25
[35 empty] | max | 1597 |  | avg. max | 1583.25
[35 empty] | min | 906 |  | avg. min | 921.5
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.