## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2024-04-03
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2024-04-04
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 30816.75 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 374 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 1031 | MWh | MALANA-II | 332 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1689 | [6 empty] | HOLI BAJOLI | 1049 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.94 |  | 974
|  | Month/Day :- |  |  |  |  | 2024-04-03 | [10 empty] | Min.DEMAND(MW) |  | 946 |  | ACTUAL OWN GENERATION |  |  | 8638.253 | MWh | SWARA KUDDU | 488 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.01 |  | 979
[34 empty] | 3 | 00.30-00.45 | 50 |  | 979 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.97 | 49.98 | 976 | 977 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Distribution constraints (in MW) | Planned maintenance in distribution system (in MW) | Tranmission constraints | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.98 |  | 975 |  |  |  | MALANA-2 | 0 | 0 | 0 | 0 | 0 | 1.75 | 21 | 63.75 | 99 | 99 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 330.5
[34 empty] | 6 | 01.15-01.30 | 49.97 |  | 972 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 0.75 | 47.5 | 81 | 81 | 18.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 80.75 | 75 | 74 | 21.5 | 491.25
[34 empty] | 7 | 01.30-01.45 | 49.95 |  | 957
[34 empty] | 8 | 01.45-02:00 | 49.98 | 49.97 | 966 | 967.5
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.99 |  | 971 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.96 |  | 971
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.95 |  | 955
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50 | 49.975 | 960 | 964.25
1 | 364.443 | 0.50033 | 0 | 0 | 0 | 30.75 | 395.6934 | 581.1561 | 976.8494 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 976.8494 | 1 | 358.375 | 0.5 | 0 | 358.875 | 977 | 979 | 974 | 977 | 977 | 976.8494 | 0 | 13 | 03.00-03.15 | 50 |  | 946 |  | 0.5 | 1
2 | 345.3755 | 0 | 0 | 0 | 0 | 30 | 375.3755 | 591.9753 | 967.3509 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 967.3509 | 2 | 339.625 | 0 | 0 | 339.625 | 967.5 | 975 | 957 | 967.5 | 967.5 | 967.3509 | 0 | 14 | 03.15-03.30 | 49.99 |  | 959 |  | 0 | 2
3 | 339.6553 | 0 | 0 | 0 | 0 | 30 | 369.6553 | 594.4461 | 964.1014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 964.1014 | 3 | 334 | 0 | 0 | 334 | 964.25 | 971 | 955 | 964.25 | 964.25 | 964.1014 | 0 | 15 | 03.30-03.45 | 49.96 |  | 963 |  | 0 | 3
4 | 353.7652 | 0 | 0 | 0 | 0 | 30 | 383.7652 | 562.2348 | 946 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 946 | 4 | 347.875 | 0 | 0 | 347.875 | 957 | 963 | 946 | 946 | 946 | 946 | 0 | 16 | 03.45-04.00 | 49.98 | 49.9825 | 960 | 957 | 0 | 4
5 | 371.7904 | 0 | 0 | 0 | 0 | 32 | 403.7904 | 581.0578 | 984.8482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 984.8482 | 5 | 365.6 | 0 | 0 | 365.6 | 985 | 1005 | 961 | 985 | 985 | 984.8482 | 0 | 17 | 04.00-04.15 | 49.94 |  | 961 |  | 0 | 5
6 | 383.5613 | 0.25017 | 0 | 1.75 | 0.75 | 82 | 468.3115 | 669.5131 | 1137.8246 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1137.8246 | 6 | 377.175 | 0.25 | 0 | 377.425 | 1138 | 1255 | 1038 | 1138 | 1138 | 1137.8246 | 0 | 18 | 04.15-04.30 | 49.9 |  | 976 |  | 0.25 | 6
7 | 374.409 | 43.5291 | 0 | 21 | 47.5 | 28.25 | 514.6881 | 1006.0775 | 1520.7656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1520.7656 | 7 | 368.175 | 43.5 | 0 | 411.675 | 1521 | 1633 | 1380 | 1521 | 1521 | 1520.7656 | 0 | 19 | 04.30-04.45 | 49.92 |  | 998 |  | 43.5 | 7
8 | 398.9933 | 44.0294 | 86.2629 | 63.75 | 81 | 27 | 701.0356 | 987.9644 | 1689 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1689 | 8 | 392.35 | 44 | 88.25 | 524.6 | 1673.25 | 1689 | 1650 | 1689 | 1689 | 1689 | 0 | 20 | 04.45-05.00 | 49.96 | 49.93 | 1005 | 985 | 44 | 8
9 | 411.7812 | 44.0294 | 106.5456 | 99 | 81 | 27.25 | 769.6063 | 899.3865 | 1668.9927 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1668.9927 | 9 | 404.925 | 44 | 109 | 557.925 | 1669.25 | 1674 | 1665 | 1669.25 | 1669.25 | 1668.9927 | 0 | 21 | 05.00-05.15 | 49.94 |  | 1038 |  | 44 | 9
10 | 441.7299 | 44.0294 | 106.5456 | 99 | 18.75 | 27.25 | 737.3049 | 902.9423 | 1640.2472 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1640.2472 | 10 | 434.375 | 44 | 109 | 587.375 | 1640.5 | 1673 | 1614 | 1640.5 | 1640.5 | 1640.2472 | 0 | 22 | 05.15-05.30 | 49.94 |  | 1096 |  | 44 | 10
11 | 354.0195 | 22.2649 | 43.7424 | 46 | 0 | 26.75 | 492.7767 | 1050.9853 | 1543.762 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1543.762 | 11 | 348.125 | 22.25 | 44.75 | 415.125 | 1544 | 1573 | 1532 | 1544 | 1544 | 1543.762 | 0 | 23 | 05.30-05.45 | 50 |  | 1163 |  | 22.25 | 11
12 | 311.3083 | 0 | 0 | 0 | 0 | 28 | 339.3083 | 1146.7126 | 1486.0209 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4667 | 0 | 3.4667 | 0.0034667 | 1489.4876 | 12 | 306.125 | 0 | 0 | 306.125 | 1486.25 | 1508 | 1440 | 1486.25 | 1486.25 | 1486.0209 | 3.4667 | 24 | 05.45-06.00 | 50.03 | 49.9775 | 1255 | 1138 | 0 | 12
13 | 305.9694 | 0 | 0 | 0 | 0 | 28 | 333.9694 | 1029.3204 | 1363.2899 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 26 | 0.026 | 1389.2899 | 13 | 300.875 | 0 | 0 | 300.875 | 1363.5 | 1390 | 1309 | 1363.5 | 1363.5 | 1363.2899 | 26 | 25 | 06.00-06.15 | 50.02 |  | 1380 |  | 0 | 13
14 | 300.0204 | 0 | 0 | 0 | 0 | 28 | 328.0204 | 975.5287 | 1303.5491 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 26 | 0.026 | 1329.5491 | 14 | 295.025 | 0 | 0 | 295.025 | 1303.75 | 1306 | 1305 | 1303.75 | 1303.75 | 1303.5491 | 26 | 26 | 06.15-06.30 | 49.96 |  | 1494 |  | 0 | 14
15 | 348.0958 | 0 | 0 | 0 | 0 | 29.5 | 377.5958 | 912.2054 | 1289.8012 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 26 | 0.026 | 1315.8012 | 15 | 342.3 | 0 | 0 | 342.3 | 1290 | 1301 | 1278 | 1290 | 1290 | 1289.8012 | 26 | 27 | 06.30-06.45 | 50.03 |  | 1577 |  | 0 | 15
16 | 305.283 | 0 | 0 | 0 | 0 | 30.75 | 336.033 | 948.0191 | 1284.0521 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 26 | 0.026 | 1310.0521 | 16 | 300.2 | 0 | 0 | 300.2 | 1284.25 | 1302 | 1269 | 1284.25 | 1284.25 | 1284.0521 | 26 | 28 | 06.45-07.00 | 50.05 | 50.015 | 1633 | 1521 | 0 | 16
17 | 368.8667 | 0 | 0 | 0 | 0 | 31 | 399.8667 | 917.9302 | 1317.7969 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 26 | 0.026 | 1343.7969 | 17 | 362.725 | 0 | 0 | 362.725 | 1318 | 1331 | 1297 | 1318 | 1318 | 1317.7969 | 26 | 29 | 07.00-07.15 | 50.05 |  | 1650 |  | 0 | 17
18 | 356.4093 | 0 | 0 | 0 | 0 | 31 | 387.4093 | 911.1406 | 1298.5498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 26 | 0.026 | 1324.5498 | 18 | 350.475 | 0 | 0 | 350.475 | 1298.75 | 1321 | 1282 | 1298.75 | 1298.75 | 1298.5498 | 26 | 30 | 07.15-07.30 | 50.03 |  | 1679 |  | 0 | 18
19 | 309.6304 | 0.25017 | 0.24437 | 0 | 0 | 32.25 | 342.3749 | 958.1746 | 1300.5495 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0333 | 0 | 3.0333 | 0.0030333 | 1303.5829 | 19 | 304.475 | 0.25 | 0.25 | 304.975 | 1300.75 | 1323 | 1282 | 1300.75 | 1300.75 | 1300.5495 | 3.0333 | 31 | 07.30-07.45 | 50.03 |  | 1675 |  | 0.25 | 19
20 | 328.1894 | 28.7692 | 59.1377 | 0 | 11 | 78.25 | 505.3463 | 900.187 | 1405.5334 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1405.5334 | 20 | 322.725 | 28.75 | 60.5 | 411.975 | 1405.75 | 1435 | 1389 | 1405.75 | 1405.75 | 1405.5334 | 0 | 32 | 07.45-08.00 | 50.07 | 50.045 | 1689 | 1673.25 | 28.75 | 20
21 | 373.6971 | 29.0194 | 60.8483 | 0 | 80.75 | 83.25 | 627.5648 | 700.4805 | 1328.0453 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1328.0453 | 21 | 367.475 | 29 | 62.25 | 458.725 | 1328.25 | 1365 | 1286 | 1328.25 | 1328.25 | 1328.0453 | 0 | 33 | 08.00-08.15 | 49.98 |  | 1665 |  | 29 | 21
22 | 464.9668 | 29.2696 | 194.7635 | 0 | 75 | 93.25 | 857.2498 | 376.81 | 1234.0598 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1234.0598 | 22 | 457.225 | 29.25 | 199.25 | 685.725 | 1234.25 | 1289 | 1179 | 1234.25 | 1234.25 | 1234.0598 | 0 | 34 | 08.15-08.30 | 49.95 |  | 1673 |  | 29.25 | 22
23 | 379.036 | 44.0294 | 177.1688 | 0 | 74 | 92 | 766.2342 | 351.5935 | 1117.8277 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1117.8277 | 23 | 372.725 | 44 | 181.25 | 597.975 | 1118 | 1150 | 1078 | 1118 | 1118 | 1117.8277 | 0 | 35 | 08.30-08.45 | 49.92 |  | 1674 |  | 44 | 23
24 | 347.2569 | 44.0294 | 195.7409 | 0 | 21.5 | 92 | 700.5272 | 347.8112 | 1048.3384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1048.3384 | 24 | 341.475 | 44 | 200.25 | 585.725 | 1048.5 | 1078 | 1014 | 1048.5 | 1048.5 | 1048.3384 | 0 | 36 | 08.45-09.00 | 50 | 49.9625 | 1665 | 1669.25 | 44 | 24
[34 empty] | 37 | 09.00-09.15 | 49.94 |  | 1673
TOTAL (in MWh) | 8638.253 | 374 | 1031 | 330.5 | 491.25 | 1048.5 | 11913.503 | 18903.6531 | 30817.1561 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 162.5 | 0 | 162.5 | 0.1625 | 30979.6561 | TOTAL | 8494.425 | 373.75 | 1054.75 | 9922.925 | 30816.75 |  |  | 30821.5 | 30821.5 | 30817.1561 | 162.5 | 38 | 09.15-09.30 | 50.02 |  | 1655
[34 empty] | 39 | 09.30-09.45 | 49.98 |  | 1620
[34 empty] | 40 | 09.45-10.00 | 50 | 49.985 | 1614 | 1640.5
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9791; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.05 |  | 1573
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1689; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.01 |  | 1533
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1689; 5+6 P6 14: MW | MAX = | 1689 | [10 empty] | 43 | 10.30-10.45 | 50.03 |  | 1532
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 946; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 946 | [10 empty] | 44 | 10.45-11.00 | 50.06 | 50.0375 | 1538 | 1544
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 8638.253; 5+6 P6 14: MWH; 5+6 P11 19: 23.643; 5+6 P11/1000 20: 8614.61 | [12 empty] | 45 | 11.00-11.15 | 50.03 |  | 1508
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 1031; 5+6 P6 14: MWH; 5+6 P11 19: 11.6; 5+6 P11/1000 20: 1019.4 | [12 empty] | 46 | 11.15-11.30 | 49.96 |  | 1507
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 374; 5+6 P6 14: MWH; 5+6 P11 19: 0.66; 5+6 P11/1000 20: 373.34 | [12 empty] | 47 | 11.30-11.45 | 49.96 |  | 1490
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 0; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.98 | 49.9825 | 1440 | 1486.25
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.02 |  | 1390
|  |  | Max.generation of Malana at 800 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50 |  | 1368
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 49.98 |  | 1357
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 301.0338; 5+6 P4 12: 204.4242; 5+6 P11 19: 86.3825; 5+6 P11/1000 20: 86.1461 | [12 empty] | 51 | 12.30-12.45 | 49.98 | 49.995 | 1339 | 1363.5
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 60.167; 5+6 P4 12: 65.8725; 5+6 P11 19: 20.9755; 5+6 P11/1000 20: 20.785 | [12 empty] | 52 | 12.45-13.00 | 50.04 |  | 1309
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 240.8669; 5+6 P4 12: 138.5517; 5+6 P11 19: 65.4071; 5+6 P11/1000 20: 65.3611 | [12 empty] | 53 | 13.00-13.15 | 49.99 |  | 1295
[34 empty] | 55 | 13.30-13.45 | 49.91 |  | 1306
[34 empty] | 56 | 13.45-14.00 | 49.95 | 49.9725 | 1305 | 1303.75
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 49.95 |  | 1301
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.86 |  | 1298
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2024-04-03 | [12 empty] | 59 | 14.30-14.45 | 49.81 |  | 1283
[34 empty] | 60 | 14.45-15.00 | 49.82 | 49.86 | 1278 | 1290 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 49.91 |  | 1272
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 49.79 |  | 1269 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.94 |  | 1294
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.95 | 49.8975 | 1302 | 1284.25
1 | 132 kV solan giri ckt 1 | 26 | 0 | 26 | 11 | 52 | 7: 18; 8: 7; 5+6 P1 9: 6; 5+6 P2 10: 15; 5+6 P3 11: 1.625; 5+6 P4 12: Due to jumper broken | [12 empty] | 65 | 16.00-16.15 | 49.97 |  | 1297
2 | [33 empty] | 66 | 16.15-16.30 | 50.02 |  | 1317 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 50.03 |  | 1331 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 50.01 | 50.0075 | 1327 | 1318 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50.03 |  | 1321 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50 |  | 1299 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.03 |  | 1282 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50.01 | 50.0175 | 1293 | 1298.75 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50 |  | 1289 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 49.97 |  | 1282 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.02 |  | 1309 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 49.94 | 49.9825 | 1323 | 1300.75 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 49.95 |  | 1389 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 49.97 |  | 1435 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 49.98 |  | 1407 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 50.05 | 49.9875 | 1392 | 1405.75 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.06 |  | 1365 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50.03 |  | 1348 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.99 |  | 1314 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 49.99 | 50.0175 | 1286 | 1328.25 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 49.94 |  | 1289 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 49.88 |  | 1252 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 49.95 |  | 1217
[34 empty] | 88 | 21.45-22.00 | 50.01 | 49.945 | 1179 | 1234.25
[34 empty] | 89 | 22.00-22.15 | 49.99 |  | 1150
[34 empty] | 90 | 22.15-22.30 | 49.96 |  | 1138
[34 empty] | 91 | 22.30-22.45 | 49.97 |  | 1106
[34 empty] | 92 | 22.45-23.00 | 49.98 | 49.975 | 1078 | 1118
[34 empty] | 93 | 23.00-23.15 | 49.95 |  | 1075
[34 empty] | 94 | 23.15-23.30 | 50 |  | 1078
[34 empty] | 95 | 23.30-23.45 | 50.02 |  | 1027
[34 empty] | 96 | 23.45-24.00 | 50.02 | 49.9975 | 1014 | 1048.5
[35 empty] | Total | 49.9791 | 49.9791 | 30816.75 | 30816.75
[35 empty] | max | 1689 |  | avg. max | 1673.25
[35 empty] | min | 946 |  | avg. min | 957
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.