## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2024-04-04
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2024-04-05
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 31807.75 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 460 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 876 | MWh | MALANA-II | 393 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1688 | [6 empty] | HOLI BAJOLI | 1049 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.97 |  | 1021
|  | Month/Day :- |  |  |  |  | 2024-04-04 | [10 empty] | Min.DEMAND(MW) |  | 962 |  | ACTUAL OWN GENERATION |  |  | 8333.04 | MWh | SWARA KUDDU | 346 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.02 |  | 1031
[34 empty] | 3 | 00.30-00.45 | 50.02 |  | 1015 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.01 | 50.005 | 990 | 1014.25 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Distribution constraints (in MW) | Planned maintenance in distribution system (in MW) | Tranmission constraints | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.98 |  | 988 |  |  |  | MALANA-2 | 0 | 1.75 | 21 | 21 | 21 | 21 | 21 | 40 | 98.25 | 99.5 | 46.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 391
[34 empty] | 6 | 01.15-01.30 | 49.99 |  | 986 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 78.75 | 41.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34 | 76.5 | 81 | 2.75 | 0 | 0 | 331.25
[34 empty] | 7 | 01.30-01.45 | 50.01 |  | 976
[34 empty] | 8 | 01.45-02:00 | 50 | 49.995 | 962 | 978
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.99 |  | 989 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.97 |  | 999
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50 |  | 994
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.99 | 49.9875 | 996 | 994.5
1 | 383.3615 | 33.3211 | 0 | 0 | 0 | 32.25 | 448.9326 | 565.5088 | 1014.4414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1014.4414 | 1 | 355.1667 | 29.5 | 0 | 384.6667 | 1014.25 | 1031 | 990 | 1014.25 | 1014.25 | 1014.4414 | 0 | 13 | 03.00-03.15 | 49.97 |  | 989 |  | 29.5 | 1
2 | 306.1855 | 0 | 0 | 1.75 | 0 | 30 | 337.9355 | 624.0645 | 962 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 962 | 2 | 283.6667 | 0 | 0 | 283.6667 | 978 | 988 | 962 | 962 | 962 | 962 | 0 | 14 | 03.15-03.30 | 49.96 |  | 1000 |  | 0 | 2
3 | 302.5426 | 0 | 0 | 21 | 0 | 30 | 353.5426 | 641.1451 | 994.6876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 994.6876 | 3 | 280.2917 | 0 | 0 | 280.2917 | 994.5 | 999 | 989 | 994.5 | 994.5 | 994.6876 | 0 | 15 | 03.30-03.45 | 49.93 |  | 996 |  | 0 | 3
4 | 282.7089 | 0 | 0 | 21 | 0 | 30 | 333.7089 | 665.4796 | 999.1885 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 999.1885 | 4 | 261.9167 | 0 | 0 | 261.9167 | 999 | 1011 | 989 | 999 | 999 | 999.1885 | 0 | 16 | 03.45-04.00 | 49.98 | 49.96 | 1011 | 999 | 0 | 4
5 | 320.4604 | 37.5568 | 0 | 21 | 0 | 30 | 409.0172 | 618.1766 | 1027.1938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1027.1938 | 5 | 296.8917 | 33.25 | 0 | 330.1417 | 1027 | 1042 | 1013 | 1027 | 1027 | 1027.1938 | 0 | 17 | 04.00-04.15 | 49.99 |  | 1013 |  | 33.25 | 5
6 | 327.5573 | 49.6992 | 4.4417 | 21 | 0 | 29.25 | 431.9482 | 737.0223 | 1168.9705 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1168.9705 | 6 | 303.4667 | 44 | 4.5 | 351.9667 | 1168.75 | 1276 | 1083 | 1168.75 | 1168.75 | 1168.9705 | 0 | 18 | 04.15-04.30 | 49.98 |  | 1019 |  | 44 | 6
7 | 496.7509 | 49.6992 | 112.2761 | 21 | 0 | 61.75 | 741.4762 | 807.566 | 1549.0422 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1549.0422 | 7 | 460.2167 | 44 | 113.75 | 617.9667 | 1548.75 | 1656 | 1388 | 1548.75 | 1548.75 | 1549.0422 | 0 | 19 | 04.30-04.45 | 49.99 |  | 1034 |  | 44 | 7
8 | 417.8749 | 49.6992 | 90.8079 | 40 | 17 | 58.5 | 673.8819 | 1014.1181 | 1688 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1688 | 8 | 387.1417 | 44 | 92 | 523.1417 | 1678 | 1688 | 1668 | 1688 | 1688 | 1688 | 0 | 20 | 04.45-05.00 | 50 | 49.99 | 1042 | 1027 | 44 | 8
9 | 325.6684 | 49.6992 | 10.6107 | 98.25 | 78.75 | 27.5 | 590.4783 | 1056.8324 | 1647.3107 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1647.3107 | 9 | 301.7167 | 44 | 10.75 | 356.4667 | 1647 | 1663 | 1637 | 1647 | 1647 | 1647.3107 | 0 | 21 | 05.00-05.15 | 49.98 |  | 1083 |  | 44 | 9
10 | 416.5526 | 49.4168 | 0 | 99.5 | 41.25 | 28 | 634.7194 | 976.5845 | 1611.3039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1611.3039 | 10 | 385.9167 | 43.75 | 0 | 429.6667 | 1611 | 1635 | 1588 | 1611 | 1611 | 1611.3039 | 0 | 22 | 05.15-05.30 | 49.97 |  | 1130 |  | 43.75 | 10
11 | 359.0754 | 0.28238 | 0 | 46.5 | 0 | 28 | 433.8577 | 1120.6855 | 1554.5432 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1554.5432 | 11 | 332.6667 | 0.25 | 0 | 332.9167 | 1554.25 | 1583 | 1514 | 1554.25 | 1554.25 | 1554.5432 | 0 | 23 | 05.30-05.45 | 50.01 |  | 1186 |  | 0.25 | 11
12 | 315.3603 | 0 | 0 | 0 | 0 | 28 | 343.3603 | 1184.678 | 1528.0382 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1528.0382 | 12 | 292.1667 | 0 | 0 | 292.1667 | 1527.75 | 1537 | 1513 | 1527.75 | 1527.75 | 1528.0382 | 0 | 24 | 05.45-06.00 | 49.98 | 49.985 | 1276 | 1168.75 | 0 | 12
13 | 296.2012 | 0 | 0 | 0 | 0 | 28 | 324.2012 | 1135.3241 | 1459.5253 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1459.5253 | 13 | 274.4167 | 0 | 0 | 274.4167 | 1459.25 | 1495 | 1382 | 1459.25 | 1459.25 | 1459.5253 | 0 | 25 | 06.00-06.15 | 49.97 |  | 1388 |  | 0 | 13
14 | 287.4582 | 0 | 0 | 0 | 0 | 28 | 315.4582 | 1055.0503 | 1370.5085 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1370.5085 | 14 | 266.3167 | 0 | 0 | 266.3167 | 1370.25 | 1380 | 1361 | 1370.25 | 1370.25 | 1370.5085 | 0 | 26 | 06.15-06.30 | 50.01 |  | 1532 |  | 0 | 14
15 | 273.4532 | 0 | 0 | 0 | 0 | 29 | 302.4532 | 1071.0559 | 1373.5091 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1373.5091 | 15 | 253.3417 | 0 | 0 | 253.3417 | 1373.25 | 1384 | 1352 | 1373.25 | 1373.25 | 1373.5091 | 0 | 27 | 06.30-06.45 | 50.05 |  | 1619 |  | 0 | 15
16 | 329.7431 | 0 | 0 | 0 | 0 | 30 | 359.7431 | 1034.0198 | 1393.7629 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1393.7629 | 16 | 305.4917 | 0 | 0 | 305.4917 | 1393.5 | 1408 | 1381 | 1393.5 | 1393.5 | 1393.7629 | 0 | 28 | 06.45-07.00 | 50.05 | 50.02 | 1656 | 1548.75 | 0 | 16
17 | 367.8184 | 0 | 102.6524 | 0 | 0 | 26 | 496.4708 | 922.5469 | 1419.0177 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1419.0177 | 17 | 340.7667 | 0 | 104 | 444.7667 | 1418.75 | 1423 | 1416 | 1418.75 | 1418.75 | 1419.0177 | 0 | 29 | 07.00-07.15 | 50.07 |  | 1686 |  | 0 | 17
18 | 372.1359 | 0 | 43.6766 | 0 | 0 | 32.5 | 448.3125 | 932.948 | 1381.2606 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1381.2606 | 18 | 344.7667 | 0 | 44.25 | 389.0167 | 1381 | 1390 | 1362 | 1381 | 1381 | 1381.2606 | 0 | 30 | 07.15-07.30 | 50.05 |  | 1688 |  | 0 | 18
19 | 347.8498 | 0 | 29.6113 | 0 | 34 | 32.75 | 444.211 | 924.5472 | 1368.7582 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1368.7582 | 19 | 322.2667 | 0 | 30 | 352.2667 | 1368.5 | 1394 | 1352 | 1368.5 | 1368.5 | 1368.7582 | 0 | 31 | 07.30-07.45 | 50.03 |  | 1670 |  | 0 | 19
20 | 395.6125 | 0 | 63.6642 | 0 | 76.5 | 33 | 568.7768 | 843.4896 | 1412.2664 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1412.2664 | 20 | 366.5167 | 0 | 64.5 | 431.0167 | 1412 | 1434 | 1391 | 1412 | 1412 | 1412.2664 | 0 | 32 | 07.45-08.00 | 50.04 | 50.0475 | 1668 | 1678 | 0 | 20
21 | 390.4855 | 8.4715 | 44.9104 | 0 | 81 | 32.75 | 557.6173 | 785.1359 | 1342.7533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1342.7533 | 21 | 361.7667 | 7.5 | 45.5 | 414.7667 | 1342.5 | 1371 | 1316 | 1342.5 | 1342.5 | 1342.7533 | 0 | 33 | 08.00-08.15 | 49.99 |  | 1650 |  | 7.5 | 21
22 | 355.6753 | 33.0387 | 190.4992 | 0 | 2.75 | 90.75 | 672.7131 | 600.277 | 1272.9901 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1272.9901 | 22 | 329.5167 | 29.25 | 193 | 551.7667 | 1272.75 | 1307 | 1232 | 1272.75 | 1272.75 | 1272.9901 | 0 | 34 | 08.15-08.30 | 49.97 |  | 1663 |  | 29.25 | 22
23 | 338.1353 | 49.4168 | 142.8744 | 0 | 0 | 93 | 623.4265 | 539.7929 | 1163.2194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1163.2194 | 23 | 313.2667 | 43.75 | 144.75 | 501.7667 | 1163 | 1191 | 1128 | 1163 | 1163 | 1163.2194 | 0 | 35 | 08.30-08.45 | 50 |  | 1638 |  | 43.75 | 23
24 | 324.3731 | 49.6992 | 39.9752 | 0 | 0 | 93 | 507.0476 | 597.9109 | 1104.9584 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1104.9584 | 24 | 300.5167 | 44 | 40.5 | 385.0167 | 1104.75 | 1116 | 1094 | 1104.75 | 1104.75 | 1104.9584 | 0 | 36 | 08.45-09.00 | 50.04 | 50 | 1637 | 1647 | 44 | 24
[34 empty] | 37 | 09.00-09.15 | 49.98 |  | 1635
TOTAL (in MWh) | 8333.04 | 460 | 876 | 391 | 331.25 | 962 | 11353.29 | 20453.96 | 31807.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31807.25 | TOTAL | 7720.175 | 407.25 | 887.5 | 9014.925 | 31807.75 |  |  | 31801.75 | 31801.75 | 31807.25 | 0 | 38 | 09.15-09.30 | 49.97 |  | 1625
[34 empty] | 39 | 09.30-09.45 | 49.91 |  | 1596
[34 empty] | 40 | 09.45-10.00 | 49.94 | 49.95 | 1588 | 1611
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9797; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.94 |  | 1580
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1688; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.94 |  | 1583
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1688; 5+6 P6 14: MW | MAX = | 1688 | [10 empty] | 43 | 10.30-10.45 | 49.96 |  | 1540
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 962; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 962 | [10 empty] | 44 | 10.45-11.00 | 50.01 | 49.9625 | 1514 | 1554.25
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 8333.04; 5+6 P6 14: MWH; 5+6 P11 19: 19.823; 5+6 P11/1000 20: 8313.217 | [12 empty] | 45 | 11.00-11.15 | 50.02 |  | 1529
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 876; 5+6 P6 14: MWH; 5+6 P11 19: 13.5; 5+6 P11/1000 20: 862.5 | [12 empty] | 46 | 11.15-11.30 | 50.05 |  | 1532
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 460; 5+6 P6 14: MWH; 5+6 P11 19: 0.764; 5+6 P11/1000 20: 459.236 | [12 empty] | 47 | 11.30-11.45 | 50.03 |  | 1537
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 0; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.99 | 50.0225 | 1513 | 1527.75
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.04 |  | 1495
|  |  | Max.generation of Malana at 600 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50 |  | 1464
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 49.99 |  | 1451
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 336.4619; 5+6 P4 12: 253.3816; 5+6 P11 19: 83.3304; 5+6 P11/1000 20: 83.1322 | [12 empty] | 51 | 12.30-12.45 | 49.99 | 50.005 | 1427 | 1459.25
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 29.0455; 5+6 P4 12: 125.5181; 5+6 P11 19: 18.4465; 5+6 P11/1000 20: 18.2972 | [12 empty] | 52 | 12.45-13.00 | 50.03 |  | 1382
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 307.4164; 5+6 P4 12: 127.8635; 5+6 P11 19: 64.8839; 5+6 P11/1000 20: 64.835 | [12 empty] | 53 | 13.00-13.15 | 49.98 |  | 1358
[34 empty] | 55 | 13.30-13.45 | 49.95 |  | 1361
[34 empty] | 56 | 13.45-14.00 | 49.95 | 49.9775 | 1380 | 1370.25
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 49.99 |  | 1378
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.95 |  | 1384
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2024-04-04 | [12 empty] | 59 | 14.30-14.45 | 49.97 |  | 1352
[34 empty] | 60 | 14.45-15.00 | 49.99 | 49.975 | 1379 | 1373.25 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 49.93 |  | 1381
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 49.85 |  | 1382 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.92 |  | 1408
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.94 | 49.91 | 1403 | 1393.5
1 | [33 empty] | 65 | 16.00-16.15 | 49.96 |  | 1416 | bar: 5+6 P12 21
2 | [33 empty] | 66 | 16.15-16.30 | 49.89 |  | 1417 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 49.86 |  | 1419 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 49.82 | 49.8825 | 1423 | 1418.75 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 49.99 |  | 1386 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 49.94 |  | 1386 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.02 |  | 1390 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50.02 | 49.9925 | 1362 | 1381 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.08 |  | 1356 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.02 |  | 1394 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50 |  | 1372 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 49.92 | 50.005 | 1352 | 1368.5 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 49.94 |  | 1391 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 49.86 |  | 1427 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 49.99 |  | 1434 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 50.04 | 49.9575 | 1396 | 1412 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.03 |  | 1371 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50.01 |  | 1347 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.99 |  | 1316 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 50.02 | 50.0125 | 1336 | 1342.5 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 49.98 |  | 1307 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 49.97 |  | 1291 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 49.99 |  | 1261
[34 empty] | 88 | 21.45-22.00 | 49.97 | 49.9775 | 1232 | 1272.75
[34 empty] | 89 | 22.00-22.15 | 49.89 |  | 1191
[34 empty] | 90 | 22.15-22.30 | 49.93 |  | 1178
[34 empty] | 91 | 22.30-22.45 | 49.91 |  | 1155
[34 empty] | 92 | 22.45-23.00 | 49.93 | 49.915 | 1128 | 1163
[34 empty] | 93 | 23.00-23.15 | 49.95 |  | 1116
[34 empty] | 94 | 23.15-23.30 | 49.99 |  | 1107
[34 empty] | 95 | 23.30-23.45 | 49.99 |  | 1102
[34 empty] | 96 | 23.45-24.00 | 49.98 | 49.9775 | 1094 | 1104.75
[35 empty] | Total | 49.9797 | 49.9797 | 31807.75 | 31807.75
[35 empty] | max | 1688 |  | avg. max | 1678
[35 empty] | min | 962 |  | avg. min | 978
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.