## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2024-04-05
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2024-04-06
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 32713 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 430 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 754 | MWh | MALANA-II | 376 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1770 | [6 empty] | HOLI BAJOLI | 1003 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.92 |  | 1078
|  | Month/Day :- |  |  |  |  | 2024-04-05 | [10 empty] | Min.DEMAND(MW) |  | 993 |  | ACTUAL OWN GENERATION |  |  | 8460.375 | MWh | SWARA KUDDU | 390 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.01 |  | 1075
[34 empty] | 3 | 00.30-00.45 | 50.02 |  | 1065 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.03 | 49.995 | 1057 | 1068.75 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Distribution constraints (in MW) | Planned maintenance in distribution system (in MW) | Tranmission constraints | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50.02 |  | 1041 |  |  |  | MALANA-2 | 0 | 0 | 0 | 0 | 17 | 21 | 21.75 | 65.25 | 99.75 | 99.5 | 45.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 370
[34 empty] | 6 | 01.15-01.30 | 50.03 |  | 1035 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 3.75 | 75.25 | 60.25 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.75 | 81 | 81 | 20.5 | 376.5
[34 empty] | 7 | 01.30-01.45 | 50.03 |  | 1022
[34 empty] | 8 | 01.45-02:00 | 50.02 | 50.025 | 1004 | 1025.5
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.01 |  | 1004 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.99 |  | 993
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50 |  | 999
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.99 | 49.9975 | 1007 | 1000.75
1 | 372.8315 | 31.8322 | 44.7523 | 0 | 0 | 82.5 | 531.9159 | 536.4993 | 1068.4152 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1068.4152 | 1 | 364.5 | 30 | 44.5 | 439 | 1068.75 | 1078 | 1057 | 1068.75 | 1068.75 | 1068.4152 | 0 | 13 | 03.00-03.15 | 49.99 |  | 1011 |  | 30 | 1
2 | 321.4329 | 0 | 20.6162 | 0 | 0 | 38.5 | 380.5491 | 644.6297 | 1025.1788 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1025.1788 | 2 | 314.25 | 0 | 20.5 | 334.75 | 1025.5 | 1041 | 1004 | 1025.5 | 1025.5 | 1025.1788 | 0 | 14 | 03.15-03.30 | 49.95 |  | 1006 |  | 0 | 2
3 | 292.1536 | 0 | 0 | 0 | 0 | 30.25 | 322.4036 | 670.5964 | 993 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 993 | 3 | 285.625 | 0 | 0 | 285.625 | 1000.75 | 1007 | 993 | 993 | 993 | 993 | 0 | 15 | 03.30-03.45 | 49.98 |  | 997 |  | 0 | 3
4 | 280.0072 | 0 | 0 | 0 | 0 | 31 | 311.0072 | 697.6768 | 1008.6839 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1008.6839 | 4 | 273.75 | 0 | 0 | 273.75 | 1009 | 1022 | 997 | 1009 | 1009 | 1008.6839 | 0 | 16 | 03.45-04.00 | 50 | 49.98 | 1022 | 1009 | 0 | 4
5 | 311.7107 | 0 | 0 | 17 | 0 | 30.75 | 359.4607 | 668.7172 | 1028.1778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1028.1778 | 5 | 304.745 | 0 | 0 | 304.745 | 1028.5 | 1045 | 1022 | 1028.5 | 1028.5 | 1028.1778 | 0 | 17 | 04.00-04.15 | 50.02 |  | 1024 |  | 0 | 5
6 | 363.9531 | 0 | 27.6559 | 21 | 3.75 | 30 | 446.359 | 717.2764 | 1163.6354 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1163.6354 | 6 | 355.82 | 0 | 27.5 | 383.32 | 1164 | 1271 | 1072 | 1164 | 1164 | 1163.6354 | 0 | 18 | 04.15-04.30 | 50.01 |  | 1023 |  | 0 | 6
7 | 506.8769 | 45.3609 | 130.2341 | 21.75 | 75.25 | 28.75 | 808.2219 | 779.0308 | 1587.2527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1587.2527 | 7 | 495.55 | 42.75 | 129.5 | 667.8 | 1587.75 | 1705 | 1422 | 1587.75 | 1587.75 | 1587.2527 | 0 | 19 | 04.30-04.45 | 50.01 |  | 1022 |  | 42.75 | 7
8 | 464.6585 | 46.6872 | 84.979 | 65.25 | 60.25 | 27 | 748.8247 | 1021.1753 | 1770 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1770 | 8 | 454.275 | 44 | 84.5 | 582.775 | 1752 | 1770 | 1732 | 1770 | 1770 | 1770 | 0 | 20 | 04.45-05.00 | 49.99 | 50.0075 | 1045 | 1028.5 | 44 | 8
9 | 371.1438 | 46.6872 | 23.3818 | 99.75 | 37 | 27.5 | 605.4628 | 1103.7517 | 1709.2144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1709.2144 | 9 | 362.85 | 44 | 23.25 | 430.1 | 1709.75 | 1726 | 1689 | 1709.75 | 1709.75 | 1709.2144 | 0 | 21 | 05.00-05.15 | 49.93 |  | 1072 |  | 44 | 9
10 | 338.1055 | 24.1394 | 0 | 99.5 | 0 | 28 | 489.7449 | 1210.4724 | 1700.2173 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1700.2173 | 10 | 330.55 | 22.75 | 0 | 353.3 | 1700.75 | 1707 | 1693 | 1700.75 | 1700.75 | 1700.2173 | 0 | 22 | 05.15-05.30 | 49.92 |  | 1130 |  | 22.75 | 10
11 | 330.9455 | 0 | 0 | 45.75 | 0 | 29.25 | 405.9455 | 1231.7914 | 1637.7368 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1637.7368 | 11 | 323.55 | 0 | 0 | 323.55 | 1638.25 | 1680 | 1611 | 1638.25 | 1638.25 | 1637.7368 | 0 | 23 | 05.30-05.45 | 49.97 |  | 1183 |  | 0 | 11
12 | 303.8398 | 0 | 0 | 0 | 0 | 29.5 | 333.3398 | 1253.9129 | 1587.2527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1587.2527 | 12 | 297.05 | 0 | 0 | 297.05 | 1587.75 | 1599 | 1580 | 1587.75 | 1587.75 | 1587.2527 | 0 | 24 | 05.45-06.00 | 50 | 49.955 | 1271 | 1164 | 0 | 12
13 | 307.164 | 0 | 0 | 0 | 0 | 28 | 335.164 | 1201.6044 | 1536.7685 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1536.7685 | 13 | 300.3 | 0 | 0 | 300.3 | 1537.25 | 1561 | 1437 | 1537.25 | 1537.25 | 1536.7685 | 0 | 25 | 06.00-06.15 | 49.96 |  | 1422 |  | 0 | 13
14 | 284.3032 | 0 | 0 | 0 | 0 | 28.5 | 312.8032 | 1110.5008 | 1423.304 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1423.304 | 14 | 277.95 | 0 | 0 | 277.95 | 1423.75 | 1428 | 1417 | 1423.75 | 1423.75 | 1423.304 | 0 | 26 | 06.15-06.30 | 49.94 |  | 1572 |  | 0 | 14
15 | 276.4528 | 0 | 0 | 0 | 0 | 29.75 | 306.2028 | 1099.8567 | 1406.0594 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1406.0594 | 15 | 270.275 | 0 | 0 | 270.275 | 1406.5 | 1432 | 1384 | 1406.5 | 1406.5 | 1406.0594 | 0 | 27 | 06.30-06.45 | 49.98 |  | 1652 |  | 0 | 15
16 | 328.8231 | 0 | 0 | 0 | 0 | 30.5 | 359.3231 | 1029.9916 | 1389.3147 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1389.3147 | 16 | 321.475 | 0 | 0 | 321.475 | 1389.75 | 1421 | 1373 | 1389.75 | 1389.75 | 1389.3147 | 0 | 28 | 06.45-07.00 | 50.02 | 49.975 | 1705 | 1587.75 | 0 | 16
17 | 354.6758 | 11.6718 | 0 | 0 | 0 | 32 | 398.3476 | 1004.4629 | 1402.8105 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1402.8105 | 17 | 346.75 | 11 | 0 | 357.75 | 1403.25 | 1414 | 1392 | 1403.25 | 1403.25 | 1402.8105 | 0 | 29 | 07.00-07.15 | 50.02 |  | 1732 |  | 11 | 17
18 | 363.8815 | 11.6718 | 0 | 0 | 0 | 32.25 | 407.8033 | 971.2646 | 1379.0679 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1379.0679 | 18 | 355.75 | 11 | 0 | 366.75 | 1379.5 | 1402 | 1350 | 1379.5 | 1379.5 | 1379.0679 | 0 | 30 | 07.15-07.30 | 50.04 |  | 1750 |  | 11 | 18
19 | 373.3941 | 11.6718 | 19.6105 | 0 | 0 | 32.5 | 437.1764 | 957.1367 | 1394.3131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1394.3131 | 19 | 365.05 | 11 | 19.5 | 395.55 | 1394.75 | 1422 | 1382 | 1394.75 | 1394.75 | 1394.3131 | 0 | 31 | 07.30-07.45 | 49.98 |  | 1770 |  | 11 | 19
20 | 459.8766 | 31.3017 | 109.6179 | 0 | 0 | 32.25 | 633.0462 | 847.9898 | 1481.0359 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1481.0359 | 20 | 449.6 | 29.5 | 109 | 588.1 | 1481.5 | 1505 | 1450 | 1481.5 | 1481.5 | 1481.0359 | 0 | 32 | 07.45-08.00 | 50.01 | 50.0125 | 1756 | 1752 | 29.5 | 20
21 | 310.0281 | 30.7711 | 66.877 | 0 | 17.75 | 62.75 | 488.1761 | 904.8874 | 1393.0635 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1393.0635 | 21 | 303.1 | 29 | 66.5 | 398.6 | 1393.5 | 1429 | 1358 | 1393.5 | 1393.5 | 1393.0635 | 0 | 33 | 08.00-08.15 | 49.97 |  | 1726 |  | 29 | 21
22 | 380.3495 | 46.6872 | 89.7559 | 0 | 81 | 94 | 691.7926 | 615.5477 | 1307.3404 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1307.3404 | 22 | 371.85 | 44 | 89.25 | 505.1 | 1307.75 | 1346 | 1270 | 1307.75 | 1307.75 | 1307.3404 | 0 | 34 | 08.15-08.30 | 49.95 |  | 1722 |  | 44 | 22
23 | 298.5209 | 45.8914 | 31.4271 | 0 | 81 | 94 | 550.8395 | 647.535 | 1198.3745 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1198.3745 | 23 | 291.85 | 43.25 | 31.25 | 366.35 | 1198.75 | 1230 | 1152 | 1198.75 | 1198.75 | 1198.3745 | 0 | 35 | 08.30-08.45 | 49.9 |  | 1702 |  | 43.25 | 23
24 | 465.2466 | 45.6262 | 105.0924 | 0 | 20.5 | 93.5 | 729.9652 | 393.6828 | 1123.6479 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1123.6479 | 24 | 454.85 | 43 | 104.5 | 602.35 | 1124 | 1148 | 1102 | 1124 | 1124 | 1123.6479 | 0 | 36 | 08.45-09.00 | 49.96 | 49.945 | 1689 | 1709.75 | 43 | 24
[34 empty] | 37 | 09.00-09.15 | 49.88 |  | 1707
TOTAL (in MWh) | 8460.375 | 430 | 754 | 370 | 376.5 | 1003 | 11393.875 | 21319.9905 | 32713.8655 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32713.8655 | TOTAL | 8271.315 | 405.25 | 749.75 | 9426.315 | 32713 |  |  | 32723.25 | 32723.25 | 32713.8655 | 0 | 38 | 09.15-09.30 | 49.95 |  | 1698
[34 empty] | 39 | 09.30-09.45 | 50.01 |  | 1705
[34 empty] | 40 | 09.45-10.00 | 50.01 | 49.9625 | 1693 | 1700.75
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.994; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.01 |  | 1680
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1770; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.95 |  | 1638
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1770; 5+6 P6 14: MW | MAX = | 1770 | [10 empty] | 43 | 10.30-10.45 | 49.87 |  | 1624
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 993; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 993 | [10 empty] | 44 | 10.45-11.00 | 49.84 | 49.9175 | 1611 | 1638.25
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 8460.375; 5+6 P6 14: MWH; 5+6 P11 19: 20.303; 5+6 P11/1000 20: 8440.072 | [12 empty] | 45 | 11.00-11.15 | 49.94 |  | 1599
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 754; 5+6 P6 14: MWH; 5+6 P11 19: 18.3; 5+6 P11/1000 20: 735.7 | [12 empty] | 46 | 11.15-11.30 | 49.87 |  | 1591
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 430; 5+6 P6 14: MWH; 5+6 P11 19: 0.905; 5+6 P11/1000 20: 429.095 | [12 empty] | 47 | 11.30-11.45 | 49.85 |  | 1580
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 0; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.88 | 49.885 | 1581 | 1587.75
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 43; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.97 |  | 1561
|  |  | Max.generation of Malana at 800 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50.04 |  | 1551
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 50.13 |  | 1535
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 220.4798; 5+6 P4 12: 431.4986; 5+6 P11 19: 84.6037; 5+6 P11/1000 20: 84.4007 | [12 empty] | 51 | 12.30-12.45 | 50.26 | 50.1 | 1502 | 1537.25
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 16.4686; 5+6 P4 12: 158.7678; 5+6 P11 19: 18.4551; 5+6 P11/1000 20: 18.304 | [12 empty] | 52 | 12.45-13.00 | 50.29 |  | 1437
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 204.0112; 5+6 P4 12: 272.7308; 5+6 P11 19: 66.1486; 5+6 P11/1000 20: 66.0968 | [12 empty] | 53 | 13.00-13.15 | 50.06 |  | 1413
[34 empty] | 55 | 13.30-13.45 | 49.99 |  | 1428
[34 empty] | 56 | 13.45-14.00 | 49.9 | 50.06 | 1417 | 1423.75
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 49.96 |  | 1432
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.97 |  | 1422
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2024-04-05 | [12 empty] | 59 | 14.30-14.45 | 50.02 |  | 1384
[34 empty] | 60 | 14.45-15.00 | 49.98 | 49.9825 | 1388 | 1406.5 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 50.05 |  | 1374
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 50.02 |  | 1373 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 50 |  | 1391
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 50.01 | 50.02 | 1421 | 1389.75
1 | [33 empty] | 65 | 16.00-16.15 | 50.06 |  | 1392 | bar: 5+6 P12 21
2 | [33 empty] | 66 | 16.15-16.30 | 50.02 |  | 1394 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 50.05 |  | 1413 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 50.08 | 50.0525 | 1414 | 1403.25 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50.06 |  | 1391 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50.04 |  | 1375 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50 |  | 1350 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 49.97 | 50.0175 | 1402 | 1379.5 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.03 |  | 1389 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.01 |  | 1382 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.03 |  | 1386 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50.02 | 50.0225 | 1422 | 1394.75 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 50.01 |  | 1450 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 50 |  | 1495 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 50.03 |  | 1505 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 50.02 | 50.015 | 1476 | 1481.5 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.05 |  | 1429 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50.03 |  | 1409 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 50.02 |  | 1378 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 50.03 | 50.0325 | 1358 | 1393.5 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 50 |  | 1346 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 49.98 |  | 1322 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 50.02 |  | 1293
[34 empty] | 88 | 21.45-22.00 | 50.06 | 50.015 | 1270 | 1307.75
[34 empty] | 89 | 22.00-22.15 | 50.01 |  | 1230
[34 empty] | 90 | 22.15-22.30 | 50.01 |  | 1220
[34 empty] | 91 | 22.30-22.45 | 49.98 |  | 1193
[34 empty] | 92 | 22.45-23.00 | 49.91 | 49.9775 | 1152 | 1198.75
[34 empty] | 93 | 23.00-23.15 | 49.85 |  | 1148
[34 empty] | 94 | 23.15-23.30 | 49.87 |  | 1128
[34 empty] | 95 | 23.30-23.45 | 49.96 |  | 1118
[34 empty] | 96 | 23.45-24.00 | 49.93 | 49.9025 | 1102 | 1124
[35 empty] | Total | 49.994 | 49.994 | 32713 | 32713
[35 empty] | max | 1770 |  | avg. max | 1752
[35 empty] | min | 993 |  | avg. min | 1000.75
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.