## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2024-04-09
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2024-04-10
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 33138.75 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 339 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 897 | MWh | MALANA-II | 322 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1819 | [6 empty] | HOLI BAJOLI | 1078 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50 |  | 1123
|  | Month/Day :- |  |  |  |  | 2024-04-09 | [10 empty] | Min.DEMAND(MW) |  | 1051 |  | ACTUAL OWN GENERATION |  |  | 9121.601 | MWh | SWARA KUDDU | 423.875 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.01 |  | 1113
[34 empty] | 3 | 00.30-00.45 | 50.02 |  | 1116 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.98 | 50.0025 | 1092 | 1111 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Distribution constraints (in MW) | Planned maintenance in distribution system (in MW) | Tranmission constraints | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.95 |  | 1098 |  |  |  | MALANA-2 | 0 | 0 | 0 | 0.25 | 26.75 | 100 | 99.75 | 94.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 321.25
[34 empty] | 6 | 01.15-01.30 | 49.93 |  | 1092 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 0 | 25.5 | 81 | 37.25 | 0.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.5 | 55.75 | 81 | 59.5 | 18.25 | 386.5
[34 empty] | 7 | 01.30-01.45 | 49.98 |  | 1082
[34 empty] | 8 | 01.45-02:00 | 49.99 | 49.9625 | 1089 | 1090.25
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.99 |  | 1083 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.96 |  | 1080
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.96 |  | 1080
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.99 | 49.975 | 1057 | 1075
1 | 434.7413 | 30.0665 | 77.6031 | 0 | 0 | 57.25 | 599.6609 | 511.247 | 1110.9078 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1110.9078 | 1 | 433.875 | 30 | 76.5 | 540.375 | 1111 | 1123 | 1092 | 1111 | 1111 | 1110.9078 | 0 | 13 | 03.00-03.15 | 49.98 |  | 1063 |  | 30 | 1
2 | 388.8999 | 0.25055 | 10.1442 | 0 | 0 | 32 | 431.2947 | 658.8649 | 1090.1595 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1090.1595 | 2 | 388.125 | 0.25 | 10 | 398.375 | 1090.25 | 1098 | 1082 | 1090.25 | 1090.25 | 1090.1595 | 0 | 14 | 03.15-03.30 | 49.98 |  | 1051 |  | 0.25 | 2
3 | 370.9892 | 0 | 0 | 0 | 0 | 30.25 | 401.2392 | 673.6716 | 1074.9108 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1074.9108 | 3 | 370.25 | 0 | 0 | 370.25 | 1075 | 1083 | 1057 | 1075 | 1075 | 1074.9108 | 0 | 15 | 03.30-03.45 | 50 |  | 1051 |  | 0 | 3
4 | 327.2771 | 0 | 0 | 0.25 | 0 | 31 | 358.5271 | 692.4729 | 1051 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1051 | 4 | 326.625 | 0 | 0 | 326.625 | 1058 | 1067 | 1051 | 1051 | 1051 | 1051 | 0 | 16 | 03.45-04.00 | 50 | 49.99 | 1067 | 1058 | 0 | 4
5 | 346.0395 | 0.75166 | 2.536 | 26.75 | 0 | 30 | 406.0772 | 722.5791 | 1128.6563 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1128.6563 | 5 | 345.35 | 0.75 | 2.5 | 348.6 | 1128.75 | 1154 | 1084 | 1128.75 | 1128.75 | 1128.6563 | 0 | 17 | 04.00-04.15 | 50.01 |  | 1084 |  | 0.75 | 5
6 | 446.5648 | 43.847 | 163.8287 | 100 | 0 | 30.5 | 784.7405 | 577.1465 | 1361.887 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1361.887 | 6 | 445.675 | 43.75 | 161.5 | 650.925 | 1362 | 1530 | 1190 | 1362 | 1362 | 1361.887 | 0 | 18 | 04.15-04.30 | 50.01 |  | 1126 |  | 43.75 | 6
7 | 464.6008 | 44.0976 | 178.5377 | 99.75 | 25.5 | 29.25 | 841.7361 | 804.6273 | 1646.3634 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1646.3634 | 7 | 463.675 | 44 | 176 | 683.675 | 1646.5 | 1776 | 1528 | 1646.5 | 1646.5 | 1646.3634 | 0 | 19 | 04.30-04.45 | 50 |  | 1151 |  | 44 | 7
8 | 427.4518 | 44.0976 | 44.3808 | 94.5 | 81 | 27.5 | 718.9301 | 1100.0699 | 1819 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1819 | 8 | 426.6 | 44 | 43.75 | 514.35 | 1809.25 | 1819 | 1801 | 1819 | 1819 | 1819 | 0 | 20 | 04.45-05.00 | 49.99 | 50.0025 | 1154 | 1128.75 | 44 | 8
9 | 340.8542 | 0.50111 | 0 | 0 | 37.25 | 28 | 406.6053 | 1296.2534 | 1702.8587 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1702.8587 | 9 | 340.175 | 0.5 | 0 | 340.675 | 1703 | 1730 | 1678 | 1703 | 1703 | 1702.8587 | 0 | 21 | 05.00-05.15 | 50 |  | 1190 |  | 0.5 | 9
10 | 379.381 | 0 | 0 | 0 | 0.75 | 28 | 408.131 | 1226.9833 | 1635.1143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1635.1143 | 10 | 378.625 | 0 | 0 | 378.625 | 1635.25 | 1658 | 1610 | 1635.25 | 1635.25 | 1635.1143 | 0 | 22 | 05.15-05.30 | 49.96 |  | 1270 |  | 0 | 10
11 | 340.3031 | 0 | 0 | 0 | 0 | 27.75 | 368.0531 | 1196.5671 | 1564.6202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1564.6202 | 11 | 339.625 | 0 | 0 | 339.625 | 1564.75 | 1576 | 1550 | 1564.75 | 1564.75 | 1564.6202 | 0 | 23 | 05.30-05.45 | 49.96 |  | 1530 |  | 0 | 11
12 | 375.874 | 0 | 0 | 0 | 0 | 27 | 402.874 | 1124.9992 | 1527.8732 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1527.8732 | 12 | 375.125 | 0 | 0 | 375.125 | 1528 | 1540 | 1519 | 1528 | 1528 | 1527.8732 | 0 | 24 | 05.45-06.00 | 49.98 | 49.975 | 1458 | 1362 | 0 | 12
13 | 394.9119 | 0 | 0 | 0 | 0 | 28.75 | 423.6619 | 1062.4648 | 1486.1267 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1486.1267 | 13 | 394.125 | 0 | 0 | 394.125 | 1486.25 | 1501 | 1408 | 1486.25 | 1486.25 | 1486.1267 | 0 | 25 | 06.00-06.15 | 49.96 |  | 1528 |  | 0 | 13
14 | 338.9504 | 0 | 0 | 0 | 0 | 30 | 368.9504 | 1026.9338 | 1395.8842 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1395.8842 | 14 | 338.275 | 0 | 0 | 338.275 | 1396 | 1409 | 1389 | 1396 | 1396 | 1395.8842 | 0 | 26 | 06.15-06.30 | 49.93 |  | 1609 |  | 0 | 14
15 | 361.0194 | 0 | 0 | 0 | 0 | 30 | 391.0194 | 1013.3641 | 1404.3835 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1404.3835 | 15 | 360.3 | 0 | 0 | 360.3 | 1404.5 | 1428 | 1357 | 1404.5 | 1404.5 | 1404.3835 | 0 | 27 | 06.30-06.45 | 49.97 |  | 1673 |  | 0 | 15
16 | 303.8054 | 0 | 0 | 0 | 0 | 31.5 | 335.3054 | 1085.5767 | 1420.8821 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1420.8821 | 16 | 303.2 | 0 | 0 | 303.2 | 1421 | 1449 | 1377 | 1421 | 1421 | 1420.8821 | 0 | 28 | 06.45-07.00 | 50.02 | 49.97 | 1776 | 1646.5 | 0 | 16
17 | 360.4432 | 0 | 0 | 0 | 0 | 32 | 392.4432 | 1053.4368 | 1445.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1445.88 | 17 | 359.725 | 0 | 0 | 359.725 | 1446 | 1457 | 1437 | 1446 | 1446 | 1445.88 | 0 | 29 | 07.00-07.15 | 50.05 |  | 1805 |  | 0 | 17
18 | 342.4073 | 0 | 0 | 0 | 0 | 33.5 | 375.9073 | 1043.7249 | 1419.6322 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1419.6322 | 18 | 341.725 | 0 | 0 | 341.725 | 1419.75 | 1430 | 1410 | 1419.75 | 1419.75 | 1419.6322 | 0 | 30 | 07.15-07.30 | 50.04 |  | 1801 |  | 0 | 18
19 | 322.3674 | 0.25055 | 39.0551 | 0 | 0 | 55.5 | 417.173 | 997.4596 | 1414.6326 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1414.6326 | 19 | 321.725 | 0.25 | 38.5 | 360.475 | 1414.75 | 1427 | 1402 | 1414.75 | 1414.75 | 1414.6326 | 0 | 31 | 07.30-07.45 | 50.05 |  | 1812 |  | 0.25 | 19
20 | 438.599 | 43.3459 | 88.5081 | 0 | 27.5 | 95.5 | 693.4529 | 763.1762 | 1456.6291 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1456.6291 | 20 | 437.725 | 43.25 | 87.25 | 568.225 | 1456.75 | 1483 | 1436 | 1456.75 | 1456.75 | 1456.6291 | 0 | 32 | 07.45-08.00 | 50.03 | 50.0425 | 1819 | 1809.25 | 43.25 | 20
21 | 422.066 | 29.5654 | 88.7617 | 0 | 55.75 | 85 | 681.1431 | 700.7422 | 1381.8853 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1381.8853 | 21 | 421.225 | 29.5 | 87.5 | 538.225 | 1382 | 1437 | 1329 | 1382 | 1382 | 1381.8853 | 0 | 33 | 08.00-08.15 | 50 |  | 1730 |  | 29.5 | 21
22 | 387.7476 | 29.0643 | 45.6489 | 0 | 81 | 94 | 637.4608 | 644.6828 | 1282.1436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1282.1436 | 22 | 386.975 | 29 | 45 | 460.975 | 1282.25 | 1319 | 1245 | 1282.25 | 1282.25 | 1282.1436 | 0 | 34 | 08.15-08.30 | 49.97 |  | 1713 |  | 29 | 22
23 | 361.6957 | 29.3149 | 47.1705 | 0 | 59.5 | 94.25 | 591.9311 | 599.2201 | 1191.1512 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1191.1512 | 23 | 360.975 | 29.25 | 46.5 | 436.725 | 1191.25 | 1212 | 1161 | 1191.25 | 1191.25 | 1191.1512 | 0 | 35 | 08.30-08.45 | 49.96 |  | 1691 |  | 29.25 | 23
24 | 444.6109 | 43.847 | 110.8253 | 0 | 18.25 | 94 | 711.5332 | 414.8733 | 1126.4065 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1126.4065 | 24 | 443.725 | 43.75 | 109.25 | 596.725 | 1126.5 | 1143 | 1104 | 1126.5 | 1126.5 | 1126.4065 | 0 | 36 | 08.45-09.00 | 50.03 | 49.99 | 1678 | 1703 | 43.75 | 24
[34 empty] | 37 | 09.00-09.15 | 49.99 |  | 1658
TOTAL (in MWh) | 9121.601 | 339 | 897 | 321.25 | 386.5 | 1082.5 | 12147.851 | 20991.1371 | 33138.9881 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33138.9881 | TOTAL | 9103.425 | 338.25 | 884.25 | 10325.925 | 33138.75 |  |  | 33141.5 | 33141.5 | 33138.9881 | 0 | 38 | 09.15-09.30 | 50.01 |  | 1645
[34 empty] | 39 | 09.30-09.45 | 50.01 |  | 1628
[34 empty] | 40 | 09.45-10.00 | 50 | 50.0025 | 1610 | 1635.25
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9821; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.01 |  | 1575
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1819; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.98 |  | 1576
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1819; 5+6 P6 14: MW | MAX = | 1819 | [10 empty] | 43 | 10.30-10.45 | 50.03 |  | 1558
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1051; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1051 | [10 empty] | 44 | 10.45-11.00 | 49.98 | 50 | 1550 | 1564.75
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 9121.601; 5+6 P6 14: MWH; 5+6 P11 19: 24.1922; 5+6 P11/1000 20: 9097.4088 | [12 empty] | 45 | 11.00-11.15 | 50 |  | 1540
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 897; 5+6 P6 14: MWH; 5+6 P11 19: 1.95; 5+6 P11/1000 20: 895.05 | [12 empty] | 46 | 11.15-11.30 | 50 |  | 1531
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 339; 5+6 P6 14: MWH; 5+6 P11 19: 0.592; 5+6 P11/1000 20: 338.408 | [12 empty] | 47 | 11.30-11.45 | 49.96 |  | 1522
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 0; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.98 | 49.985 | 1519 | 1528
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 43.75; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.99 |  | 1498
|  |  | Max.generation of Malana at 700 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.97 |  | 1501
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 49.95 |  | 1491
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 350.4869; 5+6 P4 12: 396.0671; 5+6 P11 19: 91.216; 5+6 P11/1000 20: 90.9741 | [12 empty] | 51 | 12.30-12.45 | 49.95 | 49.965 | 1455 | 1486.25
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 59.9153; 5+6 P4 12: 121.6383; 5+6 P11 19: 19.8443; 5+6 P11/1000 20: 19.6489 | [12 empty] | 52 | 12.45-13.00 | 49.94 |  | 1408
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 290.5716; 5+6 P4 12: 274.4288; 5+6 P11 19: 71.3717; 5+6 P11/1000 20: 71.3252 | [12 empty] | 53 | 13.00-13.15 | 49.91 |  | 1378
[34 empty] | 55 | 13.30-13.45 | 49.87 |  | 1389
[34 empty] | 56 | 13.45-14.00 | 49.86 | 49.895 | 1409 | 1396
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 49.85 |  | 1411
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.79 |  | 1428
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2024-04-09 | [12 empty] | 59 | 14.30-14.45 | 49.9 |  | 1422
[34 empty] | 60 | 14.45-15.00 | 49.99 | 49.8825 | 1357 | 1404.5 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 49.98 |  | 1377
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 49.94 |  | 1428 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.96 |  | 1430
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.98 | 49.965 | 1449 | 1421
1 | [33 empty] | 65 | 16.00-16.15 | 50.03 |  | 1444 | bar: 5+6 P12 21
2 | [33 empty] | 66 | 16.15-16.30 | 49.98 |  | 1457 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 49.94 |  | 1437 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 49.87 | 49.955 | 1446 | 1446 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50.01 |  | 1430 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50.03 |  | 1427 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.09 |  | 1410 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50.04 | 50.0425 | 1412 | 1419.75 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.11 |  | 1427 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.04 |  | 1413 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.06 |  | 1402 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 49.99 | 50.05 | 1417 | 1414.75 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 49.95 |  | 1441 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 49.88 |  | 1483 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 49.99 |  | 1467 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 50 | 49.955 | 1436 | 1456.75 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.03 |  | 1437 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50.01 |  | 1407 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.94 |  | 1355 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 49.97 | 49.9875 | 1329 | 1382 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 49.99 |  | 1319 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 50.01 |  | 1299 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 50.02 |  | 1266
[34 empty] | 88 | 21.45-22.00 | 50.03 | 50.0125 | 1245 | 1282.25
[34 empty] | 89 | 22.00-22.15 | 50.01 |  | 1212
[34 empty] | 90 | 22.15-22.30 | 49.98 |  | 1201
[34 empty] | 91 | 22.30-22.45 | 49.95 |  | 1191
[34 empty] | 92 | 22.45-23.00 | 49.92 | 49.965 | 1161 | 1191.25
[34 empty] | 93 | 23.00-23.15 | 49.97 |  | 1143
[34 empty] | 94 | 23.15-23.30 | 49.98 |  | 1137
[34 empty] | 95 | 23.30-23.45 | 50 |  | 1122
[34 empty] | 96 | 23.45-24.00 | 50.04 | 49.9975 | 1104 | 1126.5
[35 empty] | Total | 49.9821 | 49.9821 | 33138.75 | 33138.75
[35 empty] | max | 1819 |  | avg. max | 1809.25
[35 empty] | min | 1051 |  | avg. min | 1058
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.