## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2024-04-11
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2024-04-12
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 32732 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 477 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 1155 | MWh | MALANA-II | 371 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1685 | [6 empty] | HOLI BAJOLI | 1254 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.94 |  | 1088
|  | Month/Day :- |  |  |  |  | 2024-04-11 | [10 empty] | Min.DEMAND(MW) |  | 1039 |  | ACTUAL OWN GENERATION |  |  | 9079.8255 | MWh | SWARA KUDDU | 433.001 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50 |  | 1088
[34 empty] | 3 | 00.30-00.45 | 50.01 |  | 1069 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50 | 49.9875 | 1091 | 1084 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Distribution constraints (in MW) | Planned maintenance in distribution system (in MW) | Tranmission constraints | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50 |  | 1070 |  |  |  | MALANA-2 | 22 | 22 | 22 | 22 | 30.25 | 78 | 78.5 | 94.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 369
[34 empty] | 6 | 01.15-01.30 | 50.02 |  | 1098 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 0.5 | 70.25 | 70.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75 | 37 | 37 | 59.75 | 81 | 55.75 | 18.75 | 431.75
[34 empty] | 7 | 01.30-01.45 | 50 |  | 1067
[34 empty] | 8 | 01.45-02:00 | 50.01 | 50.0075 | 1059 | 1073.5
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.97 |  | 1051 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.97 |  | 1039
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.01 |  | 1054
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50 | 49.9875 | 1049 | 1048.25
1 | 466.1347 | 44 | 103.1081 | 22 | 0 | 83 | 718.2428 | 365.6744 | 1083.9172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1083.9172 | 1 | 473.25 | 44 | 109 | 626.25 | 1084 | 1091 | 1069 | 1084 | 1084 | 1083.9172 | 0 | 13 | 03.00-03.15 | 50.01 |  | 1042 |  | 44 | 1
2 | 419.8413 | 27.5 | 103.1081 | 22 | 0 | 31.5 | 603.9494 | 469.4686 | 1073.418 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1073.418 | 2 | 426.25 | 27.5 | 109 | 562.75 | 1073.5 | 1098 | 1059 | 1073.5 | 1073.5 | 1073.418 | 0 | 14 | 03.15-03.30 | 50 |  | 1044 |  | 27.5 | 2
3 | 342.3984 | 27 | 12.2973 | 22 | 0 | 30 | 433.6957 | 605.3043 | 1039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1039 | 3 | 347.625 | 27 | 13 | 387.625 | 1048.25 | 1054 | 1039 | 1039 | 1039 | 1039 | 0 | 15 | 03.30-03.45 | 49.98 |  | 1049 |  | 27 | 3
4 | 316.42 | 27 | 12.2973 | 22 | 0 | 30 | 407.7173 | 640.7026 | 1048.4199 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1048.4199 | 4 | 321.25 | 27 | 13 | 361.25 | 1048.5 | 1059 | 1042 | 1048.5 | 1048.5 | 1048.4199 | 0 | 16 | 03.45-04.00 | 50 | 49.9975 | 1059 | 1048.5 | 27 | 4
5 | 325.9988 | 42.75 | 12.2973 | 30.25 | 0 | 30 | 441.2961 | 640.8713 | 1082.1673 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8667 | 0 | 1.8667 | 0.0018667 | 1084.034 | 5 | 330.975 | 42.75 | 13 | 386.725 | 1082.25 | 1113 | 1067 | 1082.25 | 1082.25 | 1082.1673 | 1.8667 | 17 | 04.00-04.15 | 49.99 |  | 1067 |  | 42.75 | 5
6 | 394.0352 | 44 | 19.3919 | 78 | 0.5 | 30 | 565.9271 | 670.2285 | 1236.1556 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.46667 | 0 | 0.46667 | 0.00046667 | 1236.6223 | 6 | 400.05 | 44 | 20.5 | 464.55 | 1236.25 | 1309 | 1190 | 1236.25 | 1236.25 | 1236.1556 | 0.46667 | 18 | 04.15-04.30 | 49.95 |  | 1067 |  | 44 | 6
7 | 475.7873 | 44 | 37.1284 | 78.5 | 70.25 | 29.75 | 735.4157 | 743.7213 | 1479.137 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1479.137 | 7 | 483.05 | 44 | 39.25 | 566.3 | 1479.25 | 1561 | 1375 | 1479.25 | 1479.25 | 1479.137 | 0 | 19 | 04.30-04.45 | 49.95 |  | 1082 |  | 44 | 7
8 | 448.6269 | 44 | 91.0473 | 94.25 | 70.5 | 54 | 802.4242 | 827.9513 | 1630.3755 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1630.3755 | 8 | 455.475 | 44 | 96.25 | 595.725 | 1630.5 | 1664 | 1594 | 1630.5 | 1630.5 | 1630.3755 | 0 | 20 | 04.45-05.00 | 49.92 | 49.9525 | 1113 | 1082.25 | 44 | 8
9 | 366.7025 | 0.5 | 70.2365 | 0 | 0.5 | 53.75 | 491.6889 | 1169.6842 | 1661.3731 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1661.3731 | 9 | 372.3 | 0.5 | 74.25 | 447.05 | 1661.5 | 1674 | 1645 | 1661.5 | 1661.5 | 1661.3731 | 0 | 21 | 05.00-05.15 | 49.92 |  | 1190 |  | 0.5 | 9
10 | 406.298 | 0 | 113.277 | 0 | 0 | 25 | 544.5751 | 1140.4249 | 1685 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1685 | 10 | 412.5 | 0 | 119.75 | 532.25 | 1673.25 | 1685 | 1665 | 1685 | 1685 | 1685 | 0 | 22 | 05.15-05.30 | 49.96 |  | 1207 |  | 0 | 10
11 | 380.1965 | 0 | 147.8041 | 0 | 0 | 24.25 | 552.2505 | 1081.6247 | 1633.8752 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1633.8752 | 11 | 386 | 0 | 156.25 | 542.25 | 1634 | 1655 | 1623 | 1634 | 1634 | 1633.8752 | 0 | 23 | 05.30-05.45 | 49.96 |  | 1239 |  | 0 | 11
12 | 327.0084 | 0 | 54.3919 | 0 | 0 | 25.5 | 406.9003 | 1173.979 | 1580.8793 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1580.8793 | 12 | 332 | 0 | 57.5 | 389.5 | 1581 | 1591 | 1563 | 1581 | 1581 | 1580.8793 | 0 | 24 | 05.45-06.00 | 50.01 | 49.9625 | 1309 | 1236.25 | 0 | 12
13 | 341.0441 | 0 | 0 | 0 | 0 | 26 | 367.0441 | 1153.5897 | 1520.6339 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1520.6339 | 13 | 346.25 | 0 | 0 | 346.25 | 1520.75 | 1553 | 1454 | 1520.75 | 1520.75 | 1520.6339 | 0 | 25 | 06.00-06.15 | 50.01 |  | 1375 |  | 0 | 13
14 | 337.7445 | 0 | 0 | 0 | 0 | 26.25 | 363.9945 | 1084.3949 | 1448.3894 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1448.3894 | 14 | 342.9 | 0 | 0 | 342.9 | 1448.5 | 1461 | 1439 | 1448.5 | 1448.5 | 1448.3894 | 0 | 26 | 06.15-06.30 | 49.98 |  | 1452 |  | 0 | 14
15 | 333.8292 | 0 | 0 | 0 | 0 | 26.75 | 360.5792 | 1086.8102 | 1447.3895 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1447.3895 | 15 | 338.925 | 0 | 0 | 338.925 | 1447.5 | 1450 | 1446 | 1447.5 | 1447.5 | 1447.3895 | 0 | 27 | 06.30-06.45 | 50.03 |  | 1529 |  | 0 | 15
16 | 338.4093 | 0 | 0 | 0 | 0 | 27 | 365.4093 | 1043.983 | 1409.3924 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1409.3924 | 16 | 343.575 | 0 | 0 | 343.575 | 1409.5 | 1438 | 1396 | 1409.5 | 1409.5 | 1409.3924 | 0 | 28 | 06.45-07.00 | 50.04 | 50.015 | 1561 | 1479.25 | 0 | 16
17 | 368.2291 | 0 | 0 | 0 | 0 | 28.25 | 396.4791 | 993.9147 | 1390.3938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1390.3938 | 17 | 373.85 | 0 | 0 | 373.85 | 1390.5 | 1404 | 1384 | 1390.5 | 1390.5 | 1390.3938 | 0 | 29 | 07.00-07.15 | 50.01 |  | 1594 |  | 0 | 17
18 | 442.1015 | 0 | 0 | 0 | 0.75 | 31.25 | 474.1015 | 900.5435 | 1374.645 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1374.645 | 18 | 448.85 | 0 | 0 | 448.85 | 1374.75 | 1378 | 1373 | 1374.75 | 1374.75 | 1374.645 | 0 | 30 | 07.15-07.30 | 50.01 |  | 1607 |  | 0 | 18
19 | 440.3778 | 0 | 0 | 0 | 37 | 84 | 561.3778 | 812.5172 | 1373.8951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1373.8951 | 19 | 447.1 | 0 | 0 | 447.1 | 1374 | 1384 | 1369 | 1374 | 1374 | 1373.8951 | 0 | 31 | 07.30-07.45 | 50 |  | 1657 |  | 0 | 19
20 | 355.9171 | 40 | 63.8514 | 0 | 37 | 95.5 | 592.2684 | 885.1187 | 1477.3872 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1477.3872 | 20 | 361.35 | 40 | 67.5 | 468.85 | 1477.5 | 1506 | 1436 | 1477.5 | 1477.5 | 1477.3872 | 0 | 32 | 07.45-08.00 | 49.99 | 50.0025 | 1664 | 1630.5 | 40 | 20
21 | 348.7761 | 26 | 57.2297 | 0 | 59.75 | 94 | 585.7558 | 833.8858 | 1419.6416 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1419.6416 | 21 | 354.1 | 26 | 60.5 | 440.6 | 1419.75 | 1461 | 1384 | 1419.75 | 1419.75 | 1419.6416 | 0 | 33 | 08.00-08.15 | 49.96 |  | 1661 |  | 26 | 21
22 | 362.3194 | 26 | 70.9459 | 0 | 81 | 94 | 634.2653 | 672.1349 | 1306.4002 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1306.4002 | 22 | 367.85 | 26 | 75 | 468.85 | 1306.5 | 1353 | 1275 | 1306.5 | 1306.5 | 1306.4002 | 0 | 34 | 08.15-08.30 | 49.96 |  | 1674 |  | 26 | 22
23 | 354.4396 | 41.25 | 83.4797 | 0 | 55.75 | 94 | 628.9194 | 580.2383 | 1209.1576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1209.1576 | 23 | 359.85 | 41.25 | 88.25 | 489.35 | 1209.25 | 1237 | 1162 | 1209.25 | 1209.25 | 1209.1576 | 0 | 35 | 08.30-08.45 | 49.98 |  | 1645 |  | 41.25 | 23
24 | 387.1897 | 43 | 103.1081 | 0 | 18.75 | 94 | 646.0478 | 475.1165 | 1121.1644 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1121.1644 | 24 | 393.1 | 43 | 109 | 545.1 | 1121.25 | 1144 | 1099 | 1121.25 | 1121.25 | 1121.1644 | 0 | 36 | 08.45-09.00 | 50.01 | 49.9775 | 1666 | 1661.5 | 43 | 24
[34 empty] | 37 | 09.00-09.15 | 49.92 |  | 1665
TOTAL (in MWh) | 9079.8255 | 477 | 1155 | 369 | 431.75 | 1167.75 | 12680.3255 | 20051.8825 | 32732.208 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3333 | 0 | 2.3333 | 0.0023333 | 32734.5414 | TOTAL | 9218.425 | 477 | 1221 | 10916.425 | 32732 |  |  | 32734.5 | 32734.5 | 32732.208 | 2.3333 | 38 | 09.15-09.30 | 49.94 |  | 1671
[34 empty] | 39 | 09.30-09.45 | 49.99 |  | 1685
[34 empty] | 40 | 09.45-10.00 | 49.99 | 49.96 | 1672 | 1673.25
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9831; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.98 |  | 1655
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1685; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.98 |  | 1635
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1685; 5+6 P6 14: MW | MAX = | 1685 | [10 empty] | 43 | 10.30-10.45 | 49.98 |  | 1623
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1039; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1039 | [10 empty] | 44 | 10.45-11.00 | 49.97 | 49.9775 | 1623 | 1634
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 9079.8255; 5+6 P6 14: MWH; 5+6 P11 19: 23.705; 5+6 P11/1000 20: 9056.1205 | [12 empty] | 45 | 11.00-11.15 | 49.98 |  | 1591
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 1155; 5+6 P6 14: MWH; 5+6 P11 19: 1.98; 5+6 P11/1000 20: 1153.02 | [12 empty] | 46 | 11.15-11.30 | 49.97 |  | 1586
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 477; 5+6 P6 14: MWH; 5+6 P11 19: 1.142; 5+6 P11/1000 20: 475.858 | [12 empty] | 47 | 11.30-11.45 | 49.97 |  | 1584
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 27; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50 | 49.98 | 1563 | 1581
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 43; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.98 |  | 1553
|  |  | Max.generation of Malana at 100 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.98 |  | 1523
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 50.01 |  | 1515
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 369.8365; 5+6 P4 12: 248.037; 5+6 P11 19: 90.7983; 5+6 P11/1000 20: 90.5612 | [12 empty] | 51 | 12.30-12.45 | 50.01 | 49.995 | 1492 | 1520.75
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 42.5114; 5+6 P4 12: 63.5047; 5+6 P11 19: 21.2032; 5+6 P11/1000 20: 21.0136 | [12 empty] | 52 | 12.45-13.00 | 50.02 |  | 1454
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 327.3251; 5+6 P4 12: 184.5323; 5+6 P11 19: 69.595; 5+6 P11/1000 20: 69.5476 | [12 empty] | 53 | 13.00-13.15 | 49.97 |  | 1440
[34 empty] | 55 | 13.30-13.45 | 49.95 |  | 1461
[34 empty] | 56 | 13.45-14.00 | 49.89 | 49.9575 | 1439 | 1448.5
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 49.93 |  | 1447
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.96 |  | 1447
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2024-04-11 | [12 empty] | 59 | 14.30-14.45 | 50 |  | 1446
[34 empty] | 60 | 14.45-15.00 | 50.01 | 49.975 | 1450 | 1447.5 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 50 |  | 1438
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 50.01 |  | 1403 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.99 |  | 1401
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.92 | 49.98 | 1396 | 1409.5
1 | 132/66 kV T/F bank-1 at s/stn Kotla | 28 | 0 | 28 | 4 | 56 | 7: 5; 8: 1; 5+6 P1 9: 0; 5+6 P2 10: 5; 5+6 P3 11: 0.023333; 5+6 P4 12: Due to earth fault. | [12 empty] | 65 | 16.00-16.15 | 50.01 |  | 1404
2 | [33 empty] | 66 | 16.15-16.30 | 50 |  | 1384 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 50 |  | 1390 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 50 | 50.0025 | 1384 | 1390.5 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50 |  | 1374 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50.01 |  | 1374 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.01 |  | 1378 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 49.95 | 49.9925 | 1373 | 1374.75 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 49.97 |  | 1370 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 49.95 |  | 1373 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 49.99 |  | 1369 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 49.95 | 49.965 | 1384 | 1374 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 49.96 |  | 1436 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 50.01 |  | 1488 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 50.02 |  | 1506 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 50 | 49.9975 | 1480 | 1477.5 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.03 |  | 1461 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50.02 |  | 1431 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.98 |  | 1403 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 50.01 | 50.01 | 1384 | 1419.75 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 49.98 |  | 1353 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 50 |  | 1319 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 49.96 |  | 1279
[34 empty] | 88 | 21.45-22.00 | 50 | 49.985 | 1275 | 1306.5
[34 empty] | 89 | 22.00-22.15 | 49.97 |  | 1230
[34 empty] | 90 | 22.15-22.30 | 49.99 |  | 1237
[34 empty] | 91 | 22.30-22.45 | 49.95 |  | 1208
[34 empty] | 92 | 22.45-23.00 | 49.92 | 49.9575 | 1162 | 1209.25
[34 empty] | 93 | 23.00-23.15 | 49.94 |  | 1144
[34 empty] | 94 | 23.15-23.30 | 49.97 |  | 1133
[34 empty] | 95 | 23.30-23.45 | 49.99 |  | 1109
[34 empty] | 96 | 23.45-24.00 | 49.98 | 49.97 | 1099 | 1121.25
[35 empty] | Total | 49.9831 | 49.9831 | 32732 | 32732
[35 empty] | max | 1685 |  | avg. max | 1673.25
[35 empty] | min | 1039 |  | avg. min | 1048.25
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.