## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2024-04-12
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2024-04-13
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 33653 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 424 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 922.6 | MWh | MALANA-II | 482 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1790 | [6 empty] | HOLI BAJOLI | 1254 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.91 |  | 1074
|  | Month/Day :- |  |  |  |  | 2024-04-12 | [10 empty] | Min.DEMAND(MW) |  | 1022 |  | ACTUAL OWN GENERATION |  |  | 8787.98 | MWh | SWARA KUDDU | 401.152 | MWh |  |  |  |  | 2 | 00.15-00.30 | 49.99 |  | 1078
[34 empty] | 3 | 00.30-00.45 | 49.96 |  | 1078 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.98 | 49.96 | 1064 | 1073.5 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Distribution constraints (in MW) | Planned maintenance in distribution system (in MW) | Tranmission constraints | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.98 |  | 1079 |  |  |  | MALANA-2 | 25 | 25 | 25 | 25 | 32.75 | 100 | 99.25 | 96.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.5 | 35 | 482.75
[34 empty] | 6 | 01.15-01.30 | 49.99 |  | 1079 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 0.5 | 73.5 | 70.5 | 9.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.25 | 59.75 | 72.25 | 60.25 | 37 | 402.25
[34 empty] | 7 | 01.30-01.45 | 49.99 |  | 1069
[34 empty] | 8 | 01.45-02:00 | 49.99 | 49.9875 | 1066 | 1073.25
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.97 |  | 1052 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.96 |  | 1031
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.96 |  | 1023
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.98 | 49.9675 | 1022 | 1032
1 | 376.5735 | 42.8484 | 104.8352 | 25 | 0 | 33.25 | 582.5071 | 490.8175 | 1073.3246 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1073.3246 | 1 | 383.0417 | 43 | 104 | 530.0417 | 1073.5 | 1078 | 1064 | 1073.5 | 1073.5 | 1073.3246 | 0 | 13 | 03.00-03.15 | 50 |  | 1042 |  | 43 | 1
2 | 340.9357 | 14.4489 | 68.2941 | 25 | 0 | 31 | 479.6786 | 593.396 | 1073.0746 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1073.0746 | 2 | 346.7917 | 14.5 | 67.75 | 429.0417 | 1073.25 | 1079 | 1066 | 1073.25 | 1073.25 | 1073.0746 | 0 | 14 | 03.15-03.30 | 50.01 |  | 1051 |  | 14.5 | 2
3 | 325.5745 | 13.9506 | 5.0402 | 25 | 0 | 31 | 400.5653 | 621.4347 | 1022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1022 | 3 | 331.1667 | 14 | 5 | 350.1667 | 1032 | 1052 | 1022 | 1022 | 1022 | 1022 | 0 | 15 | 03.30-03.45 | 50.02 |  | 1037 |  | 14 | 3
4 | 359.8606 | 13.9506 | 0 | 25 | 0 | 31 | 429.8112 | 616.0178 | 1045.8291 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1045.8291 | 4 | 366.0417 | 14 | 0 | 380.0417 | 1046 | 1054 | 1037 | 1046 | 1046 | 1045.8291 | 0 | 16 | 03.45-04.00 | 50.02 | 50.0125 | 1054 | 1046 | 14 | 4
5 | 288.806 | 13.9506 | 0 | 32.75 | 0 | 31.5 | 367.0067 | 717.816 | 1084.8227 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1084.8227 | 5 | 293.7667 | 14 | 0 | 307.7667 | 1085 | 1126 | 1048 | 1085 | 1085 | 1084.8227 | 0 | 17 | 04.00-04.15 | 49.99 |  | 1048 |  | 14 | 5
6 | 396.7765 | 38.8625 | 40.8252 | 100 | 0.5 | 59.75 | 636.7143 | 647.8258 | 1284.5401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1284.5401 | 6 | 403.5917 | 39 | 40.5 | 483.0917 | 1284.75 | 1434 | 1164 | 1284.75 | 1284.75 | 1284.5401 | 0 | 18 | 04.15-04.30 | 50 |  | 1076 |  | 39 | 6
7 | 524.0897 | 40.1081 | 110.1273 | 99.25 | 73.5 | 57 | 904.0752 | 743.4056 | 1647.4807 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1647.4807 | 7 | 533.0917 | 40.25 | 109.25 | 682.5917 | 1647.75 | 1725 | 1530 | 1647.75 | 1647.75 | 1647.4807 | 0 | 19 | 04.30-04.45 | 50 |  | 1090 |  | 40.25 | 7
8 | 440.4513 | 39.859 | 71.8222 | 96.25 | 70.5 | 28.5 | 747.3825 | 1042.6175 | 1790 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1790 | 8 | 448.0167 | 40 | 71.25 | 559.2667 | 1774.5 | 1790 | 1753 | 1790 | 1790 | 1790 | 0 | 20 | 04.45-05.00 | 50.01 | 50 | 1126 | 1085 | 40 | 8
9 | 333.1199 | 15.9436 | 4.0321 | 0 | 9.25 | 29 | 391.3456 | 1339.8714 | 1731.2171 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1731.2171 | 9 | 338.8417 | 16 | 4 | 358.8417 | 1731.5 | 1749 | 1711 | 1731.5 | 1731.5 | 1731.2171 | 0 | 21 | 05.00-05.15 | 50.01 |  | 1164 |  | 16 | 9
10 | 345.3597 | 0 | 0 | 0 | 0 | 29.75 | 375.1097 | 1357.1072 | 1732.2169 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1732.2169 | 10 | 351.2917 | 0 | 0 | 351.2917 | 1732.5 | 1749 | 1708 | 1732.5 | 1732.5 | 1732.2169 | 0 | 22 | 05.15-05.30 | 49.99 |  | 1232 |  | 0 | 10
11 | 357.6486 | 0 | 0 | 0 | 0 | 29.75 | 387.3986 | 1299.0758 | 1686.4744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1686.4744 | 11 | 363.7917 | 0 | 0 | 363.7917 | 1686.75 | 1710 | 1661 | 1686.75 | 1686.75 | 1686.4744 | 0 | 23 | 05.30-05.45 | 49.98 |  | 1309 |  | 0 | 11
12 | 327.4178 | 0 | 0 | 0 | 0 | 29 | 356.4178 | 1256.5685 | 1612.9864 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1612.9864 | 12 | 333.0417 | 0 | 0 | 333.0417 | 1613.25 | 1629 | 1603 | 1613.25 | 1613.25 | 1612.9864 | 0 | 24 | 05.45-06.00 | 49.96 | 49.985 | 1434 | 1284.75 | 0 | 12
13 | 328.8925 | 0 | 0 | 0 | 0 | 30 | 358.8925 | 1171.8573 | 1530.7498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1530.7498 | 13 | 334.5417 | 0 | 0 | 334.5417 | 1531 | 1568 | 1438 | 1531 | 1531 | 1530.7498 | 0 | 25 | 06.00-06.15 | 49.92 |  | 1530 |  | 0 | 13
14 | 293.8937 | 0 | 0 | 0 | 0 | 31 | 324.8937 | 1102.1231 | 1427.0168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1427.0168 | 14 | 298.9417 | 0 | 0 | 298.9417 | 1427.25 | 1443 | 1412 | 1427.25 | 1427.25 | 1427.0168 | 0 | 26 | 06.15-06.30 | 49.87 |  | 1635 |  | 0 | 14
15 | 320.2165 | 0 | 0 | 0 | 0 | 32 | 352.2165 | 1111.5442 | 1463.7608 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1463.7608 | 15 | 325.7167 | 0 | 0 | 325.7167 | 1464 | 1472 | 1455 | 1464 | 1464 | 1463.7608 | 0 | 27 | 06.30-06.45 | 50.03 |  | 1701 |  | 0 | 15
16 | 300.7017 | 0 | 0 | 0 | 0 | 33 | 333.7017 | 1128.3093 | 1462.0111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1462.0111 | 16 | 305.8667 | 0 | 0 | 305.8667 | 1462.25 | 1477 | 1451 | 1462.25 | 1462.25 | 1462.0111 | 0 | 28 | 06.45-07.00 | 50.04 | 49.965 | 1725 | 1647.75 | 0 | 16
17 | 304.1672 | 0 | 0 | 0 | 0 | 33.25 | 337.4172 | 1132.0926 | 1469.5098 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1469.5098 | 17 | 309.3917 | 0 | 0 | 309.3917 | 1469.75 | 1475 | 1462 | 1469.75 | 1469.75 | 1469.5098 | 0 | 29 | 07.00-07.15 | 50.02 |  | 1753 |  | 0 | 17
18 | 343.7375 | 0 | 0 | 0 | 0 | 36 | 379.7375 | 1075.0247 | 1454.7622 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1454.7622 | 18 | 349.6417 | 0 | 0 | 349.6417 | 1455 | 1459 | 1445 | 1455 | 1455 | 1454.7622 | 0 | 30 | 07.15-07.30 | 50.03 |  | 1777 |  | 0 | 18
19 | 377.9007 | 0.49824 | 0 | 0 | 0 | 85 | 463.399 | 969.1169 | 1432.5159 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1432.5159 | 19 | 384.3917 | 0.5 | 0 | 384.8917 | 1432.75 | 1452 | 1403 | 1432.75 | 1432.75 | 1432.5159 | 0 | 31 | 07.30-07.45 | 50 |  | 1790 |  | 0.5 | 19
20 | 420.6662 | 28.8978 | 114.1595 | 0 | 19.25 | 85 | 667.9734 | 838.5304 | 1506.5038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1506.5038 | 20 | 427.8917 | 29 | 113.25 | 570.1417 | 1506.75 | 1536 | 1475 | 1506.75 | 1506.75 | 1506.5038 | 0 | 32 | 07.45-08.00 | 50.02 | 50.0175 | 1778 | 1774.5 | 29 | 20
21 | 431.7262 | 29.1469 | 212.9465 | 0 | 59.75 | 85 | 818.5696 | 598.9488 | 1417.5183 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1417.5183 | 21 | 439.1417 | 29.25 | 211.25 | 679.6417 | 1417.75 | 1456 | 1382 | 1417.75 | 1417.75 | 1417.5183 | 0 | 33 | 08.00-08.15 | 49.97 |  | 1749 |  | 29.25 | 21
22 | 397.3172 | 43.8449 | 47.1254 | 0 | 72.25 | 85 | 645.5375 | 675.9965 | 1321.534 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1321.534 | 22 | 404.1417 | 44 | 46.75 | 494.8917 | 1321.75 | 1368 | 1280 | 1321.75 | 1321.75 | 1321.534 | 0 | 34 | 08.15-08.30 | 49.96 |  | 1738 |  | 44 | 22
23 | 407.8857 | 43.8449 | 43.5973 | 19.5 | 60.25 | 84.25 | 659.3279 | 573.7206 | 1233.0485 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1233.0485 | 23 | 414.8917 | 44 | 43.25 | 502.1417 | 1233.25 | 1256 | 1204 | 1233.25 | 1233.25 | 1233.0485 | 0 | 35 | 08.30-08.45 | 50.03 |  | 1728 |  | 44 | 23
24 | 444.2609 | 43.8449 | 99.795 | 35 | 37 | 85.75 | 745.6508 | 404.9111 | 1150.562 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1150.562 | 24 | 451.8917 | 44 | 99 | 594.8917 | 1150.75 | 1169 | 1133 | 1150.75 | 1150.75 | 1150.562 | 0 | 36 | 08.45-09.00 | 50.06 | 50.005 | 1711 | 1731.5 | 44 | 24
[34 empty] | 37 | 09.00-09.15 | 49.97 |  | 1727
TOTAL (in MWh) | 8787.98 | 424 | 922.6 | 482.75 | 402.25 | 1125.75 | 12145.33 | 21508.1295 | 33653.4595 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33653.4595 | TOTAL | 8938.925 | 425.5 | 915.25 | 10279.675 | 33653 |  |  | 33658.5 | 33658.5 | 33653.4595 | 0 | 38 | 09.15-09.30 | 50.01 |  | 1746
[34 empty] | 39 | 09.30-09.45 | 50.02 |  | 1749
[34 empty] | 40 | 09.45-10.00 | 50.05 | 50.0125 | 1708 | 1732.5
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.997; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.04 |  | 1710
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1790; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.03 |  | 1698
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1790; 5+6 P6 14: MW | MAX = | 1790 | [10 empty] | 43 | 10.30-10.45 | 50.06 |  | 1678
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1022; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1022 | [10 empty] | 44 | 10.45-11.00 | 50.09 | 50.055 | 1661 | 1686.75
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 8787.98; 5+6 P6 14: MWH; 5+6 P11 19: 21.2986; 5+6 P11/1000 20: 8766.6814 | [12 empty] | 45 | 11.00-11.15 | 50.05 |  | 1629
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 922.6; 5+6 P6 14: MWH; 5+6 P11 19: 1.73; 5+6 P11/1000 20: 920.87 | [12 empty] | 46 | 11.15-11.30 | 50.04 |  | 1617
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 424; 5+6 P6 14: MWH; 5+6 P11 19: 0.992; 5+6 P11/1000 20: 423.008 | [12 empty] | 47 | 11.30-11.45 | 50 |  | 1603
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 14; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50 | 50.0225 | 1604 | 1613.25
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.99 |  | 1568
|  |  | Max.generation of Malana at 2200 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.95 |  | 1543
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 49.94 |  | 1520
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 334.546; 5+6 P4 12: 378.5592; 5+6 P11 19: 87.8798; 5+6 P11/1000 20: 87.6668 | [12 empty] | 51 | 12.30-12.45 | 50 | 49.97 | 1493 | 1531
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 47.3083; 5+6 P4 12: 107.8531; 5+6 P11 19: 19.8106; 5+6 P11/1000 20: 19.6404 | [12 empty] | 52 | 12.45-13.00 | 50.01 |  | 1438
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 287.2378; 5+6 P4 12: 270.7061; 5+6 P11 19: 68.0692; 5+6 P11/1000 20: 68.0264 | [12 empty] | 53 | 13.00-13.15 | 49.99 |  | 1416
[34 empty] | 55 | 13.30-13.45 | 49.97 |  | 1412
[34 empty] | 56 | 13.45-14.00 | 49.96 | 49.9825 | 1443 | 1427.25
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 49.97 |  | 1455
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.93 |  | 1465
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2024-04-12 | [12 empty] | 59 | 14.30-14.45 | 49.95 |  | 1472
[34 empty] | 60 | 14.45-15.00 | 49.98 | 49.9575 | 1464 | 1464 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 50.03 |  | 1457
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 49.97 |  | 1451 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.96 |  | 1464
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.96 | 49.98 | 1477 | 1462.25
1 | [33 empty] | 65 | 16.00-16.15 | 50.01 |  | 1473 | bar: 5+6 P12 21
2 | [33 empty] | 66 | 16.15-16.30 | 49.99 |  | 1462 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 49.99 |  | 1475 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 49.97 | 49.99 | 1469 | 1469.75 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50.05 |  | 1458 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50.03 |  | 1459 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.05 |  | 1458 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50.05 | 50.045 | 1445 | 1455 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.1 |  | 1452 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 49.98 |  | 1435 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 49.96 |  | 1403 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50.02 | 50.015 | 1441 | 1432.75 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 50 |  | 1475 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 49.99 |  | 1520 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 50 |  | 1536 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 50.03 | 50.005 | 1496 | 1506.75 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.01 |  | 1456 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 49.98 |  | 1426 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.92 |  | 1407 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 49.99 | 49.975 | 1382 | 1417.75 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 50 |  | 1368 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 50.03 |  | 1346 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 50.02 |  | 1293
[34 empty] | 88 | 21.45-22.00 | 50.05 | 50.025 | 1280 | 1321.75
[34 empty] | 89 | 22.00-22.15 | 50.03 |  | 1256
[34 empty] | 90 | 22.15-22.30 | 50.03 |  | 1242
[34 empty] | 91 | 22.30-22.45 | 50.01 |  | 1231
[34 empty] | 92 | 22.45-23.00 | 49.99 | 50.015 | 1204 | 1233.25
[34 empty] | 93 | 23.00-23.15 | 49.98 |  | 1169
[34 empty] | 94 | 23.15-23.30 | 49.96 |  | 1148
[34 empty] | 95 | 23.30-23.45 | 49.98 |  | 1133
[34 empty] | 96 | 23.45-24.00 | 49.99 | 49.9775 | 1153 | 1150.75
[35 empty] | Total | 49.997 | 49.997 | 33653 | 33653
[35 empty] | max | 1790 |  | avg. max | 1774.5
[35 empty] | min | 1022 |  | avg. min | 1032
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.