## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2024-04-18
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2024-04-19
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 31944 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 593 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 1009.2 | MWh | MALANA-II | 619 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1662 | [6 empty] | HOLI BAJOLI | 1954.631 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.95 |  | 1093
|  | Month/Day :- |  |  |  |  | 2024-04-18 | [10 empty] | Min.DEMAND(MW) |  | 1027 |  | ACTUAL OWN GENERATION |  |  | 11606.2365 | MWh | SWARA KUDDU | 520.981 | MWh |  |  |  |  | 2 | 00.15-00.30 | 49.92 |  | 1088
[34 empty] | 3 | 00.30-00.45 | 50.01 |  | 1085 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.02 | 49.975 | 1086 | 1088 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Distribution constraints (in MW) | Planned maintenance in distribution system (in MW) | Tranmission constraints | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50.03 |  | 1046 |  |  |  | MALANA-2 | 30 | 30 | 30 | 30 | 30.75 | 98.75 | 99.5 | 99.75 | 6.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25 | 27.25 | 28 | 28 | 28 | 28 | 28 | 623
[34 empty] | 6 | 01.15-01.30 | 50.03 |  | 1031 |  |  |  | SWARA KUDDU | 38 | 0.5 | 0 | 0 | 0 | 0 | 0 | 20.5 | 81 | 59.5 | 37 | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 9.75 | 37 | 37 | 37.5 | 81 | 81 | 520
[34 empty] | 7 | 01.30-01.45 | 50.03 |  | 1050
[34 empty] | 8 | 01.45-02:00 | 50.03 | 50.03 | 1039 | 1041.5
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.03 |  | 1035 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 50.03 |  | 1051
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.01 |  | 1042
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.02 | 50.0225 | 1040 | 1042
1 | 581.9439 | 44.0186 | 196.3635 | 30 | 38 | 103 | 993.326 | 94.1804 | 1087.5064 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1087.5064 | 1 | 591.1667 | 44 | 199 | 834.1667 | 1088 | 1093 | 1085 | 1088 | 1088 | 1087.5064 | 0 | 13 | 03.00-03.15 | 50.01 |  | 1029 |  | 44 | 1
2 | 489.4104 | 44.0186 | 68.3325 | 30 | 0.5 | 83.25 | 715.5115 | 325.516 | 1041.0275 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1041.0275 | 2 | 497.1667 | 44 | 69.25 | 610.4167 | 1041.5 | 1050 | 1031 | 1041.5 | 1041.5 | 1041.0275 | 0 | 14 | 03.15-03.30 | 50.01 |  | 1034 |  | 44 | 2
3 | 433.1766 | 44.0186 | 0 | 30 | 0 | 83 | 590.1951 | 451.3321 | 1041.5272 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1041.5272 | 3 | 440.0417 | 44 | 0 | 484.0417 | 1042 | 1051 | 1035 | 1042 | 1042 | 1041.5272 | 0 | 15 | 03.30-03.45 | 50.02 |  | 1027 |  | 44 | 3
4 | 440.6826 | 44.0186 | 0 | 30 | 0 | 92 | 606.7012 | 420.2988 | 1027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1027 | 4 | 447.6667 | 44 | 0 | 491.6667 | 1030.75 | 1034 | 1027 | 1027 | 1027 | 1027 | 0 | 16 | 03.45-04.00 | 50.02 | 50.015 | 1033 | 1030.75 | 44 | 4
5 | 439.9197 | 44.0186 | 0 | 30.75 | 0 | 93.5 | 608.1883 | 467.3235 | 1075.5118 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1075.5118 | 5 | 446.8917 | 44 | 0 | 490.8917 | 1076 | 1092 | 1046 | 1076 | 1076 | 1075.5118 | 0 | 17 | 04.00-04.15 | 50.02 |  | 1046 |  | 44 | 5
6 | 506.1944 | 44.0186 | 23.682 | 98.75 | 0 | 94.75 | 767.395 | 486.7857 | 1254.1807 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1254.1807 | 6 | 514.2167 | 44 | 24 | 582.2167 | 1254.75 | 1394 | 1133 | 1254.75 | 1254.75 | 1254.1807 | 0 | 18 | 04.15-04.30 | 49.98 |  | 1081 |  | 44 | 6
7 | 572.8874 | 44.0186 | 73.7597 | 99.5 | 0 | 92.75 | 882.9156 | 702.3648 | 1585.2804 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1585.2804 | 7 | 581.9667 | 44 | 74.75 | 700.7167 | 1586 | 1644 | 1496 | 1586 | 1586 | 1585.2804 | 0 | 19 | 04.30-04.45 | 49.94 |  | 1085 |  | 44 | 7
8 | 558.5398 | 43.7685 | 120.137 | 99.75 | 20.5 | 85.5 | 928.1952 | 733.8048 | 1662 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1662 | 8 | 567.3917 | 43.75 | 121.75 | 732.8917 | 1643.75 | 1662 | 1622 | 1662 | 1662 | 1662 | 0 | 20 | 04.45-05.00 | 49.9 | 49.96 | 1092 | 1076 | 43.75 | 8
9 | 538.4334 | 0.50021 | 14.5546 | 6.75 | 81 | 80 | 721.2382 | 861.7932 | 1583.0314 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1583.0314 | 9 | 546.9667 | 0.5 | 14.75 | 562.2167 | 1583.75 | 1624 | 1553 | 1583.75 | 1583.75 | 1583.0314 | 0 | 21 | 05.00-05.15 | 49.93 |  | 1133 |  | 0.5 | 9
10 | 517.2196 | 0 | 0 | 0 | 59.5 | 79.25 | 655.9696 | 906.3212 | 1562.2908 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1562.2908 | 10 | 525.4167 | 0 | 0 | 525.4167 | 1563 | 1572 | 1550 | 1563 | 1563 | 1562.2908 | 0 | 22 | 05.15-05.30 | 49.98 |  | 1207 |  | 0 | 10
11 | 460.6167 | 0 | 0 | 0 | 37 | 79 | 576.6167 | 951.9395 | 1528.5562 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1528.5562 | 11 | 467.9167 | 0 | 0 | 467.9167 | 1529.25 | 1541 | 1513 | 1529.25 | 1529.25 | 1528.5562 | 0 | 23 | 05.30-05.45 | 50 |  | 1285 |  | 0 | 11
12 | 438.7138 | 0 | 0 | 0 | 0.25 | 79.25 | 518.2138 | 986.3532 | 1504.567 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1504.567 | 12 | 445.6667 | 0 | 0 | 445.6667 | 1505.25 | 1513 | 1499 | 1505.25 | 1505.25 | 1504.567 | 0 | 24 | 05.45-06.00 | 50 | 49.9775 | 1394 | 1254.75 | 0 | 12
13 | 463.816 | 0 | 0 | 0 | 0 | 67.5 | 531.316 | 899.5345 | 1430.8505 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1430.8505 | 13 | 471.1667 | 0 | 0 | 471.1667 | 1431.5 | 1465 | 1355 | 1431.5 | 1431.5 | 1430.8505 | 0 | 25 | 06.00-06.15 | 50 |  | 1496 |  | 0 | 13
14 | 395.5479 | 0 | 0 | 0 | 0 | 60 | 455.5479 | 892.3402 | 1347.8882 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1347.8882 | 14 | 401.8167 | 0 | 0 | 401.8167 | 1348.5 | 1351 | 1334 | 1348.5 | 1348.5 | 1347.8882 | 0 | 26 | 06.15-06.30 | 49.93 |  | 1581 |  | 0 | 14
15 | 429.7804 | 0 | 0 | 0 | 0 | 61 | 490.7804 | 873.1005 | 1363.8809 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1363.8809 | 15 | 436.5917 | 0 | 0 | 436.5917 | 1364.5 | 1376 | 1354 | 1364.5 | 1364.5 | 1363.8809 | 0 | 27 | 06.30-06.45 | 49.99 |  | 1623 |  | 0 | 15
16 | 456.999 | 0 | 0 | 0 | 0 | 62 | 518.999 | 863.3735 | 1382.3725 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1382.3725 | 16 | 464.2417 | 0 | 0 | 464.2417 | 1383 | 1390 | 1375 | 1383 | 1383 | 1382.3725 | 0 | 28 | 06.45-07.00 | 50.01 | 49.9825 | 1644 | 1586 | 0 | 16
17 | 529.1309 | 0 | 0 | 0 | 0 | 62.5 | 591.6309 | 821.7276 | 1413.3584 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1413.3584 | 17 | 537.5167 | 0 | 0 | 537.5167 | 1414 | 1431 | 1402 | 1414 | 1414 | 1413.3584 | 0 | 29 | 07.00-07.15 | 50.01 |  | 1640 |  | 0 | 17
18 | 484.5868 | 0 | 7.894 | 0.25 | 0 | 63.5 | 556.2308 | 813.8972 | 1370.1281 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1370.1281 | 18 | 492.2667 | 0 | 8 | 500.2667 | 1370.75 | 1379 | 1361 | 1370.75 | 1370.75 | 1370.1281 | 0 | 30 | 07.15-07.30 | 50.02 |  | 1662 |  | 0 | 18
19 | 481.3875 | 21.0089 | 39.4701 | 27.25 | 9.75 | 84.5 | 663.3664 | 685.2714 | 1348.6378 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1348.6378 | 19 | 489.0167 | 21 | 40 | 550.0167 | 1349.25 | 1356 | 1342 | 1349.25 | 1349.25 | 1348.6378 | 0 | 31 | 07.30-07.45 | 50.03 |  | 1651 |  | 21 | 19
20 | 453.8243 | 43.5183 | 106.5692 | 28 | 37 | 85.75 | 754.6618 | 636.7066 | 1391.3684 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1391.3684 | 20 | 461.0167 | 43.5 | 108 | 612.5167 | 1392 | 1415 | 1349 | 1392 | 1392 | 1391.3684 | 0 | 32 | 07.45-08.00 | 50.04 | 50.025 | 1622 | 1643.75 | 43.5 | 20
21 | 464.6527 | 44.0186 | 128.2777 | 28 | 37 | 86.5 | 788.449 | 555.6909 | 1344.1399 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1344.1399 | 21 | 472.0167 | 44 | 130 | 646.0167 | 1344.75 | 1386 | 1309 | 1344.75 | 1344.75 | 1344.1399 | 0 | 33 | 08.00-08.15 | 49.92 |  | 1624 |  | 44 | 21
22 | 486.8017 | 44.0186 | 111.2562 | 28 | 37.5 | 95 | 802.5765 | 462.8491 | 1265.4256 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1265.4256 | 22 | 494.5167 | 44 | 112.75 | 651.2667 | 1266 | 1299 | 1233 | 1266 | 1266 | 1265.4256 | 0 | 34 | 08.15-08.30 | 49.96 |  | 1578 |  | 44 | 22
23 | 493.2003 | 44.0186 | 59.2051 | 28 | 81 | 103.75 | 809.1739 | 386.5333 | 1195.7072 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1195.7072 | 23 | 501.0167 | 44 | 60 | 605.0167 | 1196.25 | 1209 | 1186 | 1196.25 | 1196.25 | 1195.7072 | 0 | 35 | 08.30-08.45 | 49.98 |  | 1580 |  | 44 | 23
24 | 488.7705 | 44.0186 | 59.6985 | 28 | 81 | 104 | 805.4875 | 333.4955 | 1138.983 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.983 | 24 | 496.5167 | 44 | 60.5 | 601.0167 | 1139.5 | 1157 | 1123 | 1139.5 | 1139.5 | 1138.983 | 0 | 36 | 08.45-09.00 | 49.96 | 49.955 | 1553 | 1583.75 | 44 | 24
[34 empty] | 37 | 09.00-09.15 | 49.92 |  | 1570
TOTAL (in MWh) | 11606.2365 | 593 | 1009.2 | 623 | 520 | 1981.25 | 16332.6865 | 15612.5335 | 31945.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31945.22 | TOTAL | 11790.175 | 592.75 | 1022.75 | 13405.675 | 31944 |  |  | 31958.5 | 31958.5 | 31945.22 | 0 | 38 | 09.15-09.30 | 49.95 |  | 1572
[34 empty] | 39 | 09.30-09.45 | 49.81 |  | 1560
[34 empty] | 40 | 09.45-10.00 | 49.98 | 49.915 | 1550 | 1563
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 50.0092; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.07 |  | 1526
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1662; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.01 |  | 1541
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1662; 5+6 P6 14: MW | MAX = | 1662 | [10 empty] | 43 | 10.30-10.45 | 50.04 |  | 1537
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1027; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1027 | [10 empty] | 44 | 10.45-11.00 | 50.04 | 50.04 | 1513 | 1529.25
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 11606.2365; 5+6 P6 14: MWH; 5+6 P11 19: 24.934; 5+6 P11/1000 20: 11581.3025 | [12 empty] | 45 | 11.00-11.15 | 50.12 |  | 1509
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 1009.2; 5+6 P6 14: MWH; 5+6 P11 19: 2.22; 5+6 P11/1000 20: 1006.98 | [12 empty] | 46 | 11.15-11.30 | 50.12 |  | 1499
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 593; 5+6 P6 14: MWH; 5+6 P11 19: 1.8; 5+6 P11/1000 20: 591.2 | [12 empty] | 47 | 11.30-11.45 | 50.13 |  | 1513
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.06 | 50.1075 | 1500 | 1505.25
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.05 |  | 1459
|  |  | Max.generation of Malana at 100 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50 |  | 1465
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 50 |  | 1413
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 443.2543; 5+6 P4 12: 448.9536; 5+6 P11 19: 116.0624; 5+6 P11/1000 20: 115.813 | [12 empty] | 51 | 12.30-12.45 | 49.97 | 50.005 | 1389 | 1431.5
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 62.6331; 5+6 P4 12: 90.6126; 5+6 P11 19: 28.2131; 5+6 P11/1000 20: 28.0062 | [12 empty] | 52 | 12.45-13.00 | 50.05 |  | 1355
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 380.6212; 5+6 P4 12: 358.341; 5+6 P11 19: 87.8492; 5+6 P11/1000 20: 87.8068 | [12 empty] | 53 | 13.00-13.15 | 49.9 |  | 1354
[34 empty] | 55 | 13.30-13.45 | 49.95 |  | 1334
[34 empty] | 56 | 13.45-14.00 | 49.96 | 49.965 | 1351 | 1348.5
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 50 |  | 1367
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.87 |  | 1361
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2024-04-18 | [12 empty] | 59 | 14.30-14.45 | 49.98 |  | 1354
[34 empty] | 60 | 14.45-15.00 | 49.96 | 49.9525 | 1376 | 1364.5 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 50 |  | 1378
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 49.96 |  | 1390 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.94 |  | 1375
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.98 | 49.97 | 1389 | 1383
1 | [33 empty] | 65 | 16.00-16.15 | 50.06 |  | 1431 | bar: 5+6 P12 21
2 | [33 empty] | 66 | 16.15-16.30 | 50 |  | 1410 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 49.95 |  | 1413 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 50.01 | 50.005 | 1402 | 1414 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50.03 |  | 1361 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50.04 |  | 1375 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.08 |  | 1379 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50.09 | 50.06 | 1368 | 1370.75 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.26 |  | 1356 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.08 |  | 1353 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.06 |  | 1342 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50.03 | 50.1075 | 1346 | 1349.25 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 50.02 |  | 1349 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 50.04 |  | 1403 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 50.05 |  | 1415 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 50.07 | 50.045 | 1401 | 1392 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.06 |  | 1386 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50 |  | 1356 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.98 |  | 1328 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 49.99 | 50.0075 | 1309 | 1344.75 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 49.98 |  | 1299 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 50.03 |  | 1279 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 50.05 |  | 1253
[34 empty] | 88 | 21.45-22.00 | 50.08 | 50.035 | 1233 | 1266
[34 empty] | 89 | 22.00-22.15 | 50.07 |  | 1201
[34 empty] | 90 | 22.15-22.30 | 50.05 |  | 1209
[34 empty] | 91 | 22.30-22.45 | 50.03 |  | 1189
[34 empty] | 92 | 22.45-23.00 | 50.01 | 50.04 | 1186 | 1196.25
[34 empty] | 93 | 23.00-23.15 | 50.01 |  | 1157
[34 empty] | 94 | 23.15-23.30 | 50.01 |  | 1136
[34 empty] | 95 | 23.30-23.45 | 50.03 |  | 1142
[34 empty] | 96 | 23.45-24.00 | 50.04 | 50.0225 | 1123 | 1139.5
[35 empty] | Total | 50.0092 | 50.0092 | 31944 | 31944
[35 empty] | max | 1662 |  | avg. max | 1643.75
[35 empty] | min | 1027 |  | avg. min | 1030.75
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.