## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2024-04-20
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2024-04-21
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 30830 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 586 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 1422 | MWh | MALANA-II | 480 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1565 | [6 empty] | HOLI BAJOLI | 1900.195 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50.02 |  | 1012
|  | Month/Day :- |  |  |  |  | 2024-04-20 | [10 empty] | Min.DEMAND(MW) |  | 944 |  | ACTUAL OWN GENERATION |  |  | 12067.154 | MWh | SWARA KUDDU | 665 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.01 |  | 1007
[34 empty] | 3 | 00.30-00.45 | 50.01 |  | 1001 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.97 | 50.0025 | 978 | 999.5 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Distribution constraints (in MW) | Planned maintenance in distribution system (in MW) | Tranmission constraints | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.98 |  | 982 |  |  |  | MALANA-2 | 25 | 25 | 25 | 25 | 28.25 | 97.5 | 99.75 | 99.5 | 3.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 25 | 25 | 479.25
[34 empty] | 6 | 01.15-01.30 | 49.98 |  | 980 |  |  |  | SWARA KUDDU | 37.75 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 81 | 64 | 37 | 37 | 0.25 | 0 | 0 | 0 | 1 | 37 | 37 | 37 | 37.75 | 74 | 81 | 81 | 662.75
[34 empty] | 7 | 01.30-01.45 | 49.95 |  | 965
[34 empty] | 8 | 01.45-02:00 | 49.98 | 49.9725 | 977 | 976
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.01 |  | 971 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.99 |  | 967
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.99 |  | 963
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.97 | 49.99 | 979 | 970
1 | 583.6216 | 44.0564 | 198.3482 | 25 | 37.75 | 105 | 993.7761 | 5.7644 | 999.5405 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 999.5405 | 1 | 589.9583 | 44 | 196.5 | 830.4583 | 999.5 | 1012 | 978 | 999.5 | 999.5 | 999.5405 | 0 | 13 | 03.00-03.15 | 49.94 |  | 969 |  | 44 | 1
2 | 535.1479 | 32.2913 | 221.0598 | 25 | 0 | 105 | 918.499 | 57.5406 | 976.0396 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 976.0396 | 2 | 540.9583 | 32.25 | 219 | 792.2083 | 976 | 982 | 965 | 976 | 976 | 976.0396 | 0 | 14 | 03.15-03.30 | 49.99 |  | 968 |  | 32.25 | 2
3 | 542.1964 | 32.041 | 115.0722 | 25 | 0 | 95 | 809.3096 | 160.7297 | 970.0393 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 970.0393 | 3 | 548.0833 | 32 | 114 | 694.0833 | 970 | 979 | 963 | 970 | 970 | 970.0393 | 0 | 15 | 03.30-03.45 | 49.98 |  | 956 |  | 32 | 3
4 | 499.7819 | 32.041 | 0 | 25 | 0 | 95 | 651.8229 | 292.1771 | 944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 944 | 4 | 505.2083 | 32 | 0 | 537.2083 | 959.25 | 969 | 944 | 944 | 944 | 944 | 0 | 16 | 03.45-04.00 | 50 | 49.9775 | 944 | 959.25 | 32 | 4
5 | 445.5952 | 32.041 | 0 | 28.25 | 0 | 94 | 599.8862 | 366.1529 | 966.0392 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 966.0392 | 5 | 450.4333 | 32 | 0 | 482.4333 | 966 | 989 | 948 | 966 | 966 | 966.0392 | 0 | 17 | 04.00-04.15 | 50.03 |  | 962 |  | 32 | 5
6 | 537.6705 | 42.8048 | 58.7979 | 97.5 | 0 | 94 | 830.7731 | 298.2726 | 1129.0458 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1129.0458 | 6 | 543.5083 | 42.75 | 58.25 | 644.5083 | 1129 | 1257 | 1022 | 1129 | 1129 | 1129.0458 | 0 | 18 | 04.15-04.30 | 50.01 |  | 948 |  | 42.75 | 6
7 | 586.1442 | 44.0564 | 168.8231 | 99.75 | 0 | 92.25 | 991.0236 | 435.5342 | 1426.5578 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1426.5578 | 7 | 592.5083 | 44 | 167.25 | 803.7583 | 1426.5 | 1497 | 1334 | 1426.5 | 1426.5 | 1426.5578 | 0 | 19 | 04.30-04.45 | 50 |  | 965 |  | 44 | 7
8 | 490.1119 | 44.0564 | 3.0282 | 99.5 | 20 | 61.5 | 718.1965 | 846.8035 | 1565 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1565 | 8 | 495.4333 | 44 | 3 | 542.4333 | 1551 | 1565 | 1540 | 1565 | 1565 | 1565 | 0 | 20 | 04.45-05.00 | 49.99 | 50.0075 | 989 | 966 | 44 | 8
9 | 470.4009 | 29.2875 | 0 | 3.25 | 81 | 62.75 | 646.6884 | 856.1226 | 1502.8109 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1502.8109 | 9 | 475.5083 | 29.25 | 0 | 504.7583 | 1502.75 | 1511 | 1494 | 1502.75 | 1502.75 | 1502.8109 | 0 | 21 | 05.00-05.15 | 49.99 |  | 1022 |  | 29.25 | 9
10 | 500.5238 | 0 | 0 | 0 | 64 | 94.5 | 659.0238 | 851.7874 | 1510.8113 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1510.8113 | 10 | 505.9583 | 0 | 0 | 505.9583 | 1510.75 | 1517 | 1503 | 1510.75 | 1510.75 | 1510.8113 | 0 | 22 | 05.15-05.30 | 49.98 |  | 1081 |  | 0 | 10
11 | 510.6637 | 0 | 0 | 0 | 37 | 59.25 | 606.9137 | 880.8966 | 1487.8103 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1487.8103 | 11 | 516.2083 | 0 | 0 | 516.2083 | 1487.75 | 1498 | 1472 | 1487.75 | 1487.75 | 1487.8103 | 0 | 23 | 05.30-05.45 | 49.98 |  | 1156 |  | 0 | 11
12 | 437.4586 | 0 | 0 | 0 | 37 | 59 | 533.4586 | 927.1007 | 1460.5592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1460.5592 | 12 | 442.2083 | 0 | 0 | 442.2083 | 1460.5 | 1473 | 1445 | 1460.5 | 1460.5 | 1460.5592 | 0 | 24 | 05.45-06.00 | 50 | 49.9875 | 1257 | 1129 | 0 | 12
13 | 507.4486 | 0 | 0 | 0 | 0.25 | 58 | 565.6986 | 816.8574 | 1382.5561 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1382.5561 | 13 | 512.9583 | 0 | 0 | 512.9583 | 1382.5 | 1406 | 1311 | 1382.5 | 1382.5 | 1382.5561 | 0 | 25 | 06.00-06.15 | 50.02 |  | 1334 |  | 0 | 13
14 | 475.6934 | 0 | 0 | 0 | 0 | 57 | 532.6934 | 780.8598 | 1313.5533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1313.5533 | 14 | 480.8583 | 0 | 0 | 480.8583 | 1313.5 | 1329 | 1315 | 1313.5 | 1313.5 | 1313.5533 | 0 | 26 | 06.15-06.30 | 49.99 |  | 1413 |  | 0 | 14
15 | 514.5466 | 0 | 20.1881 | 0 | 0 | 58 | 592.7347 | 762.8203 | 1355.555 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1355.555 | 15 | 520.1333 | 0 | 20 | 540.1333 | 1355.5 | 1358 | 1352 | 1355.5 | 1355.5 | 1355.555 | 0 | 27 | 06.30-06.45 | 50.04 |  | 1462 |  | 0 | 15
16 | 489.7162 | 0 | 2.2712 | 0 | 0 | 58.5 | 550.4873 | 841.3191 | 1391.8064 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1391.8064 | 16 | 495.0333 | 0 | 2.25 | 497.2833 | 1391.75 | 1401 | 1376 | 1391.75 | 1391.75 | 1391.8064 | 0 | 28 | 06.45-07.00 | 50.08 | 50.0325 | 1497 | 1426.5 | 0 | 16
17 | 431.1273 | 10.7638 | 34.3198 | 0 | 1 | 33.75 | 510.9609 | 881.5956 | 1392.5565 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1392.5565 | 17 | 435.8083 | 10.75 | 34 | 480.5583 | 1392.5 | 1395 | 1388 | 1392.5 | 1392.5 | 1392.5565 | 0 | 29 | 07.00-07.15 | 50.05 |  | 1544 |  | 10.75 | 17
18 | 436.5682 | 11.0141 | 81.0048 | 0 | 37 | 37.75 | 603.3371 | 770.9686 | 1374.3057 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1374.3057 | 18 | 441.3083 | 11 | 80.25 | 532.5583 | 1374.25 | 1384 | 1367 | 1374.25 | 1374.25 | 1374.3057 | 0 | 30 | 07.15-07.30 | 50.03 |  | 1565 |  | 11 | 18
19 | 456.3534 | 11.5147 | 35.5815 | 0 | 37 | 97 | 637.4497 | 708.3549 | 1345.8046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1345.8046 | 19 | 461.3083 | 11.5 | 35.25 | 508.0583 | 1345.75 | 1354 | 1328 | 1345.75 | 1345.75 | 1345.8046 | 0 | 31 | 07.30-07.45 | 49.99 |  | 1555 |  | 11.5 | 19
20 | 504.3325 | 43.8061 | 76.4625 | 0 | 37 | 97 | 758.601 | 655.7063 | 1414.3073 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1414.3073 | 20 | 509.8083 | 43.75 | 75.75 | 629.3083 | 1414.25 | 1442 | 1380 | 1414.25 | 1414.25 | 1414.3073 | 0 | 32 | 07.45-08.00 | 50.02 | 50.0225 | 1540 | 1551 | 43.75 | 20
21 | 497.655 | 44.0564 | 67.1255 | 0 | 37.75 | 97 | 743.5868 | 596.7175 | 1340.3043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1340.3043 | 21 | 503.0583 | 44 | 66.5 | 613.5583 | 1340.25 | 1367 | 1315 | 1340.25 | 1340.25 | 1340.3043 | 0 | 33 | 08.00-08.15 | 49.96 |  | 1511 |  | 44 | 21
22 | 544.3975 | 44.0564 | 87.8183 | 1 | 74 | 96 | 847.2721 | 430.0297 | 1277.3018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1277.3018 | 22 | 550.3083 | 44 | 87 | 681.3083 | 1277.25 | 1318 | 1234 | 1277.25 | 1277.25 | 1277.3018 | 0 | 34 | 08.15-08.30 | 49.98 |  | 1494 |  | 44 | 22
23 | 561.2149 | 44.0564 | 51.9844 | 25 | 81 | 94 | 857.2556 | 333.5427 | 1190.7983 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1190.7983 | 23 | 567.3083 | 44 | 51.5 | 662.8083 | 1190.75 | 1214 | 1164 | 1190.75 | 1190.75 | 1190.7983 | 0 | 35 | 08.30-08.45 | 49.97 |  | 1501 |  | 44 | 23
24 | 508.7841 | 44.0564 | 200.1146 | 25 | 81 | 94 | 952.9552 | 159.84 | 1112.7951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1112.7951 | 24 | 514.3083 | 44 | 198.25 | 756.5583 | 1112.75 | 1141 | 1095 | 1112.75 | 1112.75 | 1112.7951 | 0 | 36 | 08.45-09.00 | 50 | 49.9775 | 1505 | 1502.75 | 44 | 24
[34 empty] | 37 | 09.00-09.15 | 49.97 |  | 1517
TOTAL (in MWh) | 12067.154 | 586 | 1422 | 479.25 | 662.75 | 1895.25 | 17112.404 | 13717.4943 | 30829.8983 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30829.8983 | TOTAL | 12198.175 | 585.25 | 1408.75 | 14192.175 | 30830 |  |  | 30828.75 | 30828.75 | 30829.8983 | 0 | 38 | 09.15-09.30 | 49.92 |  | 1517
[34 empty] | 39 | 09.30-09.45 | 49.92 |  | 1503
[34 empty] | 40 | 09.45-10.00 | 49.98 | 49.9475 | 1506 | 1510.75
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9984; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.99 |  | 1498
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1565; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.99 |  | 1495
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1565; 5+6 P6 14: MW | MAX = | 1565 | [10 empty] | 43 | 10.30-10.45 | 50.04 |  | 1486
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 944; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 944 | [10 empty] | 44 | 10.45-11.00 | 50.06 | 50.02 | 1472 | 1487.75
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 12067.154; 5+6 P6 14: MWH; 5+6 P11 19: 25.971; 5+6 P11/1000 20: 12041.183 | [12 empty] | 45 | 11.00-11.15 | 50.09 |  | 1473
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 1422; 5+6 P6 14: MWH; 5+6 P11 19: 2.18; 5+6 P11/1000 20: 1419.82 | [12 empty] | 46 | 11.15-11.30 | 50.03 |  | 1471
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 586; 5+6 P6 14: MWH; 5+6 P11 19: 1.902; 5+6 P11/1000 20: 584.098 | [12 empty] | 47 | 11.30-11.45 | 50 |  | 1453
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 32; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50 | 50.03 | 1445 | 1460.5
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.98 |  | 1401
|  |  | Max.generation of Malana at 100 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.93 |  | 1406
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 49.92 |  | 1363
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 561.3684; 5+6 P4 12: 402.8446; 5+6 P11 19: 120.6715; 5+6 P11/1000 20: 120.4118 | [12 empty] | 51 | 12.30-12.45 | 49.93 | 49.94 | 1360 | 1382.5
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 165.5642; 5+6 P4 12: 135.9992; 5+6 P11 19: 30.8171; 5+6 P11/1000 20: 30.602 | [12 empty] | 52 | 12.45-13.00 | 49.98 |  | 1311
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 395.8042; 5+6 P4 12: 266.8454; 5+6 P11 19: 89.8545; 5+6 P11/1000 20: 89.8099 | [12 empty] | 53 | 13.00-13.15 | 49.97 |  | 1299
[34 empty] | 55 | 13.30-13.45 | 49.92 |  | 1315
[34 empty] | 56 | 13.45-14.00 | 49.78 | 49.9125 | 1329 | 1313.5
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 49.86 |  | 1358
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.87 |  | 1355
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2024-04-20 | [12 empty] | 59 | 14.30-14.45 | 49.95 |  | 1357
[34 empty] | 60 | 14.45-15.00 | 50.02 | 49.925 | 1352 | 1355.5 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 50.02 |  | 1376
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 50.04 |  | 1401 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 50.02 |  | 1391
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 50.03 | 50.0275 | 1399 | 1391.75
1 | [33 empty] | 65 | 16.00-16.15 | 50.12 |  | 1395 | bar: 5+6 P12 21
2 | [33 empty] | 66 | 16.15-16.30 | 50.1 |  | 1393 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 50.1 |  | 1388 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 50.06 | 50.095 | 1394 | 1392.5 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50.02 |  | 1384 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50.04 |  | 1379 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.06 |  | 1367 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50.05 | 50.0425 | 1367 | 1374.25 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.13 |  | 1351 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.04 |  | 1328 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.07 |  | 1350 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50.02 | 50.065 | 1354 | 1345.75 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 50.01 |  | 1380 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 50.04 |  | 1408 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 50.02 |  | 1442 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 50.05 | 50.03 | 1427 | 1414.25 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.03 |  | 1367 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50 |  | 1340 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.99 |  | 1339 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 50.04 | 50.015 | 1315 | 1340.25 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 50.02 |  | 1318 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 50.03 |  | 1295 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 50.03 |  | 1262
[34 empty] | 88 | 21.45-22.00 | 50.03 | 50.0275 | 1234 | 1277.25
[34 empty] | 89 | 22.00-22.15 | 49.94 |  | 1214
[34 empty] | 90 | 22.15-22.30 | 49.99 |  | 1204
[34 empty] | 91 | 22.30-22.45 | 49.92 |  | 1181
[34 empty] | 92 | 22.45-23.00 | 49.86 | 49.9275 | 1164 | 1190.75
[34 empty] | 93 | 23.00-23.15 | 49.97 |  | 1141
[34 empty] | 94 | 23.15-23.30 | 49.96 |  | 1095
[34 empty] | 95 | 23.30-23.45 | 50.01 |  | 1108
[34 empty] | 96 | 23.45-24.00 | 50.01 | 49.9875 | 1107 | 1112.75
[35 empty] | Total | 49.9984 | 49.9984 | 30830 | 30830
[35 empty] | max | 1565 |  | avg. max | 1551
[35 empty] | min | 944 |  | avg. min | 959.25
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.