## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2024-04-22
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2024-04-23
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 31120.75 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 577 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 1078 | MWh | MALANA-II | 609 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1647 | [6 empty] | HOLI BAJOLI | 1645.091 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50.02 |  | 985
|  | Month/Day :- |  |  |  |  | 2024-04-22 | [10 empty] | Min.DEMAND(MW) |  | 940 |  | ACTUAL OWN GENERATION |  |  | 11502.4815 | MWh | SWARA KUDDU | 549 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.03 |  | 987
[34 empty] | 3 | 00.30-00.45 | 50.03 |  | 981 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.04 | 50.03 | 979 | 983 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Distribution constraints (in MW) | Planned maintenance in distribution system (in MW) | Tranmission constraints | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50.03 |  | 990 |  |  |  | MALANA-2 | 24.5 | 25 | 25 | 25 | 27.25 | 98.5 | 100 | 100 | 2.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 30 | 30 | 30 | 30 | 30 | 606
[34 empty] | 6 | 01.15-01.30 | 50.03 |  | 979 |  |  |  | SWARA KUDDU | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 20.25 | 81 | 59.25 | 37 | 18.5 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 37 | 37.75 | 74 | 81 | 81 | 546
[34 empty] | 7 | 01.30-01.45 | 50.02 |  | 967
[34 empty] | 8 | 01.45-02:00 | 50.01 | 50.0225 | 978 | 978.5
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.96 |  | 959 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.93 |  | 953
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.93 |  | 961
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.96 | 49.945 | 963 | 959
1 | 570.186 | 44.4234 | 218.4933 | 24.5 | 0.25 | 94 | 951.8528 | 30.6342 | 982.487 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 982.487 | 1 | 584.125 | 44 | 219 | 847.125 | 983 | 987 | 979 | 983 | 983 | 982.487 | 0 | 13 | 03.00-03.15 | 50 |  | 956 |  | 44 | 1
2 | 522.3553 | 30.5411 | 218.2439 | 25 | 0 | 94 | 890.1403 | 87.849 | 977.9893 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 977.9893 | 2 | 535.125 | 30.25 | 218.75 | 784.125 | 978.5 | 990 | 967 | 978.5 | 978.5 | 977.9893 | 0 | 14 | 03.15-03.30 | 49.99 |  | 940 |  | 30.25 | 2
3 | 415.5903 | 30.2887 | 24.9422 | 25 | 0 | 94.25 | 590.0712 | 368.4283 | 958.4995 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 958.4995 | 3 | 425.75 | 30 | 25 | 480.75 | 959 | 963 | 953 | 959 | 959 | 958.4995 | 0 | 15 | 03.30-03.45 | 49.99 |  | 943 |  | 30 | 3
4 | 413.272 | 30.2887 | 0 | 25 | 0 | 71.25 | 539.8107 | 400.1893 | 940 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 940 | 4 | 423.375 | 30 | 0 | 453.375 | 947.25 | 956 | 940 | 940 | 940 | 940 | 0 | 16 | 03.45-04.00 | 49.98 | 49.99 | 950 | 947.25 | 30 | 4
5 | 455.7096 | 30.2887 | 0 | 27.25 | 0 | 63.5 | 576.7483 | 396.2437 | 972.9919 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 972.9919 | 5 | 466.85 | 30 | 0 | 496.85 | 973.5 | 997 | 947 | 973.5 | 973.5 | 972.9919 | 0 | 17 | 04.00-04.15 | 49.9 |  | 947 |  | 30 | 5
6 | 548.5158 | 43.6662 | 53.8751 | 98.5 | 0 | 62.5 | 807.0571 | 362.3323 | 1169.3894 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1169.3894 | 6 | 561.925 | 43.25 | 54 | 659.175 | 1170 | 1322 | 1032 | 1170 | 1170 | 1169.3894 | 0 | 18 | 04.15-04.30 | 49.87 |  | 966 |  | 43.25 | 6
7 | 611.4766 | 44.4234 | 146.4105 | 100 | 0 | 61.5 | 963.8105 | 554.6466 | 1518.4571 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1518.4571 | 7 | 626.425 | 44 | 146.75 | 817.175 | 1519.25 | 1593 | 1425 | 1519.25 | 1519.25 | 1518.4571 | 0 | 19 | 04.30-04.45 | 49.88 |  | 984 |  | 44 | 7
8 | 526.2355 | 44.4234 | 72.8311 | 100 | 20.25 | 60 | 823.74 | 823.26 | 1647 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1647 | 8 | 539.1 | 44 | 73 | 656.1 | 1623.5 | 1647 | 1599 | 1647 | 1647 | 1647 | 0 | 20 | 04.45-05.00 | 49.92 | 49.8925 | 997 | 973.5 | 44 | 8
9 | 472.1331 | 26.5026 | 38.6603 | 2.75 | 81 | 61.5 | 682.546 | 862.3972 | 1544.9433 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1544.9433 | 9 | 483.675 | 26.25 | 38.75 | 548.675 | 1545.75 | 1574 | 1522 | 1545.75 | 1545.75 | 1544.9433 | 0 | 21 | 05.00-05.15 | 49.96 |  | 1032 |  | 26.25 | 9
10 | 450.6093 | 0 | 5.2379 | 0 | 59.25 | 60.75 | 575.8471 | 959.3513 | 1535.1984 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1535.1984 | 10 | 461.625 | 0 | 5.25 | 466.875 | 1536 | 1546 | 1527 | 1536 | 1536 | 1535.1984 | 0 | 22 | 05.15-05.30 | 50 |  | 1107 |  | 0 | 10
11 | 434.9911 | 0 | 0 | 0 | 37 | 61.75 | 533.7411 | 952.4829 | 1486.224 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54 | 0 | 54 | 0.054 | 1540.224 | 11 | 445.625 | 0 | 0 | 445.625 | 1487 | 1495 | 1476 | 1487 | 1487 | 1486.224 | 54 | 23 | 05.30-05.45 | 50.01 |  | 1219 |  | 0 | 11
12 | 424.4976 | 0 | 0 | 0 | 18.5 | 63 | 505.9976 | 952.241 | 1458.2386 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54 | 0 | 54 | 0.054 | 1512.2386 | 12 | 434.875 | 0 | 0 | 434.875 | 1459 | 1463 | 1451 | 1459 | 1459 | 1458.2386 | 54 | 24 | 05.45-06.00 | 50.01 | 49.995 | 1322 | 1170 | 0 | 12
13 | 442.0681 | 0 | 0 | 0 | 0 | 32 | 474.0681 | 936.1956 | 1410.2636 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54 | 0 | 54 | 0.054 | 1464.2636 | 13 | 452.875 | 0 | 0 | 452.875 | 1411 | 1431 | 1337 | 1411 | 1411 | 1410.2636 | 54 | 25 | 06.00-06.15 | 49.99 |  | 1425 |  | 0 | 13
14 | 415.3707 | 0 | 0 | 0 | 0 | 31 | 446.3707 | 889.4318 | 1335.8025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54 | 0 | 54 | 0.054 | 1389.8025 | 14 | 425.525 | 0 | 0 | 425.525 | 1336.5 | 1339 | 1334 | 1336.5 | 1336.5 | 1335.8025 | 54 | 26 | 06.15-06.30 | 49.97 |  | 1499 |  | 0 | 14
15 | 475.6716 | 0 | 0 | 0 | 0 | 32 | 507.6716 | 839.3751 | 1347.0466 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54 | 0 | 54 | 0.054 | 1401.0466 | 15 | 487.3 | 0 | 0 | 487.3 | 1347.75 | 1354 | 1342 | 1347.75 | 1347.75 | 1347.0466 | 54 | 27 | 06.30-06.45 | 49.98 |  | 1560 |  | 0 | 15
16 | 509.9828 | 0 | 0 | 0 | 0 | 32 | 541.9828 | 842.5443 | 1384.5271 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54 | 0 | 54 | 0.054 | 1438.5271 | 16 | 522.45 | 0 | 0 | 522.45 | 1385.25 | 1395 | 1376 | 1385.25 | 1385.25 | 1384.5271 | 54 | 28 | 06.45-07.00 | 50.02 | 49.99 | 1593 | 1519.25 | 0 | 16
17 | 435.0887 | 0 | 0 | 0 | 0 | 33.5 | 468.5887 | 896.9483 | 1365.537 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54 | 0 | 54 | 0.054 | 1419.537 | 17 | 445.725 | 0 | 0 | 445.725 | 1366.25 | 1367 | 1365 | 1366.25 | 1366.25 | 1365.537 | 54 | 29 | 07.00-07.15 | 50.02 |  | 1623 |  | 0 | 17
18 | 420.2026 | 0.75722 | 0 | 0 | 0 | 52.5 | 473.4598 | 881.3328 | 1354.7926 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.6 | 0 | 12.6 | 0.0126 | 1367.3926 | 18 | 430.475 | 0.75 | 0 | 431.225 | 1355.5 | 1364 | 1351 | 1355.5 | 1355.5 | 1354.7926 | 12.6 | 30 | 07.15-07.30 | 50.02 |  | 1647 |  | 0.75 | 18
19 | 442.4097 | 29.5315 | 66.5956 | 28 | 19 | 97.5 | 683.0368 | 652.266 | 1335.3028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2 | 0 | 5.2 | 0.0052 | 1340.5028 | 19 | 453.225 | 29.25 | 66.75 | 549.225 | 1336 | 1340 | 1334 | 1336 | 1336 | 1335.3028 | 5.2 | 31 | 07.30-07.45 | 50 |  | 1625 |  | 29.25 | 19
20 | 469.4975 | 44.171 | 91.5377 | 30 | 37 | 98 | 770.2063 | 645.3046 | 1415.5109 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1415.5109 | 20 | 480.975 | 43.75 | 91.75 | 616.475 | 1416.25 | 1430 | 1385 | 1416.25 | 1416.25 | 1415.5109 | 0 | 32 | 07.45-08.00 | 50.03 | 50.0175 | 1599 | 1623.5 | 43.75 | 20
21 | 489.7524 | 44.4234 | 51.3808 | 30 | 37.75 | 96.75 | 750.0566 | 609.4835 | 1359.5401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1359.5401 | 21 | 501.725 | 44 | 51.5 | 597.225 | 1360.25 | 1387 | 1345 | 1360.25 | 1360.25 | 1359.5401 | 0 | 33 | 08.00-08.15 | 49.99 |  | 1574 |  | 44 | 21
22 | 505.3705 | 44.4234 | 29.9306 | 30 | 74 | 97 | 780.7246 | 516.0983 | 1296.8229 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1296.8229 | 22 | 517.725 | 44 | 30 | 591.725 | 1297.5 | 1329 | 1262 | 1297.5 | 1297.5 | 1296.8229 | 0 | 34 | 08.15-08.30 | 49.98 |  | 1546 |  | 44 | 22
23 | 512.4475 | 44.4234 | 29.9306 | 30 | 81 | 95.5 | 793.3016 | 405.5724 | 1198.874 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1198.874 | 23 | 524.975 | 44 | 30 | 598.975 | 1199.5 | 1236 | 1167 | 1199.5 | 1199.5 | 1198.874 | 0 | 35 | 08.30-08.45 | 49.95 |  | 1541 |  | 44 | 23
24 | 539.0473 | 44.4234 | 29.9306 | 30 | 81 | 105 | 829.4013 | 297.2604 | 1126.6617 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1126.6617 | 24 | 552.225 | 44 | 30 | 626.225 | 1127.25 | 1150 | 1110 | 1127.25 | 1127.25 | 1126.6617 | 0 | 36 | 08.45-09.00 | 49.97 | 49.9725 | 1522 | 1545.75 | 44 | 24
[34 empty] | 37 | 09.00-09.15 | 49.95 |  | 1527
TOTAL (in MWh) | 11502.4815 | 577 | 1078 | 606 | 546 | 1650.75 | 15960.2315 | 15161.8686 | 31122.1001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 395.8 | 0 | 395.8 | 0.3958 | 31517.9001 | TOTAL | 11783.675 | 571.5 | 1080.5 | 13435.675 | 31120.75 |  |  | 31137 | 31137 | 31122.1001 | 395.8 | 38 | 09.15-09.30 | 49.98 |  | 1538
[34 empty] | 39 | 09.30-09.45 | 49.99 |  | 1546
[34 empty] | 40 | 09.45-10.00 | 50.02 | 49.985 | 1533 | 1536
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 50.0044; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50 |  | 1483
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1647; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.99 |  | 1494
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1647; 5+6 P6 14: MW | MAX = | 1647 | [10 empty] | 43 | 10.30-10.45 | 50.01 |  | 1495
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 940; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 940 | [10 empty] | 44 | 10.45-11.00 | 50.02 | 50.005 | 1476 | 1487
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 11502.4815; 5+6 P6 14: MWH; 5+6 P11 19: 23.488; 5+6 P11/1000 20: 11478.9935 | [12 empty] | 45 | 11.00-11.15 | 50.04 |  | 1463
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 1078; 5+6 P6 14: MWH; 5+6 P11 19: 1.94; 5+6 P11/1000 20: 1076.06 | [12 empty] | 46 | 11.15-11.30 | 50.01 |  | 1461
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 577; 5+6 P6 14: MWH; 5+6 P11 19: 1.636; 5+6 P11/1000 20: 575.364 | [12 empty] | 47 | 11.30-11.45 | 50 |  | 1451
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 30; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.98 | 50.0075 | 1461 | 1459
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.97 |  | 1431
|  |  | Max.generation of Malana at 100 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.97 |  | 1427
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 49.97 |  | 1399
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 393.3254; 5+6 P4 12: 501.5026; 5+6 P11 19: 115.0248; 5+6 P11/1000 20: 114.7899 | [12 empty] | 51 | 12.30-12.45 | 49.98 | 49.9725 | 1387 | 1411
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 53.2893; 5+6 P4 12: 92.4877; 5+6 P11 19: 28.3253; 5+6 P11/1000 20: 28.134 | [12 empty] | 52 | 12.45-13.00 | 50.03 |  | 1337
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 340.0361; 5+6 P4 12: 409.0149; 5+6 P11 19: 86.6995; 5+6 P11/1000 20: 86.6559 | [12 empty] | 53 | 13.00-13.15 | 50.03 |  | 1336
[34 empty] | 55 | 13.30-13.45 | 50.03 |  | 1339
[34 empty] | 56 | 13.45-14.00 | 49.98 | 50.0175 | 1334 | 1336.5
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 49.9 |  | 1342
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.95 |  | 1345
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2024-04-22 | [12 empty] | 59 | 14.30-14.45 | 50 |  | 1350
[34 empty] | 60 | 14.45-15.00 | 50.01 | 49.965 | 1354 | 1347.75 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 50.03 |  | 1376
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 50 |  | 1382 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 50.03 |  | 1388
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 50.04 | 50.025 | 1395 | 1385.25
1 | 132kv Gagrat s/stn | 54 | 0 | 54 | 10 | 0 | 7: 17; 8: 14; 5+6 P1 9: 7; 5+6 P2 10: 14; 5+6 P3 11: 3.906; 5+6 P4 12: Plan shut down | [12 empty] | 65 | 16.00-16.15 | 50.05 |  | 1367
2 | 66kv kotla -Nogli line | 5 | 0 | 5 | 18 | 25 | 7: 18; 8: 38; 5+6 P1 9: 0; 5+6 P2 10: 13; 5+6 P3 11: 0.010833; 5+6 P4 12: Due to earth fault R phase | [12 empty] | 66 | 16.15-16.30 | 50.01 |  | 1367
3 | 66kv kotla-Ghanvi line | 19 | 0 | 19 | 18 | 25 | 7: 18; 8: 38; 5+6 P1 9: 0; 5+6 P2 10: 13; 5+6 P3 11: 0.041167; 5+6 P4 12: Due to earth fault R phase | [12 empty] | 67 | 16.30-16.45 | 49.99 |  | 1365
4 | [33 empty] | 68 | 16.45-17.00 | 50.02 | 50.0175 | 1366 | 1366.25 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50.12 |  | 1351 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50.04 |  | 1352 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.1 |  | 1355 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50.03 | 50.0725 | 1364 | 1355.5 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.03 |  | 1335 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.02 |  | 1340 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.06 |  | 1334 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50.04 | 50.0375 | 1335 | 1336 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 50.01 |  | 1385 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 50.01 |  | 1421 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 50.02 |  | 1430 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 50.04 | 50.02 | 1429 | 1416.25 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.03 |  | 1387 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 49.99 |  | 1363 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.98 |  | 1345 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 50.04 | 50.01 | 1346 | 1360.25 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 50.03 |  | 1329 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 50.05 |  | 1308 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 50.05 |  | 1291
[34 empty] | 88 | 21.45-22.00 | 50.05 | 50.045 | 1262 | 1297.5
[34 empty] | 89 | 22.00-22.15 | 50.02 |  | 1236
[34 empty] | 90 | 22.15-22.30 | 50.02 |  | 1215
[34 empty] | 91 | 22.30-22.45 | 50.03 |  | 1180
[34 empty] | 92 | 22.45-23.00 | 50.01 | 50.02 | 1167 | 1199.5
[34 empty] | 93 | 23.00-23.15 | 50.04 |  | 1150
[34 empty] | 94 | 23.15-23.30 | 50.04 |  | 1130
[34 empty] | 95 | 23.30-23.45 | 50.05 |  | 1119
[34 empty] | 96 | 23.45-24.00 | 50.07 | 50.05 | 1110 | 1127.25
[35 empty] | Total | 50.0044 | 50.0044 | 31120.75 | 31120.75
[35 empty] | max | 1647 |  | avg. max | 1623.5
[35 empty] | min | 940 |  | avg. min | 947.25
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.