## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2024-04-23
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2024-04-24
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 31646.25 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 596 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 1722 | MWh | MALANA-II | 508 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1678 | [6 empty] | HOLI BAJOLI | 1819.94 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50.03 |  | 1097
|  | Month/Day :- |  |  |  |  | 2024-04-23 | [10 empty] | Min.DEMAND(MW) |  | 1040 |  | ACTUAL OWN GENERATION |  |  | 11141.885 | MWh | SWARA KUDDU | 512 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.04 |  | 1101
[34 empty] | 3 | 00.30-00.45 | 50.05 |  | 1083 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.03 | 50.0375 | 1077 | 1089.5 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Distribution constraints (in MW) | Planned maintenance in distribution system (in MW) | Tranmission constraints | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50.05 |  | 1068 |  |  |  | MALANA-2 | 30 | 30 | 22 | 22 | 26.25 | 98.75 | 100 | 100 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 25 | 25 | 25 | 507.5
[34 empty] | 6 | 01.15-01.30 | 50.03 |  | 1051 |  |  |  | SWARA KUDDU | 3.25 | 0 | 0 | 0 | 0 | 0 | 0 | 19.75 | 81 | 59.5 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5 | 37 | 37.75 | 74 | 81 | 81 | 512.75
[34 empty] | 7 | 01.30-01.45 | 50.02 |  | 1041
[34 empty] | 8 | 01.45-02:00 | 49.99 | 50.0225 | 1040 | 1050
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.96 |  | 1047 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.95 |  | 1049
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.98 |  | 1059
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.98 | 49.9675 | 1055 | 1052.5
1 | 564.1054 | 44.1853 | 284.4159 | 30 | 3.25 | 104 | 1029.9566 | 59.1563 | 1089.1128 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.4667 | 0 | 34.4667 | 0.034467 | 1123.5795 | 1 | 575.9167 | 44 | 293.5 | 913.4167 | 1089.5 | 1101 | 1077 | 1089.5 | 1089.5 | 1089.1128 | 34.4667 | 13 | 03.00-03.15 | 49.95 |  | 1055 |  | 44 | 1
2 | 491.1333 | 44.1853 | 289.7456 | 30 | 0 | 94 | 949.0642 | 90.9358 | 1040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1040 | 2 | 501.4167 | 44 | 299 | 844.4167 | 1050 | 1068 | 1040 | 1040 | 1040 | 1040 | 0 | 14 | 03.15-03.30 | 49.93 |  | 1052 |  | 44 | 2
3 | 419.508 | 44.1853 | 30.0405 | 22 | 0 | 94 | 609.7338 | 442.3922 | 1052.126 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1052.126 | 3 | 428.2917 | 44 | 31 | 503.2917 | 1052.5 | 1059 | 1047 | 1052.5 | 1052.5 | 1052.126 | 0 | 15 | 03.30-03.45 | 49.98 |  | 1046 |  | 44 | 3
4 | 413.5086 | 44.1853 | 0 | 22 | 0 | 63 | 542.6939 | 510.1818 | 1052.8757 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1052.8757 | 4 | 422.1667 | 44 | 0 | 466.1667 | 1053.25 | 1060 | 1046 | 1053.25 | 1053.25 | 1052.8757 | 0 | 16 | 03.45-04.00 | 50.01 | 49.9675 | 1060 | 1053.25 | 44 | 4
5 | 440.4201 | 44.1853 | 0 | 26.25 | 0 | 63 | 573.8554 | 518.5062 | 1092.3617 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1092.3617 | 5 | 449.6417 | 44 | 0 | 493.6417 | 1092.75 | 1116 | 1068 | 1092.75 | 1092.75 | 1092.3617 | 0 | 17 | 04.00-04.15 | 50 |  | 1068 |  | 44 | 5
6 | 537.9529 | 44.1853 | 50.1483 | 98.75 | 0 | 78 | 809.0366 | 466.51 | 1275.5466 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1275.5466 | 6 | 549.2167 | 44 | 51.75 | 644.9667 | 1276 | 1422 | 1152 | 1276 | 1276 | 1275.5466 | 0 | 18 | 04.15-04.30 | 50 |  | 1085 |  | 44 | 6
7 | 611.1699 | 44.1853 | 143.4192 | 100 | 0 | 92 | 990.7745 | 606.1578 | 1596.9323 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1596.9323 | 7 | 623.9667 | 44 | 148 | 815.9667 | 1597.5 | 1661 | 1523 | 1597.5 | 1597.5 | 1596.9323 | 0 | 19 | 04.30-04.45 | 49.96 |  | 1102 |  | 44 | 7
8 | 553.3065 | 44.1853 | 0 | 100 | 19.75 | 77.75 | 794.9918 | 883.0082 | 1678 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1678 | 8 | 564.8917 | 44 | 0 | 608.8917 | 1656.75 | 1678 | 1639 | 1678 | 1678 | 1678 | 0 | 20 | 04.45-05.00 | 49.99 | 49.9875 | 1116 | 1092.75 | 44 | 8
9 | 465.9603 | 20.8374 | 0 | 3 | 81 | 61.5 | 632.2977 | 942.6424 | 1574.9401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1574.9401 | 9 | 475.7167 | 20.75 | 0 | 496.4667 | 1575.5 | 1628 | 1522 | 1575.5 | 1575.5 | 1574.9401 | 0 | 21 | 05.00-05.15 | 49.99 |  | 1152 |  | 20.75 | 9
10 | 427.4663 | 0.50211 | 0 | 0 | 59.5 | 62 | 549.4684 | 990.9839 | 1540.4524 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1540.4524 | 10 | 436.4167 | 0.5 | 0 | 436.9167 | 1541 | 1555 | 1525 | 1541 | 1541 | 1540.4524 | 0 | 22 | 05.15-05.30 | 50 |  | 1209 |  | 0.5 | 10
11 | 418.6509 | 0 | 0 | 0 | 37 | 62.75 | 518.4009 | 972.5691 | 1490.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6 | 0 | 2.6 | 0.0026 | 1493.57 | 11 | 427.4167 | 0 | 0 | 427.4167 | 1491.5 | 1506 | 1468 | 1491.5 | 1491.5 | 1490.97 | 2.6 | 23 | 05.30-05.45 | 50.01 |  | 1321 |  | 0 | 11
12 | 438.2407 | 0 | 0 | 0 | 0 | 64.25 | 502.4907 | 970.9855 | 1473.4762 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 12 | 0.012 | 1485.4762 | 12 | 447.4167 | 0 | 0 | 447.4167 | 1474 | 1481 | 1466 | 1474 | 1474 | 1473.4762 | 12 | 24 | 05.45-06.00 | 50 | 50 | 1422 | 1276 | 0 | 12
13 | 415.4676 | 0 | 0 | 0 | 0 | 33.5 | 448.9676 | 976.5257 | 1425.4932 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 12 | 0.012 | 1437.4932 | 13 | 424.1667 | 0 | 0 | 424.1667 | 1426 | 1455 | 1366 | 1426 | 1426 | 1425.4932 | 12 | 25 | 06.00-06.15 | 50 |  | 1523 |  | 0 | 13
14 | 364.1912 | 0 | 0 | 0 | 0 | 33 | 397.1912 | 954.3284 | 1351.5195 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 12 | 0.012 | 1363.5195 | 14 | 371.8167 | 0 | 0 | 371.8167 | 1352 | 1352 | 1348 | 1352 | 1352 | 1351.5195 | 12 | 26 | 06.15-06.30 | 50.02 |  | 1576 |  | 0 | 14
15 | 398.253 | 0 | 0 | 0 | 0 | 33 | 431.253 | 907.0213 | 1338.2743 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 6 | 0.006 | 1344.2743 | 15 | 406.5917 | 0 | 0 | 406.5917 | 1338.75 | 1358 | 1324 | 1338.75 | 1338.75 | 1338.2743 | 6 | 27 | 06.30-06.45 | 50.07 |  | 1630 |  | 0 | 15
16 | 501.2465 | 0 | 4.1185 | 0 | 0 | 35.75 | 541.115 | 804.9065 | 1346.0215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8917 | 0 | 5.8917 | 0.0058917 | 1351.9132 | 16 | 511.7417 | 0 | 4.25 | 515.9917 | 1346.5 | 1367 | 1301 | 1346.5 | 1346.5 | 1346.0215 | 5.8917 | 28 | 06.45-07.00 | 50.11 | 50.05 | 1661 | 1597.5 | 0 | 16
17 | 432.7066 | 0 | 68.8025 | 0 | 0 | 81.25 | 582.7591 | 730.2741 | 1313.0332 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1313.0332 | 17 | 441.7667 | 0 | 71 | 512.7667 | 1313.5 | 1320 | 1308 | 1313.5 | 1313.5 | 1313.0332 | 0 | 29 | 07.00-07.15 | 50.03 |  | 1667 |  | 0 | 17
18 | 430.013 | 0 | 39.731 | 0 | 0 | 86.5 | 556.244 | 755.5397 | 1311.7837 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1311.7837 | 18 | 439.0167 | 0 | 41 | 480.0167 | 1312.25 | 1320 | 1309 | 1312.25 | 1312.25 | 1311.7837 | 0 | 30 | 07.15-07.30 | 50 |  | 1678 |  | 0 | 18
19 | 460.1324 | 0.50211 | 29.0715 | 0 | 1.5 | 97 | 588.2059 | 720.079 | 1308.2849 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1308.2849 | 19 | 469.7667 | 0.5 | 30 | 500.2667 | 1308.75 | 1320 | 1286 | 1308.75 | 1308.75 | 1308.2849 | 0 | 31 | 07.30-07.45 | 50.05 |  | 1643 |  | 0.5 | 19
20 | 445.9297 | 43.9343 | 59.5965 | 0 | 37 | 98 | 684.4605 | 697.5482 | 1382.0087 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1382.0087 | 20 | 455.2667 | 43.75 | 61.5 | 560.5167 | 1382.5 | 1413 | 1320 | 1382.5 | 1382.5 | 1382.0087 | 0 | 32 | 07.45-08.00 | 50.08 | 50.04 | 1639 | 1656.75 | 43.75 | 20
21 | 433.4412 | 44.1853 | 52.3286 | 0.5 | 37.75 | 98 | 666.2052 | 683.315 | 1349.5203 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1349.5203 | 21 | 442.5167 | 44 | 54 | 540.5167 | 1350 | 1388 | 1327 | 1350 | 1350 | 1349.5203 | 0 | 33 | 08.00-08.15 | 50.07 |  | 1628 |  | 44 | 21
22 | 479.2324 | 44.1853 | 100.2966 | 25 | 74 | 97.5 | 820.2144 | 451.8334 | 1272.0478 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1272.0478 | 22 | 489.2667 | 44 | 103.5 | 636.7667 | 1272.5 | 1314 | 1226 | 1272.5 | 1272.5 | 1272.0478 | 0 | 34 | 08.15-08.30 | 50.01 |  | 1589 |  | 44 | 22
23 | 513.2698 | 44.1853 | 280.5397 | 25 | 81 | 104.5 | 1048.4948 | 140.8324 | 1189.3272 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1189.3272 | 23 | 524.0167 | 44 | 289.5 | 857.5167 | 1189.75 | 1210 | 1153 | 1189.75 | 1189.75 | 1189.3272 | 0 | 35 | 08.30-08.45 | 50 |  | 1563 |  | 44 | 23
24 | 486.5786 | 44.1853 | 289.7456 | 25 | 81 | 104 | 1030.5096 | 72.5982 | 1103.1079 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2667 | 0 | 6.2667 | 0.0062667 | 1109.3745 | 24 | 496.7667 | 44 | 299 | 839.7667 | 1103.5 | 1125 | 1092 | 1103.5 | 1103.5 | 1103.1079 | 6.2667 | 36 | 08.45-09.00 | 50.01 | 50.0225 | 1522 | 1575.5 | 44 | 24
[34 empty] | 37 | 09.00-09.15 | 50 |  | 1544
TOTAL (in MWh) | 11141.885 | 596 | 1722 | 507.5 | 512.75 | 1818.25 | 16298.385 | 15348.8309 | 31647.2159 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91.225 | 0 | 91.225 | 0.091225 | 31738.4409 | TOTAL | 11375.175 | 593.5 | 1777 | 13745.675 | 31646.25 |  |  | 31657.5 | 31657.5 | 31647.2159 | 91.225 | 38 | 09.15-09.30 | 50.06 |  | 1555
[34 empty] | 39 | 09.30-09.45 | 50.1 |  | 1540
[34 empty] | 40 | 09.45-10.00 | 50.05 | 50.0525 | 1525 | 1541
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 50.0179; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50 |  | 1506
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1678; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50 |  | 1498
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1678; 5+6 P6 14: MW | MAX = | 1678 | [10 empty] | 43 | 10.30-10.45 | 50 |  | 1494
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1040; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1040 | [10 empty] | 44 | 10.45-11.00 | 50.01 | 50.0025 | 1468 | 1491.5
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 11141.885; 5+6 P6 14: MWH; 5+6 P11 19: 22.888; 5+6 P11/1000 20: 11118.997 | [12 empty] | 45 | 11.00-11.15 | 50.01 |  | 1466
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 1722; 5+6 P6 14: MWH; 5+6 P11 19: 18.6; 5+6 P11/1000 20: 1703.4 | [12 empty] | 46 | 11.15-11.30 | 50 |  | 1481
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 596; 5+6 P6 14: MWH; 5+6 P11 19: 1.724; 5+6 P11/1000 20: 594.276 | [12 empty] | 47 | 11.30-11.45 | 49.96 |  | 1471
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.96 | 49.9825 | 1478 | 1474
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.01 |  | 1455
|  |  | Max.generation of Malana at 100 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.98 |  | 1450
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 49.96 |  | 1405
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 429.9392; 5+6 P4 12: 361.4081; 5+6 P11 19: 111.4188; 5+6 P11/1000 20: 111.19 | [12 empty] | 51 | 12.30-12.45 | 49.99 | 49.985 | 1394 | 1426
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 53.9266; 5+6 P4 12: 105.2975; 5+6 P11 19: 27.9959; 5+6 P11/1000 20: 27.8121 | [12 empty] | 52 | 12.45-13.00 | 50.06 |  | 1366
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 376.0126; 5+6 P4 12: 256.1106; 5+6 P11 19: 83.423; 5+6 P11/1000 20: 83.3778 | [12 empty] | 53 | 13.00-13.15 | 50.12 |  | 1342
[34 empty] | 55 | 13.30-13.45 | 50.07 |  | 1348
[34 empty] | 56 | 13.45-14.00 | 50.02 | 50.0675 | 1352 | 1352
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 50.1 |  | 1324
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 50.09 |  | 1339
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2024-04-23 | [12 empty] | 59 | 14.30-14.45 | 50.07 |  | 1334
[34 empty] | 60 | 14.45-15.00 | 50.02 | 50.07 | 1358 | 1338.75 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 49.98 |  | 1354
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 50.01 |  | 1367 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.99 |  | 1364
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.99 | 49.9925 | 1301 | 1346.5
1 | 132/11 Kv Incomer at s/stn Gagrat | 12 | 0 | 12 | 10 | 47 | 7: 14; 8: 30; 5+6 P1 9: 3; 5+6 P2 10: 43; 5+6 P3 11: 0.446; 5+6 P4 12: cable blast. | [12 empty] | 65 | 16.00-16.15 | 50.02 |  | 1315
2 | 132 kV Amb Gagret line | 35.35 | 0 | 35.35 | 15 | 40 | 7: 15; 8: 50; 5+6 P1 9: 0; 5+6 P2 10: 10; 5+6 P3 11: 0.058917; 5+6 P4 12: Earth fault | [12 empty] | 66 | 16.15-16.30 | 49.96 |  | 1320
3 | Kunihar Barotiwal ckt 1 | 47 | 0 | 47 | 23 | 52 | 7: 24; 8: 2; 5+6 P1 9: 0; 5+6 P2 10: 10; 5+6 P3 11: 0.078333; 5+6 P4 12: Relay didn’t record any fault | [12 empty] | 67 | 16.30-16.45 | 49.94 |  | 1311
4 | Kunihar Barotiwal ckt 1 | 47 | 0 | 47 | 0 | 11 | 7: 0; 8: 31; 5+6 P1 9: 0; 5+6 P2 10: 20; 5+6 P3 11: 0.15667; 5+6 P4 12: Relay didn’t record any fault | [12 empty] | 68 | 16.45-17.00 | 50 | 49.98 | 1308 | 1313.5
5 | Kunihar Barotiwal ckt 1 | 47 | 0 | 47 | 0 | 36 | 7: 1; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 24; 5+6 P3 11: 0.188; 5+6 P4 12: Relay didn’t record any fault | [12 empty] | 69 | 17.00-17.15 | 50.05 |  | 1309
6 | [33 empty] | 70 | 17.15-17.30 | 50.07 |  | 1311 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.09 |  | 1309 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50.05 | 50.065 | 1320 | 1312.25 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.1 |  | 1320 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.05 |  | 1317 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.08 |  | 1286 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50.03 | 50.065 | 1312 | 1308.75 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 50.01 |  | 1320 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 50.02 |  | 1391 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 50 |  | 1413 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 50.07 | 50.025 | 1406 | 1382.5 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.08 |  | 1388 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50.05 |  | 1353 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 50.05 |  | 1332 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 50.05 | 50.0575 | 1327 | 1350 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 50.01 |  | 1314 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 50 |  | 1281 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 49.99 |  | 1269
[34 empty] | 88 | 21.45-22.00 | 50.04 | 50.01 | 1226 | 1272.5
[34 empty] | 89 | 22.00-22.15 | 50 |  | 1199
[34 empty] | 90 | 22.15-22.30 | 50.02 |  | 1210
[34 empty] | 91 | 22.30-22.45 | 50.03 |  | 1197
[34 empty] | 92 | 22.45-23.00 | 49.96 | 50.0025 | 1153 | 1189.75
[34 empty] | 93 | 23.00-23.15 | 50.01 |  | 1125
[34 empty] | 94 | 23.15-23.30 | 49.98 |  | 1105
[34 empty] | 95 | 23.30-23.45 | 49.96 |  | 1092
[34 empty] | 96 | 23.45-24.00 | 49.96 | 49.9775 | 1092 | 1103.5
[35 empty] | Total | 50.0179 | 50.0179 | 31646.25 | 31646.25
[35 empty] | max | 1678 |  | avg. max | 1656.75
[35 empty] | min | 1040 |  | avg. min | 1050
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.