## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2024-04-24
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2024-04-25
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 32335 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 566 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 1204 | MWh | MALANA-II | 529 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1727 | [6 empty] | HOLI BAJOLI | 1868 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.97 |  | 1042
|  | Month/Day :- |  |  |  |  | 2024-04-24 | [10 empty] | Min.DEMAND(MW) |  | 1026 |  | ACTUAL OWN GENERATION |  |  | 10747.8785 | MWh | SWARA KUDDU | 524 | MWh |  |  |  |  | 2 | 00.15-00.30 | 49.95 |  | 1026
[34 empty] | 3 | 00.30-00.45 | 49.96 |  | 1046 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50 | 49.97 | 1033 | 1036.75 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Distribution constraints (in MW) | Planned maintenance in distribution system (in MW) | Tranmission constraints | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.98 |  | 1041 |  |  |  | MALANA-2 | 25 | 25 | 25 | 25 | 28.75 | 99.75 | 100 | 100 | 2.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.75 | 25 | 25 | 25 | 529.5
[34 empty] | 6 | 01.15-01.30 | 49.99 |  | 1042 |  |  |  | SWARA KUDDU | 81 | 1.25 | 0 | 0 | 0 | 1 | 77.25 | 59.25 | 37 | 37 | 19.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.25 | 37 | 37 | 37.5 | 80.75 | 523.75
[34 empty] | 7 | 01.30-01.45 | 50 |  | 1037
[34 empty] | 8 | 01.45-02:00 | 50.01 | 49.995 | 1041 | 1040.25
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50 |  | 1030 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 50 |  | 1063
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.98 |  | 1056
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50 | 49.995 | 1055 | 1051
1 | 504.2989 | 46.6804 | 10.3748 | 25 | 81 | 104 | 771.3541 | 254.6459 | 1026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1026 | 1 | 497.3333 | 44 | 10 | 551.3333 | 1036.75 | 1046 | 1026 | 1026 | 1026 | 1026 | 0 | 13 | 03.00-03.15 | 50.01 |  | 1060 |  | 44 | 1
2 | 489.5958 | 42.9672 | 0 | 25 | 1.25 | 104 | 662.813 | 376.6414 | 1039.4544 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1039.4544 | 2 | 482.8333 | 40.5 | 0 | 523.3333 | 1040.25 | 1042 | 1037 | 1040.25 | 1040.25 | 1039.4544 | 0 | 14 | 03.15-03.30 | 49.99 |  | 1059 |  | 40.5 | 2
3 | 476.794 | 29.7057 | 0 | 25 | 0 | 101 | 632.4997 | 417.6965 | 1050.1962 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1050.1962 | 3 | 470.2083 | 28 | 0 | 498.2083 | 1051 | 1063 | 1030 | 1051 | 1051 | 1050.1962 | 0 | 15 | 03.30-03.45 | 49.99 |  | 1052 |  | 28 | 3
4 | 419.8829 | 29.7057 | 0 | 25 | 0 | 77.75 | 552.3386 | 499.856 | 1052.1946 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1052.1946 | 4 | 414.0833 | 28 | 0 | 442.0833 | 1053 | 1060 | 1041 | 1053 | 1053 | 1052.1946 | 0 | 16 | 03.45-04.00 | 50.01 | 50 | 1041 | 1053 | 28 | 4
5 | 382.8463 | 33.6842 | 0 | 28.75 | 0 | 78 | 523.2805 | 557.1425 | 1080.423 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1080.423 | 5 | 377.5583 | 31.75 | 0 | 409.3083 | 1081.25 | 1119 | 1047 | 1081.25 | 1081.25 | 1080.423 | 0 | 17 | 04.00-04.15 | 50 |  | 1047 |  | 31.75 | 5
6 | 436.4112 | 46.6804 | 37.3494 | 99.75 | 1 | 92 | 713.191 | 569.3273 | 1282.5183 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1282.5183 | 6 | 430.3833 | 44 | 36 | 510.3833 | 1283.5 | 1412 | 1162 | 1283.5 | 1283.5 | 1282.5183 | 0 | 18 | 04.15-04.30 | 50 |  | 1067 |  | 44 | 6
7 | 562.4014 | 46.6804 | 216.5748 | 100 | 77.25 | 91.5 | 1094.4066 | 523.3551 | 1617.7617 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1617.7617 | 7 | 554.6333 | 44 | 208.75 | 807.3833 | 1619 | 1704 | 1512 | 1619 | 1619 | 1617.7617 | 0 | 19 | 04.30-04.45 | 49.95 |  | 1092 |  | 44 | 7
8 | 506.5551 | 11.6701 | 176.891 | 100 | 59.25 | 91 | 945.3661 | 781.6339 | 1727 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1727 | 8 | 499.5583 | 11 | 170.5 | 681.0583 | 1691.5 | 1727 | 1630 | 1727 | 1727 | 1727 | 0 | 20 | 04.45-05.00 | 50 | 49.9875 | 1119 | 1081.25 | 11 | 8
9 | 395.344 | 22.5445 | 19.7122 | 2.25 | 37 | 60.5 | 537.3507 | 1030.6991 | 1568.0498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1568.0498 | 9 | 389.8833 | 21.25 | 19 | 430.1333 | 1569.25 | 1598 | 1555 | 1569.25 | 1569.25 | 1568.0498 | 0 | 21 | 05.00-05.15 | 50.01 |  | 1162 |  | 21.25 | 9
10 | 459.6826 | 0.26523 | 0 | 0 | 37 | 62 | 558.9479 | 1002.6069 | 1561.5547 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1561.5547 | 10 | 453.3333 | 0.25 | 0 | 453.5833 | 1562.75 | 1570 | 1553 | 1562.75 | 1562.75 | 1561.5547 | 0 | 22 | 05.15-05.30 | 49.97 |  | 1230 |  | 0.25 | 10
11 | 466.0202 | 0 | 0 | 0 | 19.5 | 62.75 | 548.2702 | 997.5466 | 1545.8168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1545.8168 | 11 | 459.5833 | 0 | 0 | 459.5833 | 1547 | 1558 | 1536 | 1547 | 1547 | 1545.8168 | 0 | 23 | 05.30-05.45 | 50 |  | 1330 |  | 0 | 11
12 | 437.3745 | 0 | 0 | 0 | 0 | 61 | 498.3745 | 978.7449 | 1477.1194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1477.1194 | 12 | 431.3333 | 0 | 0 | 431.3333 | 1478.25 | 1494 | 1469 | 1478.25 | 1478.25 | 1477.1194 | 0 | 24 | 05.45-06.00 | 50.01 | 49.9975 | 1412 | 1283.5 | 0 | 12
13 | 413.5454 | 0 | 0 | 0 | 0 | 30.75 | 444.2954 | 988.1082 | 1432.4036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1432.4036 | 13 | 407.8333 | 0 | 0 | 407.8333 | 1433.5 | 1462 | 1370 | 1433.5 | 1433.5 | 1432.4036 | 0 | 25 | 06.00-06.15 | 50 |  | 1512 |  | 0 | 13
14 | 382.5168 | 0 | 0 | 0 | 0 | 31 | 413.5168 | 942.9449 | 1356.4617 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1356.4617 | 14 | 377.2333 | 0 | 0 | 377.2333 | 1357.5 | 1357 | 1351 | 1357.5 | 1357.5 | 1356.4617 | 0 | 26 | 06.15-06.30 | 50.03 |  | 1601 |  | 0 | 14
15 | 436.2844 | 0 | 0 | 0 | 0 | 31.5 | 467.7844 | 905.9141 | 1373.6985 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1373.6985 | 15 | 430.2583 | 0 | 0 | 430.2583 | 1374.75 | 1411 | 1353 | 1374.75 | 1374.75 | 1373.6985 | 0 | 27 | 06.30-06.45 | 50.05 |  | 1659 |  | 0 | 15
16 | 475.9828 | 0 | 0 | 0 | 0 | 32.75 | 508.7328 | 911.1804 | 1419.9132 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1419.9132 | 16 | 469.4083 | 0 | 0 | 469.4083 | 1421 | 1432 | 1403 | 1421 | 1421 | 1419.9132 | 0 | 28 | 06.45-07.00 | 50.03 | 50.0275 | 1704 | 1619 | 0 | 16
17 | 406.0417 | 0 | 0 | 0 | 0 | 56 | 462.0417 | 959.3703 | 1421.412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1421.412 | 17 | 400.4333 | 0 | 0 | 400.4333 | 1422.5 | 1432 | 1409 | 1422.5 | 1422.5 | 1421.412 | 0 | 29 | 07.00-07.15 | 50.02 |  | 1725 |  | 0 | 17
18 | 433.9269 | 0.53046 | 0 | 0 | 0 | 85.75 | 520.2073 | 890.4629 | 1410.6702 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1410.6702 | 18 | 427.9333 | 0.5 | 0 | 428.4333 | 1411.75 | 1423 | 1397 | 1411.75 | 1411.75 | 1410.6702 | 0 | 30 | 07.15-07.30 | 50.03 |  | 1727 |  | 0.5 | 18
19 | 436.2084 | 21.4836 | 49.7992 | 0 | 0 | 96.75 | 604.2412 | 786.4443 | 1390.6855 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1390.6855 | 19 | 430.1833 | 20.25 | 48 | 498.4333 | 1391.75 | 1414 | 1374 | 1391.75 | 1391.75 | 1390.6855 | 0 | 31 | 07.30-07.45 | 50.02 |  | 1684 |  | 20.25 | 19
20 | 442.7994 | 46.6804 | 46.9461 | 0 | 18.25 | 97 | 651.676 | 822.6955 | 1474.3715 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1474.3715 | 20 | 436.6833 | 44 | 45.25 | 525.9333 | 1475.5 | 1513 | 1430 | 1475.5 | 1475.5 | 1474.3715 | 0 | 32 | 07.45-08.00 | 50.16 | 50.0575 | 1630 | 1691.5 | 44 | 20
21 | 368.5235 | 46.6804 | 298.536 | 23.75 | 37 | 105.5 | 879.9899 | 530.1807 | 1410.1706 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1410.1706 | 21 | 363.4333 | 44 | 287.75 | 695.1833 | 1411.25 | 1459 | 1370 | 1411.25 | 1411.25 | 1410.1706 | 0 | 33 | 08.00-08.15 | 50.1 |  | 1598 |  | 44 | 21
22 | 407.8162 | 46.6804 | 244.8462 | 25 | 37 | 106 | 867.3428 | 436.9089 | 1304.2517 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1304.2517 | 22 | 402.1833 | 44 | 236 | 682.1833 | 1305.25 | 1340 | 1270 | 1305.25 | 1305.25 | 1304.2517 | 0 | 34 | 08.15-08.30 | 49.97 |  | 1560 |  | 44 | 22
23 | 491.4717 | 46.6804 | 42.0181 | 25 | 37.5 | 105.25 | 747.9202 | 441.6692 | 1189.5895 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1189.5895 | 23 | 484.6833 | 44 | 40.5 | 569.1833 | 1190.5 | 1232 | 1158 | 1190.5 | 1190.5 | 1189.5895 | 0 | 35 | 08.30-08.45 | 49.94 |  | 1564 |  | 44 | 23
24 | 515.5544 | 46.6804 | 60.9522 | 25 | 80.75 | 104.5 | 833.4369 | 291.9517 | 1125.3886 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1125.3886 | 24 | 508.4333 | 44 | 58.75 | 611.1833 | 1126.25 | 1157 | 1091 | 1126.25 | 1126.25 | 1125.3886 | 0 | 36 | 08.45-09.00 | 49.97 | 49.995 | 1555 | 1569.25 | 44 | 24
[34 empty] | 37 | 09.00-09.15 | 49.91 |  | 1553
TOTAL (in MWh) | 10747.8785 | 566 | 1204 | 529.5 | 523.75 | 1868.25 | 15439.3785 | 16897.7271 | 32337.1056 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32337.1056 | TOTAL | 10599.425 | 533.5 | 1160.5 | 12293.425 | 32335 |  |  | 32359.75 | 32359.75 | 32337.1056 | 0 | 38 | 09.15-09.30 | 49.89 |  | 1561
[34 empty] | 39 | 09.30-09.45 | 49.92 |  | 1567
[34 empty] | 40 | 09.45-10.00 | 49.93 | 49.9125 | 1570 | 1562.75
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.996; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.95 |  | 1558
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1727; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.99 |  | 1547
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1727; 5+6 P6 14: MW | MAX = | 1727 | [10 empty] | 43 | 10.30-10.45 | 49.99 |  | 1547
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1026; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1026 | [10 empty] | 44 | 10.45-11.00 | 50.01 | 49.985 | 1536 | 1547
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 10747.8785; 5+6 P6 14: MWH; 5+6 P11 19: 23.998; 5+6 P11/1000 20: 10723.8805 | [12 empty] | 45 | 11.00-11.15 | 50.02 |  | 1494
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 1204; 5+6 P6 14: MWH; 5+6 P11 19: 12.4; 5+6 P11/1000 20: 1191.6 | [12 empty] | 46 | 11.15-11.30 | 50.01 |  | 1479
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 566; 5+6 P6 14: MWH; 5+6 P11 19: 1.018; 5+6 P11/1000 20: 564.982 | [12 empty] | 47 | 11.30-11.45 | 50.04 |  | 1471
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 28; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.02 | 50.0225 | 1469 | 1478.25
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.02 |  | 1462
|  |  | Max.generation of Malana at 100 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50 |  | 1431
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 49.97 |  | 1432
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 473.2303; 5+6 P4 12: 323.2865; 5+6 P11 19: 107.4788; 5+6 P11/1000 20: 107.2388 | [12 empty] | 51 | 12.30-12.45 | 49.98 | 49.9925 | 1409 | 1433.5
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 147.7182; 5+6 P4 12: 104.4393; 5+6 P11 19: 28.1053; 5+6 P11/1000 20: 27.9158 | [12 empty] | 52 | 12.45-13.00 | 49.98 |  | 1370
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 325.5121; 5+6 P4 12: 218.8471; 5+6 P11 19: 79.3735; 5+6 P11/1000 20: 79.323 | [12 empty] | 53 | 13.00-13.15 | 49.96 |  | 1352
[34 empty] | 55 | 13.30-13.45 | 49.95 |  | 1357
[34 empty] | 56 | 13.45-14.00 | 49.97 | 49.965 | 1351 | 1357.5
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 49.97 |  | 1353
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.97 |  | 1364
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2024-04-24 | [12 empty] | 59 | 14.30-14.45 | 49.96 |  | 1371
[34 empty] | 60 | 14.45-15.00 | 49.91 | 49.9525 | 1411 | 1374.75 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 49.89 |  | 1403
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 49.95 |  | 1419 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.97 |  | 1430
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.98 | 49.9475 | 1432 | 1421
1 | [33 empty] | 65 | 16.00-16.15 | 50.01 |  | 1431 | bar: 5+6 P12 21
2 | [33 empty] | 66 | 16.15-16.30 | 49.95 |  | 1418 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 49.89 |  | 1409 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 49.95 | 49.95 | 1432 | 1422.5 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50.02 |  | 1423 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 49.97 |  | 1404 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.01 |  | 1423 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50 | 50 | 1397 | 1411.75 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.05 |  | 1389 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.02 |  | 1390 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.04 |  | 1374 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50.01 | 50.03 | 1414 | 1391.75 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 50.03 |  | 1430 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 50 |  | 1467 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 50.02 |  | 1513 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 49.99 | 50.01 | 1492 | 1475.5 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.03 |  | 1459 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50.05 |  | 1434 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 50.03 |  | 1382 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 50.05 | 50.04 | 1370 | 1411.25 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 50.01 |  | 1340 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 50.03 |  | 1306 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 50.04 |  | 1305
[34 empty] | 88 | 21.45-22.00 | 50.06 | 50.035 | 1270 | 1305.25
[34 empty] | 89 | 22.00-22.15 | 50.03 |  | 1232
[34 empty] | 90 | 22.15-22.30 | 50.02 |  | 1193
[34 empty] | 91 | 22.30-22.45 | 50.03 |  | 1179
[34 empty] | 92 | 22.45-23.00 | 50.02 | 50.025 | 1158 | 1190.5
[34 empty] | 93 | 23.00-23.15 | 50 |  | 1157
[34 empty] | 94 | 23.15-23.30 | 50.01 |  | 1135
[34 empty] | 95 | 23.30-23.45 | 50.02 |  | 1122
[34 empty] | 96 | 23.45-24.00 | 50.02 | 50.0125 | 1091 | 1126.25
[35 empty] | Total | 49.996 | 49.996 | 32335 | 32335
[35 empty] | max | 1727 |  | avg. max | 1691.5
[35 empty] | min | 1026 |  | avg. min | 1036.75
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.