## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2024-04-25
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2024-04-26
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 32535.75 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 549 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 1283 | MWh | MALANA-II | 583 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1703 | [6 empty] | HOLI BAJOLI | 1859.424 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50.02 |  | 1108
|  | Month/Day :- |  |  |  |  | 2024-04-25 | [10 empty] | Min.DEMAND(MW) |  | 1054 |  | ACTUAL OWN GENERATION |  |  | 11058.257 | MWh | SWARA KUDDU | 386 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.04 |  | 1116
[34 empty] | 3 | 00.30-00.45 | 50.04 |  | 1119 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.04 | 50.035 | 1122 | 1116.25 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Distribution constraints (in MW) | Planned maintenance in distribution system (in MW) | Tranmission constraints | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50.02 |  | 1092 |  |  |  | MALANA-2 | 30 | 30 | 30 | 30 | 30.75 | 100.25 | 100 | 100 | 1.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 25 | 25 | 25 | 25 | 577.75
[34 empty] | 6 | 01.15-01.30 | 50 |  | 1086 |  |  |  | SWARA KUDDU | 81 | 1.5 | 0 | 0 | 0 | 0.75 | 74 | 36.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.5 | 37 | 37.75 | 81 | 385.25
[34 empty] | 7 | 01.30-01.45 | 50.02 |  | 1066
[34 empty] | 8 | 01.45-02:00 | 50.01 | 50.0125 | 1084 | 1082
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.98 |  | 1065 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.98 |  | 1072
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.01 |  | 1067
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.02 | 49.9975 | 1059 | 1065.75
1 | 511.4035 | 42.3418 | 68.5421 | 30 | 81 | 104 | 837.2875 | 278.6195 | 1115.907 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1115.907 | 1 | 527.875 | 44 | 69.25 | 641.125 | 1116.25 | 1122 | 1108 | 1116.25 | 1116.25 | 1115.907 | 0 | 13 | 03.00-03.15 | 50.01 |  | 1074 |  | 44 | 1
2 | 477.0113 | 38.9737 | 40.5809 | 30 | 1.5 | 104 | 692.0659 | 389.6017 | 1081.6675 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1081.6675 | 2 | 492.375 | 40.5 | 41 | 573.875 | 1082 | 1092 | 1066 | 1082 | 1082 | 1081.6675 | 0 | 14 | 03.15-03.30 | 50.03 |  | 1062 |  | 40.5 | 2
3 | 463.5692 | 26.9448 | 0.74233 | 30 | 0 | 101 | 622.2563 | 443.1662 | 1065.4225 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1065.4225 | 3 | 478.5 | 28 | 0.75 | 507.25 | 1065.75 | 1072 | 1059 | 1065.75 | 1065.75 | 1065.4225 | 0 | 15 | 03.30-03.45 | 50.03 |  | 1054 |  | 28 | 3
4 | 423.4852 | 26.9448 | 0 | 30 | 0 | 93 | 573.43 | 480.57 | 1054 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1054 | 4 | 437.125 | 28 | 0 | 465.125 | 1065.5 | 1074 | 1054 | 1054 | 1054 | 1054 | 0 | 16 | 03.45-04.00 | 50.02 | 50.0225 | 1072 | 1065.5 | 28 | 4
5 | 397.0613 | 30.5535 | 0 | 30.75 | 0 | 94 | 552.3648 | 541.7989 | 1094.1637 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1094.1637 | 5 | 409.85 | 31.75 | 0 | 441.6 | 1094.5 | 1120 | 1077 | 1094.5 | 1094.5 | 1094.1637 | 0 | 17 | 04.00-04.15 | 50.02 |  | 1077 |  | 31.75 | 5
6 | 436.3702 | 42.3418 | 24.2496 | 100.25 | 0.75 | 94 | 697.9616 | 594.1413 | 1292.1029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1292.1029 | 6 | 450.425 | 44 | 24.5 | 518.925 | 1292.5 | 1445 | 1160 | 1292.5 | 1292.5 | 1292.1029 | 0 | 18 | 04.15-04.30 | 50.02 |  | 1089 |  | 44 | 6
7 | 565.7046 | 42.3418 | 179.6447 | 100 | 74 | 93.5 | 1055.1911 | 566.3105 | 1621.5016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1621.5016 | 7 | 583.925 | 44 | 181.5 | 809.425 | 1622 | 1674 | 1543 | 1622 | 1622 | 1621.5016 | 0 | 19 | 04.30-04.45 | 49.99 |  | 1092 |  | 44 | 7
8 | 537.779 | 42.3418 | 161.8287 | 100 | 36.75 | 92 | 970.6996 | 732.3004 | 1703 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1703 | 8 | 555.1 | 44 | 163.5 | 762.6 | 1681.5 | 1703 | 1648 | 1703 | 1703 | 1703 | 0 | 20 | 04.45-05.00 | 50 | 50.0075 | 1120 | 1094.5 | 44 | 8
9 | 465.1919 | 13.2318 | 24.7445 | 1.75 | 0 | 82 | 586.9182 | 984.3489 | 1571.2671 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1571.2671 | 9 | 480.175 | 13.75 | 25 | 518.925 | 1571.75 | 1598 | 1538 | 1571.75 | 1571.75 | 1571.2671 | 0 | 21 | 05.00-05.15 | 50.01 |  | 1160 |  | 13.75 | 9
10 | 444.5566 | 12.5101 | 0 | 0 | 0 | 32 | 489.0667 | 1070.454 | 1559.5207 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1559.5207 | 10 | 458.875 | 13 | 0 | 471.875 | 1560 | 1581 | 1549 | 1560 | 1560 | 1559.5207 | 0 | 22 | 05.15-05.30 | 50.01 |  | 1230 |  | 13 | 10
11 | 412.3441 | 12.5101 | 0 | 0 | 0 | 31 | 455.8542 | 1041.1857 | 1497.0399 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1497.0399 | 11 | 425.625 | 13 | 0 | 438.625 | 1497.5 | 1513 | 1483 | 1497.5 | 1497.5 | 1497.0399 | 0 | 23 | 05.30-05.45 | 50.02 |  | 1335 |  | 13 | 11
12 | 373.8344 | 0 | 0 | 0 | 0 | 31.25 | 405.0844 | 1063.7141 | 1468.7986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1468.7986 | 12 | 385.875 | 0 | 0 | 385.875 | 1469.25 | 1479 | 1455 | 1469.25 | 1469.25 | 1468.7986 | 0 | 24 | 05.45-06.00 | 50.02 | 50.015 | 1445 | 1292.5 | 0 | 12
13 | 395.1479 | 6.255 | 0 | 0 | 0 | 31 | 432.403 | 972.9151 | 1405.3181 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1405.3181 | 13 | 407.875 | 6.5 | 0 | 414.375 | 1405.75 | 1444 | 1338 | 1405.75 | 1405.75 | 1405.3181 | 0 | 25 | 06.00-06.15 | 50.04 |  | 1543 |  | 6.5 | 13
14 | 388.0273 | 0 | 0 | 0 | 0 | 31.25 | 419.2773 | 909.8142 | 1329.0915 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1329.0915 | 14 | 400.525 | 0 | 0 | 400.525 | 1329.5 | 1344 | 1319 | 1329.5 | 1329.5 | 1329.0915 | 0 | 26 | 06.15-06.30 | 49.96 |  | 1615 |  | 0 | 14
15 | 482.0248 | 0 | 0 | 0 | 0 | 32 | 514.0248 | 851.0557 | 1365.0804 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1365.0804 | 15 | 497.55 | 0 | 0 | 497.55 | 1365.5 | 1392 | 1343 | 1365.5 | 1365.5 | 1365.0804 | 0 | 27 | 06.30-06.45 | 50.02 |  | 1656 |  | 0 | 15
16 | 568.8774 | 0 | 0 | 0 | 0 | 50.25 | 619.1274 | 836.6751 | 1455.8026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1455.8026 | 16 | 587.2 | 0 | 0 | 587.2 | 1456.25 | 1465 | 1439 | 1456.25 | 1456.25 | 1455.8026 | 0 | 28 | 06.45-07.00 | 50.02 | 50.01 | 1674 | 1622 | 0 | 16
17 | 437.3875 | 0 | 0 | 0 | 0 | 65.75 | 503.1375 | 967.6605 | 1470.7979 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1470.7979 | 17 | 451.475 | 0 | 0 | 451.475 | 1471.25 | 1481 | 1459 | 1471.25 | 1471.25 | 1470.7979 | 0 | 29 | 07.00-07.15 | 49.99 |  | 1686 |  | 0 | 17
18 | 392.0962 | 0 | 0 | 0 | 0 | 86.25 | 478.3462 | 950.2147 | 1428.5609 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1428.5609 | 18 | 404.725 | 0 | 0 | 404.725 | 1429 | 1451 | 1400 | 1429 | 1429 | 1428.5609 | 0 | 30 | 07.15-07.30 | 50 |  | 1703 |  | 0 | 18
19 | 425.7619 | 0 | 48.2517 | 0 | 0 | 97.25 | 571.2636 | 811.3115 | 1382.5751 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1382.5751 | 19 | 439.475 | 0 | 48.75 | 488.225 | 1383 | 1386 | 1379 | 1383 | 1383 | 1382.5751 | 0 | 31 | 07.30-07.45 | 49.95 |  | 1689 |  | 0 | 19
20 | 467.9046 | 42.3418 | 33.1576 | 25 | 0 | 107.25 | 675.654 | 777.6494 | 1453.3033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1453.3033 | 20 | 482.975 | 44 | 33.5 | 560.475 | 1453.75 | 1519 | 1331 | 1453.75 | 1453.75 | 1453.3033 | 0 | 32 | 07.45-08.00 | 49.98 | 49.98 | 1648 | 1681.5 | 44 | 20
21 | 471.2954 | 42.3418 | 57.6546 | 25 | 35.5 | 106.5 | 738.2917 | 683.2713 | 1421.5631 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1421.5631 | 21 | 486.475 | 44 | 58.25 | 588.725 | 1422 | 1461 | 1389 | 1422 | 1422 | 1421.5631 | 0 | 33 | 08.00-08.15 | 49.92 |  | 1598 |  | 44 | 21
22 | 476.3815 | 42.3418 | 154.4054 | 25 | 37 | 106 | 841.1288 | 478.4657 | 1319.5944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1319.5944 | 22 | 491.725 | 44 | 156 | 691.725 | 1320 | 1365 | 1273 | 1320 | 1320 | 1319.5944 | 0 | 34 | 08.15-08.30 | 49.97 |  | 1579 |  | 44 | 22
23 | 480.9833 | 42.3418 | 295.9437 | 25 | 37.75 | 106 | 988.0188 | 237.6045 | 1225.6233 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1225.6233 | 23 | 496.475 | 44 | 299 | 839.475 | 1226 | 1248 | 1206 | 1226 | 1226 | 1225.6233 | 0 | 35 | 08.30-08.45 | 49.93 |  | 1572 |  | 44 | 23
24 | 564.0576 | 42.3418 | 193.2542 | 25 | 81 | 104.5 | 1010.1536 | 144.7414 | 1154.895 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1154.895 | 24 | 582.225 | 44 | 195.25 | 821.475 | 1155.25 | 1181 | 1133 | 1155.25 | 1155.25 | 1154.895 | 0 | 36 | 08.45-09.00 | 49.95 | 49.9425 | 1538 | 1571.75 | 44 | 24
[34 empty] | 37 | 09.00-09.15 | 49.97 |  | 1581
TOTAL (in MWh) | 11058.257 | 549 | 1283 | 577.75 | 385.25 | 1875.75 | 15729.007 | 16807.5901 | 32536.5971 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32536.5971 | TOTAL | 11414.425 | 570.5 | 1296.25 | 13281.175 | 32535.75 |  |  | 32545.75 | 32545.75 | 32536.5971 | 0 | 38 | 09.15-09.30 | 50.02 |  | 1559
[34 empty] | 39 | 09.30-09.45 | 50.02 |  | 1551
[34 empty] | 40 | 09.45-10.00 | 50.02 | 50.0075 | 1549 | 1560
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 50.0023; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.04 |  | 1513
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1703; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.02 |  | 1498
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1703; 5+6 P6 14: MW | MAX = | 1703 | [10 empty] | 43 | 10.30-10.45 | 50.02 |  | 1483
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1054; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1054 | [10 empty] | 44 | 10.45-11.00 | 50.05 | 50.0325 | 1496 | 1497.5
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 11058.257; 5+6 P6 14: MWH; 5+6 P11 19: 26.871; 5+6 P11/1000 20: 11031.386 | [12 empty] | 45 | 11.00-11.15 | 50.05 |  | 1475
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 1283; 5+6 P6 14: MWH; 5+6 P11 19: 15.5; 5+6 P11/1000 20: 1267.5 | [12 empty] | 46 | 11.15-11.30 | 50.02 |  | 1479
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 549; 5+6 P6 14: MWH; 5+6 P11 19: 1.15; 5+6 P11/1000 20: 547.85 | [12 empty] | 47 | 11.30-11.45 | 50.01 |  | 1468
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 28; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.02 | 50.025 | 1455 | 1469.25
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.07 |  | 1444
|  |  | Max.generation of Malana at 100 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50.05 |  | 1412
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 50.06 |  | 1396
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 474.9319; 5+6 P4 12: 462.9887; 5+6 P11 19: 110.5826; 5+6 P11/1000 20: 110.3139 | [12 empty] | 51 | 12.30-12.45 | 50.09 | 50.0675 | 1371 | 1405.75
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 125.2385; 5+6 P4 12: 111.4928; 5+6 P11 19: 29.342; 5+6 P11/1000 20: 29.113 | [12 empty] | 52 | 12.45-13.00 | 50.26 |  | 1338
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 349.6934; 5+6 P4 12: 351.4959; 5+6 P11 19: 81.2406; 5+6 P11/1000 20: 81.2009 | [12 empty] | 53 | 13.00-13.15 | 50.04 |  | 1317
[34 empty] | 55 | 13.30-13.45 | 49.99 |  | 1319
[34 empty] | 56 | 13.45-14.00 | 49.97 | 50.065 | 1344 | 1329.5
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 49.94 |  | 1343
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.95 |  | 1343
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2024-04-25 | [12 empty] | 59 | 14.30-14.45 | 49.96 |  | 1384
[34 empty] | 60 | 14.45-15.00 | 49.97 | 49.955 | 1392 | 1365.5 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 49.98 |  | 1439
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 49.92 |  | 1464 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.86 |  | 1457
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.95 | 49.9275 | 1465 | 1456.25
1 | [33 empty] | 65 | 16.00-16.15 | 50.07 |  | 1472 | bar: 5+6 P12 21
2 | [33 empty] | 66 | 16.15-16.30 | 49.99 |  | 1481 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 49.97 |  | 1473 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 49.97 | 50 | 1459 | 1471.25 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50.02 |  | 1451 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50 |  | 1442 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.01 |  | 1423 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 49.99 | 50.005 | 1400 | 1429 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.04 |  | 1382 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.01 |  | 1385 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.03 |  | 1386 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50.02 | 50.025 | 1379 | 1383 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 50.01 |  | 1331 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 49.99 |  | 1458 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 49.93 |  | 1507 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 49.98 | 49.9775 | 1519 | 1453.75 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.04 |  | 1461 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50.03 |  | 1425 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.99 |  | 1413 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 50.01 | 50.0175 | 1389 | 1422 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 49.97 |  | 1365 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 49.96 |  | 1343 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 49.98 |  | 1299
[34 empty] | 88 | 21.45-22.00 | 50.04 | 49.9875 | 1273 | 1320
[34 empty] | 89 | 22.00-22.15 | 50.01 |  | 1248
[34 empty] | 90 | 22.15-22.30 | 50 |  | 1237
[34 empty] | 91 | 22.30-22.45 | 50.01 |  | 1213
[34 empty] | 92 | 22.45-23.00 | 49.97 | 49.9975 | 1206 | 1226
[34 empty] | 93 | 23.00-23.15 | 49.91 |  | 1181
[34 empty] | 94 | 23.15-23.30 | 49.97 |  | 1162
[34 empty] | 95 | 23.30-23.45 | 49.91 |  | 1145
[34 empty] | 96 | 23.45-24.00 | 49.98 | 49.9425 | 1133 | 1155.25
[35 empty] | Total | 50.0023 | 50.0023 | 32535.75 | 32535.75
[35 empty] | max | 1703 |  | avg. max | 1681.5
[35 empty] | min | 1054 |  | avg. min | 1065.5
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.