## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2024-03-31
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2024-04-01
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 26367.25 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 582 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 738 | MWh | MALANA-II | 445 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1441 | [6 empty] | HOLI BAJOLI | 1356.251 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50.03 |  | 902
|  | Month/Day :- |  |  |  |  | 2024-03-31 | [10 empty] | Min.DEMAND(MW) |  | 803 |  | ACTUAL OWN GENERATION |  |  | 8561.6 | MWh | SWARA KUDDU | 522 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.02 |  | 879
[34 empty] | 3 | 00.30-00.45 | 49.98 |  | 879 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.97 | 50 | 897 | 889.25 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Distribution constraints (in MW) | Planned maintenance in distribution system (in MW) | Tranmission constraints | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.96 |  | 858 |  |  |  | MALANA-2 | 25 | 25 | 25 | 18.5 | 12 | 12 | 12.25 | 66.5 | 100 | 100 | 45.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 441.5
[34 empty] | 6 | 01.15-01.30 | 49.93 |  | 880 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.5 | 78.75 | 49 | 37 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 36.75 | 81 | 81 | 77.5 | 60.25 | 0 | 520.25
[34 empty] | 7 | 01.30-01.45 | 49.99 |  | 875
[34 empty] | 8 | 01.45-02:00 | 49.95 | 49.9575 | 888 | 875.25
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.94 |  | 863 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.92 |  | 851
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.97 |  | 840
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.01 | 49.96 | 826 | 845
1 | 334.3341 | 29.313 | 0 | 25 | 0 | 31.5 | 420.147 | 469.1367 | 889.2837 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3333 | 0 | 1.3333 | 0.0013333 | 890.6171 | 1 | 329.4167 | 29.25 | 0 | 358.6667 | 889.25 | 902 | 879 | 889.25 | 889.25 | 889.2837 | 1.3333 | 13 | 03.00-03.15 | 50 |  | 821 |  | 29.25 | 1
2 | 303.3788 | 0.25054 | 0 | 25 | 0 | 32 | 360.6293 | 514.6539 | 875.2832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.53333 | 0 | 0.53333 | 0.00053333 | 875.8165 | 2 | 298.9167 | 0.25 | 0 | 299.1667 | 875.25 | 888 | 858 | 875.25 | 875.25 | 875.2832 | 0.53333 | 14 | 03.15-03.30 | 49.99 |  | 824 |  | 0.25 | 2
3 | 299.1922 | 0 | 0 | 25 | 0 | 32 | 356.1922 | 488.8398 | 845.032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 845.032 | 3 | 294.7917 | 0 | 0 | 294.7917 | 845 | 863 | 826 | 845 | 845 | 845.032 | 0 | 15 | 03.30-03.45 | 50.01 |  | 816 |  | 0 | 3
4 | 312.2594 | 0 | 0 | 18.5 | 0 | 32 | 362.7594 | 440.2406 | 803 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 803 | 4 | 307.6667 | 0 | 0 | 307.6667 | 816 | 824 | 803 | 803 | 803 | 803 | 0 | 16 | 03.45-04.00 | 50.02 | 50.005 | 803 | 816 | 0 | 4
5 | 339.1296 | 0.75161 | 0 | 12 | 0 | 31 | 382.8812 | 437.3999 | 820.2811 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 820.2811 | 5 | 334.1417 | 0.75 | 0 | 334.8917 | 820.25 | 827 | 815 | 820.25 | 820.25 | 820.2811 | 0 | 17 | 04.00-04.15 | 49.99 |  | 819 |  | 0.75 | 5
6 | 356.2058 | 44.0947 | 0 | 12 | 0 | 53.5 | 465.8005 | 439.4838 | 905.2843 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 905.2843 | 6 | 350.9667 | 44 | 0 | 394.9667 | 905.25 | 948 | 853 | 905.25 | 905.25 | 905.2843 | 0 | 18 | 04.15-04.30 | 50 |  | 820 |  | 44 | 6
7 | 373.2058 | 44.0947 | 0 | 12.25 | 0 | 91.25 | 520.8005 | 585.7414 | 1106.542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1106.542 | 7 | 367.7167 | 44 | 0 | 411.7167 | 1106.5 | 1211 | 982 | 1106.5 | 1106.5 | 1106.542 | 0 | 19 | 04.30-04.45 | 50.01 |  | 815 |  | 44 | 7
8 | 358.1595 | 44.5958 | 0 | 66.5 | 18.5 | 89 | 576.7553 | 733.5444 | 1310.2997 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1310.2997 | 8 | 352.8917 | 44.5 | 0 | 397.3917 | 1310.25 | 1362 | 1249 | 1310.25 | 1310.25 | 1310.2997 | 0 | 20 | 04.45-05.00 | 49.97 | 49.9925 | 827 | 820.25 | 44.5 | 8
9 | 412.2805 | 45.0969 | 21.4258 | 100 | 78.75 | 88.25 | 745.8032 | 647.2496 | 1393.0528 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1393.0528 | 9 | 406.2167 | 45 | 20.25 | 471.4667 | 1393 | 1413 | 1371 | 1393 | 1393 | 1393.0528 | 0 | 21 | 05.00-05.15 | 49.93 |  | 853 |  | 45 | 9
10 | 466.021 | 56.1205 | 180.4 | 100 | 49 | 89 | 940.5415 | 500.4585 | 1441 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1441 | 10 | 459.1667 | 56 | 170.5 | 685.6667 | 1429 | 1441 | 1421 | 1441 | 1441 | 1441 | 0 | 22 | 05.15-05.30 | 49.94 |  | 889 |  | 56 | 10
11 | 421.1104 | 65.1399 | 162.9419 | 45.25 | 37 | 48 | 779.4422 | 600.1101 | 1379.5523 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1379.5523 | 11 | 414.9167 | 65 | 154 | 633.9167 | 1379.5 | 1417 | 1336 | 1379.5 | 1379.5 | 1379.5523 | 0 | 23 | 05.30-05.45 | 49.98 |  | 931 |  | 65 | 11
12 | 357.4237 | 11.7753 | 50.7871 | 0 | 0.5 | 28 | 448.4861 | 859.8135 | 1308.2996 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1308.2996 | 12 | 352.1667 | 11.75 | 48 | 411.9167 | 1308.25 | 1313 | 1302 | 1308.25 | 1308.25 | 1308.2996 | 0 | 24 | 05.45-06.00 | 50.02 | 49.9675 | 948 | 905.25 | 11.75 | 12
13 | 327.4833 | 0 | 0 | 0 | 0 | 28 | 355.4833 | 905.8145 | 1261.2978 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1261.2978 | 13 | 322.6667 | 0 | 0 | 322.6667 | 1261.25 | 1274 | 1211 | 1261.25 | 1261.25 | 1261.2978 | 0 | 25 | 06.00-06.15 | 50.08 |  | 982 |  | 0 | 13
14 | 309.1131 | 0 | 0 | 0 | 0 | 27 | 336.1131 | 866.4325 | 1202.5456 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1202.5456 | 14 | 304.5667 | 0 | 0 | 304.5667 | 1202.5 | 1205 | 1191 | 1202.5 | 1202.5 | 1202.5456 | 0 | 26 | 06.15-06.30 | 50.05 |  | 1078 |  | 0 | 14
15 | 351.5117 | 0 | 0 | 0 | 0 | 28 | 379.5117 | 780.5323 | 1160.044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1160.044 | 15 | 346.3417 | 0 | 0 | 346.3417 | 1160 | 1175 | 1145 | 1160 | 1160 | 1160.044 | 0 | 27 | 06.30-06.45 | 50.09 |  | 1155 |  | 0 | 15
16 | 307.2609 | 0 | 0 | 0 | 0 | 28.25 | 335.5109 | 801.0322 | 1136.5431 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1136.5431 | 16 | 302.7417 | 0 | 0 | 302.7417 | 1136.5 | 1155 | 1125 | 1136.5 | 1136.5 | 1136.5431 | 0 | 28 | 06.45-07.00 | 50.11 | 50.0825 | 1211 | 1106.5 | 0 | 16
17 | 315.9132 | 9.771 | 0 | 0 | 0 | 28.25 | 353.9341 | 745.6076 | 1099.5417 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1099.5417 | 17 | 311.2667 | 9.75 | 0 | 321.0167 | 1099.5 | 1128 | 1080 | 1099.5 | 1099.5 | 1099.5417 | 0 | 29 | 07.00-07.15 | 50.16 |  | 1249 |  | 9.75 | 17
18 | 355.2416 | 20.043 | 0 | 0 | 0 | 50.5 | 425.7846 | 653.2563 | 1079.0409 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1079.0409 | 18 | 350.0167 | 20 | 0 | 370.0167 | 1079 | 1086 | 1065 | 1079 | 1079 | 1079.0409 | 0 | 30 | 07.15-07.30 | 50.11 |  | 1274 |  | 20 | 18
19 | 377.57 | 20.2936 | 0 | 0 | 36.75 | 89.5 | 524.1136 | 561.6776 | 1085.7912 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1085.7912 | 19 | 372.0167 | 20.25 | 0 | 392.2667 | 1085.75 | 1129 | 1062 | 1085.75 | 1085.75 | 1085.7912 | 0 | 31 | 07.30-07.45 | 50.06 |  | 1356 |  | 20.25 | 19
20 | 372.2416 | 43.8442 | 49.729 | 0 | 81 | 93.25 | 640.0648 | 569.9811 | 1210.0459 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1210.0459 | 20 | 366.7667 | 43.75 | 47 | 457.5167 | 1210 | 1234 | 1195 | 1210 | 1210 | 1210.0459 | 0 | 32 | 07.45-08.00 | 50.05 | 50.095 | 1362 | 1310.25 | 43.75 | 20
21 | 409.5402 | 29.313 | 152.8903 | 0 | 81 | 94 | 766.7435 | 382.5501 | 1149.2936 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1149.2936 | 21 | 403.5167 | 29.25 | 144.5 | 577.2667 | 1149.25 | 1170 | 1128 | 1149.25 | 1149.25 | 1149.2936 | 0 | 33 | 08.00-08.15 | 49.99 |  | 1371 |  | 29.25 | 21
22 | 413.0925 | 29.313 | 113.4774 | 0 | 77.5 | 94 | 727.3829 | 337.9075 | 1065.2904 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1065.2904 | 22 | 407.0167 | 29.25 | 107.25 | 543.5167 | 1065.25 | 1101 | 1009 | 1065.25 | 1065.25 | 1065.2904 | 0 | 34 | 08.15-08.30 | 49.99 |  | 1378 |  | 29.25 | 22
23 | 331.3908 | 44.0947 | 6.3484 | 0 | 60.25 | 94 | 536.0839 | 423.9525 | 960.0364 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 960.0364 | 23 | 326.5167 | 44 | 6 | 376.5167 | 960 | 987 | 919 | 960 | 960 | 960.0364 | 0 | 35 | 08.30-08.45 | 49.98 |  | 1410 |  | 44 | 23
24 | 358.5401 | 44.0947 | 0 | 0 | 0 | 55.25 | 457.8848 | 422.8986 | 880.7834 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880.7834 | 24 | 353.2667 | 44 | 0 | 397.2667 | 880.75 | 925 | 861 | 880.75 | 880.75 | 880.7834 | 0 | 36 | 08.45-09.00 | 50.02 | 49.995 | 1413 | 1393 | 44 | 24
[34 empty] | 37 | 09.00-09.15 | 49.95 |  | 1432
TOTAL (in MWh) | 8561.6 | 582 | 738 | 441.5 | 520.25 | 1355.5 | 12198.85 | 14168.3149 | 26367.1649 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8667 | 0 | 1.8667 | 0.0018667 | 26369.0316 | TOTAL | 8435.675 | 580.75 | 697.5 | 9713.925 | 26367.25 |  |  | 26366.25 | 26366.25 | 26367.1649 | 1.8667 | 38 | 09.15-09.30 | 49.97 |  | 1422
[34 empty] | 39 | 09.30-09.45 | 49.96 |  | 1421
[34 empty] | 40 | 09.45-10.00 | 49.94 | 49.955 | 1441 | 1429
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9958; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.91 |  | 1417
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1441; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.95 |  | 1407
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1441; 5+6 P6 14: MW | MAX = | 1441 | [10 empty] | 43 | 10.30-10.45 | 49.96 |  | 1358
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 803; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 803 | [10 empty] | 44 | 10.45-11.00 | 50 | 49.955 | 1336 | 1379.5
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 8561.6; 5+6 P6 14: MWH; 5+6 P11 19: 23.521; 5+6 P11/1000 20: 8538.079 | [12 empty] | 45 | 11.00-11.15 | 50.01 |  | 1311
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 738; 5+6 P6 14: MWH; 5+6 P11 19: 7.9; 5+6 P11/1000 20: 730.1 | [12 empty] | 46 | 11.15-11.30 | 49.98 |  | 1313
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 582; 5+6 P6 14: MWH; 5+6 P11 19: 1.232; 5+6 P11/1000 20: 580.768 | [12 empty] | 47 | 11.30-11.45 | 50.01 |  | 1307
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 0; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.04 | 50.01 | 1302 | 1308.25
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.05 |  | 1274
|  |  | Max.generation of Malana at 1100 Hrs. |  |  |  | 5+6 P4 12: 65; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50.04 |  | 1261
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 50.04 |  | 1247
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 296.5571; 5+6 P4 12: 316.908; 5+6 P11 19: 85.616; 5+6 P11/1000 20: 85.3808 | [12 empty] | 51 | 12.30-12.45 | 50.05 | 50.045 | 1263 | 1261.25
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 42.1534; 5+6 P4 12: 90.9897; 5+6 P11 19: 21.524; 5+6 P11/1000 20: 21.3434 | [12 empty] | 52 | 12.45-13.00 | 50.1 |  | 1211
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 254.4037; 5+6 P4 12: 225.9183; 5+6 P11 19: 64.092; 5+6 P11/1000 20: 64.0374 | [12 empty] | 53 | 13.00-13.15 | 50.06 |  | 1203
[34 empty] | 55 | 13.30-13.45 | 50.08 |  | 1205
[34 empty] | 56 | 13.45-14.00 | 50.01 | 50.0625 | 1191 | 1202.5
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 50.01 |  | 1175
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.97 |  | 1175
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2024-03-31 | [12 empty] | 59 | 14.30-14.45 | 49.92 |  | 1145
[34 empty] | 60 | 14.45-15.00 | 49.91 | 49.9525 | 1145 | 1160 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 49.92 |  | 1155
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 49.99 |  | 1139 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.9 |  | 1125
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.93 | 49.935 | 1127 | 1136.5
1 | 132 KV Jassore Dehra line | 8 | 0 | 8 | 0 | 50 | 7: 1; 8: 4; 5+6 P1 9: 0; 5+6 P2 10: 14; 5+6 P3 11: 0.018667; 5+6 P4 12: O/C E/F B PHASE | [12 empty] | 65 | 16.00-16.15 | 50 |  | 1128
2 | [33 empty] | 66 | 16.15-16.30 | 49.95 |  | 1089 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 49.97 |  | 1080 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 50.01 | 49.9825 | 1101 | 1099.5 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50.02 |  | 1082 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 49.98 |  | 1083 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 49.99 |  | 1086 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 49.94 | 49.9825 | 1065 | 1079 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.07 |  | 1062 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.01 |  | 1077 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.03 |  | 1075 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50.02 | 50.0325 | 1129 | 1085.75 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 49.97 |  | 1195 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 49.93 |  | 1234 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 49.92 |  | 1216 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 49.96 | 49.945 | 1195 | 1210 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.01 |  | 1170 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 49.99 |  | 1162 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.98 |  | 1137 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 50 | 49.995 | 1128 | 1149.25 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 49.98 |  | 1101 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 50 |  | 1087 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 49.97 |  | 1064
[34 empty] | 88 | 21.45-22.00 | 50.02 | 49.9925 | 1009 | 1065.25
[34 empty] | 89 | 22.00-22.15 | 49.96 |  | 987
[34 empty] | 90 | 22.15-22.30 | 49.98 |  | 972
[34 empty] | 91 | 22.30-22.45 | 50 |  | 962
[34 empty] | 92 | 22.45-23.00 | 50.02 | 49.99 | 919 | 960
[34 empty] | 93 | 23.00-23.15 | 49.99 |  | 925
[34 empty] | 94 | 23.15-23.30 | 50.04 |  | 869
[34 empty] | 95 | 23.30-23.45 | 50.01 |  | 868
[34 empty] | 96 | 23.45-24.00 | 50 | 50.01 | 861 | 880.75
[35 empty] | Total | 49.9958 | 49.9958 | 26367.25 | 26367.25
[35 empty] | max | 1441 |  | avg. max | 1429
[35 empty] | min | 803 |  | avg. min | 816
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.