## Form-15_DTR
Frequent Single Element TRIPPING REPORT OF LINES SUMMARY
HIMACHAL PRADESH
STATE LOAD DESPATCH CENTER
Monthly Frequent Single Element Tripping Report Summary For The Month of March 2024
Sr. No. | Date | Name of Transmission Line | Tripping Time |  | Restoration Time |  | Load Shedding | Reason of Tripping | Tripping due to the Element
|  |  | Hour | Minute | Hour | Minute | (MW)
1 | 03-Mar-2024 | 400 KV Kala Amb(PKTL)-Wangto_GIS(HP) (HPPTCL) Ckt-1 | 2 | 22 | 5 | 39 | 0 | Wangtoo Kala Amb Ckt tripped at 02:22 Hours and fault was cleared by Distance Protection Main 1 & Main 2. Probable cause shared by PHTL team was heavy rain fall in the area. 3. Fault Current Iy = 7.631 kA Ib = 7.652 kA
2 | 03-Mar-2024 | 400 KV Kala Amb(PKTL)-Wangto_GIS(HP) (HPPTCL) Ckt-1 | 5 | 45 | 11 | 5 | 0 | Wangtoo Kala Amb Ckt tripped at 05:45 Hours and fault was cleared by distance protection main 2. Probable cause shared by PHTL team was heavy rain fall in the area. Fault Current Ib = 1.145 kA In = 1.152 Ka