## Sheet1
Load Crash Analysis Report
March, 2024
Sr. No. | Line Name | Owner/ Agency Name | Sending Region | Recieveng end Region | Tripping Time |  | Restoration Time |  | Duration |  | Load Crash | Reason of Tripping
[5 empty] | Hour | Minute | Hour | Minute | Hour | Minute | (MW)
1 | 132 KV Dehar(BB)-Kangoo(HP) (HPPTCL) Ckt-1 | BBMB | NR | NR | 4 | 9 | 5 | 54 | 1 | 45 | 49 | SF-6 Breaker tripped off at Dehar Power House. Due to Bad wheather conditins & Heavy Lightning
2 | 220 KV Dehar(BB)-Kangoo(HP) (HP) Ckt-1 | BBMB | NR | NR | 4 | 24 | 5 | 54 | 1 | 30 | 49 | SF- 6 Breaker tripped off at Dehar power house. Due to bad wheather condition & Heavy lightning