## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2024-04-13
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2024-04-14
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 32838.5 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 496 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 906 | MWh | MALANA-II | 523 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1670 | [6 empty] | HOLI BAJOLI | 1216 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.88 |  | 1146
|  | Month/Day :- |  |  |  |  | 2024-04-13 | [10 empty] | Min.DEMAND(MW) |  | 1059 |  | ACTUAL OWN GENERATION |  |  | 9628.9225 | MWh | SWARA KUDDU | 410 | MWh |  |  |  |  | 2 | 00.15-00.30 | 49.97 |  | 1115
[34 empty] | 3 | 00.30-00.45 | 49.96 |  | 1096 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.96 | 49.9425 | 1080 | 1109.25 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Distribution constraints (in MW) | Planned maintenance in distribution system (in MW) | Tranmission constraints | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.97 |  | 1082 |  |  |  | MALANA-2 | 28 | 27.75 | 25.25 | 25 | 31 | 100 | 99.5 | 95.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29.75 | 30 | 30 | 522
[34 empty] | 6 | 01.15-01.30 | 49.95 |  | 1083 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 0.25 | 70.25 | 70.25 | 5.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75 | 37 | 59.75 | 81 | 56.25 | 28.25 | 409.25
[34 empty] | 7 | 01.30-01.45 | 49.93 |  | 1082
[34 empty] | 8 | 01.45-02:00 | 49.99 | 49.96 | 1090 | 1084.25
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.95 |  | 1070 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.97 |  | 1076
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.96 |  | 1066
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.97 | 49.9625 | 1059 | 1067.75
1 | 429.7554 | 36.0041 | 86.0662 | 28 | 0 | 33.25 | 613.0756 | 495.8451 | 1108.9208 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1108.9208 | 1 | 437.0417 | 35.75 | 84 | 556.7917 | 1109.25 | 1146 | 1080 | 1109.25 | 1109.25 | 1108.9208 | 0 | 13 | 03.00-03.15 | 49.9 |  | 1065 |  | 35.75 | 1
2 | 373.4599 | 27.1919 | 50.9737 | 27.75 | 0 | 31.25 | 510.6255 | 573.3027 | 1083.9282 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1083.9282 | 2 | 379.7917 | 27 | 49.75 | 456.5417 | 1084.25 | 1090 | 1082 | 1084.25 | 1084.25 | 1083.9282 | 0 | 14 | 03.15-03.30 | 49.91 |  | 1076 |  | 27 | 2
3 | 358.587 | 27.1919 | 2.0492 | 25.25 | 0 | 31.5 | 444.5781 | 614.4219 | 1059 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1059 | 3 | 364.6667 | 27 | 2 | 393.6667 | 1067.75 | 1076 | 1059 | 1059 | 1059 | 1059 | 0 | 15 | 03.30-03.45 | 49.97 |  | 1061 |  | 27 | 3
4 | 366.8224 | 27.1919 | 0 | 25 | 0 | 32 | 451.0143 | 617.4185 | 1068.4328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1068.4328 | 4 | 373.0417 | 27 | 0 | 400.0417 | 1068.75 | 1076 | 1061 | 1068.75 | 1068.75 | 1068.4328 | 0 | 16 | 03.45-04.00 | 49.99 | 49.9425 | 1073 | 1068.75 | 27 | 4
5 | 325.498 | 27.1919 | 8.1968 | 31 | 0 | 31.5 | 423.3867 | 670.7884 | 1094.1751 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1094.1751 | 5 | 331.0167 | 27 | 8 | 366.0167 | 1094.5 | 1105 | 1072 | 1094.5 | 1094.5 | 1094.1751 | 0 | 17 | 04.00-04.15 | 49.98 |  | 1072 |  | 27 | 5
6 | 371.0507 | 40.2843 | 45.5946 | 100 | 0.25 | 59 | 616.1796 | 645.1959 | 1261.3755 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1261.3755 | 6 | 377.3417 | 40 | 44.5 | 461.8417 | 1261.75 | 1394 | 1152 | 1261.75 | 1261.75 | 1261.3755 | 0 | 18 | 04.15-04.30 | 49.94 |  | 1105 |  | 40 | 6
7 | 520.2708 | 40.2843 | 109.1196 | 99.5 | 70.25 | 77.5 | 916.9246 | 647.8608 | 1564.7854 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1564.7854 | 7 | 529.0917 | 40 | 106.5 | 675.5917 | 1565.25 | 1633 | 1477 | 1565.25 | 1565.25 | 1564.7854 | 0 | 19 | 04.30-04.45 | 49.94 |  | 1096 |  | 40 | 7
8 | 466.8515 | 40.2843 | 48.1561 | 95.75 | 70.25 | 30 | 751.2918 | 918.7082 | 1670 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1670 | 8 | 474.7667 | 40 | 47 | 561.7667 | 1651.5 | 1670 | 1637 | 1670 | 1670 | 1670 | 0 | 20 | 04.45-05.00 | 49.88 | 49.935 | 1105 | 1094.5 | 40 | 8
9 | 366.3799 | 40.536 | 17.162 | 0 | 5.5 | 29 | 458.578 | 1175.6868 | 1634.2648 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1634.2648 | 9 | 372.5917 | 40.25 | 16.75 | 429.5917 | 1634.75 | 1638 | 1629 | 1634.75 | 1634.75 | 1634.2648 | 0 | 21 | 05.00-05.15 | 49.84 |  | 1152 |  | 40.25 | 9
10 | 408.6139 | 0 | 0 | 0 | 0 | 29.5 | 438.1139 | 1222.893 | 1661.0068 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1661.0068 | 10 | 415.5417 | 0 | 0 | 415.5417 | 1661.5 | 1669 | 1648 | 1661.5 | 1661.5 | 1661.0068 | 0 | 22 | 05.15-05.30 | 49.91 |  | 1220 |  | 0 | 10
11 | 449.1762 | 0 | 0 | 0 | 0 | 29.25 | 478.4262 | 1163.8362 | 1642.2624 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1642.2624 | 11 | 456.7917 | 0 | 0 | 456.7917 | 1642.75 | 1650 | 1633 | 1642.75 | 1642.75 | 1642.2624 | 0 | 23 | 05.30-05.45 | 49.96 |  | 1281 |  | 0 | 11
12 | 424.8388 | 0 | 0 | 0 | 0 | 30.75 | 455.5888 | 1114.9449 | 1570.5337 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1570.5337 | 12 | 432.0417 | 0 | 0 | 432.0417 | 1571 | 1605 | 1540 | 1571 | 1571 | 1570.5337 | 0 | 24 | 05.45-06.00 | 50 | 49.9275 | 1394 | 1261.75 | 0 | 12
13 | 329.4559 | 0 | 0 | 0 | 0 | 31 | 360.4559 | 1136.5996 | 1497.0555 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1497.0555 | 13 | 335.0417 | 0 | 0 | 335.0417 | 1497.5 | 1524 | 1412 | 1497.5 | 1497.5 | 1497.0555 | 0 | 25 | 06.00-06.15 | 50.02 |  | 1477 |  | 0 | 13
14 | 334.2743 | 0 | 0 | 0 | 0 | 31.75 | 366.0243 | 1037.3091 | 1403.3333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1403.3333 | 14 | 339.9417 | 0 | 0 | 339.9417 | 1403.75 | 1416 | 1399 | 1403.75 | 1403.75 | 1403.3333 | 0 | 26 | 06.15-06.30 | 50 |  | 1557 |  | 0 | 14
15 | 351.0154 | 0 | 0 | 0 | 0 | 32 | 383.0154 | 1052.3084 | 1435.3238 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1435.3238 | 15 | 356.9667 | 0 | 0 | 356.9667 | 1435.75 | 1440 | 1429 | 1435.75 | 1435.75 | 1435.3238 | 0 | 27 | 06.30-06.45 | 50.03 |  | 1594 |  | 0 | 15
16 | 338.8713 | 0 | 0 | 0 | 0 | 33 | 371.8713 | 1021.2151 | 1393.0864 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1393.0864 | 16 | 344.6167 | 0 | 0 | 344.6167 | 1393.5 | 1404 | 1384 | 1393.5 | 1393.5 | 1393.0864 | 0 | 28 | 06.45-07.00 | 50.04 | 50.0225 | 1633 | 1565.25 | 0 | 16
17 | 359.3 | 0 | 2.8176 | 0 | 0 | 35.25 | 397.3676 | 1020.4614 | 1417.829 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1417.829 | 17 | 365.3917 | 0 | 2.75 | 368.1417 | 1418.25 | 1422 | 1413 | 1418.25 | 1418.25 | 1417.829 | 0 | 29 | 07.00-07.15 | 50.02 |  | 1637 |  | 0 | 17
18 | 376.5082 | 0 | 54.5598 | 0 | 0 | 81.25 | 512.318 | 881.2682 | 1393.5862 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1393.5862 | 18 | 382.8917 | 0 | 53.25 | 436.1417 | 1394 | 1411 | 1376 | 1394 | 1394 | 1393.5862 | 0 | 30 | 07.15-07.30 | 50.03 |  | 1637 |  | 0 | 18
19 | 415.3497 | 0 | 32.7871 | 0 | 0.75 | 86.5 | 535.3868 | 839.9549 | 1375.3417 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1375.3417 | 19 | 422.3917 | 0 | 32 | 454.3917 | 1375.75 | 1399 | 1354 | 1375.75 | 1375.75 | 1375.3417 | 0 | 31 | 07.30-07.45 | 50 |  | 1662 |  | 0 | 19
20 | 427.3954 | 27.4437 | 62.7566 | 0 | 37 | 84.75 | 639.3457 | 812.7232 | 1452.0689 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1452.0689 | 20 | 434.6417 | 27.25 | 61.25 | 523.1417 | 1452.5 | 1467 | 1419 | 1452.5 | 1452.5 | 1452.0689 | 0 | 32 | 07.45-08.00 | 50.03 | 50.02 | 1670 | 1651.5 | 27.25 | 20
21 | 447.7995 | 29.4579 | 51.7422 | 0 | 59.75 | 85.25 | 673.9995 | 694.8441 | 1368.8436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1368.8436 | 21 | 455.3917 | 29.25 | 50.5 | 535.1417 | 1369.25 | 1409 | 1336 | 1369.25 | 1369.25 | 1368.8436 | 0 | 33 | 08.00-08.15 | 50.02 |  | 1629 |  | 29.25 | 21
22 | 457.6328 | 44.3127 | 51.2299 | 29.75 | 81 | 95.5 | 759.4253 | 544.9374 | 1304.3627 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1304.3627 | 22 | 465.3917 | 44 | 50 | 559.3917 | 1304.75 | 1317 | 1285 | 1304.75 | 1304.75 | 1304.3627 | 0 | 34 | 08.15-08.30 | 50.07 |  | 1637 |  | 44 | 22
23 | 470.9077 | 44.3127 | 64.5496 | 30 | 56.25 | 95.25 | 761.27 | 462.6166 | 1223.8866 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1223.8866 | 23 | 478.8917 | 44 | 63 | 585.8917 | 1224.25 | 1254 | 1195 | 1224.25 | 1224.25 | 1223.8866 | 0 | 35 | 08.30-08.45 | 50.07 |  | 1635 |  | 44 | 23
24 | 459.1078 | 44.3127 | 218.2392 | 30 | 28.25 | 94 | 873.9097 | 281.9972 | 1155.9068 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1155.9068 | 24 | 466.8917 | 44 | 213 | 723.8917 | 1156.25 | 1175 | 1137 | 1156.25 | 1156.25 | 1155.9068 | 0 | 36 | 08.45-09.00 | 50.06 | 50.055 | 1638 | 1634.75 | 44 | 24
[34 empty] | 37 | 09.00-09.15 | 49.98 |  | 1648
TOTAL (in MWh) | 9628.9225 | 496 | 906 | 522 | 409.25 | 1230 | 13192.1725 | 19647.1375 | 32839.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32839.31 | TOTAL | 9792.175 | 492.5 | 884.25 | 11168.925 | 32838.5 |  |  | 32848.25 | 32848.25 | 32839.31 | 0 | 38 | 09.15-09.30 | 49.97 |  | 1669
[34 empty] | 39 | 09.30-09.45 | 49.96 |  | 1669
[34 empty] | 40 | 09.45-10.00 | 49.96 | 49.9675 | 1660 | 1661.5
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9792; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.95 |  | 1644
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1670; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.94 |  | 1633
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1670; 5+6 P6 14: MW | MAX = | 1670 | [10 empty] | 43 | 10.30-10.45 | 49.87 |  | 1644
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1059; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1059 | [10 empty] | 44 | 10.45-11.00 | 49.96 | 49.93 | 1650 | 1642.75
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 9628.9225; 5+6 P6 14: MWH; 5+6 P11 19: 25.292; 5+6 P11/1000 20: 9603.6305 | [12 empty] | 45 | 11.00-11.15 | 49.89 |  | 1605
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 906; 5+6 P6 14: MWH; 5+6 P11 19: 16.5; 5+6 P11/1000 20: 889.5 | [12 empty] | 46 | 11.15-11.30 | 49.83 |  | 1583
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 496; 5+6 P6 14: MWH; 5+6 P11 19: 0.924; 5+6 P11/1000 20: 495.076 | [12 empty] | 47 | 11.30-11.45 | 50.01 |  | 1556
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 27; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.08 | 49.9525 | 1540 | 1571
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.18 |  | 1524
|  |  | Max.generation of Malana at 2200 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50.1 |  | 1508
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 50.09 |  | 1500
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 366.7275; 5+6 P4 12: 357.0461; 5+6 P11 19: 96.2892; 5+6 P11/1000 20: 96.0363 | [12 empty] | 51 | 12.30-12.45 | 50.03 | 50.1 | 1458 | 1497.5
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 46.2933; 5+6 P4 12: 98.2763; 5+6 P11 19: 21.4992; 5+6 P11/1000 20: 21.2889 | [12 empty] | 52 | 12.45-13.00 | 50.04 |  | 1412
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 320.4342; 5+6 P4 12: 258.7699; 5+6 P11 19: 74.79; 5+6 P11/1000 20: 74.7474 | [12 empty] | 53 | 13.00-13.15 | 50.02 |  | 1388
[34 empty] | 55 | 13.30-13.45 | 49.97 |  | 1399
[34 empty] | 56 | 13.45-14.00 | 49.93 | 49.99 | 1416 | 1403.75
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 49.97 |  | 1438
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 50.01 |  | 1440
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2024-04-13 | [12 empty] | 59 | 14.30-14.45 | 50.03 |  | 1436
[34 empty] | 60 | 14.45-15.00 | 50.06 | 50.0175 | 1429 | 1435.75 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 50.09 |  | 1404
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 50.06 |  | 1395 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 50.11 |  | 1391
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 50.05 | 50.0775 | 1384 | 1393.5
1 | [33 empty] | 65 | 16.00-16.15 | 50.08 |  | 1421 | bar: 5+6 P12 21
2 | [33 empty] | 66 | 16.15-16.30 | 49.99 |  | 1422 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 49.96 |  | 1417 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 49.98 | 50.0025 | 1413 | 1418.25 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 49.95 |  | 1410 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 49.94 |  | 1411 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 49.98 |  | 1379 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50 | 49.9675 | 1376 | 1394 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 49.98 |  | 1375 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 49.9 |  | 1354 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 49.98 |  | 1375 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 49.96 | 49.955 | 1399 | 1375.75 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 49.98 |  | 1419 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 49.98 |  | 1467 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 49.95 |  | 1466 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 49.93 | 49.96 | 1458 | 1452.5 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 49.94 |  | 1409 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 49.87 |  | 1374 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.92 |  | 1358 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 49.87 | 49.9 | 1336 | 1369.25 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 49.82 |  | 1317 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 49.88 |  | 1315 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 49.98 |  | 1302
[34 empty] | 88 | 21.45-22.00 | 50.03 | 49.9275 | 1285 | 1304.75
[34 empty] | 89 | 22.00-22.15 | 50.02 |  | 1254
[34 empty] | 90 | 22.15-22.30 | 50 |  | 1239
[34 empty] | 91 | 22.30-22.45 | 50.01 |  | 1209
[34 empty] | 92 | 22.45-23.00 | 49.91 | 49.985 | 1195 | 1224.25
[34 empty] | 93 | 23.00-23.15 | 49.99 |  | 1175
[34 empty] | 94 | 23.15-23.30 | 50 |  | 1159
[34 empty] | 95 | 23.30-23.45 | 49.98 |  | 1154
[34 empty] | 96 | 23.45-24.00 | 50.03 | 50 | 1137 | 1156.25
[35 empty] | Total | 49.9792 | 49.9792 | 32838.5 | 32838.5
[35 empty] | max | 1670 |  | avg. max | 1661.5
[35 empty] | min | 1059 |  | avg. min | 1067.75
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.