## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2024-04-14
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2024-04-15
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 29234.25 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 565 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 984.1 | MWh | MALANA-II | 493 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1562 | [6 empty] | HOLI BAJOLI | 1473 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.97 |  | 1128
|  | Month/Day :- |  |  |  |  | 2024-04-14 | [10 empty] | Min.DEMAND(MW) |  | 952 |  | ACTUAL OWN GENERATION |  |  | 10240.749 | MWh | SWARA KUDDU | 378.745 | MWh |  |  |  |  | 2 | 00.15-00.30 | 49.96 |  | 1112
[34 empty] | 3 | 00.30-00.45 | 49.98 |  | 1112 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.01 | 49.98 | 1105 | 1114.25 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Distribution constraints (in MW) | Planned maintenance in distribution system (in MW) | Tranmission constraints | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50 |  | 1097 |  |  |  | MALANA-2 | 27.5 | 27 | 26.75 | 27.5 | 28.5 | 96.5 | 99.25 | 99.25 | 6.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.5 | 22 | 22 | 494
[34 empty] | 6 | 01.15-01.30 | 50 |  | 1096 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 0.5 | 69.25 | 73.25 | 9.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75 | 37 | 81 | 77.75 | 28.25 | 0 | 377.5
[34 empty] | 7 | 01.30-01.45 | 49.97 |  | 1080
[34 empty] | 8 | 01.45-02:00 | 49.99 | 49.99 | 1075 | 1087
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.88 |  | 1069 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.86 |  | 1063
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.01 |  | 1061
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.04 | 49.9475 | 1052 | 1061.25
1 | 446.5137 | 42.1492 | 199.4058 | 27.5 | 0 | 95 | 810.5687 | 303.2241 | 1113.7928 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1113.7928 | 1 | 457.5417 | 42 | 200.5 | 700.0417 | 1114.25 | 1128 | 1105 | 1114.25 | 1114.25 | 1113.7928 | 0 | 13 | 03.00-03.15 | 50.01 |  | 1056 |  | 42 | 1
2 | 405.282 | 37.1314 | 69.1207 | 27 | 0 | 86.5 | 625.0342 | 461.5198 | 1086.554 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1086.554 | 2 | 415.2917 | 37 | 69.5 | 521.7917 | 1087 | 1097 | 1075 | 1087 | 1087 | 1086.554 | 0 | 14 | 03.15-03.30 | 50.02 |  | 1052 |  | 37 | 2
3 | 396.6209 | 37.1314 | 43.014 | 26.75 | 0 | 31.5 | 535.0163 | 525.7982 | 1060.8146 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1060.8146 | 3 | 406.4167 | 37 | 43.25 | 486.6667 | 1061.25 | 1069 | 1052 | 1061.25 | 1061.25 | 1060.8146 | 0 | 15 | 03.30-03.45 | 50 |  | 1052 |  | 37 | 3
4 | 387.9598 | 37.1314 | 39.5331 | 27.5 | 0 | 32 | 524.1243 | 532.9418 | 1057.0661 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1057.0661 | 4 | 397.5417 | 37 | 39.75 | 474.2917 | 1057.5 | 1070 | 1052 | 1057.5 | 1057.5 | 1057.0661 | 0 | 16 | 03.45-04.00 | 50 | 50.0075 | 1070 | 1057.5 | 37 | 4
5 | 358.9025 | 37.1314 | 29.8363 | 28.5 | 0 | 31.75 | 486.1202 | 606.9311 | 1093.0513 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1093.0513 | 5 | 367.7667 | 37 | 30 | 434.7667 | 1093.5 | 1108 | 1076 | 1093.5 | 1093.5 | 1093.0513 | 0 | 17 | 04.00-04.15 | 50 |  | 1076 |  | 37 | 5
6 | 404.5989 | 40.1421 | 29.8363 | 96.5 | 0.5 | 85 | 656.5773 | 538.4322 | 1195.0095 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1195.0095 | 6 | 414.5917 | 40 | 30 | 484.5917 | 1195.5 | 1269 | 1119 | 1195.5 | 1195.5 | 1195.0095 | 0 | 18 | 04.15-04.30 | 49.95 |  | 1088 |  | 40 | 6
7 | 503.6525 | 40.1421 | 94.9788 | 99.25 | 69.25 | 91.5 | 898.7734 | 537.1372 | 1435.9106 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1435.9106 | 7 | 516.0917 | 40 | 95.5 | 651.5917 | 1436.5 | 1501 | 1358 | 1436.5 | 1436.5 | 1435.9106 | 0 | 19 | 04.30-04.45 | 49.92 |  | 1108 |  | 40 | 7
8 | 500.8955 | 40.1421 | 73.0989 | 99.25 | 73.25 | 90.5 | 877.1365 | 684.8635 | 1562 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1562 | 8 | 513.2667 | 40 | 73.5 | 626.7667 | 1543.25 | 1562 | 1518 | 1562 | 1562 | 1562 | 0 | 20 | 04.45-05.00 | 49.99 | 49.965 | 1102 | 1093.5 | 40 | 8
9 | 447.7823 | 39.8912 | 52.7108 | 6.25 | 9.75 | 30 | 586.3843 | 949.2354 | 1535.6197 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1535.6197 | 9 | 458.8417 | 39.75 | 53 | 551.5917 | 1536.25 | 1556 | 1517 | 1536.25 | 1536.25 | 1535.6197 | 0 | 21 | 05.00-05.15 | 49.94 |  | 1119 |  | 39.75 | 9
10 | 414.553 | 0 | 36.0522 | 0 | 0 | 28.25 | 478.8552 | 1030.5252 | 1509.3804 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1509.3804 | 10 | 424.7917 | 0 | 36.25 | 461.0417 | 1510 | 1512 | 1507 | 1510 | 1510 | 1509.3804 | 0 | 22 | 05.15-05.30 | 49.97 |  | 1176 |  | 0 | 10
11 | 441.6342 | 0 | 0 | 0 | 0 | 29 | 470.6342 | 994.7643 | 1465.3985 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1465.3985 | 11 | 452.5417 | 0 | 0 | 452.5417 | 1466 | 1486 | 1454 | 1466 | 1466 | 1465.3985 | 0 | 23 | 05.30-05.45 | 49.98 |  | 1218 |  | 0 | 11
12 | 374.2973 | 0 | 0 | 0 | 0 | 26.5 | 400.7973 | 953.8967 | 1354.6939 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 50 | 0.05 | 1404.6939 | 12 | 383.5417 | 0 | 0 | 383.5417 | 1355.25 | 1389 | 1340 | 1355.25 | 1355.25 | 1354.6939 | 50 | 24 | 05.45-06.00 | 49.96 | 49.9625 | 1269 | 1195.5 | 0 | 12
13 | 343.8005 | 0 | 0 | 0 | 0 | 28 | 371.8005 | 903.1762 | 1274.9767 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 50 | 0.05 | 1324.9767 | 13 | 352.2917 | 0 | 0 | 352.2917 | 1275.5 | 1311 | 1179 | 1275.5 | 1275.5 | 1274.9767 | 50 | 25 | 06.00-06.15 | 50.04 |  | 1358 |  | 0 | 13
14 | 382.0069 | 0 | 0 | 0 | 0 | 28 | 410.0069 | 758.7634 | 1168.7702 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 50 | 0.05 | 1218.7702 | 14 | 391.4417 | 0 | 0 | 391.4417 | 1169.25 | 1172 | 1165 | 1169.25 | 1169.25 | 1168.7702 | 50 | 26 | 06.15-06.30 | 49.98 |  | 1427 |  | 0 | 14
15 | 419.6033 | 0 | 0 | 0 | 0 | 28 | 447.6033 | 718.4181 | 1166.0214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 50 | 0.05 | 1216.0214 | 15 | 429.9667 | 0 | 0 | 429.9667 | 1166.5 | 1188 | 1153 | 1166.5 | 1166.5 | 1166.0214 | 50 | 27 | 06.30-06.45 | 50.01 |  | 1460 |  | 0 | 15
16 | 470.2524 | 0 | 0 | 0 | 0 | 28.5 | 498.7524 | 677.2649 | 1176.0173 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 50 | 0.05 | 1226.0173 | 16 | 481.8667 | 0 | 0 | 481.8667 | 1176.5 | 1185 | 1165 | 1176.5 | 1176.5 | 1176.0173 | 50 | 28 | 06.45-07.00 | 50.04 | 50.0175 | 1501 | 1436.5 | 0 | 16
17 | 449.7829 | 0.25089 | 0 | 0 | 0 | 33 | 483.0338 | 700.4804 | 1183.5142 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 50 | 0.05 | 1233.5142 | 17 | 460.8917 | 0.25 | 0 | 461.1417 | 1184 | 1186 | 1182 | 1184 | 1184 | 1183.5142 | 50 | 29 | 07.00-07.15 | 50.03 |  | 1518 |  | 0.25 | 17
18 | 392.6929 | 11.0391 | 16.6586 | 0 | 0 | 72 | 492.3906 | 668.3829 | 1160.7735 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 50 | 0.05 | 1210.7735 | 18 | 402.3917 | 11 | 16.75 | 430.1417 | 1161.25 | 1170 | 1148 | 1161.25 | 1161.25 | 1160.7735 | 50 | 30 | 07.15-07.30 | 50.03 |  | 1558 |  | 11 | 18
19 | 413.6747 | 11.29 | 42.7653 | 0 | 0.75 | 89.25 | 557.73 | 611.0402 | 1168.7702 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 25 | 0.025 | 1193.7702 | 19 | 423.8917 | 11.25 | 43 | 478.1417 | 1169.25 | 1188 | 1153 | 1169.25 | 1169.25 | 1168.7702 | 25 | 31 | 07.30-07.45 | 50.04 |  | 1562 |  | 11.25 | 19
20 | 443.9275 | 29.6048 | 67.6289 | 0 | 37 | 100.75 | 678.9112 | 551.0839 | 1229.9951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1229.9951 | 20 | 454.8917 | 29.5 | 68 | 552.3917 | 1230.5 | 1237 | 1223 | 1230.5 | 1230.5 | 1229.9951 | 0 | 32 | 07.45-08.00 | 50.07 | 50.0425 | 1535 | 1543.25 | 29.5 | 20
21 | 424.8975 | 29.3539 | 30.3336 | 0 | 81 | 106 | 671.585 | 510.4298 | 1182.0148 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1182.0148 | 21 | 435.3917 | 29.25 | 30.5 | 495.1417 | 1182.5 | 1208 | 1156 | 1182.5 | 1182.5 | 1182.0148 | 0 | 33 | 08.00-08.15 | 50.02 |  | 1556 |  | 29.25 | 21
22 | 439.536 | 44.1563 | 29.8363 | 11.5 | 77.75 | 106 | 708.7786 | 379.2748 | 1088.0534 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1088.0534 | 22 | 450.3917 | 44 | 30 | 524.3917 | 1088.5 | 1125 | 1063 | 1088.5 | 1088.5 | 1088.0534 | 0 | 34 | 08.15-08.30 | 50.05 |  | 1548 |  | 44 | 22
23 | 468.081 | 44.1563 | 39.7817 | 22 | 28.25 | 105.5 | 707.769 | 307.3143 | 1015.0833 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1015.0833 | 23 | 479.6417 | 44 | 40 | 563.6417 | 1015.5 | 1041 | 982 | 1015.5 | 1015.5 | 1015.0833 | 0 | 35 | 08.30-08.45 | 50.05 |  | 1517 |  | 44 | 23
24 | 509.8006 | 44.1563 | 89.5088 | 22 | 0 | 104 | 769.4658 | 182.5342 | 952 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 952 | 24 | 522.3917 | 44 | 90 | 656.3917 | 958.75 | 965 | 952 | 952 | 952 | 952 | 0 | 36 | 08.45-09.00 | 50.01 | 50.0325 | 1524 | 1536.25 | 44 | 24
[34 empty] | 37 | 09.00-09.15 | 50.01 |  | 1507
TOTAL (in MWh) | 10240.749 | 565 | 984.1 | 494 | 377.5 | 1486.5 | 14147.849 | 15087.4325 | 29235.2815 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 375 | 0 | 375 | 0.375 | 29610.2815 | TOTAL | 10493.675 | 563 | 989.5 | 12046.175 | 29234.25 |  |  | 29246.25 | 29246.25 | 29235.2815 | 375 | 38 | 09.15-09.30 | 49.99 |  | 1512
[34 empty] | 39 | 09.30-09.45 | 49.99 |  | 1511
[34 empty] | 40 | 09.45-10.00 | 50.02 | 50.0025 | 1510 | 1510
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9927; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.03 |  | 1486
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1562; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.05 |  | 1462
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1562; 5+6 P6 14: MW | MAX = | 1562 | [10 empty] | 43 | 10.30-10.45 | 49.98 |  | 1454
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 952; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 952 | [10 empty] | 44 | 10.45-11.00 | 50.02 | 50.02 | 1462 | 1466
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 10240.749; 5+6 P6 14: MWH; 5+6 P11 19: 31.065; 5+6 P11/1000 20: 10209.684 | [12 empty] | 45 | 11.00-11.15 | 50.03 |  | 1389
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 984.1; 5+6 P6 14: MWH; 5+6 P11 19: 19.7; 5+6 P11/1000 20: 964.4 | [12 empty] | 46 | 11.15-11.30 | 50.01 |  | 1350
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 565; 5+6 P6 14: MWH; 5+6 P11 19: 1.083; 5+6 P11/1000 20: 563.917 | [12 empty] | 47 | 11.30-11.45 | 50.03 |  | 1342
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 37; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.08 | 50.0375 | 1340 | 1355.25
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.2 |  | 1311
|  |  | Max.generation of Malana at 2200 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50.07 |  | 1289
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 50 |  | 1260
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 407.6578; 5+6 P4 12: 400.1376; 5+6 P11 19: 102.4075; 5+6 P11/1000 20: 102.0968 | [12 empty] | 51 | 12.30-12.45 | 50.02 | 50.0725 | 1242 | 1275.5
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 70.8737; 5+6 P4 12: 97.8365; 5+6 P11 19: 24.7288; 5+6 P11/1000 20: 24.4559 | [12 empty] | 52 | 12.45-13.00 | 50.02 |  | 1179
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 336.7841; 5+6 P4 12: 302.3011; 5+6 P11 19: 77.6787; 5+6 P11/1000 20: 77.6409 | [12 empty] | 53 | 13.00-13.15 | 50.02 |  | 1161
[34 empty] | 55 | 13.30-13.45 | 50.03 |  | 1172
[34 empty] | 56 | 13.45-14.00 | 49.98 | 50.0125 | 1165 | 1169.25
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 49.93 |  | 1168
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.86 |  | 1153
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2024-04-14 | [12 empty] | 59 | 14.30-14.45 | 49.97 |  | 1157
[34 empty] | 60 | 14.45-15.00 | 49.99 | 49.9375 | 1188 | 1166.5 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 50.01 |  | 1176
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 50.03 |  | 1165 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 50.04 |  | 1180
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 50.03 | 50.0275 | 1185 | 1176.5
1 | 66kv Akkanwali ckt - 1 & 2 | 50 | 0 | 50 | 11 | 0 | 7: 18; 8: 30; 5+6 P1 9: 7; 5+6 P2 10: 30; 5+6 P3 11: 3.75; 5+6 P4 12: plan shutdown | [12 empty] | 65 | 16.00-16.15 | 50.06 |  | 1185
2 | [33 empty] | 66 | 16.15-16.30 | 50.01 |  | 1186 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 50 |  | 1182 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 49.98 | 50.0125 | 1183 | 1184 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50.02 |  | 1170 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50.01 |  | 1161 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.02 |  | 1166 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50.04 | 50.0225 | 1148 | 1161.25 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.09 |  | 1153 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.04 |  | 1160 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.01 |  | 1176 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 49.97 | 50.0275 | 1188 | 1169.25 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 49.93 |  | 1223 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 49.93 |  | 1237 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 49.98 |  | 1230 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 49.98 | 49.955 | 1232 | 1230.5 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 49.96 |  | 1208 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 49.92 |  | 1194 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.9 |  | 1172 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 49.98 | 49.94 | 1156 | 1182.5 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 49.96 |  | 1125 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 49.94 |  | 1098 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 49.93 |  | 1068
[34 empty] | 88 | 21.45-22.00 | 49.97 | 49.95 | 1063 | 1088.5
[34 empty] | 89 | 22.00-22.15 | 49.91 |  | 1041
[34 empty] | 90 | 22.15-22.30 | 49.9 |  | 1032
[34 empty] | 91 | 22.30-22.45 | 49.9 |  | 1007
[34 empty] | 92 | 22.45-23.00 | 49.9 | 49.9025 | 982 | 1015.5
[34 empty] | 93 | 23.00-23.15 | 49.9 |  | 965
[34 empty] | 94 | 23.15-23.30 | 49.98 |  | 965
[34 empty] | 95 | 23.30-23.45 | 49.97 |  | 952
[34 empty] | 96 | 23.45-24.00 | 49.99 | 49.96 | 953 | 958.75
[35 empty] | Total | 49.9927 | 49.9927 | 29234.25 | 29234.25
[35 empty] | max | 1562 |  | avg. max | 1543.25
[35 empty] | min | 952 |  | avg. min | 958.75
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.