## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2024-04-15
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2024-04-16
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 27204.5 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 606 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 1246.6 | MWh | MALANA-II | 609 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1493 | [6 empty] | HOLI BAJOLI | 1253 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.93 |  | 913
|  | Month/Day :- |  |  |  |  | 2024-04-15 | [10 empty] | Min.DEMAND(MW) |  | 878 |  | ACTUAL OWN GENERATION |  |  | 11169.8825 | MWh | SWARA KUDDU | 357.902 | MWh |  |  |  |  | 2 | 00.15-00.30 | 49.96 |  | 907
[34 empty] | 3 | 00.30-00.45 | 49.92 |  | 900 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50 | 49.9525 | 903 | 905.75 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Distribution constraints (in MW) | Planned maintenance in distribution system (in MW) | Tranmission constraints | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50.01 |  | 909 |  |  |  | MALANA-2 | 27 | 27 | 27.25 | 27 | 28.5 | 96 | 99.75 | 99.5 | 2.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.25 | 28 | 28 | 28 | 28 | 28 | 28 | 604
[34 empty] | 6 | 01.15-01.30 | 50 |  | 905 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 0.5 | 69.5 | 70.25 | 9.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 37 | 81 | 77.5 | 10 | 0 | 356.25
[34 empty] | 7 | 01.30-01.45 | 50.01 |  | 905
[34 empty] | 8 | 01.45-02:00 | 50 | 50.005 | 906 | 906.25
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.97 |  | 899 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.96 |  | 902
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50 |  | 899
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50 | 49.9825 | 892 | 898
1 | 537.5897 | 44.0727 | 97.3484 | 27 | 0 | 94 | 800.0108 | 105.5145 | 905.5253 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 905.5253 | 1 | 549.1667 | 44 | 99 | 692.1667 | 905.75 | 913 | 900 | 905.75 | 905.75 | 905.5253 | 0 | 13 | 03.00-03.15 | 50 |  | 878 |  | 44 | 1
2 | 447.7739 | 28.5471 | 90.711 | 27 | 0 | 92.25 | 686.282 | 219.7432 | 906.0252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 906.0252 | 2 | 457.4167 | 28.5 | 92.25 | 578.1667 | 906.25 | 909 | 905 | 906.25 | 906.25 | 906.0252 | 0 | 14 | 03.15-03.30 | 49.98 |  | 900 |  | 28.5 | 2
3 | 447.4068 | 28.0463 | 97.3484 | 27.25 | 0 | 92 | 692.0515 | 205.7258 | 897.7772 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 897.7772 | 3 | 457.0417 | 28 | 99 | 584.0417 | 898 | 902 | 892 | 898 | 898 | 897.7772 | 0 | 15 | 03.30-03.45 | 49.95 |  | 891 |  | 28 | 3
4 | 456.8289 | 28.0463 | 68.0947 | 27 | 0 | 31.25 | 611.2199 | 266.7801 | 878 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 878 | 4 | 466.6667 | 28 | 69.25 | 563.9167 | 892.5 | 901 | 878 | 878 | 878 | 878 | 0 | 16 | 03.45-04.00 | 49.99 | 49.98 | 901 | 892.5 | 28 | 4
5 | 408.3479 | 28.0463 | 29.4995 | 28.5 | 0 | 31.5 | 525.8937 | 404.3755 | 930.2692 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 930.2692 | 5 | 417.1417 | 28 | 30 | 475.1417 | 930.5 | 957 | 896 | 930.5 | 930.5 | 930.2692 | 0 | 17 | 04.00-04.15 | 49.96 |  | 896 |  | 28 | 5
6 | 389.8219 | 44.0727 | 34.4161 | 96 | 0.5 | 33.25 | 598.0607 | 477.4224 | 1075.4832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1075.4832 | 6 | 398.2167 | 44 | 35 | 477.2167 | 1075.75 | 1181 | 974 | 1075.75 | 1075.75 | 1075.4832 | 0 | 18 | 04.15-04.30 | 49.94 |  | 927 |  | 44 | 6
7 | 477.6799 | 44.0727 | 104.2316 | 99.75 | 69.5 | 92.25 | 887.4842 | 453.4331 | 1340.9173 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1340.9173 | 7 | 487.9667 | 44 | 106 | 637.9667 | 1341.25 | 1402 | 1257 | 1341.25 | 1341.25 | 1340.9173 | 0 | 19 | 04.30-04.45 | 49.96 |  | 942 |  | 44 | 7
8 | 507.4635 | 44.0727 | 175.2762 | 99.5 | 70.25 | 91 | 987.5624 | 484.3223 | 1471.8848 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1471.8848 | 8 | 518.3917 | 44 | 178.25 | 740.6417 | 1472.25 | 1483 | 1449 | 1472.25 | 1472.25 | 1471.8848 | 0 | 20 | 04.45-05.00 | 49.92 | 49.945 | 957 | 930.5 | 44 | 8
9 | 461.283 | 44.0727 | 93.6609 | 2.75 | 9.5 | 93.5 | 704.7666 | 788.2334 | 1493 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1493 | 9 | 471.2167 | 44 | 95.25 | 610.4667 | 1471.75 | 1493 | 1451 | 1493 | 1493 | 1493 | 0 | 21 | 05.00-05.15 | 49.95 |  | 974 |  | 44 | 9
10 | 477.3862 | 22.0364 | 6.6374 | 0 | 0 | 94.5 | 600.5599 | 829.0853 | 1429.6453 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1429.6453 | 10 | 487.6667 | 22 | 6.75 | 516.4167 | 1430 | 1456 | 1385 | 1430 | 1430 | 1429.6453 | 0 | 22 | 05.15-05.30 | 49.93 |  | 1037 |  | 22 | 10
11 | 481.5466 | 0 | 0 | 0 | 0 | 87 | 568.5466 | 821.6085 | 1390.1551 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1390.1551 | 11 | 491.9167 | 0 | 0 | 491.9167 | 1390.5 | 1401 | 1376 | 1390.5 | 1390.5 | 1390.1551 | 0 | 23 | 05.30-05.45 | 49.94 |  | 1111 |  | 0 | 11
12 | 438.2294 | 0 | 0 | 0 | 0 | 31 | 469.2294 | 826.1991 | 1295.4286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1295.4286 | 12 | 447.6667 | 0 | 0 | 447.6667 | 1295.75 | 1336 | 1271 | 1295.75 | 1295.75 | 1295.4286 | 0 | 24 | 05.45-06.00 | 49.96 | 49.945 | 1181 | 1075.75 | 0 | 12
13 | 465.1497 | 0 | 0 | 0 | 0 | 31 | 496.1497 | 741.5432 | 1237.6929 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.6667 | 0 | 18.6667 | 0.018667 | 1256.3596 | 13 | 475.1667 | 0 | 0 | 475.1667 | 1238 | 1250 | 1178 | 1238 | 1238 | 1237.6929 | 18.6667 | 25 | 06.00-06.15 | 49.92 |  | 1257 |  | 0 | 13
14 | 422.2241 | 0 | 0 | 0 | 0 | 31.75 | 453.9741 | 684.2435 | 1138.2176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 20 | 0.02 | 1158.2176 | 14 | 431.3167 | 0 | 0 | 431.3167 | 1138.5 | 1121 | 1103 | 1138.5 | 1138.5 | 1138.2176 | 20 | 26 | 06.15-06.30 | 49.94 |  | 1334 |  | 0 | 14
15 | 431.3036 | 0 | 0 | 0 | 0 | 32.75 | 464.0536 | 631.6745 | 1095.7281 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 20 | 0.02 | 1115.7281 | 15 | 440.5917 | 0 | 0 | 440.5917 | 1096 | 1107 | 1079 | 1096 | 1096 | 1095.7281 | 20 | 27 | 06.30-06.45 | 50.03 |  | 1372 |  | 0 | 15
16 | 416.5219 | 0 | 0 | 0 | 0 | 36.25 | 452.7719 | 632.7088 | 1085.4807 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 20 | 0.02 | 1105.4807 | 16 | 425.4917 | 0 | 0 | 425.4917 | 1085.75 | 1093 | 1080 | 1085.75 | 1085.75 | 1085.4807 | 20 | 28 | 06.45-07.00 | 50.05 | 49.985 | 1402 | 1341.25 | 0 | 16
17 | 426.5803 | 0 | 0 | 0 | 0 | 92.5 | 519.0803 | 584.3959 | 1103.4762 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 20 | 0.02 | 1123.4762 | 17 | 435.7667 | 0 | 0 | 435.7667 | 1103.75 | 1111 | 1098 | 1103.75 | 1103.75 | 1103.4762 | 20 | 29 | 07.00-07.15 | 50.03 |  | 1449 |  | 0 | 17
18 | 460.353 | 0.50083 | 0 | 1.25 | 0 | 97.5 | 559.6038 | 540.6232 | 1100.227 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 10 | 0.01 | 1110.227 | 18 | 470.2667 | 0.5 | 0 | 470.7667 | 1100.5 | 1122 | 1078 | 1100.5 | 1100.5 | 1100.227 | 10 | 30 | 07.15-07.30 | 50.05 |  | 1475 |  | 0.5 | 18
19 | 522.2696 | 29.2983 | 0 | 28 | 1 | 101.5 | 682.068 | 461.1484 | 1143.2163 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1143.2163 | 19 | 533.5167 | 29.25 | 0 | 562.7667 | 1143.5 | 1157 | 1128 | 1143.5 | 1143.5 | 1143.2163 | 0 | 31 | 07.30-07.45 | 50.03 |  | 1483 |  | 29.25 | 19
20 | 536.9534 | 44.0727 | 45.4784 | 28 | 37 | 106 | 797.5046 | 433.1901 | 1230.6946 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1230.6946 | 20 | 548.5167 | 44 | 46.25 | 638.7667 | 1231 | 1259 | 1186 | 1231 | 1231 | 1230.6946 | 0 | 32 | 07.45-08.00 | 50 | 50.0275 | 1482 | 1472.25 | 44 | 20
21 | 463.5345 | 44.0727 | 88.2527 | 28 | 81 | 106 | 810.8599 | 340.3545 | 1151.2144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1151.2144 | 21 | 473.5167 | 44 | 89.75 | 607.2667 | 1151.5 | 1185 | 1111 | 1151.5 | 1151.5 | 1151.2144 | 0 | 33 | 08.00-08.15 | 49.89 |  | 1493 |  | 44 | 21
22 | 491.9231 | 44.0727 | 107.4274 | 28 | 77.5 | 106 | 854.9232 | 194.8163 | 1049.7395 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1049.7395 | 22 | 502.5167 | 44 | 109.25 | 655.7667 | 1050 | 1079 | 1019 | 1050 | 1050 | 1049.7395 | 0 | 34 | 08.15-08.30 | 49.96 |  | 1481 |  | 44 | 22
23 | 499.9992 | 44.3231 | 141.5976 | 28 | 10 | 105 | 828.92 | 134.5909 | 963.5109 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 963.5109 | 23 | 510.7667 | 44.25 | 144 | 699.0167 | 963.75 | 1003 | 929 | 963.75 | 963.75 | 963.5109 | 0 | 35 | 08.30-08.45 | 49.91 |  | 1462 |  | 44.25 | 23
24 | 501.7123 | 44.5736 | 66.6197 | 28 | 0 | 105 | 745.9056 | 145.8731 | 891.7787 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 891.7787 | 24 | 512.5167 | 44.5 | 67.75 | 624.7667 | 892 | 896 | 888 | 892 | 892 | 891.7787 | 0 | 36 | 08.45-09.00 | 49.99 | 49.9375 | 1451 | 1471.75 | 44.5 | 24
[34 empty] | 37 | 09.00-09.15 | 49.9 |  | 1451
TOTAL (in MWh) | 11169.8825 | 606 | 1246.6 | 604 | 356.25 | 1814.75 | 15797.4825 | 11407.6056 | 27205.0881 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.6667 | 0 | 108.6667 | 0.10867 | 27313.7548 | TOTAL | 11410.425 | 605 | 1267.75 | 13283.175 | 27204.5 |  |  | 27211.25 | 27211.25 | 27205.0881 | 108.6667 | 38 | 09.15-09.30 | 49.87 |  | 1456
[34 empty] | 39 | 09.30-09.45 | 49.93 |  | 1428
[34 empty] | 40 | 09.45-10.00 | 49.95 | 49.9125 | 1385 | 1430
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9807; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.99 |  | 1401
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1493; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.95 |  | 1396
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1493; 5+6 P6 14: MW | MAX = | 1493 | [10 empty] | 43 | 10.30-10.45 | 50.05 |  | 1389
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 878; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 878 | [10 empty] | 44 | 10.45-11.00 | 50.08 | 50.0175 | 1376 | 1390.5
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 11169.8825; 5+6 P6 14: MWH; 5+6 P11 19: 24.247; 5+6 P11/1000 20: 11145.6355 | [12 empty] | 45 | 11.00-11.15 | 50.02 |  | 1336
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 1246.6; 5+6 P6 14: MWH; 5+6 P11 19: 27.6; 5+6 P11/1000 20: 1219 | [12 empty] | 46 | 11.15-11.30 | 50.07 |  | 1296
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 606; 5+6 P6 14: MWH; 5+6 P11 19: 1.15; 5+6 P11/1000 20: 604.85 | [12 empty] | 47 | 11.30-11.45 | 50.13 |  | 1280
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 28; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.09 | 50.0775 | 1271 | 1295.75
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 44.5; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50 |  | 1250
|  |  | Max.generation of Malana at 2400 Hrs. |  |  |  | 5+6 P4 12: 44.5; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.93 |  | 1244
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 49.93 |  | 1237
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 454.7264; 5+6 P4 12: 557.3154; 5+6 P11 19: 111.6988; 5+6 P11/1000 20: 111.4564 | [12 empty] | 51 | 12.30-12.45 | 49.88 | 49.935 | 1221 | 1238
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 106.2762; 5+6 P4 12: 170.608; 5+6 P11 19: 28.3086; 5+6 P11/1000 20: 28.1067 | [12 empty] | 52 | 12.45-13.00 | 49.91 |  | 1178
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 348.4503; 5+6 P4 12: 386.7074; 5+6 P11 19: 83.3902; 5+6 P11/1000 20: 83.3497 | [12 empty] | 53 | 13.00-13.15 | 50.01 |  | 1152
[34 empty] | 55 | 13.30-13.45 | 50.02 |  | 1121
[34 empty] | 56 | 13.45-14.00 | 50.09 | 50.0075 | 1103 | 1138.5
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 50.2 |  | 1106
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 50.13 |  | 1092
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2024-04-15 | [12 empty] | 59 | 14.30-14.45 | 50.04 |  | 1107
[34 empty] | 60 | 14.45-15.00 | 50.01 | 50.095 | 1079 | 1096 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 50.02 |  | 1085
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 49.94 |  | 1080 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.99 |  | 1085
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.99 | 49.985 | 1093 | 1085.75
1 | 66KV Baddi-Malpur line | 20 | 0 | 20 | 12 | 4 | 7: 17; 8: 30; 5+6 P1 9: 5; 5+6 P2 10: 26; 5+6 P3 11: 1.0867; 5+6 P4 12: planned shutdown | [12 empty] | 65 | 16.00-16.15 | 49.98 |  | 1111
2 | [33 empty] | 66 | 16.15-16.30 | 49.94 |  | 1106 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 49.95 |  | 1098 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 49.99 | 49.965 | 1100 | 1103.75 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 49.96 |  | 1078 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 49.97 |  | 1092 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 49.99 |  | 1110 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50.05 | 49.9925 | 1122 | 1100.5 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.05 |  | 1128 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.02 |  | 1145 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.01 |  | 1144 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 49.99 | 50.0175 | 1157 | 1143.5 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 49.99 |  | 1186 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 50 |  | 1248 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 50.02 |  | 1259 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 50.02 | 50.0075 | 1231 | 1231 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.05 |  | 1185 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 50.03 |  | 1169 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.98 |  | 1141 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 50.01 | 50.0175 | 1111 | 1151.5 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 50 |  | 1079 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 49.96 |  | 1062 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 49.97 |  | 1040
[34 empty] | 88 | 21.45-22.00 | 50.01 | 49.985 | 1019 | 1050
[34 empty] | 89 | 22.00-22.15 | 49.94 |  | 1003
[34 empty] | 90 | 22.15-22.30 | 49.86 |  | 973
[34 empty] | 91 | 22.30-22.45 | 49.82 |  | 950
[34 empty] | 92 | 22.45-23.00 | 49.73 | 49.8375 | 929 | 963.75
[34 empty] | 93 | 23.00-23.15 | 49.78 |  | 894
[34 empty] | 94 | 23.15-23.30 | 49.9 |  | 890
[34 empty] | 95 | 23.30-23.45 | 49.99 |  | 896
[34 empty] | 96 | 23.45-24.00 | 50.03 | 49.925 | 888 | 892
[35 empty] | Total | 49.9807 | 49.9807 | 27204.5 | 27204.5
[35 empty] | max | 1493 |  | avg. max | 1472.25
[35 empty] | min | 878 |  | avg. min | 892
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.