## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2024-04-17
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2024-04-18
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 31179.25 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 627 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 914.8 | MWh | MALANA-II | 528 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1617 | [6 empty] | HOLI BAJOLI | 2051 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.98 |  | 1048
|  | Month/Day :- |  |  |  |  | 2024-04-17 | [10 empty] | Min.DEMAND(MW) |  | 981 |  | ACTUAL OWN GENERATION |  |  | 11377.0375 | MWh | SWARA KUDDU | 456.415 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.02 |  | 1042
[34 empty] | 3 | 00.30-00.45 | 50.03 |  | 1034 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.05 | 50.02 | 1030 | 1038.5 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Distribution constraints (in MW) | Planned maintenance in distribution system (in MW) | Tranmission constraints | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50.04 |  | 1009 |  |  |  | MALANA-2 | 30 | 30 | 30 | 30 | 30.75 | 98.75 | 99.5 | 99.75 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 24.75 | 25 | 25 | 527
[34 empty] | 6 | 01.15-01.30 | 50.04 |  | 1006 |  |  |  | SWARA KUDDU | 37.5 | 0.25 | 0 | 0 | 0 | 0 | 0 | 20 | 81 | 59.5 | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.25 | 37 | 38 | 81 | 81 | 454.75
[34 empty] | 7 | 01.30-01.45 | 50.05 |  | 1004
[34 empty] | 8 | 01.45-02:00 | 50.06 | 50.0475 | 1003 | 1005.5
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.05 |  | 1007 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 50.01 |  | 991
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.01 |  | 983
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.02 | 50.0225 | 992 | 993.25
1 | 619.8633 | 44.0527 | 92.2716 | 30 | 37.5 | 104 | 927.6876 | 110.4711 | 1038.1587 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1038.1587 | 1 | 654.9583 | 44 | 93.25 | 792.2083 | 1038.5 | 1048 | 1030 | 1038.5 | 1038.5 | 1038.1587 | 0 | 13 | 03.00-03.15 | 50.02 |  | 982 |  | 44 | 1
2 | 532.793 | 32.2886 | 59.1231 | 30 | 0.25 | 72.5 | 726.9547 | 278.2148 | 1005.1696 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1005.1696 | 2 | 562.9583 | 32.25 | 59.75 | 654.9583 | 1005.5 | 1009 | 1003 | 1005.5 | 1005.5 | 1005.1696 | 0 | 14 | 03.15-03.30 | 50.02 |  | 981 |  | 32.25 | 2
3 | 439.6893 | 44.0527 | 1.4843 | 30 | 0 | 92.25 | 607.4763 | 385.4473 | 992.9236 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 992.9236 | 3 | 464.5833 | 44 | 1.5 | 510.0833 | 993.25 | 1007 | 983 | 993.25 | 993.25 | 992.9236 | 0 | 15 | 03.30-03.45 | 50.03 |  | 989 |  | 44 | 3
4 | 434.3657 | 44.0527 | 0 | 30 | 0 | 92 | 600.4184 | 380.5816 | 981 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 981 | 4 | 458.9583 | 44 | 0 | 502.9583 | 983.75 | 989 | 981 | 981 | 981 | 981 | 0 | 16 | 03.45-04.00 | 50.04 | 50.0275 | 983 | 983.75 | 44 | 4
5 | 433.6322 | 44.0527 | 0 | 30.75 | 0 | 93.5 | 601.9349 | 434.7243 | 1036.6592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1036.6592 | 5 | 458.1833 | 44 | 0 | 502.1833 | 1037 | 1056 | 1017 | 1037 | 1037 | 1036.6592 | 0 | 17 | 04.00-04.15 | 50.05 |  | 1017 |  | 44 | 5
6 | 497.3497 | 44.0527 | 23.7482 | 98.75 | 0 | 94.75 | 758.6506 | 457.9494 | 1216.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1216.6 | 6 | 525.5083 | 44 | 24 | 593.5083 | 1217 | 1331 | 1104 | 1217 | 1217 | 1216.6 | 0 | 18 | 04.15-04.30 | 50.02 |  | 1034 |  | 44 | 6
7 | 555.5543 | 44.0527 | 73.9657 | 99.5 | 0 | 92.75 | 865.8227 | 643.1812 | 1509.0039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1509.0039 | 7 | 587.0083 | 44 | 74.75 | 705.7583 | 1509.5 | 1581 | 1417 | 1509.5 | 1509.5 | 1509.0039 | 0 | 19 | 04.30-04.45 | 49.99 |  | 1041 |  | 44 | 7
8 | 529.9301 | 44.0527 | 98.7034 | 99.75 | 20 | 90.5 | 882.9362 | 734.0638 | 1617 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1617 | 8 | 559.9333 | 44 | 99.75 | 703.6833 | 1604 | 1617 | 1592 | 1617 | 1617 | 1617 | 0 | 20 | 04.45-05.00 | 49.97 | 50.0075 | 1056 | 1037 | 44 | 8
9 | 463.2787 | 43.5521 | 63.5759 | 3 | 81 | 79.25 | 733.6567 | 863.0684 | 1596.7251 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1596.7251 | 9 | 489.5083 | 43.5 | 64.25 | 597.2583 | 1597.25 | 1606 | 1585 | 1597.25 | 1597.25 | 1596.7251 | 0 | 21 | 05.00-05.15 | 49.93 |  | 1104 |  | 43.5 | 9
10 | 466.0707 | 0 | 60.1126 | 0 | 59.5 | 79.5 | 665.1833 | 933.2913 | 1598.4745 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1598.4745 | 10 | 492.4583 | 0 | 60.75 | 553.2083 | 1599 | 1609 | 1593 | 1599 | 1599 | 1598.4745 | 0 | 22 | 05.15-05.30 | 49.96 |  | 1178 |  | 0 | 10
11 | 448.0887 | 0 | 0 | 0 | 0.25 | 81 | 529.3387 | 1011.4047 | 1540.7435 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1540.7435 | 11 | 473.4583 | 0 | 0 | 473.4583 | 1541.25 | 1558 | 1528 | 1541.25 | 1541.25 | 1540.7435 | 0 | 23 | 05.30-05.45 | 49.96 |  | 1255 |  | 0 | 11
12 | 436.0219 | 0 | 0 | 0 | 0 | 79.75 | 515.7719 | 968.2402 | 1484.0121 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1484.0121 | 12 | 460.7083 | 0 | 0 | 460.7083 | 1484.5 | 1502 | 1471 | 1484.5 | 1484.5 | 1484.0121 | 0 | 24 | 05.45-06.00 | 50.02 | 49.9675 | 1331 | 1217 | 0 | 12
13 | 405.2634 | 0 | 0 | 0 | 0 | 79.75 | 485.0134 | 937.7689 | 1422.7823 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1422.7823 | 13 | 428.2083 | 0 | 0 | 428.2083 | 1423.25 | 1448 | 1344 | 1423.25 | 1423.25 | 1422.7823 | 0 | 25 | 06.00-06.15 | 50.03 |  | 1417 |  | 0 | 13
14 | 374.6468 | 0 | 0 | 0 | 0 | 58.25 | 432.8968 | 896.916 | 1329.8128 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1329.8128 | 14 | 395.8583 | 0 | 0 | 395.8583 | 1330.25 | 1331 | 1319 | 1330.25 | 1330.25 | 1329.8128 | 0 | 26 | 06.15-06.30 | 50.01 |  | 1497 |  | 0 | 14
15 | 436.4242 | 0 | 0 | 0 | 0 | 26.5 | 462.9242 | 870.8874 | 1333.8115 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1333.8115 | 15 | 461.1333 | 0 | 0 | 461.1333 | 1334.25 | 1343 | 1330 | 1334.25 | 1334.25 | 1333.8115 | 0 | 27 | 06.30-06.45 | 50.03 |  | 1543 |  | 0 | 15
16 | 457.6239 | 0 | 0 | 0 | 0 | 31.25 | 488.8739 | 843.938 | 1332.8118 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1332.8118 | 16 | 483.5333 | 0 | 0 | 483.5333 | 1333.25 | 1340 | 1325 | 1333.25 | 1333.25 | 1332.8118 | 0 | 28 | 06.45-07.00 | 50.04 | 50.0275 | 1581 | 1509.5 | 0 | 16
17 | 483.2008 | 0.5006 | 0 | 0 | 0 | 89.25 | 572.9514 | 778.1045 | 1351.0558 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1351.0558 | 17 | 510.5583 | 0.5 | 0 | 511.0583 | 1351.5 | 1355 | 1348 | 1351.5 | 1351.5 | 1351.0558 | 0 | 29 | 07.00-07.15 | 50.02 |  | 1592 |  | 0.5 | 17
18 | 445.5807 | 11.0132 | 0 | 0 | 0 | 92.75 | 549.3439 | 782.9681 | 1332.312 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1332.312 | 18 | 470.8083 | 11 | 0 | 481.8083 | 1332.75 | 1346 | 1312 | 1332.75 | 1332.75 | 1332.312 | 0 | 30 | 07.15-07.30 | 49.99 |  | 1617 |  | 11 | 18
19 | 412.6928 | 11.2635 | 16.8216 | 0 | 0 | 103.25 | 544.0279 | 745.2983 | 1289.3261 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1289.3261 | 19 | 436.0583 | 11.25 | 17 | 464.3083 | 1289.75 | 1298 | 1284 | 1289.75 | 1289.75 | 1289.3261 | 0 | 31 | 07.30-07.45 | 49.98 |  | 1611 |  | 11.25 | 19
20 | 470.6608 | 43.8024 | 66.7918 | 0 | 19.25 | 105.75 | 706.255 | 667.0436 | 1373.2985 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1373.2985 | 20 | 497.3083 | 43.75 | 67.5 | 608.5583 | 1373.75 | 1392 | 1334 | 1373.75 | 1373.75 | 1373.2985 | 0 | 32 | 07.45-08.00 | 50.05 | 50.01 | 1596 | 1604 | 43.75 | 20
21 | 502.6023 | 44.0527 | 84.8503 | 0.5 | 37 | 105.75 | 774.7553 | 532.0651 | 1306.8204 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1306.8204 | 21 | 531.0583 | 44 | 85.75 | 660.8083 | 1307.25 | 1337 | 1283 | 1307.25 | 1307.25 | 1306.8204 | 0 | 33 | 08.00-08.15 | 50.02 |  | 1603 |  | 44 | 21
22 | 541.8786 | 44.0527 | 75.6973 | 24.75 | 38 | 105 | 829.3787 | 403.716 | 1233.0946 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1233.0946 | 22 | 572.5583 | 44 | 76.5 | 693.0583 | 1233.5 | 1261 | 1207 | 1233.5 | 1233.5 | 1233.0946 | 0 | 34 | 08.15-08.30 | 49.99 |  | 1585 |  | 44 | 22
23 | 478.9419 | 44.0527 | 67.0392 | 25 | 81 | 105 | 801.0338 | 352.587 | 1153.6208 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1153.6208 | 23 | 506.0583 | 44 | 67.75 | 617.8083 | 1154 | 1165 | 1131 | 1154 | 1154 | 1153.6208 | 0 | 35 | 08.30-08.45 | 49.96 |  | 1595 |  | 44 | 23
24 | 510.8835 | 44.0527 | 130.615 | 25 | 81 | 104 | 895.5512 | 209.3356 | 1104.8868 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1104.8868 | 24 | 539.8083 | 44 | 132 | 715.8083 | 1105.25 | 1130 | 1086 | 1105.25 | 1105.25 | 1104.8868 | 0 | 36 | 08.45-09.00 | 49.98 | 49.9875 | 1606 | 1597.25 | 44 | 24
[34 empty] | 37 | 09.00-09.15 | 49.93 |  | 1593
TOTAL (in MWh) | 11377.0375 | 627 | 914.8 | 527 | 454.75 | 2058.25 | 15958.8375 | 15221.2663 | 31180.1038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31180.1038 | TOTAL | 12021.175 | 626.25 | 924.5 | 13571.925 | 31179.25 |  |  | 31189.5 | 31189.5 | 31180.1038 | 0 | 38 | 09.15-09.30 | 49.96 |  | 1597
[34 empty] | 39 | 09.30-09.45 | 49.99 |  | 1597
[34 empty] | 40 | 09.45-10.00 | 49.96 | 49.96 | 1609 | 1599
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 50.0076; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.98 |  | 1558
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1617; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.96 |  | 1551
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1617; 5+6 P6 14: MW | MAX = | 1617 | [10 empty] | 43 | 10.30-10.45 | 49.97 |  | 1528
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 981; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 981 | [10 empty] | 44 | 10.45-11.00 | 49.96 | 49.9675 | 1528 | 1541.25
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 11377.0375; 5+6 P6 14: MWH; 5+6 P11 19: 18.485; 5+6 P11/1000 20: 11358.5525 | [12 empty] | 45 | 11.00-11.15 | 50 |  | 1502
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 914.8; 5+6 P6 14: MWH; 5+6 P11 19: 0.00232; 5+6 P11/1000 20: 914.7977 | [12 empty] | 46 | 11.15-11.30 | 49.97 |  | 1484
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 627; 5+6 P6 14: MWH; 5+6 P11 19: 1.54; 5+6 P11/1000 20: 625.46 | [12 empty] | 47 | 11.30-11.45 | 50.01 |  | 1481
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.05 | 50.0075 | 1471 | 1484.5
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.11 |  | 1448
|  |  | Max.generation of Malana at 100 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50.03 |  | 1435
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [14 empty] | 49.99 |  | 1421
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 476.0562; 5+6 P4 12: 368.3831; 5+6 P11 19: 113.7704; 5+6 P11/1000 20: 113.5855 | [12 empty] | 51 | 12.30-12.45 | 49.97 | 50.025 | 1389 | 1423.25
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 70.5917; 5+6 P4 12: 114.2671; 5+6 P11 19: 28.5668; 5+6 P11/1000 20: 28.4145 | [12 empty] | 52 | 12.45-13.00 | 49.95 |  | 1344
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 405.4645; 5+6 P4 12: 254.116; 5+6 P11 19: 85.2036; 5+6 P11/1000 20: 85.171 | [12 empty] | 53 | 13.00-13.15 | 49.95 |  | 1327
[34 empty] | 55 | 13.30-13.45 | 50.01 |  | 1319
[34 empty] | 56 | 13.45-14.00 | 50.01 | 49.98 | 1331 | 1330.25
[7 empty] | 5+6 P11 19: Shift Incharge | [12 empty] | 57 | 14.00-14.15 | 50.03 |  | 1330
[7 empty] | 5+6 P11 19: HPSLDC, GoHP, Totu,Shimla-11. | [12 empty] | 58 | 14.15-14.30 | 49.99 |  | 1331
Load Shedding For Dated | [6 empty] | 5+6 P1 9: 2024-04-17 | [12 empty] | 59 | 14.30-14.45 | 49.94 |  | 1343
[34 empty] | 60 | 14.45-15.00 | 49.94 | 49.975 | 1333 | 1334.25 | bar: 7 to 5+6 P4 12; 5+6 P12 21
SR.NO. | NAME OF FEEDER / SubStation | LOAD IN MW |  |  | TIME PERIOD |  | 5+6 P1 9: DURATION; 5+6 P3 11: LOAD SHEDDING IN LUS; 5+6 P4 12: REASON | [12 empty] | 61 | 15.00-15.15 | 49.97 |  | 1325
|  | BEFORE SHEDD-ING | AFTER SHEDD-ING | LOAD SHEDD-ING | FROM | [28 empty] | 62 | 15.15-15.30 | 49.94 |  | 1334 | bar: 7 to 5+6 P4 12; 5+6 P12 21
[5 empty] | Hour | Minute | 7: Hour; 8: Minute; 5+6 P1 9: Hour; 5+6 P2 10: Minute | [12 empty] | 63 | 15.30-15.45 | 49.91 |  | 1334
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7: 8; 8: 9; 5+6 P1 9: 10; 5+6 P2 10: 11; 5+6 P3 11: 12; 5+6 P4 12: 13 | [12 empty] | 64 | 15.45-16.00 | 49.94 | 49.94 | 1340 | 1333.25
1 | [33 empty] | 65 | 16.00-16.15 | 49.99 |  | 1349 | bar: 5+6 P12 21
2 | [33 empty] | 66 | 16.15-16.30 | 50 |  | 1348 | bar: 5+6 P12 21
3 | [33 empty] | 67 | 16.30-16.45 | 50.09 |  | 1354 | bar: 5+6 P12 21
4 | [33 empty] | 68 | 16.45-17.00 | 50.08 | 50.04 | 1355 | 1351.5 | bar: 5+6 P12 21
5 | [33 empty] | 69 | 17.00-17.15 | 50.12 |  | 1346 | bar: 5+6 P12 21
6 | [33 empty] | 70 | 17.15-17.30 | 50.05 |  | 1338 | bar: 5+6 P12 21
7 | [33 empty] | 71 | 17.30-17.45 | 50.08 |  | 1335 | bar: 5+6 P12 21
8 | [33 empty] | 72 | 17.45-18.00 | 50.04 | 50.0725 | 1312 | 1332.75 | bar: 5+6 P12 21
[34 empty] | 73 | 18.00-18.15 | 50.12 |  | 1288 | bar: 5+6 P12 21
[34 empty] | 74 | 18.15-18.30 | 50.09 |  | 1284 | bar: 5+6 P12 21
[34 empty] | 75 | 18.30-18.45 | 50.1 |  | 1289 | bar: 5+6 P12 21
[34 empty] | 76 | 18.45-19.00 | 50.05 | 50.09 | 1298 | 1289.75 | bar: 5+6 P12 21
[34 empty] | 77 | 19.00-19.15 | 50.03 |  | 1334 | bar: 5+6 P12 21
[34 empty] | 78 | 19.15-19.30 | 50.03 |  | 1385 | bar: 5+6 P12 21
[34 empty] | 79 | 19.30-19.45 | 50.03 |  | 1392 | bar: 5+6 P12 21
[34 empty] | 80 | 19.45-20.00 | 50.03 | 50.03 | 1384 | 1373.75 | bar: 5+6 P12 21
[34 empty] | 81 | 20.00-20.15 | 50.01 |  | 1337 | bar: 5+6 P12 21
[34 empty] | 82 | 20.15-20.30 | 49.99 |  | 1320 | bar: 5+6 P12 21
[34 empty] | 83 | 20.30-20.45 | 49.93 |  | 1289 | bar: 5+6 P12 21
[34 empty] | 84 | 20.45-21.00 | 50 | 49.9825 | 1283 | 1307.25 | bar: 5+6 P12 21
[34 empty] | 85 | 21.00-21.15 | 49.94 |  | 1261 | bar: 5+6 P12 21
[34 empty] | 86 | 21.15-21.30 | 50.02 |  | 1242 | bar: 5+6 P12 21
[34 empty] | 87 | 21.30-21.45 | 50.02 |  | 1224
[34 empty] | 88 | 21.45-22.00 | 50.06 | 50.01 | 1207 | 1233.5
[34 empty] | 89 | 22.00-22.15 | 50.02 |  | 1165
[34 empty] | 90 | 22.15-22.30 | 50.01 |  | 1165
[34 empty] | 91 | 22.30-22.45 | 49.97 |  | 1155
[34 empty] | 92 | 22.45-23.00 | 49.94 | 49.985 | 1131 | 1154
[34 empty] | 93 | 23.00-23.15 | 50 |  | 1130
[34 empty] | 94 | 23.15-23.30 | 49.98 |  | 1106
[34 empty] | 95 | 23.30-23.45 | 50 |  | 1086
[34 empty] | 96 | 23.45-24.00 | 50.02 | 50 | 1099 | 1105.25
[35 empty] | Total | 50.0076 | 50.0076 | 31179.25 | 31179.25
[35 empty] | max | 1617 |  | avg. max | 1604
[35 empty] | min | 981 |  | avg. min | 983.75
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.